1. ------IND- 2019 0306 D-- EN- ------ 20200831 --- --- FINAL

Administrative
Order laying down Technical Building Regulations for the State of Schleswig-Holstein (V V TB SH)

January 2020 edition

Table of contents

Preliminary remarks

|  | Technical Building Regulations to be observed to meet the fundamental requirements for building structures |  |  |
| --- | --- | --- | --- |
| A 1 | Mechanical strength and stability | 8 |
| A 2 | Fire protection | 36 |
| A 3 | Hygiene, health and preservation of the environment | 55 |
| A 4 | Safety and accessibility in use | 58 |
| A 5 | Protection against noise | 61 |
| A 6 | Thermal insulation | 64 |
|  | Technical Building Regulations to be observed for components and special constructions in addition to the Technical Building Regulations listed in Section A |  |  |
| B 1 | General | 71 |
| B 2 | Technical regulations for special constructions and components pursuant to § 83(2) LBO | 71 |
| B 3 | Technical building equipment and parts of systems for the storage, filling and handling of water-polluting substances that do not have the CE mark under the Construction Products Regulation | 88 |
| B 4 | Construction products and designs subject to the requirements of other legal provisions for which legislation has been enacted pursuant to § 83(5a) LBO | 95 |
|  | Technical Building Regulations for construction products that do not bear the CE mark, and for designs |  |  |
| C 1 | General | 99 |
| C 2 | Requirements for submission of the compliance declaration for a construction product under § 23 LBO | 101 |
| C 3 | Construction products that require only a general building inspection test certificate pursuant to § 20(1)(2) LBO | 139 |
| C 4 | Designs that require only a general building inspection test certificate pursuant to § 17a(3) LBO | 145 |
|  | Construction products that do not require proof of fitness for purpose |  |  |
| D 1 | General | 154 |
| D 2 | List pursuant to § 83a(4) LBO | 154 |
| D 3 | Technical documentation pursuant to § 83a(2)(6) LBO | 158 |

Annexes

| Annex 1 to paragraph A 1.2.3.7 | Subsequent rebar connections with bonded-in rebars - Requirement for design, dimensioning and execution:2019-05 | 160 |
| --- | --- | --- |
| Annex 2 to paragraph A 1.2.3.8 | Anchors in concrete with embedded or retrofitted fasteners - Requirement for design, dimensioning and execution:2018-07 | 170 |
| Annex 3 to paragraph A 1.2.6.3 | Anchors in masonry with subsequently installed fasteners - Requirement for design, dimensioning and execution:2018-07 | 173 |
| Annex 4 to paragraph A 2.2.1.2 | Building inspection requirements, classification, use of construction products, use of designs:2019-05 | 176 |
| Annex 5 to paragraph A 2.2.1.5 | ETICS with EPS, socket fire test procedure:2016-06 | 209 |
| Annex 6 to paragraph A 2.2.1.6 | Rear-ventilated exterior wall cladding:2016-06 | 215 |
| Annex 7 | Requirements for locking mechanisms:2017-07 - deleted from MVV TB 2019/1 - |  |
| Annex 8 to paragraph A 3.2.1 | Health protection requirements for building structures (ABG):2019-05 | 219 |
| Annex 9 to paragraph A 3.2.2 | Textile flooring:2017-05 | 234 |
| Annex 10 to paragraph A 3.2.3 | Requirement for building structures regarding effects on soil and water (ABuG):2019-05 | 243 |
| Annex 11 to paragraph B 2.2.1.5 | ETICS with ETA pursuant to ETAG 004:2019-05 | 264 |
| Annex 12 to paragraph B 2.2.1.6 | Application rules for non-load-bearing permanent formwork kits/systems and formwork blocks for the construction of in-situ concrete walls:2019-05 | 271 |
| Annex 13 to paragraph C 2.8.1 | Guideline on roller shutter cases (RokR): 2016-07 | 281 |
| Annex 14 to paragraph A 2.2.1.16 | Technical Rule on Technical Building Equipment – TR TGA: 2019-05 | 284 |

# Preliminary remarks

1	Building-law requirements

The State Building Regulations of the State of Schleswig-Holstein (LBO) contains, in § 83 a(1), the authorisation to lay down in detail in an Administrative Order the general requirements for building structures, construction products and other installations and equipment by means of technical building provisions.

§ 83a(2) LBO lays down detailed specifications as to which building inspection requirements can be elaborated in detail. The specifications may take the form of references to technical rules and their sources or in other ways, in particular in relation to:

the design, dimensioning and execution of structures and their parts;

The characteristics and performance of construction products in particular structures or their parts,

procedures for determining the performance of a construction product which does not bear the CE mark pursuant to the Construction Products Regulation,

permitted and prohibited special uses for construction products,

Definitions of classes and levels that construction products are required to satisfy for specific uses,

Requirements for issuing the declaration of conformity for non-harmonised products,

Information on non-harmonised construction products as well as types that require a general building supervisory inspection certificate and

Type, content and form of the technical documentation.

The basic principle is that only those provisions are included in the Administrative Order laying down Technical Building Regulations (VV TB SH) as Technical Building Regulations that are essential for fulfilling the requirements of the building regulations for building structures, construction products and other installations and facilities. However, when reaching decisions on the elaboration of abstract legal concepts, the building supervisory authorities may also rely on technical best practices that are not technical building provisions.

The VV TB SH is based on the Model Administrative Order laying down Technical Building Regulations (M-VV TB) Edition 2019/1, which was notified in accordance with Directive (EU) 2015/1535 of the European Parliament and of the Council of 9 September 2015 laying down a procedure for the provision of information in the field of technical regulations and of rules on Information Society services (OJ L 241 of 17 September 2015, p. 1) and promulgated by the German Institute for Building Technology (DIBt), having heard the parties concerned in agreement with the highest federal state building inspection authorities.

2	Structure and subdivisions of the VV TB SH Edition January 2020

2.1	The Technical Building Regulations are divided into four parts:

A	Technical Building Regulations to be observed to meet the fundamental requirements for building structures

Part A is subdivided based on the fundamental requirements for buildings pursuant to Annex I of the EU Construction Products Regulation, as follows:

A 1 - Mechanical strength and stability,

A 2 - Fire Protection,

A 3 - Hygiene, health and environmental protection,

A 4 - Safety and accessibility in use,

A 5 - Sound insulation and

A 6 - Thermal insulation.

B	Technical Building Regulations to be observed for components and special constructions in addition to the Technical Building Regulations listed in Part A

C	Technical Building Regulations for construction products that do not bear the CE mark and for designs

D	Construction products that do not require proof of fitness for purpose

2.2	Essential parts of the chapters in Part A are:

Chapter A 1 - Mechanical strength and stability - contains the Eurocodes on the principles of structural engineering, factors affecting structures, and dimensioning. The application of these principles gives the characteristics and specific performance criteria that the products in the building need to have to fulfil the building-related requirements.

Chapter A 2 - Fire Protection - elaborates the fire protection requirements for building structures or parts of building structures as contained in the state building regulations and the special building orders and regulations, in particular with regard to fire characteristics and fire resistance.

In Chapter A 3 - Hygiene, health and environmental protection - the requirements for building structures are elaborated in the form of the technical rules ‘Requirements for building structures in terms of health protection’ (Anforderungen an bauliche Anlagen bezüglich des Gesundheitsschutzes, ABG) and ‘Requirements for building structures in terms of their impact on soil and water bodies’ (Anforderungen an bauliche Anlagen bezüglich der Auswirkungen auf Boden und Gewässer, ABuG).

Chapter A 4 - Safety and accessibility in use - concretizes the requirements for safety in use and accessibility of building structures as a whole and in terms of components as provided for in the LBO 2019.

Chapter A 5 - Sound insulation - contains technical rules for fulfilling the sound insulation requirements for building structures and their parts.

Chapter A 6 - Thermal insulation - elaborates the requirements for the use of a building structure and its parts in accordance with the climatic conditions in the form of technical rules.

2.3	Part B relates to special constructions and special structural elements, some of which cannot be unequivocally assigned to the requirements of Part A and some of which are based on different legal provisions.

Part B contains Technical Building Regulations to be observed for structural elements and special constructions in addition to the Technical Building Regulations included in Section A. The technical rules included there for certain special constructions and structural elements serve to concretize several fundamental requirements and are not restricted to a particular material.

Chapter B 2 contains technical rules for special constructions and structural elements in terms of design, dimensioning and execution.

Chapter B 3 relates to technical building equipment and parts of installations for storing, filling and handling water-polluting substances, which are subject to other harmonisation provisions (such as the Machinery Directive, the Low Voltage Directive or the Pressure Equipment Directive), but which, with respect to a particular use, fail to meet some of the fundamental requirements pursuant to Article 3(1) of the CPR for building structures and their parts. Proof of fitness for purpose is required for these products, to demonstrate fulfilment of the missing fundamental characteristics, unless it has been determined that a declaration of conformity on the missing fundamental characteristics pursuant to § 23 LBO based on prior inspection of the construction products by an inspection body with building supervisory recognition will be sufficient.

Chapter B 4 contains technical requirements for construction products and designs that are subject to requirements pursuant to other legal regulations and for which an ordinance has been issued pursuant to § 83(5a) LBO. These are technical requirements for fixed installations and parts of installations within storage, filling and handling systems for the handling of water-polluting substances as well as the installation, operation and maintenance of installations with construction products for waste water treatment.

2.4	Part C - Technical Building Regulations for construction products which do not bear the CE marking and for types - specifies the details of construction products that have not been harmonised under the Construction Products Regulation (Regulation (EU) No 305/2011) and structural types that require only a general building supervisory inspection certificate, as well as the requirements for issuing a declaration of conformity for a construction product pursuant to § 23 LBO.

Part C therefore does not apply to construction products for which there is a harmonised standard or a European Technical Assessment (ETA) within the scope of the EU CPR.

Chapter C 2 sets out the technical rules and the requirements for the certificate of conformity for non-harmonised construction products.

Chapter C 3 lists construction products that require only a general building supervisory inspection certificate. The respective recognised test methods and the nature of the required certificate of conformity are also defined here.

Chapter C 4 lists the structural types which require only a general building supervisory inspection certificate. The relevant recognised test methods are listed here as well.

If the relevant technical rule is not followed, a general building supervisory approval or individual approval is required for construction products, and a general or project-specific type approval is required for specific designs.

For construction products and designs that require (only) a general building supervisory inspection certificate, there must be a relevant testing provision in force. Other technical regulations required for the general building supervisory inspection certificate to be issued may also be specified. These include e.g. supplementary information on the test scope, test setup, testing frequency.

2.5	Part D contains the list as required pursuant to § 18(3) LBO containing construction products that do not require proof of fitness for purpose. This includes construction products for which there are technical best practices, but for which proof of fitness for purpose is not required, as well as construction products for which there are neither Technical Building Regulations nor technical best practices, and which are of minor importance in terms of building supervision. The list is informational only and does not claim to be exhaustive.

Chapter D 3 shows a way of dealing with harmonised specifications that exhibit gaps or are otherwise incomplete.

A - 
Technical Building Regulations to be observed to meet the fundamental requirements for building structures

A 1	Mechanical strength and stability

A 2	Fire Protection

A 3	Hygiene, health and environmental protection

A 4	Safety and accessibility in use

A 5	Sound insulation

A 6	Thermal insulation

A 1	Mechanical strength and stability

A 1.1	General

Under § 3(2) and § 13(1) LBO, each building structure must be stable as a whole, in its individual parts as well as on its own. The stability of other structural works and the bearing capacity of the subsoil of adjacent plots may not be jeopardised. Furthermore, any effects arising during erection and use must not cause damage any parts of the structure or facilities and equipment due to large-scale deformations of the load-bearing construction.

To meet these requirements for building works, the technical rules under Section A 1.2 must be observed.

A 1.2	Technical requirements in respect of the design, dimensioning and execution of building works and parts thereof pursuant to § 83a(2) LBO

| A 1.2.1 Basis of structural design and Actions on Structures |  |  |  |
| --- | --- | --- | --- |
| A 1.2.1.1 | Bases of structural design | DIN EN 1990:2010-12 DIN EN 1990/NA:2010-12 | Annex A 1.2.1/1 |
| A 1.2.1.2 Actions on structures |  |  |  |
|  | Densities, self-weight, imposed loads for buildings | DIN EN 1991-1-1:2010-12 DIN EN 1991-1-1/NA:2010-12 DIN EN 1991-1-1/NA/A1:2015-05 | Annex A 1.2.1/2 |
|  | Actions on structures exposed to fire | DIN EN 1991-1-2:2010-12 DIN EN 1991-1-2 Cor. 1:2013-08 DIN EN 1991-1-2/NA:2015-09 | Annex A 1.2.1/3 |
|  | Snow loads | DIN EN 1991-1-3:2010-12 DIN EN 1991-1-3/NA:2010-12 | Annex A 1.2.1/4 |
|  | Wind loads | DIN EN 1991-1-4:2010-12 DIN EN 1991-1-4/NA:2010-12 | Annex A 1.2.1/5 |
|  | Exceptional impacts | DIN EN 1991-1-7:2010-12 DIN EN 1991-1-7/NA:2010-12 | Annex A 1.2.1/6 |
|  | Actions induced by cranes and machinery | DIN EN 1991-3:2010-12 DIN EN 1991-3 Cor. 1:2013-08 DIN EN 1991-3/NA 2010-12 |  |
|  | Actions on silos and tanks containing liquids | DIN EN 1991-4:2010-12 DIN EN 1991-4 Cor. 1:2013-08 DIN EN 1991-4/NA 2010-12 DIN FB 140:2005-01 | Annex A 1.2.1/7 |
| A 1.2.1.3 | Components that protect against falls | ETB Guideline – Components that protect against falls, June 1985 | Annex A 1.2.1/8 |
| A 1.2.2 Physical structures in earthworks and foundations |  |  |  |
| A 1.2.2.1 Geotechnical drafting, calculation and design |  |  |  |
|  | General rules | DIN EN 1997-1:2009-09 DIN EN 1997-1/NA:2010-12 | Annex A 1.2.2/1 |
|  | Subsoil - Verification of the safety of earthworks and foundations | DIN 1054:2010-12 DIN 1054/A1:2012-08 DIN 1054/A2:2015-11 | Annex A 1.2.2/1 |
| A 1.2.2.2 | Execution of bored piles | DIN EN 1536:2010-12 DIN SPEC 18140:2012-02 |  |
| A 1.2.2.3 | Execution of displacement piles | DIN EN 12699:2001-05 DIN EN 12699 Cor. 1:2010-11 DIN SPEC 18538:2012-02 | Annex 1.2.2/2 |
| A 1.2.2.4 | Excavations, foundations and underpinning around existing buildings | DIN 4123:2013-04 |  |
| A 1.2.2.5 | Execution of ground anchors | DIN EN 1537:2014-07 DIN SPEC 18537:2017-11 | Annex A 1.2.2/3 |
| A 1.2.2.6 | Execution of special geotechnical works - Micropiles | DIN EN 14199:2012-01 DIN SPEC 18539:2012-02 |  |
| A 1.2.2.7 | Execution of special geotechnical work (specialised civil engineering) – grouting. Design of strengthened soils – Set up by means of jet grouting, deep mixing or grouting | DIN EN 12715:2000-10 DIN SPEC 18187:2015-08 DIN 4093:2015-11 |  |
| A 1.2.3 Structural works in concrete and reinforced concrete construction |  |  |  |
| A 1.2.3.1 Design and construction of reinforced concrete and prestressed concrete supporting structures |  |  |  |
|  | General rules and rules for buildings | DIN EN 1992-1-1:2011-01 DIN EN 1992-1-1/A1:2015-03 DIN EN 1992-1-1/NA:2013-04 DIN EN 1992-1-1/NA/A1:2015-12 | Annexes A 1.2.3/1 and A 1.2.3/2 |
|  | Structural fire design | DIN EN 1992-1-2:2010-12 DIN EN 1992-1-2/NA:2010-12 DIN EN 1992-1-2/NA/A1:2015-09 | Annex A 1.2.3/3 |
|  | Concrete, reinforced concrete and pre-stressed concrete | DIN 1045-2:2008-08 DIN EN 206-1:2001-07 DIN EN 206-1/A1:2004-10 DIN EN 206-1/A2:2005-09 DIN EN 206-9:2010-09 | Annex A 1.2.3/4 |
|  | Execution of concrete structures | DIN 1045-3:2012-03 DIN 1045-3 Cor. 1:2013-07 DIN EN 13670:2011-03 | Annex A 1.2.3/4 |
|  | Prefabricated elements | DIN 1045-4:2012-02 |  |
|  | Brick ceilings | DIN 1045-100:2017-09 |  |
| A 1.2.3.2 | Protection and repair of concrete structural components | DAfStb Guideline - Protection and repair of concrete structural elements:2001-10 [Schutz und Instandsetzung von Betonbauteilen] Corr. 1:2002-01 Corr. 2:2005-12 Corr. 3:2014-09 | Annex A 1.2.3/5 |
| A 1.2.3.3 | Sprayed concrete | DIN EN 14487-1:2006-03 DIN EN 14487-2:2007-01 DIN 18551:2014-08 |  |
| A 1.2.3.4 | Welding concrete steel | DIN EN ISO 17660-1:2006-12 DIN EN ISO 17660-1 Cor. 1:2007-08 DIN EN ISO 17660-2:2006-12 DIN EN ISO 17660-2 Cor. 1:2007-08 | Annex A 1.2.3/6 |
| A 1.2.3.5 | Application of prefabricated reinforced components of autoclaved aerated concrete | DIN 4223-101:2014-12 DIN 4223-102:2014-12 DIN 4223-103:2014-12 | Annex A 1.2.3/1 Sections 1, 2.2, 2.3, 4 |
| A 1.2.3.6 | Application in structures of prefabricated components of lightweight aggregate concrete with open structure with structural or non-structural reinforcement | DIN 4213:2015-10 | Annex A 1.2.3/1 Sections 1, 2.2, 2.3, 4 |
| A 1.2.3.7 | Subsequent rebar connections with bonded-in rebar | Subsequent reinforcement connections with embedded rebars - Requirement for design, dimensioning and execution: 2019-05 (see Annex 1) |  |
| A 1.2.3.8 | Anchors in concrete with encased or subsequently fitted fastenings | Anchors in concrete with embedded or retrofitted fasteners - Requirement for design, dimensioning and execution: 2018-07 (see Annex 2) |  |
| A 1.2.4 Structural works in metal and composite construction |  |  |  |
| A 1.2.4.1 Design and construction of steel structures |  |  |  |
|  | General rules and rules for buildings | DIN EN 1993-1-1:2010-12 DIN EN 1993-1-1/A1:2014-07 DIN EN 1993-1-1/NA:2015-08 | Annexes A 1.2.3/2 and A 1.2.4/1 |
|  | Structural fire design | DIN EN 1993-1-2:2010-12 DIN EN 1993-1-2/NA:2010-12 | Annex A 1.2.3/3 |
|  | Supplementary rules for cold-formed components and sheeting | DIN EN 1993-1-3:2010-12 DIN EN 1993-1-3/NA:2017-05 | Annex A 1.2.4/2 |
|  | Supplementary rules for stainless steels | DIN EN 1993-1-4:2015-10 DIN EN 1993-1-4/NA:2017-01 |  |
|  | Plated structural elements | DIN EN 1993-1-5:2010-12 DIN EN 1993-1-5/NA:2016-04 |  |
|  | Strength and stability of shell structures | DIN EN 1993-1-6:2010-12 DIN EN 1993-1-6/NA:2010-12 |  |
|  | Plated structural elements with transverse loading | DIN EN 1993-1-7:2010-12 DIN EN 1993-1-7/NA:2010-12 |  |
|  | Design of joints | DIN EN 1993-1-8:2010-12 DIN EN 1993-1-8/NA:2010-12 |  |
|  | Fatigue | DIN EN 1993-1-9:2010-12 DIN EN 1993-1-9/NA:2010-12 |  |
|  | Material toughness and through-thickness properties | DIN EN 1993-1-10:2010-12 DIN EN 1993-1-10/NA:2016-04 |  |
|  | Design of composite steel structures | DIN EN 1993-1-11:2010-12 DIN EN 1993-1-11/NA:2010-12 | Annex A 1.2.4/3 |
|  | Additional rules extending EN 1993 to steel grades up to S700 | DIN EN 1993-1-12:2010-12 DIN EN 1993-1-12/NA:2011-08 |  |
|  | Towers and masts | DIN EN 1993-3-1:2010-12 DIN EN 1993-3-1/NA:2015-11 |  |
|  | Chimneys | DIN EN 1993-3-2:2010-12 DIN EN 1993-3-2/NA:2017-01 | Annex A 1.2.4/4 |
|  | Silos | DIN EN 1993-4-1:2010-12 DIN EN 1993-4-1/NA:2010-12 |  |
|  | Piles and sheet pile walls | DIN EN 1993-5:2010-12 DIN EN 1993-5/NA:2010-12 |  |
|  | Crane runways | DIN EN 1993-6:2010-12 DIN EN 1993-6/NA:2010-12 |  |
|  | Execution of steel structures | DIN EN 1090-2:2011-10 | Annex A 1.2.4/5 |
| A 1.2.4.2 Design and construction of composite steel and concrete structures |  |  |  |
|  | General rules and rules for buildings | DIN EN 1994-1-1:2010-12 DIN EN 1994-1-1/NA:2010-12 | Annexes A 1.2.3/2 and A 1.2.4/1 |
|  | Structural fire design | DIN EN 1994-1-2:2010-12 DIN EN 1994-1-2/A1:2014-06 DIN EN 02/01/1994/NA:2010-12 | Annex A 1.2.3/3 |
| A 1.2.4.3 Design and construction of aluminium structures |  |  |  |
|  | General rules | DIN EN 1999-1-1:2014-03 DIN EN 1999-1-1/NA:2017-05 | Annex A 1.2.4/1 |
|  | Structural fire design | DIN EN 1999-1-2:2010-12 DIN EN 1999-1-2/NA:2011-04 | Annex A 1.2.3/3 |
|  | Load-bearing structures subject to fatigue | DIN EN 1999-1-3:2011-11 DIN EN 1999-1-3/NA:2013-01 |  |
|  | Cold-formed structural sheeting | DIN EN 1999-1-4:2010-05 DIN EN 1999-1-4/A1:2011-11 DIN EN 04/01/1999/NA:2010-12 | Annex A 1.2.4/2 |
|  | Shell structures | DIN EN 1999-1-5:2017-03 DIN EN 1999-1-5/NA:2010-12 |  |
|  | Execution of aluminium structures | DIN EN 1090-3:2008-09 | Annex A 1.2.4/6 |
| A 1.2.4.4 | Above-ground cylindrical flat-bottom tank structures of metallic materials | DIN 4119-1:1979-06 DIN 4119-2:1980-02 | Annex A 1.2.4/7 |
| A 1.2.5 Physical structures in timber construction |  |  |  |
| A 1.2.5.1 Design and construction of timber structures |  |  |  |
|  | Design and construction of timber structures | DIN EN 1995-1-1:2010-12 DIN EN 1995-1-1/A2:2014-07 DIN EN 01/01/1995/NA:2013-08 | Annex A 1.2.5/1 |
|  | Structural fire design | DIN EN 1995-1-2:2010-12 DIN EN 1995-1-2/NA:2010-12 | Annex A 1.2.3/3 |
|  | Bridges | DIN EN 1995-2:2010-12 DIN EN 1995-2/NA:2011-08 | Annex A 1.2.5/1 |
|  | Manufacture and execution of timber structures | DIN 1052-10:2012-05 |  |
| A 1.2.5.2 | Wood preservation | DIN 68800-1:2011-10 DIN 68800-2:2012-02 | Annex A 1.2.5/2 |
| A 1.2.6 Structural works in masonry |  |  |  |
| A 1.2.6.1 Design and construction of masonry structures |  |  |  |
|  | General rules for reinforced and unreinforced masonry structures | DIN EN 1996-1-1:2013-02 DIN EN 1996-1-1/NA:2012-05 DIN EN 1996-1-1/NA/A1:2014-03 DIN EN 1996-1-1/NA/A2:2015-01 | Annex A 1.2.6/1 |
|  | Structural fire design | DIN EN 1996-1-2:2011-04 DIN EN 1996-1-2/NA:2013-06 | Annex A 1.2.6/2 |
|  | Design considerations, selection of materials and execution of masonry | DIN EN 1996-2:2010-12 DIN EN 1996-2/NA:2012-01 |  |
|  | Simplified calculation methods for unreinforced masonry structures | DIN EN 1996-3:2010-12 DIN EN 1996-3/NA:2012-01 DIN EN 1996-3/NA/A1:2014-03 DIN EN 1996-3/NA/A2:2015-01 |  |
| A 1.2.6.2 | Prefabricated masonry compound units | DIN 1053-4:2013-04 | Annex A 1.2.6/3 |
| A 1.2.6.3 | Anchors in masonry with subsequently fitted fastenings | Anchors in masonry with subsequently installed fasteners - Requirement for design, dimensioning and execution: 2018-07 (see Annex 3) |  |
| A 1.2.7 Glass constructions |  |  |  |
| A 1.2.7.1 Glass in building |  |  |  |
|  | Dimensioning and construction rules | DIN 18008-1:2010-12 | Annexes A 1.2.7/1 and A 1.2.7/2 |
|  | Linear glazings | DIN 18008-2:2010-12 | Annexes A 1.2.7/3 |
|  | Glazing with punctiform supports | DIN 18008-3:2013-07 |  |
|  | Additional requirements for safety barrier glazing | DIN 18008-4:2013-07 |  |
|  | Additional requirements for glazing designed to sustain human loads | DIN 18008-5:2013-07 |  |
| A 1.2.8 Special constructions |  |  |  |
| A 1.2.8.1 | Free-standing chimneys | DIN 1056:2009-01 | Annexes A 1.2.4/4 and A 1.2.8/1 |
|  |  | DIN EN 13084-1:2007-05 | Annex A 1.2.8/1 |
|  |  | DIN EN 13084-2:2007-08 |  |
|  |  | DIN EN 13084-4:2005-12 |  |
|  |  | DIN EN 13084-6:2005-03 | Annex A 1.2.8/2 |
|  |  | DIN EN 13084-8:2005-08 | Annex A 1.2.8/2 |
| A 1.2.8.2 | Bell towers | DIN 4178:2005-04 |  |
| A 1.2.8.3 | Greenhouses | DIN V 11535-1:1998-02 | Annex A 1.2.7/2 |
| A 1.2.8.4 | Falsework | DIN EN 12812:2008-12 | Annexes A 1.2.8/3 and A 1.2.8/4 |
| A 1.2.8.5 | Working scaffolding | DIN EN 12811-1:2004-03 | Annexes A 1.2.8/4 and A 1.2.8/5 |
|  | Protective scaffolding | DIN 4420-1:2004-03 | Annex A 1.2.8/5 |
| A 1.2.8.6 | Silage silos and slurry tanks | DIN 11622-2:2015-09 |  |
| A 1.2.8.7 | Wind turbines; Effect and proof of stability for tower and foundation | Guideline for wind turbines; effect and proof of stability for tower and foundation, March 2015 | Annex A 1.2.8/6 |
| A 1.2.8.8 | Loam constructions for residential buildings in building class 1 and 2 with no more than two full storeys | Loam construction rules, February 2008 |  |
| A 1.2.8.9 | Stationary cylindrical single-wall and double-wall steel containers (tanks) for the surface storage of liquids fuels hazardous to water for the energy supply of heating and cooling systems for buildings |  | Annex A 1.2.8/7 |
| A 1.2.8.10 | Stationary thermoplastic tanks for the surface storage of liquids fuels for the energy supply of heating and cooling systems for buildings |  | Annex A 1.2.8/8 |
| A 1.2.9 Structural works in seismic zones |  |  |  |
| A 1.2.9.1 | Structures in German seismic zones | DIN 4149:2005-04 | Annex A 1.2.9/1 |

Annexes to A1

Annex A 1.2.1/1

to DIN EN 1990 in conjunction with DIN EN 1990/NA

The informational Annexes B, C and D do not apply.

Annex A 1.2.1/2

to DIN EN 1991-1-1 in conjunction with DIN EN 1991-1-1/NA

Re Section 6.4:

The following applies to horizontal loads for heliports on roofs:

1	On take-off and landing surfaces and surrounding safety strips, assume a horizontal payload of qk= 1.0 kN/m on the most unfavourable location on a component cross section under investigation.

2	Assume a horizontal load of 10 kN for rollover protection at least 10 cm high.

Annex A 1.2.1/3

to DIN EN 02/01/1991 in conjunction with DIN EN 02/01/1991/NA

Where natural fire models are used, the following must be observed:

1	The result of the fire resistance measurement (effects of fire and certificate) for load-bearing or reinforcing building components on the basis of natural fire models (Section 3.3 DIN EN 1991-1-2:2010-12) requires a derogation from § 71(1) LBO; it may also be approved under § 51 LBO.

NOTE:

Fire resistance for building components is assessed in the building inspection processes on the basis of fire tests using the standard temperature-time curve and results in fire resistance classification (DIN 4102-2:1977-09, DIN EN 13501-2:2016-12) attached to the building inspection requirements.

Building component measurements based on natural fire models take into account the actual use and characteristics of a room or building taking into consideration the existing fire protection infrastructure.

Such measurements do not fully cover the overall building inspection requirement system for fire resistance classification (building category, floor height, building type).

For this reason, the applicability of natural fire models is to be decided on in the framework of a derogation from § 71 or a relaxation under § 51 LBO. In addition, the planning application or building documents must state why a uniform temperature time curve fire exposure is not required and specify which fire model was chosen for the building project (and why) and how the inevitable limited use of the facility is to be ensured (e.g. due to limited fire loads) (§ 71(1) LBO, § 11(2)(1)(1) and (2) BauVorlV; see no. 5).

2	To verify stability (§ 10(1) BauVorlV), the documents required to assess the effects of fire, in particular to determine thermal effects and design-relevant fire scenarios including the corresponding design fires, must also be provided (§ 1(4) BauVorlV). The required documents must be complete, comprehensible and verifiable; the thermal effects must be spatially determined and documented. The input parameters chosen must be representative and conservative and must also take account of fire effects from the outside and specific conditions of use (e.g. vehicles in exhibition spaces during the assembly and dismantling phases of trade fair stands).

The testing engineer or registered inspector authorised to check/certify stability under § 70(3) LBO must either also be a testing engineer fire protection or must consult an experienced testing engineer experienced in fire protection to assess the effects of fire. The assessment of the effects of fire must involve verifying that all input parameters are complete and accurate; spot-checks or plausibility checks are not sufficient.

3	For fire protection certification (§ 11 BauVorlV), the building documents must also set out how building components of the load-bearing structure designed according to natural fire models are to be combined with the necessary (classified) space-enclosing components (such as fire walls and partition walls, ceilings, walls of required stairwells and floors) in an appropriate fire protection concept. Statements on the connections of different fire protection regulations of the designed components are also included.

The requirements of LBO, sample special building regulations and sample guidelines for space-enclosing components remain unaffected.

4	The fire resistance of the load-bearing structure is essential for effective fire-fighting. Prior to the decision to deviate or relax, the relevant fire protection authority must be consulted about the precautionary fire protection regulations; § 14 PPVO remains unaffected.

5	The permitted type of use of the building project (e.g. office buildings) will be (spatially) set out and delimited by the (selected) input parameters (laid down by the planning permission) to determine the exposure to fire. Appropriate measures must therefore be defined to ensure compliance with this restriction on use. This includes, in particular, appointing a fire protection officer to monitor operations and commissioning a test of the fire load assumption within one year after begin of use, as well as recurring tests (e.g. at intervals of 3-5 years), carried out by a testing engineer for fire protection.

Restriction on use and measures implemented to ensure compliance with this must be set out in the planning permission under auxiliary conditions. The planning permission must also specify that changes to the approved use that lead to increased exposure to fire (e.g. changed fire loads), require stability testing and, where applicable, a further planning application and approval procedure.

NOTE:

Buildings whose stability is designed based on natural fire models are subject to limitations on use ensured through operating measures and external inspections. Such models may thus only be properly used for specific building uses. They can be suitable in the case of uses with lower and invariable fire loads, in particular in large spatial structures. However, they are not suitable for spaces with variable fire loads and uses or buildings with special safety requirements (e.g. skyscrapers). The requirement for operating measures excludes use in residential buildings or similar uses.

6	In relation to DIN EN 1991-1-2/NA:2015-09, Annex BB (NA.BB)

6.1	Fire load density in accordance with Section NA.BB.3.2, Table BB.1, Column 3, may not be any lower, even in investigations in individual cases, under Section NA.BB.3.3; the values relate only to the typical use of space for the relevant building type and not to the use of space for the overall building (see NA.BB.3.2(3) on office buildings); this applies to Table BB.2.

6.2	The maximum heat release rate Qmax,k in accordance with Section NA.BB.4, equation (BB.7) must also be determined for spaces with more than 400 m², to establish heat release rate Qmax,f,k for an assumed fire load controlled fire in accordance with equation (BB.5) and to establish heat release rate Qmax,v,k assuming ventilation-controlled fire in accordance with equation (BB.6). The value derived from equation (BB.7) (characteristic value Qmax,k) must always be on the safe side.

6.3	To assess the probability p1 of an initial fire occurring per year and per unit, in accordance with Section NA.BB.5.1, the larger and therefore least favourable value derived from the data in accordance with Table BB.3 must be used to determine the probability pfi of a destructive fire occurring in accordance with equation (BB.9).

To assess the probability of a failure of the public fire service, the value p2.2 = 0.5 in accordance with Table BB.4 should be used.

6.4	To calculate conditional failure probability pf,fi in accordance with Section NA.BB.5.2, in the equation (BB.13), the failure probability pf for building components of load-bearing structures must always use at least an average value from the damage classification 'medium' under Table BB.5.

For buildings used for offices or similar purposes and whose utilisation units have a gross floor area of 400 m² (see § 37(1) sentence 2(4) LBO), the value 4.7 must be used for the reliability index β and the value 1.3E-6 as per Table BB.5 must be used for the related failure probability pf.

Special constructions where the effects of failure or restriction of activity of a load-bearing structure may have severe consequences on life, health or natural resources (see DIN EN 1990:2010-12, Annex B), must be classified as 'high' damage under Table BB.5.

Annex A 1.2.1/4

to DIN EN 1991-1-3 in conjunction with DIN EN 1991-1-3/NA

The following is to be observed when applying the technical rule:

1	In respect of the classification of snow load zones according to administrative limits, reference is made to the table ‘Classification of snow load zones according to administrative limits’ or to the table below. The table ‘Classification of snow load zones according to administrative limits’ is also available at https://www.is-argebau.de or https://www.dibt.de/de/wir-bieten/technische-baubestimmungen

2	Re Section 4.3 (North German Plain):

In all municipalities in Schleswig-Holstein marked with the footnote ‘North German Plain’ in the table ‘Classification of snow load zones according to administrative limits’, the design situation with snow as an exceptional effect must be tested for all buildings in snow load zones 1 and 2 in addition to the constant and temporary design situations. In this regard, the rated value of the snow load shall be assumed to be si = 2.3 i . sk.

| State | District | Municipality key | Municipality | Snow load zone | Footnote(s) |
| --- | --- | --- | --- | --- | --- |
| SH | Dithmarschen | all | all | 2 | *) North German Plain |
| SH | Duchy of Lauenburg | all | all | 2 | *) North German Plain |
| SH | North Frisia | all | all | 2 | *) North German Plain |
| SH | East Holstein | all | all | 2 | *) North German Plain |
| SH | Pinneberg | all | all except Helgoland = SLZ 1 | 2 | *) North German Plain |
| SH | Plön | all | all | 2 | *) North German Plain |
| SH | Rendsburg-Eckernförde | all | all | 2 | *) North German Plain |
| SH | Schleswig-Flensburg | all | all | 2 | *) North German Plain |
| SH | Segeberg | all | all | 2 | *) North German Plain |
| SH | Steinburg | all | all | 2 | *) North German Plain |
| SH | Stormarn | all | all | 2 | *) North German Plain |
| SH | Flensburg | 01001000 | Flensburg | 2 | *) North German Plain |
| SH | Kiel | 01002000 | Kiel | 2 | *) North German Plain |
| SH | Lübeck | 01003000 | Lübeck | 2 | *) North German Plain |
| SH | Neumünster | 01004000 | Neumünster | 2 | *) North German Plain |

*)	For locations with the footnote ‘North German Plain’, proof for 2.3 times the characteristic snow load value must be kept as an exceptional load case as per DIN EN 1990 in conjunction with DIN EN 1990/NA.

3	Section 6 Ice loads and Annex A to DIN 1055-5:2005-07 must be observed.

Annex A 1.2.1/5

to DIN EN 04/01/1991 in conjunction with DIN EN 1991-1-3/NA

1	Re Section NA.B.3.2, Table NA.B.3, column 2:

In the case of buildings (terraced houses) with a total height h ≤ 10.0 m which are extended on both sides in essentially the same profile, and where it is ensured (under law) that the add-ons are not removed on a permanent basis, proof of the action of the wind may be furnished in the form of the variable effect resulting from pressure or drag. In this connection, the least favourable value is decisive. The effect of pressure and drag may must then be applied jointly as an unusual action.

2	In respect of the classification of wind load zones according to state administrative limits, reference is made to the table ‘Classification of wind load zones according to state administrative limits’ or to the table below. The table ‘Classification of wind load zones according to administrative limits’ is also available at https://www.is-argebau.de or https://www.dibt.de/de/wir-bieten/technische-baubestimmungen.

Table ‘Classification of wind load zones according to administrative limits’ in Schleswig-Holstein

| Schleswig-Holstein |  |  |  |
| --- | --- | --- | --- |
| 1.1 | District of Schleswig-Flensburg, independent city of Flensburg | Wind load zone 3 | all municipalities, unless in wind load zone 4 |
|  |  | Wind load zone 4 | Jurisdiction of Stapelholm with the municipalities of Wohlde, Bergenhusen, Norderstapel, Süderstapel, Erfde, Meggerdorf, Tielen |
| 1.2 | Districts of North Frisia, Dithmarschen | Wind load zone 4 | all municipalities |
| 1.3 | Districts of Rendsburg-Eckernförde, Pinneberg, Steinburg | Wind load zone 3 | all municipalities, unless in wind load zone 4 |
|  |  | Wind load zone 4 | Island of Helgoland |
| 1.4 | Districts of Segeberg, Plön, Stormarn, Duchy of Lauenburg, independent cities of Kiel, Lübeck, Neumünster | Wind load zone 2 | all municipalities |
| 1.5 | District of East Holstein | Wind load zone 2 | all municipalities, unless in wind load zone 3 or 4 |
|  |  | Wind load zone 3 | Jurisdiction of Oldenburg-Land with the municipalities of Gremersdorf, Neukirchen, Heringsdorf, Göhl, Grube, Dahme, Kellenhusen, Riepsdorf, City of Großenbrode, City of Heiligenhafen |
|  |  | Wind load zone 4 | Island of Fehmarn |

Coasts in the area of bays and fjords as well as the Elbe estuary

| I. Fjords and bays of the Baltic Sea |  |
| --- | --- |
| - Flensburg Fjord: | Along the eastern coastline of the Holnis peninsula |
| - Schlei: | Along the Baltic Sea coast |
| - Eckernförde Bay: | Along the Eckernförde Bay coastline – excluding the harbour |
| - Kiel Fjord: | Along the fjord coast up to the lighthouse line Friedrichsort – Möltenort Memorial |
| - Bay of Lübeck: | Along the Travemünde – Priwall coastline |
| II. Elbe estuary From the banks of the Elbe in the district of Dithmarschen and the district of Steinburg to the mouth of the River Stoer |  |

Annex A 1.2.1/6

to DIN EN 07/01/1991 in conjunction with DIN EN 1991-1-3/NA

The informative annexes do not apply.

Annex A 1.2.1/7

Re DIN EN 1991-4 in conjunction with DIN EN 1991-4/NA and DIN Expert Report 140

1	In the case of silo cells of up to a container volume of 4000 m³ and a slenderness (ratio of cell height hc to cell diameter dc) hc/dc < 4.0, the rules of DIN EN 14491:2012-10 may be used in addition to the DIN Expert Report 140:2005-01, provided the mass of the anti-pressure system does not exceed a value of mE = 50 kg/m².

2	The following shall be noted when applying DIN Expert Report 140:2005-01:

As long as there are no spherical explosion conditions present, when using the nomograms of DIN Expert Report 140:2005-01 for lower silo cells with slenderness ratios of hc/dc < 2.0, the nomogram values are extrapolated using slenderness ratios of H/D=2 and H/D=4.

Annex A 1.2.1/8

Re ETB Guideline 'Components that protect against falls'

1	Re Section 3.1; paragraph 1:

Where greater horizontal line loads occur pursuant to DIN EN 1991-1-1:2010-12 in conjunction with DIN EN 1991-1-1/NA:2010-12, these must be taken into account.

2	Re Section 3.1, paragraph 4:

Instead of the sentence ‘These loads must be overlaid with wind loads.’ the following applies:

‘These loads must be overlaid with wind loads, except for balcony and pergola railings not used as escape routes.’

3	The ETB Guideline must not be applied to glass components.

Annex A 1.2.2/1

1	In terms of the building inspection requirements, there is no universally applicable technical rule for the design, dimensioning and execution of the following construction products/construction kits with an ETA:

Gabions

Piles made of ductile cast iron pipes

Rock and floor nails

Small-diameter micropiles (composite piles)

Rock and ground anchors

2	Re DIN 1054, Section A 11.5.4:

Earthworks must be permanently stable. When geosynthetics with a reinforcement function pursuant to EN 13251:2016 are used to build earthworks, these may be designed in accordance with the ‘Recommendations for the design and calculation of embankments with geosynthetics (EBGEO)’.

3	Re ETAs for ‘Construction kit for rock and floor nails, construction kits with hollow bars for self-driving nails’:

Rock and floor nails may only be used on a temporary basis (≤ 2 years).

4	Re ETAs for ‘Construction kit for small-diameter micropiles’, ‘Construction kits with hollow bars for self-driving piles’: The micropiles may only be used on a temporary basis (≤ 2 years).

Annex A 1.2.2/2

Re DIN EN 12699

Re DIN EN 12699:2001-05, Section 6.2.1 and 7.8.4 and DIN SPEC 18538:2012-02, A 6.2.1.1:

When executing piles or segment piles pursuant to EN 12794:2005+A1:2007 the relevant provisions and criteria pursuant to Annex A 1.2.3/1 must be observed.

The piles and segment piles must meet the criteria for Class 1 pursuant to Table 3, EN 12794:2005+A1:20074.

The load-bearing capacity of coupled piles with class A to C pile joints pursuant to Table 4, EN 12794:2005+A1:20074 must meet the criteria for an uncoupled pile.

Coupled piles may only be subjected to predominantly static actions.

Annex A 1.2.2/3

Re DIN EN 1537

In terms of the building inspection requirements, in particular for specific durability aspects, there is no universally applicable technical rule for the design, dimensioning and execution of permanent anchors.

Annex A 1.2.3/1

1	Section C 2.1 of these VV TB SH provides for the requirements for construction products used in concrete, reinforced concrete, and prestressed concrete construction.

2	Precast products

2.1	For load-bearing structures made of precast elements according to harmonised standards, DIN V 20000-120:2006-04 – Application of construction products in structures – Part 120: Application rules for DIN EN 13369:2004-09 – must be observed.

2.2	When using non-harmonised base materials, the technical rules under Section C 2.1 apply2.1. The concrete, reinforcing steel and/or prestressed steel used and their technical specifications must be indicated.

2.3	Where load-bearing features of structural elements or kits in the form of calculated load-bearing values, mechanical strength or complete static calculations are stated in the declaration of performance, these count as structural analysis verifications.

2.4	The design and structural construction of prefabricated concrete structural elements in building structures must be done in accordance with A 1.2.3.1.

2.5	For individual garages pursuant to EN 13978-1:2005, the standard DIN V 20000-125:2006-12 may also be used for the design, dimensioning and execution. In this case, the rules of A.1.2.3.1 apply instead of DIN 1045-1:2001-07.

2.6	When using bricks according to EN 15037-3:2009+A1:2011 in pavement systems, the standard DIN 20000-129:2014-10 - Application of construction products in structures - Part 129: Rules for the application of clay blocks according to DIN EN 15037-3:2011-07 – to be observed.

3	For the design, dimensioning and execution of structures using tensioning method, except for the tensioning bed method for prestressing with immediate bonding pursuant to DIN EN 1992-1-1:2011-01, Section 5.10, there is no universally applicable technical rule in Sections A 1.2.3 and C 2.1 in terms of building-law requirements.

4	Re DIN EN 1992-1-1:2011-01, Section 2.5:

The design of load-bearing structures on the basis of tests shall not apply.

Annex A 1.2.3/2

The rules in General Circular - Road Construction No. 22/2012 from the Federal Ministry of Transport, Building and Urban Affairs (published in the Transport Gazette 2012, volume 24, p. 995) must be applied to the planning, design and construction of bridges.

Annex A 1.2.3/3

Re DIN EN 1992-1-2, DIN EN 1993-1-2, DIN EN 1994-1-2, DIN EN 1995-1-2 and DIN EN 1999-1-2

For special developments (e.g. connections, joints, etc.), the rules of application under DIN 4102-4:2016-05 must be observed, where the Eurocode does not provide any information.

Annex A 1.2.3/4

1	The specifications of C 2.1.4.3 apply.

2	DIN EN 13791:2008-05 (including the national annex as per Amendment A20:2017-02) can be used to determine the compression strength of concrete in existing buildings.

3	For the use of self-compacting concrete the ‘DAfStb guideline on self-compacting concrete (DAfStb-Richtlinie Selbstverdichtender Beton, SVB-Richtlinie)’ (2012-09) shall apply.

4	The ‘DAfStb guidelines on solid concrete components’ (DAfStb-Richtlinie Massige Bauteile aus Beton) (2010-04) apply to the use of solid concrete components.

5	In principle, the compressive strength must be determined for classification into the requested compressive strength classes in accordance with DIN EN 206-1:2001-07, Section 4.3.1 and for determination of the of the characteristic strength in accordance with DIN EN 206-1:2001-07, Section 5.5.1.2 on test pieces up to 28 days old. Conformity must be verified on test pieces up to 28 days old within the scope of the conformity control for compressive strength in accordance with DIN EN 206-1:2001-07, Section 8.2.1. Deviation from this principle is only permitted if either

I)	the DAfStb Guideline 'Massive Concrete Components' (2010-04) can be applied and is applied or

II)	all of the following conditions are met:

There is a technical requirement for proof of compressive strength with a high test age. This is the case for example with some high-tensile concretes, for low-joint/joint-less constructions and for components with high requirements for joint limitation.

The use of concrete is subject at least to the rules for monitoring class 2 in accordance with DIN 1045-3:2012-03, unless more stringent requirements apply for the compressive strength class. If a higher test age is required, this must be confirmed by the monitoring body within the framework of monitoring the installation of concrete in accordance with DIN 1045-3:2012-03, Annex C.

A quality assurance plan prepared by a construction firm is available, which details for each project how the change in test age is taken into account in terms of stripping times, re-treatment times and construction schedule. This quality assurance plan must be submitted to the monitoring body for approval within the framework of monitoring in accordance with DIN 1045-3:2012-03, Annex C, prior to construction.

The supplier directory and the delivery note must also include the compressive strength of the concrete after more than 28 days. Without prejudice to this rule, the plant remains responsible for the agreement with the buyer as required by the standard. Reference must also be made to the effects on the construction schedule, particularly in terms of re-treatment times, durability and stripping times in each individual case.

6	When using steel fibre concrete, the 'DAfStb guideline on steel fibre concrete' (2012-11) shall be observed.

Annex A 1.2.3/5

The DAfStb [German Committee for steel-fibre reinforced concrete] guideline on the protection and repair of concrete structural components:

If the DAfStb Repair Guideline (2001-10, Corrigendum 1:2002-01, Corrigendum 2:2005-12, Corrigendum 3:2014-09) addresses product characteristics which are harmonised throughout Europe as essential characteristics pursuant to the EU Construction Products Regulation, the performance required to meet the structural requirements must be defined by the competent planner in accordance with the relevant harmonised technical specification. The specifications for the certificate of conformity and for marking with the ‘Ü-Zeichen’ conformity mark are not applicable to the products concerned.

Annex A 1.2.3/6

Re DIN EN ISO 17660-1 and -2

1	Re Section 7:

1.1	Weldable reinforced steels in accordance with DIN 488-1 and -2:2009-08 must be used.

1.2	Structural steels in accordance with DIN EN 10025-1:2004 must be used.

1.3	Welding admixtures must be used in accordance with EN 13479:2004.

2	Re Sections 8 and 9:

DVS Guideline DVS 1708:2009-09 must be observed.

Annex A 1.2.4/1

When executing components or kits made of steel according to DIN EN 1993-1-1:2010-12 and DIN EN 1993-1-1/A1:2014-07 in conjunction with DIN EN 1993-1-1/NA:2015-08, made of aluminium according to DIN EN 1999-1-1:2014-03 in conjunction with DIN EN 1999-1-1/NA:2013-05, DIN EN 1999-1-1/NA/A1:2014-06, DIN EN 1999-1-1/NA/A2:2015-03 and DIN EN 1999-1-1/NA/A3:2015-11 or of composite structures or components according to DIN EN 1994-1-1:2010-12 in conjunction with DIN EN 1994-1-1/NA:2010-12, the following applies:

1	Where load-bearing features of structural elements or kits in the form of calculated load-bearing values, mechanical strength or complete static calculations are stated in the declaration of performance, these count as structural analysis verifications.

2	The design of load-bearing structures on the basis of tests shall not apply.

Annex A 1.2.4/2

1	DIN 18807-3:1987-06 in conjunction with DIN 18807-3/A1:2001-05 shall apply to the constructive formation of roofs, ceilings and walls, as well as their cladding made of steel trapezoidal and corrugated profiles.

2	DIN 18807-9:1998-06 shall apply to the constructive formation of roofs, ceilings and walls, as well as their cladding made of aluminium trapezoidal and corrugated profiles.

Annex A 1.2.4/3

The following applies to cable mesh constructions and prefabricated wire ropes of steel and stainless steel with end anchoring in accordance with ETA:

1	Depending on the material number, open spiral ropes and round strand ropes of stainless steel may be allocated the corrosion resistance classes in Table 1 under DIN EN 1993-1-4:2015-10.

Table 1:	Corrosion resistance classes

| Material number | Corrosion resistance classes (CRC) as per DIN EN 1993-1-4:2015-10 |
| --- | --- |
| 1.4401 | II |
| 1.4404 | II |
| 1.4436 | III |
| 1.4462 | III |

2	Creep behaviour k must be taken into account in the design if the stress from constant effects, determined with 1.0 times characteristic values, is more than 40 % of 1.65 times the value of the sliding force stated in the relevant ETA. In this case, the values for k according to Table 2 must be taken into account.

Table 2: 	Creep behaviour k in %

| Temperature in °C | k in % |
| --- | --- |
| 20 | 2.5 x 10-2 |
| 40 | 3.0 x 10-2 |
| 70 | 3.5 x 10-2 |

Annex A 1.2.4/4

Re DIN EN 1993-3-2

DIN EN 13084-1:2007-05, in conjunction with Annex A 1.2.8/1, shall also apply.

Annex A 1.2.4/5

Re DIN EN 1090-2

The following rule shall be applied as follows:

1	Load-bearing steel building components in the execution classes listed may only be manufactured by a manufacturer whose in-house quality control is certified by a notified body in accordance with EN 1090-1:2009+A1:2011.

2	Welded building components, load-bearing structures and steel structures in the execution classes listed may only be executed on-site by companies with proof of suitability to execute welding work in the corresponding execution classes. The following may be used as an alternative:

a welding certificate in line with EN 1090-1:2009+A1:201111 issued or certified by a notified body, if the firm’s in-house production control is certified by this body in line with EN 1090-1:2009+A1:201111;

a welding certificate issued by an officially recognised certification body on the basis of DIN EN 1090-2:2011-10 in conjunction with EN 1090-1:2009+A1:201111, Table B.1;

a certificate on the manufacturer's qualification under DIN 18800-7:2008-11 over the remaining validity period as set out below:

| Type of stress | Execution class according to DIN EN 1090-2:2011-10 | Manufacturer's qualification according to DIN 18800-7:2008-11 |
| --- | --- | --- |
| static or quasi-static | EXC 1 | at least Class B |
|  | EXC 2 | at least Class B, C or D considering the area of application specified under classes |
|  | EXC 3 EXC 4 | at least Class D |
| susceptible to fatigue | EXC 1 EXC 2 EXC 3 EXC 4 | Class E |

§ 3 of the Manufacturer and User Regulation [Hersteller und Anwenderverordnung] remains unaffected.

Annex A 1.2.4/6

Re DIN EN 1090-3

The following rule shall be applied as follows:

1	Load-bearing steel building components in the execution classes listed may only be manufactured by a manufacturer whose in-house quality control is certified by a notified body in accordance with EN 1090-1:2009+A1:2011.

2	Welded building components, load-bearing structures and aluminium structures in the execution classes listed may only be executed on-site by companies with proof of suitability to execute welding work in the corresponding execution classes. The following may be used as an alternative:

a welding certificate in line with EN 1090-1:2009+A1:201112 issued or certified by a notified body, if the firm’s in-house production control is certified by this body in line with EN 1090-1:2009+A1:201112;

a welding certificate issued by an officially recognised certification body on the basis of DIN EN 1090-3:2008-09 in conjunction with EN 1090-1:2009+A1:201112, Table B.1;

in the case of loads not subject to fatigue, a certificate on the manufacturer's qualification under DIN V 4113-3:2003-11 over the remaining validity period as set out below:

| Class as per DIN EN 1090-3:2008-09 | Manufacturer's qualification according to DIN V 4113-3:2003-11 |
| --- | --- |
| EXC 1 | at least Class B |
| EXC 2 EXC 3 EXC 4 | at least Class C |

§ 3 of the Manufacturer and User Regulation [Hersteller und Anwenderverordnung] remains unaffected.

Annex A 1.2.4/7

Re DIN 4119

1	When applying the technical rule, the ‘Adaptation guideline – steel construction with amendments and additions’, Version: December 2001, must be observed.

2	Where reference is made to DIN 18800-7 or DIN V 4113-3 for the execution of steel or aluminium structures, DIN EN 1090-2: 2011-10 or DIN EN 1090-3:2008-09 applies.

Annex A 1.2.5/1

1	In addition to DIN EN 1995-1-1:2010-12, DIN EN 1995-1-1/A2:2014-07 and DIN EN 1995-1-1/NA:2013-08, the following application standards must also observed in the design, dimensioning and execution:

DIN 20000-1:2017-06 	Application of construction products in structures – Part 1: Timber materials

DIN 20000-3:2015-02 	Application of construction products in structures, Part 3: Glued laminated timber and laminated beams as per DIN EN 14080

DIN 20000-4:2013-08	Application of construction products in structures – Part 4: Prefabricated structural members assembled with punched metal plate fasteners under DIN EN 14250:2010-05

DIN 20000-5:2012-03	Application of construction products in structures, Part 5: Timber structures. Strength graded structural timber with rectangular cross section

DIN 20000-6:2015-02	Application of construction products in structures, Part 6: Dowel-type and non-dowel-type fasteners as per DIN EN 14592 and DIN EN 14545

DIN 20000-7:2015-08 	Application of construction products in structures, Part 7: Finger-jointed solid wood for load-bearing purposes as per DIN EN 15497.

1a	For the design, dimensioning and execution of components with laminated veneer lumber according to DIN EN 1995-1-1:2010-12 and DIN EN 1995-1-1/A2:2014-07 with DIN EN 1995-1-1/NA: 2013-08, in particular for connections, there is no universally applicable technical rule in terms of building inspection requirements.

2	Re DIN EN 1995-1-1/NA:2013-08, Section 3.6 ‘Adhesives’:

Timber structural elements with glued, load-bearing connections may only be used if these connections are manufactured with adhesives classified as type I adhesives under DIN EN 301:2013-12 or DIN EN 15425:2008-06 in conjunction with DIN EN 14080:2013, Annex B.2 or DIN EN 16254:2014-02. This does not apply to joints of elements in wood-based materials.

Sentence 1 applies accordingly to the manufacture of glued, load-bearing connections of timber materials on-site.

There is no universally applicable technical rule for the design, dimensioning and execution of wooden construction products and glued joints to wooden structural elements manufactured with general-use adhesives in structural adhesive bonds as per EN 15274:2015 or repaired with such adhesives.13

3	Re ETAs for ‘Beams with one to four finger-jointed timbers that are tested for tensile strength’:

When designing beams, the test load coefficient must be set to a value of kpl = 1.0.

4	Re ETAs for ‘Construction kit for timber-concrete-composite pavements’:

There is no universally applicable technical rule for the design, dimensioning and execution.

5	Re EAD 130022-00-03.04:

Solid wood and glued laminated timber with finger joints may be used in service class 1 and 2. Only ‘beam log’ type beams may be used.

6	Where load-bearing features of building structural elements or kits in the form of calculated load-bearing values, mechanical strength or complete static calculations are stated in the declaration of performance, these count as structural analysis verifications.

Annex A 1.2.5/2

1	 DIN 68800-1:2011-10 and DIN 68800-2:2012-02 apply exclusively to the application and classification in use classes.

2	Timber structural elements on which chemical wood protection is used must be designed and executed in such manner that the agents used for chemical wood protection and its conditions of use are comprehensible using the BAuA [Bundesanstalt für Arbeitsschutz und Arbeitsmedizin; Federal Agency for Industrial Safety and Occupational Medicine] or DIBt approval number.

NB: Until the biocide approval is issued by the Federal Agency for Industrial Safety and Occupational Medicine (BAuA), the wood preservative requires a general official building approval.

3	Re DIN 68800-2:2012-02, Section 5.2.1.2:

Open exterior-wall claddings on perpendicular battens with underlying permanently effective water-draining and UV-resistant coating may only be executed if the films under DIN EN 13859-2:2010, Section 4.3.9 is demonstrated to have sufficient UV resistance in accordance with Section 5.2.1.2(e) of the standard. These films must be suitable for the effect of UV radiation, have a sd value ≤ 1.0m and have class W1 resistance to water penetration.

Annex A 1.2.6/1

1	Re DIN EN 1996-1-1:2013-02, Section 2.5:

The design of masonry on the basis of tests shall not apply.

2	Re DIN EN 1996-1-1:2013-02, Section 6.1.2.2:

To determine the design value for load-bearing capacity, calculate the reduction factor Фm in order to take account of thinness and eccentricity, in accordance with DIN EN 1996-1-1/NA:2012-05, NCI Annex G.

3	In addition to DIN EN 1996-1-1:2013-02, DIN EN 1996-1-1/NA:2012-05, DIN EN 1996-1-1/NA/A1:2014-03 and DIN EN 1996-1-1/NA/A2:2015-01, the following standards must be observed:

DIN 20000-401:2017-01	Application of construction products in structures – Part 401: Rules on the use of masonry bricks according to DIN EN 771-1:2015-11

DIN 20000-402:2017-01	Application of construction products in structures – Part 402: Rules on the use of sand-lime bricks as per DIN EN 771-2:2015-11

DIN V 20000-403:2005-06	Application of construction products in structures – Part 403: Rules on the use of concrete masonry bricks as per DIN EN 771-3:2005-05

DIN 20000-404:2015-12	Application of construction products in structures – Part 404: Rules on the use of aerated concrete bricks as per DIN EN 771-4: 2011-07

DIN V 20000-412:2004-03	Application of construction products in structures – Part 412: Rules on the use of masonry mortar as per DIN EN 998-2:2003-09

or

DIN 105-100:2012-01 - Masonry bricks - Part 100: Masonry bricks with specific properties

DIN V 18151-100:2005-10 - Lightweight concrete hollow blocks - Part 100: Hollow blocks with special properties

DIN V 18152-100:2005-10	Solid masonry or solid blocks of lightweight concrete – Part 100: Solid masonry or solid blocks with specific properties

DIN V 18153-100:2005-10	Concrete masonry bricks (normal concrete) – Part 100: Masonry blocks with specific properties

DIN V 18580:2007-03 - Masonry mortar with specific properties

4	For the design, dimensioning and execution of ancillary components in accordance with EN 845-1:2013+A1:2016, EN 845-2:2013+A1:2016 and EN 845-3:2013+A1:2016 there is no universally applicable technical rule in terms of building inspection requirements.

5	For chamfered blocks pursuant to DIN 20000-402:2017-01 the chamfer width must not exceed 7 mm. When using chamfered blocks in load-bearing masonry, the design contact area width for cementing must be ≥ 115 mm, when using chamfered blocks for the facing shell of double-shell masonry it must be ≥ 90 mm. The contact area width is the block width minus the chamfer width(s).

Annex A 1.2.6/2

to DIN EN 02/01/1996 in conjunction with DIN EN 1991-1-3/NA

For special developments (e.g. connections, joints, etc.), the rules of application under DIN 4102-4:2016-05 must be observed, where the Eurocode does not provide any information.

Annex A 1.2.6/3

Re DIN 1053-4

When applying the technical rule DIN EN 1996-1-1/NA/A1:2014-03, DIN EN 1996-1-1/NA/A2:2015-01, DIN EN 1996-3/NA/A1:2014-03 and DIN EN 1996-3/NA/A2:2015-01 and Annex A 1.2.6/1 must be observed.

The provisions of DIN EN 1996-1-2:2011-04 in conjunction with DIN EN 1996-1-2/NA:2013-06 for non-prefabricated masonry apply to fire-protection masonry design, and the following shall also apply to fire wall classification (REI-M and EI-M criterion):

Where the masonry is not executed from room-wide façades, vertical butt joints must be inserted in the wall as follows.

In single panels a 6 mm concrete steel looped reinforcement must be positioned on-site one-third of the way up and at half wall height  – as shown in the picture – in the horizontal joints so that the loops overlap after the panels are laid in the butt joints. An 8 mm reinforcing steel bar should be inserted downward into these reinforcement rings . The requirements of Section 8.2.1 of the standard must be observed. The joint must then be filled with mortar without cavities as per Section 5.3.3 of the standard.

≥ 750

≥ 750

Figure: Wall-level vertical butt joints for fire walls

Annex A 1.2.7/1

1	For lack of a technical best practice for the design, dimensioning and execution of glued glass constructions using construction products with an ETA according to ETAG 002 or EAD 090035-00-0404, proof according to § 17a LBO is required.

2	When designing, dimensioning and executing glass constructions in windows and exterior doors, the provisions of DIN 18008-1:2010-12, DIN 18008-2:2010-12, DIN 18008-2 Corrigendum 1:2011-04 and/or DIN 18008-4:2013-07 shall be observed.

Annex A 1.2.7/2

1	Laminated safety glass within the meaning of the DIN 18008 series of standards is defined as laminated safety glass pursuant to EN 14449:2005 that is classified at least as class 2(B)2 pursuant to DIN EN 12600:2003-04 in terms of properties including shock resistance, as confirmed by a declaration of performance and CE marking. In order to meet the structural requirements of the DIN 18008 series of standards with regard to residual load capacity, laminated safety glass within the meaning of DIN 18008 may be produced e.g. using polyvinyl butyral (PVB) films with the following properties:

Tensile strength: ≥ 20 N/mm

Elongation at break: > 250 %.

(Test pursuant to DIN EN ISO 527-3:2003-07; test velocity: 50 mm/min, testing temperature: 23 °C.)

For coated glass, the coating must be done on the side without the PVB film.

2	Heat-soaked tempered safety glass (HTSG) as defined in the DIN 18008 series of standards shall be understood to be heat-soaked tempered safety glass pursuant to EN 14179-2:2005.

Monolithic single glass panes or exterior monolithic panes made of multi-panel insulating glass (MIG) from tempered safety glass (TSG) or heat-soaked TSG may be installed if their upper edge is less than 4 m above traffic areas, in view of the likelihood of failure due to nickel sulfide inclusions (spontaneous breakage).

Notwithstanding the above, heat-soaked tempered glass may be used as a monolithic single pane or as an exterior monolithic pane made of multi-panel insulating glass (MIG) without restriction as to installation height, if the probability of failure due to nickel sulfide inclusions (spontaneous breakage) is reduced by appropriate measures so that sufficiently safe glazing constructions may be created. A construction is deemed sufficiently safe if a minimum value for the reliability index β = 4.7 (reference period 1 year) or β = 3.8 (reference period 50 years) according to DIN EN 1990:2010-12 is achieved.

Annex A 1.2.7/3

Re DIN 18008-2

1	During application, DIN 18008-2 Corrigendum 1:2011-04 must be taken into account.

2	The technical rule does not need to be applied to:

Roof windows in housing units and rooms with similar use (e.g. hotel rooms, office spaces) with a light surface (inner dimensions) of up to 1.6 m²,

Glazing in cultivation greenhouses/commercial production greenhouses.

- NB:

- Linear glazings which can be walked upon for maintenance and cleaning purposes (conditionally walkable glazings) as well as linear glazings with fall-through protection requirements do not require any further type approval in accordance with § 17a(4) LBO, as long as planning, design and construction are carried out in accordance with DIN 18008-2 and the requirements of DIN 18008-6:2018-02 are also observed.

- This applies accordingly to point-fixed glazings as per DIN 18008-3:2013-07

Annex A 1.2.8/1

Re DIN EN 13084-1

Re Section 5.2.4.1:

The effects of earthquakes are determined as per Section 1.2.9.

Annex A 1.2.8/2

Re DIN EN 13084-6 and DIN EN 13084-8

DIN EN 13084-1:2007-05 in conjunction with Annex A 1.2.8/1 shall also apply.

Annex A 1.2.8/3

Re DIN EN 12812

When applying this technical rule, the 'Application guideline for falsework in accordance with DIN EN 12812', August 2009 edition, must be observed.

Annex A 1.2.8/4

For working and protective scaffolding and for falsework, tubular steel scaffolding coupling may continue to be used with screw or wedge closure manufactured based on a test report pursuant to the former state test mark ordinances, provided a there was a test report for use before 01 January 1989 at a minimum. Scaffolding components that meet these conditions are published in a list in DIBt Mitteilungen, vol. 6/97, p. 181.

Annex A 1.2.8/5

When applying the technical rules, the 'Application guideline for working scaffolds in accordance with DIN EN 12811-1', November 2005 edition, must be observed.

Annex A 1.2.8/6

Re ‘Guideline for Wind Turbines’

Compliance with the requirements regarding the stability of the tower and the foundations of the wind turbine can be considered satisfied if the verification procedure was performed in accordance with the Guidelines for wind turbines referred to here.

The following must be observed when applying the technical rule:

1	Where reference is made to DIN 18800-7 or DIN V 4113-3 in standards applicable to the execution of steel or aluminium structures, they shall be subject to DIN EN 1090-2: 2018-09 or DIN EN 1090-3:2019-07.

2	Distances to transport routes and buildings, regardless of requirements pursuant to other legislation, must be observed due to the danger of dropped ice (wind turbine in operation) and falling ice (wind turbine stopped) if there may be a threat to public safety. Distances measured from the tower axis greater than 1.5 times (rotor diameter plus hub height) are in general sufficient in regions that are not particularly affected by ice. In other cases, an expert opinion is required.

3	Supplementary documents in addition to the civil engineering documents in listed in Section 3(A) to (L) of the guideline:

3.1	the official opinion of an expert25, as to the effects of neighbouring structures, terrain roughness and topography on the suitability of the proposed wind turbine according to Paragraph 7.3.3 of the guideline. With respect to the turbulence intensity, the distances to neighbouring wind turbines are to be evaluated in respect of the safety of existing and potential future wind turbines and the proposed wind turbine, where the distances set out in Paragraph 7.3.3 of the guideline are not adhered to,

3.2	an expert opinion25,26 on the operating safety of facilities, whereby the operation of wind turbines can be safely ruled out or prevented in the case of ice accretion (e.g. rotor blade heating), where the required distances to take account of the danger of falling ice cannot be observed,

3.3	the subsoil expert report set out in Section 3(H) of the Guideline to confirm that the requirements underlying the layout of the turbine on the subsoil are present at the place of installation,

3.4	design life span as set out in Section 9.6.1 of the Guideline.

4	For wind turbines with a rotor sweep of less than 200 m² producing a voltage of under 000 V AC or 1500 V DC, the following civil engineering documents listed under Section 3(A) to (L) of the Guideline are not required: the expert reports pursuant to Section 3(I), (J), (K) and (L) of the Guideline.

5	Points 3.1 to 3.4 do not apply to wind turbines up to 10 m tall, measured from the surface of the ground up to the highest point of the area swept by the rotor, and with a rotor diameter of up to 3 m.

Annex A 1.2.8/7

The following applies to the use of stationary cylindrical steel tanks in accordance with EN 12285-2:2005:

In flood-prone areas, the tanks must be positioned in such a manner that they cannot be reached by flood water.

They may not be positioned in earthquake zones 1 to 3 (DIN 4149:2005-04).

Annex A 1.2.8/8

The following applies to the use of stationary thermoplastic tanks in accordance with EN 13341:2005+A1:2011:

In flood plains, the containers must be positioned in such a way that they cannot be reached by flood water.

They may not be positioned in earthquake zones 1 to 3 (DIN 4149:2005-04).

Fire prevention requirements (fire exposure time) may not be met by these tanks.

Annex A 1.2.9/1

Re DIN 4149

The following must be observed when applying the technical rule:

1	In earthquake zone 3, roofing on roofs with more than 35° inclination, and in earthquake zones 2 and 3 the free-standing parts of the chimneys over the roofs, must be secured against the effects of earthquakes using appropriate measures to ensure that no parts can fall on adjacent public thoroughfares or on entrances to the structural works.

2	In respect of the allocation of earthquake zones and geological underground classes, reference is made to the map of earthquake zones and geological underground classes, published by DigitalService CD-PRINT, Isener Str. 7, 84405 Dorfen. The table ‘Classification of earthquake zones according to administrative limits’ is available at https://www.dibt.de/de/wir-bieten/technische-baubestimmungen.

2a	The references to DIN 1045-1:2001-07 and DIN 1052:2004-08 are replaced as follows throughout the standard text:

DIN 1045-1:2001-07 replaced by reference to DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12,

DIN 1052:2004-08 replaced by reference to DIN EN 1995-1-1:2010-12 and DIN EN 1995-1-1/A2:2014-07 in conjunction with DIN EN 1995-1-1/NA:2013-08.

2b	For earth anchors in structures in earthquake zones of Germany under seismic influence, all anchors with general building inspectorate approval (abZ) may be used that refer to Annex C of ETAG 001 for the measurement of the fastenings. The earth anchors shall be designed in accordance with the design process given in the abZ for static and quasi-static effects.

For nuclear installations, the requirements of the DIBt Guideline for anchor fastenings in nuclear power plants and other nuclear installations of June 2010 must be observed.

3	Re Section 5.5:

When determining the effective masses to calculate earthquake load, snow loads shall be multiplied in Equation (12) with the combination coefficient Ψ2 = 0.5. These reduced snow loads must also be taken into account in the proof of stability.

4	Re Section 6:

In 6.2.2.4.2 (8), the reference to ‘Section (7)’ is replaced by the reference to ‘Section (6)’.

The condition ‘or’ is replaced by ‘and’ in the first sentence of 6.2.4.1(5).

5	Re Section 8:

In earthquake checks of steel and pre-stressed concrete constructions under this standard, DIN EN 1992-1-1:2011-01 shall apply in conjunction with DIN EN 1992-1-1/NA:2013-04.

Paragraph 8.2(3) shall be worded as follows:

‘The dimensioning and structural design provisions specified in DIN EN 1992-1-1:2011-01 shall apply. Accordingly, the procedures specified for determining force variables in 5.5 and 5.6 of DIN EN 1992-1-1:2011-01 shall not apply unless dual utilisation of plastic reserves (due to q > 1 and non-linear calculation assumptions) is excluded in the process.’

Paragraph 8.2(5)(a) and Paragraph 8.3.2(2) shall be worded as follows:

‘In building components used to mitigate the effects of earthquakes, type B500B steel with increased ductility shall be used. This may be dispensed with if it is ensured that the areas affected by earthquakes do not plastify, without taking into account any of the behaviour coefficients reduced by the mathematical earthquake effects (i.e. q = 1.0).’

Paragraph 8.3.5.3(4)(1) shall be worded as follows:

‘Transverse reinforcement to be provided at overlapping joints must be dimensioned pursuant to DIN EN 1992-1-1:2011-01, Section 8.7.4.’

Paragraph 8.4(2), sentence 2 shall be worded as follows:

‘The provisions under DIN EN 1992-1-1:2011-01, Section 9.4.1(3) shall be taken into account here.’

Paragraph 8.4(3), sentence 2 shall be worded as follows:

‘The minimum reinforcement grade for shear reinforcement shall be determined pursuant to DIN EN 1992-1-1:2011-01, Section 9.2.2(5) including DIN EN 1992-1-1/NA:2013-04, NDP on 9.2.2(5).’

6	Re Section 9:

For earthquake checks of steel structures, the references to DIN 18800-1 to 18800-4 and DIN V ENV 1993-1-1 with DASt [Deutsche Ausschuß für Stahlbau; German commission on steel construction] Guideline 103 shall be replaced by DIN EN 1993-1-1:2010-12 and DIN EN 1993-1-1/A1:2014-07 in conjunction with DIN EN 1993-1-1/NA:2015-08 and DIN EN 1993-1-8:2010-12 in conjunction with DIN EN 1993-1-8/NA:2010-12.

In Paragraph 9.3.4(1), the reference to DIN 18800-7 is replaced by the reference to DIN EN 1090-2:2011-10.

Ductility classes 2 and 3 may only be used if the maximum value of the tensile yield point fy, max (see DIN 4149:2005-04 Section 9.3.1.1) and the minimum notch impact strength for the steel to be used stated in Paragraph 9.3.1.1(2) are documented in the building documents.

Section 9.3.5.1(2)(c) shall be worded as follows:

‘c)	for tensile stressed building components, the condition under DIN EN 1993-1-1:2010-12, 6.2.3(3) must be adhered to instead of hole weakening (Nu,R,d > Npl,R,d)’

In Paragraph 9.3.5.4 (7) the reference to Paragraph ‘9.3.3.3(10)’ is replaced by the reference ‘9.3.5.3(10)’.

In Paragraph 9.3.5.5(5), formula 87 shall be worded as follows:

In Paragraph 9.3.5.8 (1) the reference to Sections ‘8 and 11’ is replaced by the reference ‘8 and 9’.

7	Re Section 10:

In earthquake checks of timber structures under this standard, DIN EN 1995-1-1:2010-12 shall apply in conjunction with DIN EN 1995-1-1/NA:2013-08.

Paragraph 10.1(5) shall be worded as follows:

- ‘(5) In earthquake zones 2 and 3, a combination of structural models of ductility classes 1 and 3 for the two main directions of the structure may not be used in the calculation.’

Paragraph 10.3(1) shall be worded as follows:

- ‘(1) The conditions of DIN EN 1995-1-1:2010-12, Section 3 in conjunction with DIN EN 1995-1-1/NA:2013-08 must be adhered to.’

With the 4th subparagraph marked with a bullet point, Paragraph 10.3(2) assumes the following wording:

- ‘– the usability of multi-layer solid timber panels and their fasteners must be demonstrated;’

With the 2nd subparagraph marked with a bullet point, Paragraph 10.3(3) assumes the following wording:

- ‘– the increase in nail distance at the same load-bearing capacity pursuant to DIN EN 1995-1-1:2010-12, Section 9.2.3.2(4) shall not be used in earthquake zones 2 and 3;’

With the 3rd subparagraph marked with a bullet point, Paragraph 10.3(3) assumes the following wording:

- ‘– the application of glued panels leads to classification in ductility class 1, including in the case of simultaneous use of mechanical fasteners.’

Paragraph 10.3(6) shall be worded as follows:

- ‘(6) When applying the equations to determine load-bearing capacity of dowel-type fasteners and for shearing pursuant to DIN EN 1995-1-1/NA:2013-08 Section NCI on 8.2 to NCI on 8.7, the minimum thickness in timber materials, as permitted in DIN EN 1995-1-1/NA:2013-08 NCI NA.8.2.4 (NA.2) and NCI NA.8.2.5 (NA.4), must be adhered to in earthquake zones 2 and 3.’

Section 10.3(7) shall be supplemented as follows:

- ‘(7) The load-bearing capacity of the fasteners pursuant to DIN EN 1995-1-1:2010-12, Section 9.2.4.2(5) may not be increased.’

8	Re Section 11:

Paragraphs 11.7.3 (1), 11.7.3(2) and 11.7.3(3) are worded as follows (Tab. 16 is deleted):

‘(1) The rated value Ed of the decisive force variables in the earthquake measurement situation shall be determined using Equation (37). Depending on the existing boundary conditions, either the simplified or the more precise calculation methods under DIN 1053-1:1996-11 may be applied.’

‘(2) When applying the simplified calculation method under DIN 1053-1:1996-11 the dimensioning load-bearing capacity Rd shall be determined from the permitted tensions increased by 50 %. Explicit mathematical proof of sufficient spatial stiffness may not be dispensed with.’

‘(3) When applying the more precise calculation method, the rated value Ed of the decisive force variables must be determined using times the effects pursuant to DIN 1053-1:1996-11. The decisive safety factor  may be reduced to 2/3 of the values set out in Section 7 of DIN 1053-1:1996-11.

The mathematical strength values set out in DIN 1053-1:1996-11 shall be used as dimensioning load-bearing capacity Rd.’

9	Re Section 12:

For earthquake checks of foundations and retaining structures under this standard, DIN 1054:2005-01 including DIN 1054 Corrigendum 1:2005-04, DIN 1054 Corrigendum 2:2007-04, DIN 1054 Corrigendum 3:2008-01, DIN 1054 Corrigendum 4:2008-10 and DIN 1054/A1:2009-07 shall be applied.

Paragraphs 12.1.1(1) and 12.1.1(2) are worded as follows:

- ‘(1) Where the proof is conducted based on capacity measurement, Section 7.2.5 must be observed.’

- ‘(2) Proof under action combinations as per Section 7.2.2 includes:

- (a) proof of sufficient load-bearing capacity for the foundation elements under the building material rules of this standard and the relevant technical standards;

- (b) the relevant proof regarding the foundations under DIN 1054:2010-12, DIN 1054/A1:2012-08 and DIN 1054/A2:2015-11. Restrictions concerning the general applicability of verification procedures for the earthquake load case in DIN 1054 or in its accompanying calculation standards need not be observed if there are no unfavourable sold conditions (debris, loose sediment, artificial recharge, etc.).’

Paragraph 12.1.1(4) shall be worded as follows:

- ‘(4) When demonstrating slide stability, the characteristic value of earth resistance (passive earth pressure) may only be used with 30 % maximum of its nominal value.’

Paragraph 12.2.1(2) shall be worded as follows:

- ‘Earth pressure effects during earthquakes can be determined in simplified fashion by replacing the earth pressure value  with .’

A 2	Fire Protection

A 2.1	General fire prevention requirements for building structures

Under § 3(2) LBO in conjunction with § 15 LBO, physical structures must be positioned, erected, converted and maintained in such a way that

fire emergence is prevented

the spread of fire and smoke (fire expansion) is prevented

during a fire it is possible to rescue people and animals

effective fire-fighting is possible.

The provisions of §§ 5, 27 to 37, 40 to 43, 47 and 48 LBO and the requirements in the following sections elaborate the fire protection requirements in terms of the relevant protection objectives for building structures.

For construction products under current harmonised European specifications whose use has an impact on building structures in terms of compliance with fire protection requirements (A 2.1.1 et seq.), classifications of performance data and related usability and execution conditions are included in the technical rule included in paragraph A 2.2.1.2.

A 2.1.1	Requirements on the accessibility of building structures

To carry out fire-fighting and rescue measures, access points to the site must be provided for the fire service pursuant to § 5 LBO; the elaborations of the technical rule included in paragraph A 2.2.1.1 must be observed.

In open carriageways and passageways through which the only escape route to public thoroughfares leads or the accessibility for the fire service is ensured, only non-combustible insulating layers are permitted on supports, walls and ceilings.

A 2.1.2	Requirements on the fire characteristics of parts of building structures

A 2.1.2.1	General

To meet the basic requirements, general requirements for the fire behaviour of parts of physical structures are set out in § 27(1) LBO. To this end, § 27(1) LBO contains the following definitions:

non-combustible

flame-resistant

normally flammable.

For building structures or parts thereof for which there are requirements of non-combustibility or flame resistance, it must be ensured that fire cannot spread in or around the buildings through unnoticed progressive glowing and/or smouldering.

The technical rule included in paragraph A 2.2.1.2 must be observed to meet the following requirements.

A 2.1.2.2	Non-combustible

For use in building structures, it must be ensured in case of fire that parts of the building structures do not contribute to the fire, specifically a developing or fully developed fire. Depending on use, no or restricted ignition, minimal smoke development, no progressive glowing and/or smouldering and/or burning droplets or particles falling must occur; the type of component and the dimensional stability as well as the melting point and melting temperature shall be taken into account.

Building materials are not combustible if they permanently comply with the criteria specified in DIN 4102-1:1998-05, Section 5.1 or 5.2 during a fire, if required, with the melting point information of at least 1000°C pursuant to DIN 4102-17: 2017-12.

A 2.1.2.3	Flame-resistant

For use in building structures, it must be ensured that parts of building structures only make a limited contribution to a progressive, incipient or developing fire and that the fire can only spread to a limited extent.

Depending on the use of the component, ignition shall occur only after flames have been present for a specific time, only when smoke reaches a specific temperature, only where there is a limited release of energy, a defined amount of smoke development, no self-sustained continuation of the fire, no progressive glowing and/or smouldering, and - where applicable - no burning particles or droplets.

Exposure to fire shall be deemed to be present, except for exterior wall cladding and floor coverings, in case of a fire in accordance with Section 6.1.1 a) of DIN 4102-1:1998-05 affecting an object in a space; in case of exterior wall cladding, exposure to fire according to Section 6.1.1 b) of DIN 4102-1:1998-05 flames leaping a wall opening (see also A 2.1.5), for floor coverings fire exposure in accordance with Section 6.1.1 c) of DIN 4102- 1:1998-05 shall be deemed to be present in case of a fire situation where flames leap out from a doorway to an adjacent space, where the horizontal spread of flames and the development of smoke present a minor risk.

Building materials are flame-resistant if, during exposure to a fire pursuant to DIN 4102-1:1998-05, Section 6.1, they permanently fulfil the criteria given there.

Parts of building structures that should not produce any falling burning droplets or particles must also fulfil the criteria pursuant to DIN 4102-16:2015-09, Section 9.3.

A 2.1.2.4	Normally flammable

For use in building structures in case of exposure to an incipient fire it must be ensured that parts of building structures can only contribute to the fire to a limited extent; where required, no falling burning droplets or particles must be produced. Fire exposure shall be deemed to be defined in accordance with Section 6.2.1 of DIN 4102-01:1998-05.

Building materials are deemed to be normally flammable if, during exposure to a fire pursuant to DIN 4102-1:1998-05, Section 6.2, they permanently fulfil the criteria given there.

Parts of building structures that should not produce any falling burning droplets or particles must also fulfil the criteria pursuant to DIN 4102-1:1998-05, Section 6.2.6.

Where several integral parts are assembled for use, the requirements for parts of building structures must also be met after assembly, unless overall the fire characteristics is reached that all other requirements for individual structural elements are met.

Where an integral part is used for the building structure that does not meet the ‘normally flammable’ requirement, (easily flammable) § 27(1), second clause LBO must be observed.

A 2.1.3 	Requirements on the fire resistance of parts of building structures

A 2.1.3.1	General

For the fulfilment of the basic requirements in accordance with § 3 in conjunction with § 15 LBO, general requirements for the fire resistance of parts of building structures are set out in § 27(2) LBO and a distinction is made between:

fireproof

highly fire retardant

fire retardant

structural elements.

The fire resistance of structural elements is essentially based on the applicable system of building inspection requirements (building classes, height of storeys, type of building). Classifications in fire resistance classes are made on the basis of fire tests in accordance with the standard temperature-time curve (STTC). Fire-resistance classes follow from the technical rule described under paragraph A 2.2.1.2.

With respect to load-bearing and stiffening structural elements, fire resistance relates to their stability in case of fire; with respect to space-enclosing components such as walls and ceilings, it relates to their ability to resist the spread of fire (space-barrier fire resistance - below: space barrier). Cross-section modifications and penetrations – including those performed subsequently – and deformations during a fire must be taken into account insofar as they could have an impact on the space barrier.

In terms of their fire characteristics, fire-resistant components must not contribute more to the fire than specified in § 27(2) LBO.

Where specific fire protection requirements and fire protection values of the building material class apply, coatings applied subsequently to structural elements up to a thickness of 0.5 mm remain disregarded, where the coatings are fully applied without hollow spaces on a non-combustible background.

They are categorised as follows:

- fire-resistant components:

Load-bearing and stiffening parts must consist of non-combustible building materials. Space-enclosing components must additionally have a layer of non-combustible building materials that is continuous in the component plane.

- highly fire-retardant components:

Where structural elements whose load-bearing and stiffening parts consist of combustible building materials, they must have effective all-over fireproof cladding made up of non-combustible building materials (fire protection cladding), and – where available – non-combustible insulating material. The fire-protective clothing must prevent

the load-bearing and stiffening parts from burning,

the introduction of fire and smoke into wall and ceiling components through joints, installations or fittings and the spread of fire within these components, and:

the spread of fire and smoke through connecting joints of space-enclosing components into adjoining units or spaces, and

any significant spread of smoke through connecting joints (see A 2.1.3.3.3).

Where the load-bearing and stiffening parts of space-enclosing highly fire-retardant components consist of non-combustible building materials, and there is a layer of non-combustible materials that is continuous in the component plane, then effective fire-protective clothing is not required; they may also consist entirely of non-combustible building materials.

- fire-retardant components:

Load-bearing and stiffening components may be made of combustible building materials. This also applies to space-enclosing components.

A 2.1.3.2	Requirements on stability in case of fire

A 2.1.3.2.1	General

To meet the requirements of § 13 LBO, load-bearing parts of building structures must remain stable even if a fire develops over a specific period of time. In general, the standard temperature-time curve should normally be used to determine the fire exposure for load-bearing structures in building structure.

Cross-section modifications and penetrations – including those performed subsequently – and deformations due to fire exposure must be taken into account insofar as they could have an impact on stability.

A 2.1.3.2.2	Fire-resistant

Stability must be ensured for at least 90 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4.

A 2.1.3.2.3	Highly fire-retardant

Stability must be ensured for at least 60 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4.

A 2.1.3.2.4	Fire-retardant

Stability must be ensured for at least 30 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4.

A 2.1.3.2.5	Fire resistance of 120 minutes

Stability must be ensured for at least 120 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4.

A 2.1.3.3	Space-barrier requirements in case of fire

A 2.1.3.3.1	General

Parts of building structures are space-enclosing if they prevent the spread of fire for a specific period of time as specified below, the space barrier is not affected, including near connections and joints to adjoining areas of building structures and if the side not exposed to fire does not show any smoke or droplets of particles from integral parts. Substantial falling or dripping of components on the side away from the fire is not deemed to be present if the size of such components does not exceed 10 cm in length or width. Explosive spalling of these components must not occur.

The same applies to seals and other closing devices on openings.

Unless otherwise specified, fire resistance refers to any possible direction of fire exposure (e.g. inward, outward, downward or upward).

Space-enclosing parts of the structure must each be adjacent to other parts of the structure that ensure space enclosure for at least the same amount of time. This is not required for exterior walls, which need not be space-enclosing, and roofs. A condition for this is however that the space-enclosing parts adjacent to such exterior walls or roofs remain stable for the same amount of time in case of fire.

Openings in space-enclosing components are not permitted, unless provided otherwise in § 29 to § 33, § 36, § 37, § 40 and § 46 LBO.

Where light-permeable surfaces may be created in space-enclosing walls as fire-resistant glazing that does not the impede the passage of heat radiation, they must in case of fire pursuant to DIN 4102-13:1990-05, Section 6.1 prevent the spread of fire and smoke in accordance with the fire resistance time of the space-enclosing walls and satisfy the criteria pursuant to DIN 4102-13:1990-05. They may be created only in places where there are no concerns in terms of rescuing persons or effective firefighting. To prevent the spread of fire, openings in these fire-resistant glazings are not permitted. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements. For the design, dimensioning and execution of fire-resistant glazing, there are no technical best practices with regard to the building inspection requirements, and proof pursuant to § 17a LBO is not required.

If overflow openings may be made in space-enclosing walls, the closures of such openings must be fitted with a smoke-triggered device and prevent the passage of fire and smoke according to the fire resistance of the space-enclosing walls, at least based on a standard fire as defined in DIN 4102-2:1977-09. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements. For lack of a technical best practice for the design, dimensioning and execution when using these closures, a proof pursuant to § 17a LBO is required.

Component joints must remain closed to ensure the space is enclosed during a fire. Building materials used for joint fillings must be non-combustible and dimensionally stable and must securely close the residual cross-section in case of fire. Where mineral insulating materials are used, these must have a melting point of at least 1000 °C according to DIN 4102-17:2017-12.

A 2.1.3.3.2	Fire-resistant

The space barrier must be effective for at least 90 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4. The stability of non-load-bearing components under their own weight in case of fire must be demonstrated. The observation of smoke development according to DIN 4102-2:1977-09, Section 8.6, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

There is deemed to be a continuous layer in the component plane if it is placed perpendicular to the direction of fire impact over the entirety of the space-enclosing part and does not itself contribute to the fire (i.e. is non-combustible).

Parts of space-enclosing components that are not load-bearing and stiffening parts and are not part of the continuous layer of the component, must be at least normally flammable.

A 2.1.3.3.3	Highly fire-retardant

The space barrier must be effective for at least 60 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4. The stability of non-load-bearing components under their own weight in case of fire must be demonstrated.

The observation of smoke development according to DIN 4102-2:1977-09, Section 8.6, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

For highly fire-retardant space-enclosing components with combustible load-bearing and stiffening parts made of wood, the detailed specifications of the technical rule included in paragraph A 2.2.1.4 must be observed.

A 2.1.3.3.4	Fire-retardant

The space barrier must be effective for at least 30 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4. The stability of non-load-bearing components under their own weight in case of fire must be demonstrated. The observation of smoke development according to DIN 4102-2:1977-09, Section 8.6, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

In respect of fire characteristics, components that contribute to fire are permitted (flame-resistant, normally flammable).

A 2.1.3.3.5	Fire resistance of 120 minutes

The space barrier must be effective for at least 120 minutes in case of fire exposure based on the standard temperature-time curve pursuant to DIN 4102-2:1977-09, Section 6.2.4. The stability of non-load-bearing components under their own weight in case of fire must be demonstrated. The observation of smoke development according to DIN 4102-2:1977-09, Section 8.6, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

In respect of fire characteristics, only components that do not contribute to fire are permitted (non-combustible).

A 2.1.4	Load-bearing and stiffening components

Parts of building structures that bear (support) loads or stiffen parts of building structures must remain stable under this load over a specific period in case of fire as per Section 2.1.3.2.

Where load-bearing parts of building structures are made of concrete, steel, aluminium, timber or masonry, the technical rules on structural fire design in A.1.2.3, A 1.2.4, A 1.2.5 and A 1.2.6 must be observed. If stability in case of fire is demonstrated mathematically, the following applies:

for load-bearing parts that must be fire-resistant, load-bearing capacity must be mathematically demonstrated for at least 90 minutes under fire exposure using the standard temperature-time curve,

for load-bearing parts that must be highly fire-retardant, load-bearing capacity must be mathematically demonstrated for at least 60 minutes under fire exposure using the standard temperature-time curve,

for load-bearing parts that must be fire-retardant, load-bearing capacity must be mathematically demonstrated for at least 30 minutes under fire exposure using the standard temperature-time curve

for load-bearing parts that must have fire resistance of 120 minutes, load-bearing capacity must be mathematically demonstrated for at least 120 minutes under fire exposure using the standard temperature-time curve.

Where load-bearing and stiffening parts of building structures are dimensioned based on natural fire models, Annex A 1.2.1/3 must be observed.

For highly fire-retardant load-bearing and stiffening components with combustible parts made of wood, the detailed specifications of the technical rule included in paragraph A 2.2.1.4 must be observed.

A component that is only used for stiffening may also display other fire characteristics than the fire-resistant component it is stiffening if the entire system has sufficient fire resistance.

A 2.1.5	Exterior walls

Non-load-bearing exterior walls and non-load-bearing parts of exterior walls of building structures, i.e. parts that bear no vertical load apart from their own weight and that are only designed for bearing the load of their own weight and wind loads, with the exception of those referred to in § 29(2) and (5) LBO, must consist of non-combustible building materials so that the spread of fire to and within these parts is limited for a sufficient length of time. This does not apply to windows and doors which are placed in the exterior wall (‘perforated façades’), as well as to joint seals and combustible insulating materials in accordance with § 29(2)(2)(2) and (3) LBO.

Openings in exterior walls of units to open corridors pursuant to § 37(5) LBO must have tightly closing doors. Openings of necessary stairwells or necessary landings adjacent to the open corridor must have smoke-tight and self-closing closures. Openings of exterior emergency stairwells on high-rise buildings towards open corridors must have smoke-tight and self-closing closures, openings in exterior walls of open corridors in high-rise buildings to utility units must have fire-retardant, smoke-tight and self-closing closures. In addition to the requirements of A 2.1.6, the requirements for outdoor climate also apply. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

Outside walls made of combustible building materials are permitted according to § 29(2)(1) first clause LBO, if they are fire-retardant as space-enclosing components.

In derogation of the specifications in Section A 2.1.3.3.4 (re § 27 LBO), failure after no less than 30 minutes pursuant to DIN 4102-3:1977-09, Section 5.3.2 (reduced standard temperature curve) may occur for fire from the outside in.

If surfaces of exterior walls and exterior wall cladding, except for substructures in accordance with § 29(3)(1), second clause, LBO must be flame-resistant as a whole, then the same applies to the individual components thereof.

For flame-resistant exterior wall cladding, the criteria for the fire exposure case as defined in DIN 4102-20:2017-10, Section 4.2, shall be observed.

The use of flame-resistant exterior wall cladding designed as an External Thermal Insulation Composite System (ETICS) with EPS insulating materials in order to satisfy the protection objective of § 27(1)(1) LBO for buildings of building classes 4 and 5 is only permitted if stable and dimensionally stable (even in case of fire) and non-combustible constructive devices are put in place on openings present in the exterior wall in the area of the lintels above the opening. This is not required if stable and dimensionally stable (even in case of fire) and non-combustible structural measures are put in place over the entire horizontal perimeter.

For exterior wall cladding designed as a thermal insulation system with EPS insulating materials, fire exposure from outdoors directly affecting the lower area of the façade must also be taken into account. For this purpose, suitable non-combustible constructive measures must be put in place so that the protection objective according to § 27(1)(1) LBO is fulfilled; otherwise, the technical rule included in paragraph A 2.2.1.5 must be observed.

If the use of flame-resistant building materials is not prescribed for buildings and where easily flammable building materials are used in conjunction with other building materials pursuant to § 27(1)(2) LBO, the connection must be durable. § 27(1)(2), second clause, LBO is not applicable to exterior wall cladding if accessibility is ensured or there is risk of damage.

For exterior walls with rear-ventilated cladding with cavities that extend over several storeys or that extend above fire walls, additional arrangements must be made to limit the spread of fire and the technical rule included in paragraph A 2.2.1.6 must be observed if they are made of non-combustible building materials.

A 2.1.6	Dividing walls

Depending on how they are used in the building structure, dividing walls must, pursuant to § 30 LBO, ensure a space barrier as per Section A 2.1.3.3 in case of fire for a sufficiently long period and be stable as a bearing wall as per Section A 2.1.3.2.

Connections including those of joint designs, pipe penetrations and cross-section reductions for the installation of sockets, switch boxes, line splitters etc. must not adversely affect the space barrier and, for load-bearing walls, stability.

Where door openings are necessary in dividing walls in accordance with § 30(2) LBO in light of their use, these must – regardless of the fire resistance of the dividing walls – have durably fire-retardant, sealed and self-closing locks to prevent the spread of fire. Locks are deemed to be self-closing if they have suitable closing devices that close the clock automatically using stored mechanical energy.

The same applies to dividing walls in accordance with § 46(1) LBO. The locks shall not lose their space barrier and sealing effectiveness for at least 30 minutes in case of fire exposure from either side pursuant to DIN 4102-2:1977-09, Section 6.2.4; they shall satisfy the criteria pursuant to DIN 4102-5:1977-09, Sections 5.2.2 to 5.2.8 and observe the criteria as to permanent operation pursuant to DIN 4102-18:1991-03. The observation of smoke development according to DIN 4102-5:1977-09 must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

These fire protection barriers must consist of normally flammable building materials at the least, including all accessories and necessary fasteners. Fire protection barriers must have adequate locks in case of fire with an adequate latch bolt to prevent opening and spread of fire if pressure changes due to fire.

The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

In order to enable persons to use emergency exits and the fire service to reach the place of the fire, a fire protection lock placed in such exits in the form of a door must be manually openable until it is reached by the fire. These requirements also apply to fire protection locks in the form of a sliding, lifting or rolling door for example, which have relatively long opening and closing times, using auxiliary power where necessary, meaning that an additional door must be provided for these fire protection locks for rescue purposes.

These fire protection locks should be kept closed as intended. A fire protection lock may be kept open if it has a device to ensure the enclosing function of the dividing wall which immediately and safely closes the fire protection lock already in case of smoke (locking mechanism).

A locking mechanism is a system consisting of devices or combinations thereof that can be used to disable the operation of closing devices. When the activation mechanism is triggered in case of fire, due to a malfunction or through manual operation, any locks that were kept open shall be immediately cleared for closing. A locking mechanism shall consist of at least

a fire alarm, in the form of a smoke and - where necessary - heat alarm,

a signal-processing triggering device,

a power supply connected to a power grid,

a locking device connected to the power supply, and

a manual activation button.

For lack of a technical best practice for the design, dimensioning and execution when using locking mechanisms, a proof pursuant to § 17a LBO is required.

Self-closing locks may be opened and closed by an electric motor only if the drive systems meet the following requirements.

The drive system required for the electromotor opening and closing of locks shall be a system consisting of at least

a drive with signal-processing drive control,

a source of energy in addition to the general power supply, and

a fire detector, in the form of a smoke detector or, if necessary, a heat detector,

a manual activation button.

which can be used to open the lock if necessary and can be closed immediately and securely in case of fire or malfunction or through manual operation. After closing, only manual opening shall be permitted. For the planning, design and implementation of drive systems for the electromotor (powered) opening and closing of locks, except for construction products pursuant to C 2.6.10 and C 2.6.13, there is no technical best practice with respect to building inspection requirements, so that a proof pursuant to § 17a LBO is required.

Dividing walls made of fire-resistant glazings must satisfy the requirements for room-enclosing components in case of exposure as defined in DIN 4102-13:1990-05, Section 6.1, with respect to the minimum time and further criteria pursuant to DIN 4102-13:1990-05, Sections 6.2 and 6.3.1. The observation of smoke development according to DIN 4102-13: 1990-05, Section 8.1, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements. To ensure the enclosing function of the dividing wall, locks on necessary openings in a dividing wall designed as fire-resistant glazing must satisfy the fire resistance time of the fire-resistant glazing; the requirements on fire resistance time also apply.

A 2.1.7	Fire walls and walls that are permitted instead of fire walls

Pursuant to § 31 LBO, fire walls of building structures must not contribute to the fire, in order to ensure the achievement of the protection objectives. They must be made of non-combustible building materials. Notwithstanding § 29(3) LBO, exterior wall cladding on building-enclosing walls, including insulation materials and substructures pursuant to § 31(7)(3) LBO, must be non-combustible.

Fire walls must also be stable and space-enclosing so that additional mechanical loads from parts of the building structure that fail in case of fire have an effect on these walls (impact). This also applies to walls used instead of fire walls, unless otherwise specified.

Fire walls are only deemed stable and space-enclosing in case of fire if they meet the requirements of Sections A 2.1.3.2 and A 2.1.3.3 without additional measures as well as the criteria of DIN 4102-3:1977-09, Sections 4.2.1 to 4.2.4. The observation of smoke development according to DIN 4102-3:1977-09, Section 5.4, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

Highly fire-retardant walls instead of fire walls pursuant to § 31(3)(2)(1) LBO are only deemed stable and space-enclosing in case of fire if they meet the requirements of Sections A 2.1.3.2 and A 2.1.3.3 without additional measures as well as the criteria of DIN 4102-3:1977-09, Sections 4.2.2 to 4.2.4, but only for a duration of fire impact of 60 minutes. These components are otherwise subject to the requirements of Section A 2.1.3.1, sentence 6(b). The observation of smoke development according to DIN 4102-3: 1977-09, Section 5.4, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

For other walls instead of fire walls according to § 31(3)(2) numbers (2) and (3) LBO, the requirements according to Section A 2.1.6 shall be observed.

Connections in other components in fire walls and walls used instead of fire walls, including joint designs, pipe penetrations and cross-section reductions for the installation of sockets, switch boxes, line splitters etc. must not adversely affect the space barrier or stability.

In inner fire walls and inner walls used instead of fire walls, openings are only permissible for doors pursuant to § 31(8) LBO; they must have durably sealed and self-closing barriers with fire resistance time appropriate for the wall and restricted so that the space barrier of these walls is ensured. The requirements under Section A 2.1.6 also apply.

For glazing pursuant to § 31(9) LBO, these requirement are fulfilled with fire-resistant glazing if during a fire pursuant to DIN 4102-13:1990-05, Section 6.1 the spread of fire and smoke and the passage of heat radiation is prevented for the minimum required time and the criteria pursuant to DIN 4102-13:1990-05 are satisfied. The observation of smoke development according to DIN 4102-13:1990-05, Section 8.1, must have led to the finding that at most a small amount of smoke was observed (no planar smoke emission over the component surface but only individual wisps of smoke, including from joints).

The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

A 2.1.8	Ceilings

Ceilings between storeys must remain stable and space-enclosing for a sufficient amount of time in building structures pursuant to § 32 LBO and must meet the requirements of Sections A 2.1.3.2 and A 2.1.3.3.

Connections including those for joints to other components, including on exterior walls, must be designed to maintain stability and the space barrier to prevent the spread of fire.

If openings in ceilings according to § 32(4)(3) LBO must have permanently tightly sealing and self-closing locks (flaps, sliding panes, etc.) to ensure the fire resistance of the ceiling, then the enclosing function of the ceiling must be ensured. The requirements under Section A 2.1.6 also apply, including in respect of keeping this fire protection barrier open. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

A 2.1.9	Roofs

The roof covering as part of the building structure consists of the rainwater-draining layer (roof membrane), including parts used for thermal insulation and to protect against the penetration of moisture, parts needed to transfer load to the parts bearing the roof covering load (insulating materials, insulation locks, underlays, battens). Roof coverings also include transparent areas and barriers to openings and their barriers on the roof covering.

Unless otherwise allowed in § 33(3) LBO, roof coverings must withstand fire exposure for a sufficient length of time in the event of fire from the outside into the physical structure through heat radiation or burning parts from other physical structures and the spread of fire to the physical structure (rigid roofing pursuant to § 33(1) LBO). The roof covering must only sustain limited damage both vertically and horizontally and must only make a limited contribution to the fire. The roof inclinations must be taken into account because the fire characteristics of roofs can vary according to roof inclination.

This requirement is met when non-green roofs are used that at a minimum meet the criteria set forth in DIN 4102-7:1998-07, Section 4(a) to (e) during a fire as set out in DIN 4102-7:1998-07, Section 6.1 to 6.5, taking account of Section 7.

Green roofs are considered to be hard roofs if they meet the requirements of the technical rule included in paragraph A 2.2.1.3.

For specific combustible transparent areas or barriers of openings for which there is no proof of rigid roofing, use as a roof covering is permitted without this leading to the expectation that the prevention of fire formation or spread of fire in or on the roof is impaired if:

the sum of the sections does not exceed 30 % of the roof area,

the sections are at least 5 m from the fire walls of directly adjoining higher buildings or sections of buildings

- and the sections

are clerestory strips of maximum 2 m wide and 20 m long, are at least 2 m from each other and from the roof edges, or

are dome lights with an area of not more than 6 m² each, are at least 1 m from each other and from the roof edges and are at least 2 m from clerestory strips made of combustible building materials.

For roofs on buildings with adjoining eaves, in addition to the rigid roof covering, each roof must be space-enclosing for a sufficient length of time and the parts bearing and stiffening the roof must remain stable for a sufficient length of time to prevent the spread of fire. The requirements of § 33(6) LBO are met only by roofs that ensure the space barrier as per Section A 2.1.3.3 for at least 30 minutes in case of fire from the inside out. The parts supporting and stiffening the roof must ensure stability as per Section A 2.1.3.2 for at least 30 minutes in case of fire.

For roofs of annexes in the cases of § 33(7) LBO it is required, in order to prevent the spread of fire from the annex into the adjacent building structure, that in addition to the hard roof structure, the roof of the annex retains its enclosing function for a sufficiently long time, and the load-bearing and stiffening components for the roof remain stable for a sufficiently long time, up to a distance of at least 5 m. This also applies to non-space-enclosing walls without openings. These requirements are met only by roofs that ensure the space barrier for the period of time as per Section A 2.1.3.3, for which the ceilings of the adjoining building structure must also ensure the space barrier. The parts supporting and stiffening the roof must ensure stability as per Section A 2.1.3.2 for at least the period of time to be ensured for the roof space barrier in case of fire.

To prevent fire spreading to parts of the building structure via roof installations or structures such as heat extraction surfaces or smoke and heat extraction devices, pursuant to § 33(5) LBO these roof installations or structures must be at a sufficient distance from combustible parts or these parts must be non-combustible. Heat extraction surfaces or smoke and heat extraction devices are considered roof superstructures in accordance with § 33(5)(1) LBO.

A 2.1.10	Stairs

The load-bearing parts of necessary stairs in buildings in accordance with § 35(4)(1) LBO must be able to withstand the effects as referred to in A 2.1.3.2 to enable effective fire-fighting operations.

A 2.1.11	Necessary stairwells

Sufficiently long use in case of fire according to § 36(1)(2) LBO means that persons present in the building continue to be able to rescue themselves until smoke has entered the necessary stairwell. Where necessary stairwells are required, § 36(4) LBO requires them to have walls and ceilings with sufficiently long-lasting enclosing function and stability because they are also access paths for the fire department. This also applies to required vestibules of emergency stairwells. Necessary stairwells shall, depending on building class, ensure stability and enclosing function in accordance with the requirements of Sections A 2.1.3.2 and A 2.1.3.3. The walls must – where necessary – satisfy the requirements of Section A 2.1.7 for interior fire walls.

Door openings in walls of necessary stairwells to basements, to unextended attic spaces, workshops, shop areas, storage spaces and similar spaces, as well as to other spaces and utility spaces with a surface area of more than 200 m², must – regardless of the fire resistance of these walls – have durably fire-retardant, smoke-proof and self-closing barriers (fire protection barriers) to safeguard the prevention of the spread of fire and of the passage of smoke pursuant to DIN 18095-2:1991-03 into the stairwell during the specified exposure time; the enclosing function must be ensured and the criteria for permanent operation pursuant to DIN 4102-18:1991-03 must be fulfilled. These fire protection locks should be kept closed as intended. The requirements under Section 2.1.6 also apply2.1.6. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

Openings in walls of necessary stairwells to necessary corridors may be floor-to-ceiling and a maximum of 2.5 m wide and must have durably smoke-proof and self-closing barriers (smoke barriers) to prevent the passage of smoke as per DIN 18095-2:1991-03 into the stairwell for the specified exposure time; the enclosing function must be ensured. The smoke barriers must fulfil the criteria of DIN 18095-1:1988-12 and the criteria as to permanent operation according to DIN 4102-18:1991-03. These smoke barriers should be kept closed as intended. They may be kept open if they are fitted with devices that permanently ensure the immediate and secure locking (locking mechanism); otherwise, the requirements of A 2.1.6 apply. In order to fulfil the requirements for the barriers, the technical rule included in paragraph A 2.2.1.2 must be observed.

Door openings in walls of necessary stairwells to housing units and to other rooms and utility spaces with a surface area of up to 200 m² must have sealed and self-closing barriers. This requirement is met with structural elements (doors) that ensure sealing when smoke is present in the stairwell, provided there are no pressure differences between the stairwell and the area to be closed off beyond those due to normal climate thermal lift and the smoke has not dropped to the bottom of the door. A door is deemed tight-closing if it meets the requirements of the technical rule included in paragraph A 2.2.1.2, Section 5.4. The doors are durably self-closing if the permanent functionality criteria of DIN 4102-18:1991-03 are met.

The enclosing function of walls of necessary stairwells or walls of rooms between a necessary stairwell and the exit to the outside is deemed ensured for openings to necessary corridors only if they have smoke-tight and self-closing locks.

A 2.1.12	Necessary corridors and open walkways

Walls of necessary hallways pursuant to § 37(4)(1) LBO must, in order to achieve the protection objectives, safeguard the enclosing function for a sufficient amount of time in case of fire, remain stable where required, and fulfil the requirements of Sections A 2.1.3.2 and A 2.1.3.3.

Taking into account the protection objective according to § 37(1), the walls of necessary hallways should have only such door openings as are necessary for their use. The doors must close tightly as per § 37(4)(4) LBO through constructive measures on the doors to hinder the entry of smoke over a specific period of time in case of fire in a unit or an adjoining unit. This requirement is considered sufficient, because it is assumed that such non-self-closing doors will be kept closed. Doors are deemed to close tightly if the requirements for the construction of the door leaf and the seal according to Section 2.1.11 are met.

For open doors or doors closed after burn-through, the spread of fire must be inhibited on the ceiling and wall surfaces of the necessary corridor so as not to hamper rescue and fire-fighting measures. Where ceilings and walls are made of combustible building materials, non-combustible cladding with sufficient thickness is required, e.g. in the form of a 12.5 mm thick gypsum plasterboard.

Where the walls of necessary hallways are made of fire-resistant glazing, the fire-resistant glazing requirements are met if during a fire pursuant to DIN 4102-13:1990-05, Section 6.1 the spread of fire and smoke and the passage of heat radiation is prevented over the minimum period of time and the criteria pursuant to DIN 4102-13:1990-05 are satisfied. Notwithstanding § 37(4)(4) LBO, in order to ensure the enclosing function of the fire-resistant glazing, the doors of the fire-resistant glazing must be tight and self-closing and correspond to the fire resistance of the fire-resistant glazing. The requirements under Section A 2.1.6 also apply, including in respect of keeping this fire protection barrier open. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

To prevent the spread of smoke via necessary hallways and allow people to escape, necessary hallways pursuant to § 37(3) LBO must be divided with non-locking, smoke-proof and self-closing barriers (smoke barriers) in smoke compartments no more than 30 m long. The above does not apply to open corridors in accordance with § 37(5) LBO. The smoke barriers may be floor-to-ceiling and extend over the entire width of the corridor, have fixed side parts and skylights. The requirements for smoke barriers under Section A 2.1.11 also apply. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

A 2.1.13	Shaft walls and landing doors for lifts

Where lifts within buildings must have their own lift wells pursuant to § 40(1) LBO, the spread of fire to other storeys should be ensured for a sufficient period of time. The lift shaft walls must ensure the space barrier for a sufficient length of time in case of fire to achieve the protection objectives, remain stable where necessary and meet the requirements of Sections A 2.1.3.2 and A 2.1.3.3. Lift shaft walls of combustible building materials must have cladding on the side of the shaft of sufficient thickness to ensure that a fire does not spread to the surfaces of the lift shaft walls when the landing doors remain open or close after burn-through.

To fulfil the protection objective according to § 40(1) LBO and the requirements of § 40(2)(2) LBO, lift doors must essentially consist of non-combustible building materials.

The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

A 2.1.14	Installation shafts and ducts, system floors and electrical service areas

In building structures, service shafts and ducts as per § 41 LBO may only pass through space-enclosing structural elements with a specified required fire resistance if there is no risk of the spread of fire for a sufficiently long amount of time or appropriate precautions have been taken to counteract it, and there are no more or larger openings than necessary. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

Where installations pass through cavities in system floors of building structures, the technical rule included in paragraph A 2.2.1.9 must be observed. The technical rule included in paragraph A 2.2.1.2 must be observed in order to meet these requirements.

To protect other areas from fire from electrical service areas for transformers or switching systems, the technical rule included in paragraph A 2.2.1.10 must be observed. Compliance with this technical rule also ensures that electrical installations maintain functionality for necessary safety systems.

A 2.1.15	Installations and construction products of technical building equipment

A 2.1.15.1	General

The building inspection requirements for the installations and construction products of technical building equipment are elaborated in the technical rules listed in paragraphs A 2.2.1.8, A 2.2.1.9, A 2.2.1.10, A 2.2.1.11, A 2.2.1.12 and A 2.2.1.16. In order to fulfil the requirements, the technical rule included in paragraph A 2.2.1.2 must also be observed.

Otherwise, the requirements of the following paragraphs A 2.1.15.2 to 2.1.15.6 must also be observed.

A 2.1.15.2 	Lightning protection systems

Lightning protection systems pursuant to § 47 LBO should prevent the emergence of fire in and on the building structure, and prevent the endangerment of people through lightning strikes (exterior lightning protection).

Where technical safety devices and installations are present, they must protect against the effects of lightning currents and voltages on installations and on electrical and electronic parts of the other equipment and systems in the building structure in case of a direct or indirect lightning strike (additional interior lightning protection).

To ensure this, measures must be taken against overvoltage and dangerous sparking.

A 2.1.15.3	Fire-mode control systems for lifts

The fire-mode control system must ensure that elevators immediately go to a storey with exits to the outside, or the next higher or lower storey that is not affected by the fire, and shut down there with the doors open.

Fire-mode control systems consist at a minimum of automatic fire alarms on each storey, equipment for transmitting the fire alarm and the evaluation and control system for the lift. The fire-mode control system may also be automatically activated by an automatic fire alarm system.

A 2.1.15.4	Heat extraction devices

Where heat extraction devices are required, spread of a fully developed fire to specific areas of a building structure must be counteracted to prevent combustible parts of the building structures from catching fire outside the actual fire area by hot combustion gases. For existing components in the fire area, thermal effects must be reduced so that stability or the space barrier remains intact in case of fire. In this way, effective fire-fighting can also be supported.

Requisite heat extraction devices must be chosen and used depending on their location in the building structure, the prescribed geometric dimensions, the requisite geometric opening area and the location of the building structure in respect of functionality and the effects inter alia of wind, snow and of ambient temperatures. Electrically operated heat extraction devices require an emergency power supply.

This must be shown in the fire protection certificate. Their use is subject to the technical rule included in paragraph A 2.2.1.2 with the performance requirements specified therein. All necessary data on the position of the heat extraction devices must be stated in the fire protection certificate.

A 2.1.15.5	Fire-fighting lifts

Fire-fighting lifts are used in particular in very high building structures to support effective fire-fighting operations. Fire-fighting lifts must remain usable by the fire service in case of fire.

Therefore, no other lifts may be located in fire-fighting lift shafts. Fire-fighting lift shafts together with landing doors must remain safely operable for a sufficient length of time in case of fire, in accordance with paragraph A 2.1.13. Only the necessary technical equipment and systems required to operate the fire-fighting lift may be located in lift shafts. Fire-fighting lifts can only be accessible via an landing. The walls and ceilings of the landings must remain space-enclosing and non-combustible for a sufficient length of time in case of fire. The barriers to necessary openings in vestibules must remain space-enclosing and smoke-proof for a sufficient length of time. The vestibules must be accessible only by necessary hallways. To avoid the lift shafts being affected by smoke, the vestibules and lift shafts must be kept free of smoke in case of fire using pressure ventilation systems. Fire-fighting lifts must have automatic fire detection devices which can be used to shut down lifts outside the fire area in case of fire (fire-mode control system) and can only be started up again by the fire service (fire service circuit). The fire-mode control system may be automatically activated by an automatic fire alarm system.

Lifts may only be used to transport people and goods if there is no fire.

Fire-fighting lifts must have a power supply and remain operationally reliable for a sufficient length of time if the general power supply fails (emergency power supply).

Electrical circuit systems needed to operate pressure boosters must be designed or separated by components so that the safety systems remain operational for a sufficient length of time in case of fire.

All necessary data must be stated in the fire protection certificate.

A 2.1.15.6	Indoor radio systems for the fire service

Indoor radio systems for the fire service are used to support effective fire-fighting operations. The systems support radio communications between fire service crews in the building structure and with fire service crews present immediately outside the building structure during operations, if this is not sufficiently possible due to the spatial configuration, dimensions or because the properties of the building structure inhibit radio communication using fire service radio communication devices. They consist at a minimum of sending, receiving and transmission equipment.

Indoor radio systems must have a power supply and remain operationally reliable for a sufficient length of time if the general power supply fails (emergency power supply).

Electrical circuit systems needed to operate pressure boosters must be designed or separated by components so that the safety systems remain operational for a sufficient length of time in case of fire. The technical rule included in paragraph A 2.2.1.8 must be observed.

All necessary data must be stated in the fire protection certificate.

A 2.1.16	Building structures used to store plastic secondary materials

Where building structures are used to store plastic secondary materials, the spread of fire must be prevented and effective fire-fighting enabled. The technical rule included in paragraph A 2.2.1.14 must be observed.

A 2.1.17	Garages

To meet the fundamental requirements for building structures used as garages, specific requirements are defined. The technical rule included in paragraph A 2.2.2.1 must be observed.

A 2.1.18	Requirements for special constructions

Special requirements or relaxation of fire protection requirements of the LBO for standard buildings may result from the specific type or use of the building structures for the erection, modification, maintenance, operation and use pursuant to § 51 LBO. For certain special constructions according to § 51(2) LBO, the design and execution is subject to the detailed requirements of the technical rules listed in paragraphs A 2.2.2.2 to A 2.2.2.8.

NB:

Specific fire protection requirements or simplifications may also be laid down in a planning decision pursuant to § 71 LBO or in the planning permission for a special construction pursuant to § 67 LBO. Where the protection objectives pursuant to § 15 LBO cannot be met by following the technical rule included in paragraph A 2.2.1.2, the necessary technical information shall be included in the building documents.

| A 2.2.1 Planning, design and execution |  |  |  |
| --- | --- | --- | --- |
| A 2.2.1.1 | Fire service areas | Model Guideline on fire service areas: 2009-10 | Annex A 2.2.1.1/1 |
| A 2.2.1.2 | Construction products and designs | Building inspection requirements, classification, use of construction products, use of designs: 2019-051 (see Annex 4) |  |
| A 2.2.1.3 | Classified building materials and building components, execution rules | DIN 4102-4:2016-05 | Annex A 2.2.1.3/1 |
| A 2.2.1.4 | Highly fire-retardant components in timber construction | Model Guideline on fire protection requirements for highly fire-retardant components in timber construction – M-HFHHolzR: 2004-071 |  |
| A 2.2.1.5 | Thermal insulation systems | ETICS with EPS, socket fire test procedure: 2016-061 (see Annex 5) |  |
| A 2.2.1.6 | Rear-ventilated external wall cladding | Rear-ventilated exterior wall cladding: 2016-06 (see Annex 6) |  |
| A 2.2.1.7 | ‘Locking mechanisms’ deleted from MVV TB 2019/1 |  |  |
| A 2.2.1.8 | Conduits | Model Guideline on fire protection requirements pertaining to conduits (Model Conduit Guideline – MLAR): 2015-02, last revised on 5/4/2016 |  |
| A 2.2.1.9 | System floors | Model Guideline on fire protection requirements pertaining to system floors (MSysBöR): 2005-09 |  |
| A 2.2.1.10 | Electrical service rooms | Empty NB: The requirements are based on the State Ordinance on the construction of electrical operating areas (EltBauVO) in the edition valid at the time of application |  |
| A 2.2.1.11 | Ventilation systems | Model Guideline on fire protection requirements pertaining to ventilation systems (Model Ventilation System Guideline, M-LüAR): 2005-09, last amended on 11/12/2015 |  |
| A 2.2.1.12 | Combustion plants, other heat generation and fuel supply installations | Empty NB: The requirements are based on the State Ordinance on firing installations (FeuVO) in the edition valid at the time of application |  |
| A 2.2.1.13 | ‘Containment systems for extinguishing water’ - deleted from MVV TB 2019/1 Note |  |  |
| A 2.2.1.14 | Storage of plastic secondary materials | Model Guideline on fire protection during the storage of plastic secondary materials (Model plastic storage guideline – MKLR): 1996-06 |  |
| A 2.2.1.15 | Industrial construction | Model Guideline on structural fire protection in industrial buildings (Muster-Industriebaurichtlinie [Model Industrial Buildings Guideline] MIndBauRL): 2019-052 |  |
| A 2.2.1.16 | Technical fittings for buildings | Technical rule on Technical Building Equipment (TR TGA): 2019-05 (see Annex 14) |  |
| A 2.2.2 Garages and special constructions § 83a(1)(3) LBO does not apply to Technical Building Regulations under Section A 2.2.2 |  |  |  |
| A 2.2.2.1 | Garages3 | Empty NB: The requirements are based on the State Ordinance on the construction and operation of garages (Garage Ordinance – GarVO) in the edition valid at the time of application |  |
| A 2.2.2.2 | Accommodation facilities3 | Empty NB: The requirements are based on the State Ordinance on the construction and operation of accommodation facilities (Accommodation Facilities Ordinance – BeVO) in the edition valid at the time of application |  |
| A 2.2.2.3 | Sales outlets3 | Empty NB: The requirements are based on the State Ordinance on the construction and operation of sales outlet (Sales Outlet Ordinance – VkVO) in the edition valid at the time of application |  |
| A 2.2.2.4 | Meeting places2 | Empty NB: The requirements are based on the State Ordinance on the construction and operation of meeting places (Meeting Places Ordinance – VStättVO) in the edition valid at the time of application |  |
| A 2.2.2.5 | Schools2 | Empty NB: The requirements are based on the Guideline on building inspection requirements for schools (School Construction Guideline – SchulbauR) in the edition valid at the time of application |  |
| A 2.2.2.6 | Residential accommodation for people in need of care or with disabilities2 | Model Guideline for building inspection requirements for residential accommodation for people in need of care or with disabilities: 2012-05 |  |
| A 2.2.2.7 | High-rise buildings2 | Empty NB: The requirements are based on the Guideline on the construction and operation of high-rise buildings (High-Rise Guideline – HHR) in the edition valid at the time of application |  |
| A 2.2.2.8 | Industrial construction | Model Guideline on structural fire protection in industrial buildings (Muster-Industriebaurichtlinie [Model Industrial Buildings Guideline] MIndBauRL): 2019-052 |  |

Annexes to A2

Annex A 2.2.1.1/1

Re the Model Guideline on fire service areas

The following must be observed when applying the technical rule:

If the model guidelines on fire service areas make reference to provisions based on the Model Construction Ordinance (MBO), then the corresponding provisions of the LBO shall apply.

1	Re Section 1

Access routes, installation areas and movement areas must be fortified at least in line with road building class VI (Richtlinie für Standardisierung des Oberbaues von Verkehrsflächen [Guideline on the standardisation of road beds for road surfaces] – RStO 01).

Instead of DIN 1055-3:2006-03, DIN EN 1991-1-1:2010-12 in conjunction with DIN EN 1991-1-1/NA:2010-12 shall apply.

2	Signs

2.1	Signs for access routes and thoroughfares are marked ‘Feuerwehrzufahrt’ [fire service access], signs for installation areas or movement areas are marked ‘Flächen für die Feuerwehr’ [fire service areas].

Signs for fire service areas must be in line with DIN 4066:1997-07; signs for ‘Feuerwehrzufahrt’ [fire service access] must be at least W/H = 594/210 mm and be visible from the public thoroughfare. Fire service areas must have demarcation that is clearly visible at all times.

2.2	Under § 12(1)(5) StVO stopping in front of or in fire service access routes is not permitted if these access routes are officially marked.

If stopping must be prohibited under StVO in the public thoroughfare in the fire service access area, the sign must be marked ‘Feuerwehrzufahrt’ by the competent authority (official sign).

Instead of the official sign ‘Feuerwehrzufahrt’ the competent authority may order the installation of traffic sign 283 (stopping prohibited) under the StVO with the additional sign ‘Feuerwehrzufahrt’ (protection area as defined in § 45(1)(2)(5) StVO).

Annex A 2.2.1.3/1

The Technical Building Regulation addresses only the classified building materials and designs for components that are required in order to meet the requirements of technical rule A 2.2.1.2.

The following must be observed when applying the technical rule:

Re Section 4.2

Where specific fire protection requirements and fire protection values of the building material class apply, coatings applied subsequently to structural elements up to a thickness of 0.5 mm remain disregarded, where the coatings are fully applied without hollow spaces on a non-combustible background.

Re Section 10.5.6

Paragraph 3 does not apply to buildings of classes 4 and 5.

A 3	Hygiene, health and environmental protection

A 3.1	General

Under § 3 and § 14 LBO, building structures must be positioned, erected, modified and maintained so that public health and safety – particularly life, health and natural resources – are not endangered and so that no dangers or unreasonable nuisances arise due to plant and animal pests and other chemical, physical or biological effects.

To demonstrate compliance with these requirements, building structures must be designed and executed as a whole and in their separate parts so that the requirements pertaining to health protection and the protection of soil and water under Section A 3.2 are met.

A 3.2	Technical requirements in respect of the design, dimensioning and execution of building works and parts thereof pursuant to § 83a(2) LBO

The building requirements on reducing harmful emissions in accommodation areas pursuant to item number A 3.2.1 and A 3.2.2 and on ensuring external building components are environmentally friendly pursuant to item number A 3.2.3 are set out in the regulations. They must be observed. If constructive measures (e.g. surface layers, casings) are planned for the affected areas instead, their protective effect must be demonstrated.

| Item No | Design, dimensioning and execution requirements pursuant to § 83a(2) LBO | Technical rules/Version | Further measures pursuant to § 83a(2) LBO |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| A 3.2.1 | Health protection requirements for building structures | ABG - Health protection requirements for building structures [Anforderungen an bauliche Anlagen bezüglich des Gesundheitsschutzes]: 2019-05 (see Annex 8) |  |
| A 3.2.2 | Textile flooring | TR textile flooring: 2017-05 (see Annex 9) |  |
| A 3.2.3 | Requirement for building structures regarding effects on soil and water | ABuG - Soil and water impact requirements for building structures [Anforderungen an bauliche Anlagen bezüglich der Auswirkungen auf Boden und Gewässer]: 2019-05 (see Annex 10) |  |
| A 3.2.4 | Appraisal and refurbishment of building materials and components in structures contaminated with PCBs [polychlorinated biphenyls] | Guideline on the appraisal and refurbishment of building materials and components in structures contaminated with PCBs, September 1994 edition, Sections 1, 2, 3, 4.1, 4.2, 5.1, 5.2, 5.4 and 6 | Annex A 3.2/1 |
| A 3.2.5 | The assessment and remediation of loosely bound asbestos products in buildings | Guideline on the appraisal and refurbishment of building materials and components in structures contaminated with asbestos products, January 1996 edition | Annex A 3.2/2 |
| A 3.2.6 | Ventilation systems in windowless kitchens, bathrooms and toilets in housing units | Building inspection guidelines for installing ventilation systems in windowless kitchens, bathrooms and toilets in housing units, April 2009 edition |  |
| A 3.2.7 | Appraisal and refurbishment of building materials and components in structures contaminated with pentachlorophenol (PCPs) | Guideline on the appraisal and refurbishment of building materials and components in structures contaminated with PCP, October 1996 edition, Sections 1, 2, 3, 4, 5, 6.1 and 6.2 |  |
| A 3.2.8 | ‘Limiting formaldehyde emissions when using urea formaldehyde resin in-situ foam’ deleted from MVV TB 2019/1 |  |  |

Annexes to A3

Annex A 3.2/1

Regarding the PCB Guideline

The following also applies:

1	To ward off possible dangers to life or health, remediation measures shall be undertaken in rooms which are used on a permanent basis if the concentration to be anticipated in the inside air – irrespective of the daily length of stay – exceeds 3 000 ng PCB/m³ of air when averaged over the year. The final sentence in Chapter 3 of the guideline is deleted.

2	The September 1994 version of the guideline shall otherwise apply to the full extent as long as the primary sources contains PCBs involve just PCB sources such as sealants which are not like dioxins. If, however, as regards the PCB primary sources, consideration must be given to just or also dioxin-like PCB sources such as floor slabs, coatings and those sources of PCBs which cannot be reliably classified, the concentration of PCB 118 in the inside air also has to be determined if the total concentration of PCBs exceeds 1 000 ng PCB / m³ of air. If, in this regard, the concentration in the inside air exceeds 10 ng PCB 118 / m³ of air, measures designed to reduce exposure must be carried out immediately in accordance with Sections 3 and 4 of the Guideline concerned with reducing the concentration of PCBs in inside air. Where concentrations in the inside air are equal to or less than 10 ng PCB 118 / m³ of air, it is recommended at least reviewing the ventilating characteristics, and improving them where necessary, depending on the level of contamination.

3	If structural works containing products which contain PCBs are to be demolished, these products must be removed from the structural work prior to demolition work starting.

NB:

Reference is also made to the fact that the remediation guideline value of 300 ng PCB / m³ of air which is mentioned in Section 5.3 of the guideline represents a value from the area covered by precautions which cannot be delimited precisely and should therefore be achieved depending on the magnitude. Measures designed to reduce the concentration of PCBs in the inside air are recommended depending on the extent to which the remediation guideline value is exceeded, while observing proportionality.

Annex A 3.2/2

Re the Asbestos Directive

The following must be observed when applying the technical rule:

1	Monitoring the success of refurbishment in line with Section 4.3 by measuring the concentration of asbestos fibres in the indoor air under Section 5 is not required in the case of refurbishment procedures are not required to close off the work area under this Directive.

2	Section 4.3.3 'Coatings (Method 2)' shall not apply.

Annex A 3.2/3

- deleted from MVV TB 2019/1 –

A 4	Safety and accessibility in use

A 4.1	General

Under § 3 LBO, physical structures must be positioned, erected, modified and maintained in such a way that public safety and order, in particular, human life, health and natural resources, are not endangered.

The requirements on safety in use and accessibility are implemented in particular pursuant to §§ 17 and 52 LBO if physical structures as a whole and in their separate parts are designed and executed in line with the technical rules on safety and accessibility pursuant to Section A 4.2.

A 4.2	Technical requirements in respect of the design, dimensioning and execution of building works and parts thereof pursuant to § 83a(2) LBO

| Item No | Design, dimensioning and execution requirements pursuant to § 83a(2) LBO | Technical rules/Version | Further measures pursuant to § 83a(2) LBO |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| A 4.2.1 | Stairs in buildings | DIN 18065:2015-03 | Annex A 4.2/1 |
| A 4.2.2 Barrier-free construction |  |  |  |
| A 4.2.2.1 | Publicly accessible buildings | DIN 18040-1:2010-10 | Annex A 4.2/2 |
| A 4.2.2.2 | Housing units | DIN 18040-2:2011-09 | Annex A 4.2/3 |

Annexes to A4

Annex A 4.2/1

Re DIN 18065

1	The use of stairs in building classes 1 and 2 residential buildings and housing units is excluded from the insertion.

2	Building inspectorate requirements regarding the installation of stairlifts in stairwells of necessary stairs in existing buildings:

The retrofitting of a stairlift in a stairwell must not adversely affect the operation of the necessary stairs as part of the primary escape route and the safety of the stairs. A stairlift may be retrofitted if the following criteria are met:

1.	The stairs only open onto housing units and/or comparable uses.

2.	The flight width for the stairs must not be considerably below the 100 cm minimum flight width due to the construction; lowering of the clearance gauge (see Figure A.7) by 20 cm maximum in width and 50 cm maximum in height is acceptable if the flight of stairs (see Point 3.6) or the passage area (see Point 8) is not changed. It must be possible to use a handrail for its intended purpose.

3.	If a stairlift is routed over several storeys, there must be a sufficiently large waiting area on each storey to hold one person when the stairlift is in operation. This is not required if 60 cm remaining width on the stairs is ensured besides the lift in operation.

4.	Unused lifts must be in park position that does not restrict the flight of stairs. In the event of a fault, the stairlift must be capable of being easily placed by hand into the park position.

5.	The stairlift seat must be folded up into and out of the park position when unladen. Besides the folded up seat there must be 60 cm remaining width on the stairs.

6.	The stairlift must be secured against misuse.

7.	The stairlift must consist of non-combustible materials insofar as possible.

3	For necessary stairs in an existing building, the retrofitting of a second handrail must not be more than 10 cm below the usable minimum flight width. This exemption relates only to stairs with a minimum flight width of 100 cm in accordance with DIN 18065:2015-03 specifications. Different specifications and requirements pertaining to effective width remain unaffected.

Annex A 4.2/2

Re DIN 18040-1

The insertion relates to physical structures or parts thereof that must be barrier-free under § 52(2) LBO.

The following must be observed when applying the Technical Building Regulation:

1	Section 4.3.7 is not covered by the insertion.

2	Section 4.3.6 must only be applied to required stairwells.

3	At least one lavatory for users must correspond to Section 5.3.3; Section 5.3.3 sentence 1 shall not apply.

4	At least 1% but at least one of the necessary parking spaces for users must correspond to Section 4.2.2 sentences 1 and 2.

5	At least 1 % but at least one of the visitor spaces in meeting rooms with fixed rows of chairs must correspond to Section 5.2.1; they may be offset against the places required for wheelchair users pursuant to § 10(7) VStättVO.

6	Sections 4.2.1, 4.3.6 and 4.3.8 apply also to non-building primary routes.

Annex A 4.2/3

Re DIN 18040-2

The insertion relates to:

housing units that must be barrier-free under § 52(1) LBO, and

housing units and lifts that must under § 40(4)(3) LBO be accessible without steps.

Accommodation spaces including related sanitary facilities that must be barrier-free under § 12 BeVO.

The following is to be observed when applying the Technical Building Regulation:

1	Sections 4.3.6 and 4.4 and all requirements marked R are not covered by the insertion.

2	For housing units under § 52(1) LBO it is sufficient if a window in a living area corresponds to Section 5.3.2 sentence 2.

3	For barrier-free accessibility under § 40(4) LBO it is sufficient if entries correspond to Section 4.3.3.2 Table 1 row 1, movement areas around doors correspond to Section 4.3.3.4 and ramps correspond to Section 4.3.7.

4	For accommodation spaces including sanitary facilities that must meet the basic requirements for barrier-free usable housing units, Section 5 without requirements marked R applies.

5	For accommodation spaces including sanitary facilities that must be barrier-free and freely accessible with a wheelchair, Section 5 without requirements marked R applies. In addition, toilet bowls must be accessible on both sides; where there is more than one accommodation space that is freely accessible with a wheelchair, the access sides for toilet bowls may be alternately provided on the right- or left-hand side. An emergency call system must be provided near the toilet bowl. In derogation of Section 5.5.1, supports and/or handrails must be provided near the toilet bowl and around the area during construction – these can be assembled where necessary.

A 5	Sound insulation

A 5.1	General

Under § 3 and § 16(2) LBO building structures must be positioned, erected, modified and maintained to have sound insulation in accordance with their use.

To meet this requirement, the technical rules on sound insulation under Section A 5.2 must be observed.

A 5.2	Technical requirements in respect of the design, dimensioning and execution of building works and parts thereof pursuant to § 83a(2) LBO

| Item No | Design, dimensioning and execution requirements pursuant to § 83a(2) LBO | Technical rules/Version | Further measures pursuant to § 83a(2) LBO |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| A 5.2.1 | Sound insulation in buildings | DIN 4109-1:2018-01 | Annexes A 5.2/1 to A 5.2/4 |

Annexes to A5

Annex A 5.2/1

Re DIN 4109-1

1	Re Section 7.1:

Where the total rated sound insulation value R'w,ges must be > 50 dB, or with a reference external noise level La > 80 dB, the requirements shall be determined for each individual case by the building supervisory authority.

2	Re Section 8, Table 8:

The requirements in Table 8, rows 3.3, 3.4, 5.1 and 5.2 need to be satisfied only if the protected areas are living, sleeping or bed rooms in accordance with DIN 4109-1:2018-01, Section 3.16.

3	Re Sections 7, 8 and 9:

For building structures classified as per Table 9, rows 3 and 4, compliance with the required sound pressure level must be demonstrated by submitting measurement results. The same applies to compliance with the required sound insulation value for structural elements pursuant to Table 8 and for exterior structural elements that are subject to the requirements of Table 7.1, provided that the total evaluated sound insulation value R’w,ges must be ≥ 50 dB, or alternatively at a reference external noise level La > 80 dB. These measurements must be performed in accordance with DIN 4109-4:2016-07 by building acoustics inspection body that are either recognised pursuant to § 25(1)(1) LBO or are listed in another directory for ‘recognised sound insulation inspection bodies’ at the VMPA, the association of material testing institutions.

4	The informational Annexes A and B do not apply.

Annex A 5.2/2

Sound insulation may be documented in accordance with DIN 4109-2:2018-01 in conjunction with DIN 4109-31:2016-07, DIN 4109-32:2016-07, DIN 4109-33:2016-07, DIN 4109-34:2016-07, DIN 4109-35:2016-07 and 4109-36:2016-07.

For components in solid construction, Supplement 1 to DIN 4109:1989-11 may be used. Where masonry made of perforated bricks is used, this only applies to masonry that complies with the requirements of DIN 4109-32:2016-07, Section 4.1.4.2.1.

Re DIN 4109-2

The informational Annexes B, C and D do not apply.

Re DIN 4109-36

Informational Annex A does not apply.

Annex A 5.2/3

The following applies to the execution of components with insulating materials of granulated polystyrene and binder mixtures1:

The product may be used as impact sound insulating material under unheated floating screed in accordance with DIN 18560-2:2009-09 if the compressibility requirements of DIN 18560-2:2009-09 are met. In addition, either a maximum relative compression difference of 5 % must be adhered to at deformation under pressure and temperature load or the declared compression stress value must be at least 30 kPa at 10 % compression. In the latter case, dimensional stability at defined temperature and moisture conditions must be shown.

The sound insulation certificate shall be issued with the rated impact sound reduction value in accordance with DIN 4109-2:2018-01.

Annex A 5.2/4

The following applies to the execution of components with rubber fibre mats and/or polyurethane (PU) foam mats for impact sound insulation:

The construction products may be used as impact sound insulation on solid ceilings under floating screed pursuant to DIN 18560-2 in line with the DES area of application under DIN 4108-10:2015-12, if the compressibility requirements in DIN 18560-2:2009-09 are met and the maximum relative compression difference is 5 % at deformation under pressure and temperature load. Evidence of sound insulation must be carried out with the rated value ΔLw specified for construction design in accordance with DIN 4109-2:2018-01.

A 6	Thermal insulation

A 6.1	General

Under § 3 and § 16(1) LBO building structures must be positioned, erected, modified and maintained to have thermal insulation in accordance with their use and with climatic conditions.

To meet this requirement for building structures as a whole and in their separate parts, the technical rules on thermal insulation under Section A 6.2 must be observed.

A 6.2	Technical requirements in respect of the design, dimensioning and execution of building works and parts thereof pursuant to § 83a(2) LBO

| Item No | Design, dimensioning and execution requirements pursuant to § 83a(2) LBO | Technical rules/Version | Further measures pursuant to § 83a(2) LBO |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| A 6.2.1 Thermal insulation in buildings |  |  |  |
|  | Minimum thermal insulation requirements | DIN 4108-2:2013-02 | Annex A 6.2/1 |
|  | Climatic moisture protection | DIN 4108-3:2014-11 | Annex A 6.2/2 |
|  | Thermal and moisture protection coefficients | DIN 4108-4:2017-03 | Annexes A 6.2/3 and A 6.2/4 |
|  | Application-related requirements for thermal insulation materials | DIN 4108-10:2015-12 | Annex A 6.2/5 |
| A 6.2.2 | ‘Urea formaldehyde resin in-situ foam for thermal insulation’ deleted from MVV TB 2019/1 |  |  |

Annexes to A6

Annex A 6.2/1

Re DIN 4108-2

1	Summer thermal insulation is ensured via the provisions of the energy savings regulation.

2	Re Section 5.2.2:

The exceptions listed only apply to single-layer insulating panels.

Annex A 6.2/2

Re DIN 4108-3

Section 6 and Annexes B and D do not apply.

Annex A 6.2/3

Re DIN 4108-4

For insulating materials and insulating plaster with ETA, the rated thermal conductivity value must be determined as follows:

On the basis of the nominal value given in the ETA, which represents 90 % of production with a confidence factor of 90 % the nominal thermal conductivity value results from conversion to a moisture content at 23 °C and 80 % relative humidity and multiplication by the safety factor  = 1.03. The conversion factors outlined in the ETA shall be used for conversion for the moisture.

Annex A 6.2/4

The following shall be observed when designing components with insulating products as per harmonised standards or pursuant to the EAD:

1	Thermal insulation made in-situ from expanded clay lightweight aggregates pursuant to EN 14063-1:20041 may be used in line with the areas of application DZ and DI pursuant to DIN 4108-10:2015-12 as non-pressure-resistant (dk) thermal insulation filling.

The nominal thickness of the layer of thermal insulation should be used to calculate the thermal resistance. The nominal thickness is the installation thickness reduced by 20 %.

2	Thermal insulation made in-situ from products with expanded perlite pursuant to EN 14316-1:20042 or EAD 040461-00-1201 may be used in line with the areas of application DZ and DI pursuant to DIN 4108-10:2015-12 as non-pressure-resistant (dk) thermal insulation filling.

The nominal thickness of the layer of thermal insulation should be used to calculate the thermal resistance. The nominal thickness is the installation thickness reduced by 20 %. The above notwithstanding, insulating materials made of loose expanded perlite pursuant to EAD 040461-00-1201 may be used with the reduction in applied thickness as specified in the EAD.

In addition, thermally insulating materials made of loose expanded perlite in accordance with EAD 040461-00-1201 may be used as pressure-resistant thermal insulation fillers (DEO pursuant to DIN 4108-10:2015-12) if at least one compressive stress value of 70 kPa at 10% compression has been documented.

Furthermore, thermally insulating materials made of loose expanded perlite according to EAD 040461-00-1201 based on application areas WZ, WH, WI and WTR pursuant to DIN 4108-10:2015-12 may be used if the slump measured in the wall cavity is ≤ 1%. For application area WZ, water repellency level WR (≥ 175 ml) must also be observed.

For design, dimensioning and execution of on-site thermal insulation made of expanded perlite products according to EN 14316-1:2004 or according to EAD 040461-00-1201 with non-compliant execution, there is no universally applicable technical rule in terms of building inspection requirements.

3	Thermal insulation made in-situ from products with expanded vermiculite pursuant to EN 14317-1:2004 may be used in line with the areas of application DZ and DI pursuant to DIN 4108-10:2015-12 as non-pressure-resistant (dk) thermal insulation filling. The nominal thickness of the layer of thermal insulation should be used to calculate the thermal resistance. The nominal thickness is the installation thickness reduced by 20 %.

4	On-site thermal insulation made of mineral wool pursuant to EN 14064-1:2010 or EAD 040729-00-1201 may be used based on application areas DZ and DI pursuant to DIN 4108-10 as non-pressure-resistant (dk) thermal insulation filling.

The nominal thickness of the layer of thermal insulation should be used to calculate the thermal resistance. The nominal thickness is the installation thickness reduced by 20 %. The above notwithstanding, insulating materials made of loose mineral wool pursuant to EAD 040729-00-1201 may be used with the reduction in applied thickness as specified in the EAD.

Furthermore, thermally insulating materials made of loose mineral wool according to EAD 040729-00-1201 based on application areas WZ, WH, WI and WTR pursuant to DIN 4108-10:2015-12 may be used if the slump measured in the wall cavity is ≤ 1 % (SC 0). For application area WZ, the maximum water absorption level to be observed during sustained partial immersion is Wlp ≤ 3.0 kg/m², or 1.0 kg/m² for a water repellency test carried out after 4 hours, or alternatively 4.0 kg/m² after 28 days.

For the design, dimensioning and execution of on-site thermal insulation made of mineral wool according to EN 14064-1:201042 or according to EAD 040729-00-1201 with non-compliant execution, there is no universally applicable technical rule in terms of building inspection requirements.40

5	Thermal insulation made in-situ from polyurethane (PUR) and polyisocyanurate (PIR) spray foam under EN 14315-1:2013 may be used to make non-pressure-resistant thermal insulation layers in accordance with area of application DZ pursuant to DIN 4108-10:2015-12 if the following properties under DIN EN 14315-1:201343 are shown:

| Property | under DIN EN 14315-1:201343, Section | Level (minimum) |
| --- | --- | --- |
| Density | 4.2.4/E.5 | FRC50(20) or FRB50(20) |
| Proportion of closed cells | 4.2.6 | CCC4 |
| Bond strength | 4.3.8 | A3 |
| Dimensional stability | 4.3.12 | DS(TH)3 |

6	Thermal insulation made in-situ from polyurethane (PUR) and polyisocyanurate (PIR) hard foam under EN 14318-1:2013 may be used to make non-pressure-resistant thermal insulation layers in accordance with area of application WH pursuant to DIN 4108-10:2015-12, if the following properties under EN 14318-1:201344 are shown:

| Property | under DIN EN 14318-1:201344, Section | Level (minimum) |
| --- | --- | --- |
| Density | 4.2.3/E.5 | FRC50(20) or FRB50(20) |
| Proportion of closed cells | 4.2.8 | CCC4 |
| Bond strength | 4.3.4 | TS2 |
| Dimensional stability | 4.3.7 | DS(TH)3 |

7	Factory-made insulating materials of polyethylene foam (PEF) under EN 16069:2012+A1:2015 may be used in line with the areas of application WI and DI pursuant to DIN 4108-10:2015-12 as non-pressured, additional thermal insulation if they meet the requirements for level DS(N)2 at a minimum in terms of dimensional stability.

Annex A 6.2/5

The following applies when executing components with insulation products with ETA:

1	Factory-made insulation products consisting of plant or animal fibres for thermal insulation and/or soundproofing:

DIN 4108-10:2015-12, Table 13 applies to use. The air flow resistivity requirements apply only to products with bulk density ≤ 20 kg/m³. For areas of application DAD (dk), DZ, DI (zk), WH, WI (zk) and WTR stage T2 is sufficient in respect of the thickness deviation limits.

The insulation products must be classified in class 0 in respect of resistance to mould.

2	Loose heat and/or sound insulation products made of plant fibres:

The insulation products may be used to make non-pressure-resistant thermal insulation layers in line with areas of application WH, WI, WTR, DZ and DI under DIN 4108-10:2015-12.

When calculating the thermal resistance of the component, the nominal thickness of the thermal insulation layer is used to calculate the thermal resistance is used for use in ceilings/roofs, taking into account the reduced installed thickness given in the ETA. Where the ETA has no information on this, the nominal thickness is derived from the installed thickness reduced by 20 %.

For use in walls, the slump must be ≤ 1 % under vibration.

The insulation products must be classified in class 0 in respect of resistance to mould.

If the insulation products are processed dry, they may also be used for external components GK 0 (use class 0 as per DIN 68800-2:2012-02) except for Fig. A.8, layer no. 7 in cases in which insulating materials with proof of fitness for purpose as per DIN 68800-2:2012-02 are required for certain applications, if the following performances are declared:

thickness when installed 25 kg/m³ to 155 kg/m³.

water vapour diffusion resistance value µ ≤ 3,

,oisture content by mass as per DIN EN ISO 12571:2013-12 at 23°C/80 % relative air humidity ≤ 0.19 kg/kg.

3	Thermal insulation panels made of mineral materials:

The following key characteristics must be clarified for areas of application WI and DI under DIN 4108-10:2015-12:

Deviation limits for length, width, thickness, perpendicularity and flatness

Dimensional stability

Water vapour diffusion resistance

and for area of application DEO under DIN 4108-10:2015-12, compressive strength of at least 150 kPa.

4	Insulation products made from expanded perlite (EPB), by way of derogation from EN 13169:2012+A1:2015:

DIN 4108-10:2015-12, Table 11, applies to use, with the exception of the requirement relating to bending strength.

5	Insulating materials of granulated polystyrene and binder mixtures:

The product may be used as thermal insulation in line with areas of application DEO, DAD and DAA(dm) under DIN 4108-10:2015-12 if the declared compression stress value at 10 % compression is at least 100 kPa and the maximum relative compression difference is 5 % at deformation under pressure and temperature load.

6	Products with reflective layers for thermal insulation of building envelopes:

6.1	Application

The products may be used as non-pressured, additional heat insulation on the inside of heat transferring construction components corresponding to the area of application DI and WI in accordance with the Standard DIN 4108-10:2015-12.

They may only be incorporated in constructions in which they are protected against rainfall, weathering and moisture penetration.

6.2	Rated value of thermal resistance

The calculation of the heat insulation is to be performed with the rated value of the thermal resistance. The rated value of the thermal resistance shall be determined as follows:

The rated value of the thermal resistance results on the basis of the nominal value given in the ETA ('Core thermal resistance' without neighbouring airspaces) divided by the safety factor γ = 1.03. With products based on natural fibre-based insulation materials, a conversion must also be completed for a moisture content of 23 °C and 80 % relative humidity with the application of the conversion factors given in the ETA.

In areas where the products will be pressed together (e.g. fastening areas on the supporting structure), the thermal resistance of the products should not be given for the certificate.

6.3	Thermal resistance of neighbouring, unventilated airspaces

When calculating the thermal resistance of unventilated airspaces that are enclosed by the products, with a length and width of more than ten times the thickness in accordance with DIN EN ISO 6946:2018-03, Annex D, the following values should be used:

Emissions grade ε for the upper surface of the products in accordance with ETA

ha in accordance with DIN EN ISO 6946:2018-03, Table D.2, where ΔT = 10 K

hro = 5.7 W/(m²·K) in accordance with DIN EN ISO 6946:2018-03, Table 5

Only airtight constructional systems may be considered, where the products are protected against contamination and weathering on the inner side of the construction.

6.4	Climatic moisture protection

The values given in the ETA for the products must be used for the calculation report of the climatic moisture protection in accordance with DIN 4108-3:2014-11.

7	Construction kits for the insulation of inverted roofs in accordance with ETAG 031 Part 1 with XPS and EPS insulation materials may be positioned over the roof sealing for thermal insulation if the construction kit corresponds to the structures and conditions of use listed in DIN 4108-2:2013-02 for the thermal insulation systems in inverted roofs.

The thermal insulation certificate is to be issued with the rated value of the thermal conductivity or the thermal resistance of the insulation material in the construction kit.

The rated value of thermal conductivity shall be determined from the corrected conductivity value λcor given in the European technical approval for level 1 multiplied by the safety factor  = 1.03. Correspondingly, the rated value of the thermal resistance results from the corrected value of the thermal resistance given in the European technical approval for level 1, Rcor divided by the safety factor  = 1.03.

When calculating the heat transfer coefficients of the roof, the calculated heat transfer coefficient must be raised by the allowance value ΔU in accordance with DIN 4108-2:2013-02.

B – 
Technical building regulations to be observed for components and special constructions in addition to the technical building regulations listed in Section A

B 1	General

B 2	Technical regulations for special constructions and components pursuant to § 83a(2) LBO

B 3	Technical building equipment and parts of systems for the storage, filling and handling of water-polluting substances that do not have the CE mark under the Construction Products Regulation

B 4	Construction products and designs subject to the requirements of other legal provisions for which legislation has been enacted under § 83(5 a) LBO

B 1	General

This section contains the Technical Building Regulations to be observed for components and special constructions. To facilitate application, the Technical Building Regulations are presented for each special construction / component, as they serve to clarify several fundamental requirements.

Building structures must be stable on their own over their entire period of use as a whole and in their separate parts. They must be positioned, designed and fit for purpose so that no hazardous situations or unreasonable nuisances arise.

B 2	Technical regulations for special constructions and components pursuant to § 83a(2) LBO

| Item No | Design, dimensioning and Execution requirements pursuant to § 83a(2) LBO | Measures/specifications pursuant to § 83a(2) LBO |
| --- | --- | --- |
| 1 | 2 | 3 |
| B 2.1 Special constructions |  |  |
| B 2.1.1 | Temporary structures - Tents | DIN EN 13782:2015-06 Annex B 2.1/1 |
| B 2.1.2 | Fairground and amusement park machinery and structures | DIN EN 13814:2005-06 Annex B 2.1/2 |
| B 2.2 Building components |  |  |
| B 2.2.1 Components for walls, roofs, ceilings and façade structures |  |  |
| B 2.2.1.1 | Cladding for external walls, ventilated at rear | DIN 18516-1:2010-06 Annex B 2.2.1/1 DIN 18516-3:2013-09 DIN 18516-5:2013-09 Annex B 2.2.1/2 Also applicable: A 2.2.1.6 |
| B 2.2.1.2 | Load-bearing external walls made from construction kits | Annex B 2.2.1/3 |
| B 2.2.1.3 | Curtain walls | Annex B 2.2.1/4 |
| B 2.2.1.4 | Roofs, walls and ceilings made of self-supporting sandwich elements with double-sided metal layers | Annex B 2.2.1/5 |
| B 2.2.1.5 | exterior thermal insulation cladding systems | ETICS with ETA pursuant to ETAG 004: 2019-05 (see Annex 11) |
| B 2.2.1.6 | In-situ concrete walls of formwork blocks | Application rules for non-load-bearing permanent formwork kits/systems and formwork blocks for the construction of in-situ concrete walls: 2019-05 (see Annex 12) |
| B 2.2.1.7 | Construction kits for internal partition walls to be used as non-loadbearing walls | Annex B 2.2.1/6 |
| B 2.2.1.8 | Construction kits for timber, metal and reinforced concrete buildings | Annex B 2.2.1/3 |
| B 2.2.1.9 | Prefabricated room units for buildings1 | Annex B 2.2.1/3 |
| B 2.2.1.10 | Building components made of gypsum plasterboards, gypsum plasterboard products from reprocessing, gypsum plasterboards with fleece reinforcement, gypsum fibreboards and prefabricated gypsum plasterboard panels with a cellular paperboard core | Annex B 2.2.1/7 |
| B 2.2.1.11 | Light load-bearing steel/timber roofing elements1 | Annex B 2.2.1/8 |
| B 2.2.1.12 | Roofing elements for roofing, roof light strips, prefabricated skylights made of plastic | Annex B 2.2.1/9 |
| B 2.2.2 False ceiling structures |  |  |
| B 2.2.2.1 | Gypsum plasterboard ceiling linings and false ceilings | DIN 18168-1:2007-04 |
| B 2.2.2.2 | Suspended ceilings with fibre cement components or cement-bound building panels | Annex B 2.2.2/1 |
| B 2.2.3 Components made of heat and sound insulating materials |  |  |
| B 2.2.3.1 | Factory-made foam glass gravel | Annex B 2.2.3/1 |
| B 2.2.4 Storage |  |  |
| B 2.2.4.1 | ‘Structural bearings’ deleted from MVV TB 2019/1 |  |
| B 2.2.5 Components for waterproofing structural works Under § 14 LBO physical structures must be positioned, designed and fit for purpose so that no dangers or unreasonable inconveniences arise due to water or moisture. |  |  |
| B 2.2.5.1 | Roof waterproofing made of reinforced bitumen sheets | DIN SPEC 20000-201:2015-08 Section 5.1 |
| B 2.2.5.2 | Roof waterproofing made of plastic and rubber sheets | DIN SPEC 20000-201:2015-08 Section 5.3 |
| B 2.2.5.3 | Building waterproofing made of plastic and rubber damp-proof courses | DIN SPEC 20000-202:2016-03 Section 5.3 |
| B 2.2.5.4 | Building waterproofing made of bitumen and damp-proof courses | DIN SPEC 20000-202:2016-03 Section 5.2 |
| B 2.2.5.5 | Building waterproofing against ground moisture and water made of plastic and rubber sheets | DIN SPEC 20000-202:2016-03 Section 5.3 |
| B 2.2.5.6 | Building waterproofing against ground moisture and water made of bitumen sheets | DIN SPEC 20000-202:2016-03 Section 5.2 |
| B 2.2.5.7 | Reinforced bitumen sheets for waterproofing of concrete bridge decks and other trafficked areas | DIN V 20000-203:2010-05 Section 5 |
| B 2.2.5.8 | Surface sealing for containers and wet rooms liquid-applied waterproof products in conjunction with ceramic tiles and slab surfaces | Annex B 2.2.5/1 |
| B 2.2.5.9 | Building waterproofing made of polymer-modified bitumen coatings | DIN 18533-3:2017-07, Table 2 |
| B 2.2.5.10 | Roof sealing systems made of liquid-applied substances | Annex B 2.2.5/3 |
| B 2.2.5.11 | Roof sealing systems made of mechanically secured roof sealing membrane | Annex B 2.2.5/4 |
| B 2.2.5.12 | Systems for sealing walls and floors in wet rooms | Annex B 2.2.5/5 |
| B 2.2.5.13 | Bridge and parking deck waterproofing made of liquid-applied substances | Annex B 2.2.5/6 |
| B 2.2.5.14 | Roof waterproofing made of liquid and strip-type substances in conjunction | Annex B 2.2.5/7 |
| B 2.2.5.15 | Roof and building waterproofing made of waterproofing layers in conjunction with other substances | Annex B 2.2.5/8 |
| B 2.2.5.16 | Waterproofing of vertical wall joints in bitumen wall waterproofing with single-component bitumen-polyurethane mixture | Annex B 2.2.5/9 |
| B 2.2.5.17 | Joint seals with coated joint plates in WU concrete structures | Annex B 2.2.5/10 |
| B 2.2.5.18 | Structural waterproofing with adhesives and toppings of road bitumen or elastomer bitumen | DIN 18533-2:2017-07, Table 4 (EN 12591 and EN 14023) Also applicable: DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 in accordance with A 2.2.1.2, Table 1.2.1 |
| B 2.2.6 Site drainage systems Site drainage systems must be designed so that they are stable and so that their use does not pose any hazard or unreasonable nuisance, and in particular do not leak any substances which are harmful to the health or environment. To meet the requirements on the qualify of site drainage, all characteristics contained in the hEN [harmonised technical specifications] must, under harmonised technical specifications, be stated in the declaration of performance for construction products. |  |  |
| B 2.2.6.1 | Anti-flooding devices for buildings | Annex B 2.2.6/1 |
| B 2.2.6.2 | Pipes and fittings of concrete, steel fibre reinforced concrete and reinforced concrete | Annex B 2.2.6/2 |
| B 2.2.6.3 | Manholes and inspection chambers of concrete, steel fibre reinforced concrete and reinforced concrete | Annex B 2.2.6/3 |
| B 2.2.6.4 | Non-alloy steel tubes and fittings for the conveyance of water and other aqueous liquids | Annex B 2.2.6/4 |

Annexes to B2

Annex B 2.1/1

Re DIN EN 13782

The following must be observed when applying the technical rule:

1	Re Section 7.4.2.2:

As regards the proof of stability of tents which are to be assessed as temporary structures for installation locations too where vb,0 > 28 m/s, the peak velocity pressures as per Table NA.B.3 or Section NA.B.3.3 of DIN EN 1991-1-4/NA:2010-12 shall be applied. These may be reduced pursuant to Section 7.4.2.2. Other reductions in peak velocity pressures may not be applied.

2	Section 12 and Appendices B and D are excluded from the insertion.

Annex B 2.1/2

Re DIN EN 13814

The following must be observed when applying the technical rule:

1.1	Section 1 shall be worded as follows:

‘This standard shall be applied in relation to temporary structures as per § 76 LBO, e.g. carousels, swings, boats, Ferris wheels, roller coasters, slides, platforms, textile and membrane structures, stalls, stages, funfair shows and superstructures for artistic performances in the air. It shall also apply to the design of corresponding structural works which are installed in amusement parks for an extended period, with the exception of the wind load evaluations and the foundation design. This standard shall not apply to tents. Temporary structures do not include permanent platforms, building site equipment, scaffolding and transferable agricultural structures.”

1.2	When applying the standard, the designs as at March 2010 which were published by the temporary structures working committee NA 005-11-15 AA (http://www.nabau.din.de) must be taken into account.

2.1	Where references to the ENV 1991 to ENV 1997 series of standards are not dated, the corresponding technical rules under Section A shall be applied.

2.2	In the case of references to “relevant European standards” or “EN standards”, applicable technical rules in the administrative provision in the Technical Building Regulations shall be applied.

3	Sections 3.1 to 3.7 are not covered by the insertion.

4.1	Re Section 5.2:

When selecting the materials, the conditions of use specified in the State Building Regulations and in the provisions based on the State Building Regulations must be heeded.

4.2	Re Section 5.3.3.1.2.2:

Vertical live loads where qk = 7.5 kN/m² shall be assumed for platforms which do not have fixed seats and their accesses and landings.

4.3	Re Section 5.3.3.4:

When applying Table 1, the temporary structure which is consolidated by the requisite protection and reinforcement measures shall be assessed when not in use in relation to the maximum envisaged wind zone with the wind speed pressures as per Table NA.B.3 or Section NA.B.3.3 of DIN EN 1991-1-4/NA:2010-12. These wind speed pressures may be reduced by a factor of 0.7. No other reductions in wind speed pressures may be applied.

By way of an alternative, proof of the stability of temporary structures when not in use may also be furnished in relation to installation locations where vb,0 > 28 m/s, using the peak velocity pressures as per Table NA.B.3 or Section NA.B.3.3 of DIN EN 1991-1-4:NA:2010-12. These wind speed pressures may be reduced by a factor of 0.7. Other reductions in peak velocity pressures may not be applied.

Fig. 1 is not covered by the insertion.

4.4	Re Section 5.3.6.2:

The partial load factor G = 1.0 shall be used for permanent actions whose effects are advantageous.

4.5	Re Section 5.6.5.3:

Buckled foot straps in trapeze swings, including their fixtures and connections, must have a breaking load of at least 2 kN.

5	Re Section 6:

Instead of the sections in the standard listed below which are not covered by the insertion, the requirements laid down in the Guideline on the construction and operation of temporary structures shall apply.

5.1	Sections 6.1.3.2, 6.1.3.3, 6.1.4.1, 6.1.4.5 and 6.1.5.2 are not covered by the insertion.

5.2	Re Section 6.1.6.4:

In the case of swing carousels, the failure of a carrying chain, in particular, should not result in the passenger safety device (closing chain, bar, etc.) malfunctioning.

5.3	Re Section 6.2.1.2:

Rotors must have a closed cylinder wall. The floor and inside of the cylinder wall shall be executed without prominent or recessed parts. It should not be possible for either the user or spectators to reach the rim of the cylinder wall. The height adjustable floor shall be incorporated into the cylinder with a small joint gap and guided in the same direction as the rotation of the cylinder. The doors shall be incorporated into the cylinder wall with small joint gaps. The rotors shall be designed such that they cannot start when the doors are open.

5.4	Re Section 6.2.2.2:

The height of the protector in open gondolas on Ferris wheels in which passengers are able to stand up during operation must be at least 0.55 m, measured from the top edge of the seat. It must be possible to close entry and exit points at the height of the protector by means of fixed devices. They must be capable of being secured with locks which cannot be disengaged automatically.

5.5	Re Section 6.2.3.1:

Roller coasters shall be fitted all round with a specification class J3 area barrier.

Ghost train tracks shall be fenced off to spectators as far as the entry and exit points using at least specification class J2 area barriers.

5.6	Re Section 6.2.3.5.1:

As regards ghost trains where the vehicles travel slowly (at speeds ≤ 3 m/s) and which have appropriate impact absorbers, a block system can be dispensed with.

5.7	Re Section 6.2.3.5.2:

Double-deck ghost trains must have back-run safety devices on inclines. On lines on a falling gradient, provision must be made, if necessary, for brakes to control the speed and tilt protection devices.

5.8	Re Section 6.2.5.1.1:

A fixed, horizontal and smooth sliding surface at least 2 m wide must be present between the turntable and buffer strips.

5.9	In Section 6.2.5.2, paragraph 1 is not covered by the insertion.

5.10	Section 6.2.6 is not covered by the insertion.

5.11	Re Section 6.2.7.5:

Shooting tables must be secured such that they cannot be moved. The distance to individual targets no more than 0.40 m deep which are limited in terms of area (e.g. shooting gallery booths) may be reduced to up to 2.40 m.

5.12	Sections 6.4, 6.5 and 6.6 are not covered by the insertion.

6	Section 7 is not covered by the insertion.

7	Annexes A, C, E, F, H and I are not covered by the insertion.

Annex B 2.2.1/1

Re DIN 18516-1

1	Re Section 7.1.1(a):

For cladding, stainless steels of corrosion resistance class II (CRC) according to DIN EN 1993-1-4:2015-10 may also be used.

2	Reference is made to the following error correction:

Re Annex A, Section A 3.1:

Paragraph 4 should read instead of ‘... as per fig. A.1.b)...’, the correct version is ‘... as per fig. A.1.c)...’, and instead of ‘... as per fig. A.1.c)...’, the correct version is ‘... as per fig. A.1.d)..’.

Re Annex A, fig. A.4:

This should read: not ‘present FQ,Ed’ but: ‘present FQ’ but: ‘present FZ,Ed’ but: ‘present FZ’, not: ‘ permitted FQ,Rd’ but: ‘permitted FQ’, not: ‘ permitted FZ,Rd’ but: ‘ permitted FZ’, not: ‘ max. FQ, Rd’ but: ‘ max. permitted FQ’ and not: ‘ max. FZ,Rd’ but: ‘ max. permitted FZ’.

3	For exterior wall cladding, the relevant provisions of Sections A.1.2 and B 2.2.1.1 shall be observed to comply with the requirements of Section A 1.1. The technical rules of paragraph A 1.2.3 et seq. and B 2.2.1.1 do not extend to exterior wall claddings with façade elements (including their fasteners) that are fastened according to technical best practices and fulfil the following conditions:

a.	with small-sized façade elements with an area of ≤ 0.4 m² and an intrinsic weight of ≤ 5 kg

with board format cascade elements with a width of ≤ 0.3 m and a substructure support spacing of ≤ 0.85 m.

Annex B 2.2.1/2

Re DIN 18516-5

Re Section 5.4.2:

Equation (11) should read as follows:

VRk,red = VRk ·

Annex B 2.2.1/3

1	Stability

Where load-bearing features of building components or kits in accordance with ETA in the form of calculated load-bearing values, mechanical resistance or complete static calculations are stated in the declaration of performance, these count among the building documents.

2	Thermal insulation

The design values as per DIN 4108-4:2017-03 are to be used for the heat insulation certificate. The insulating materials used in the construction kit must meet the requirements under DIN 4108-10:2015-12 in line with the relevant area of application.

Annex B 2.2.1/4

Stability

To meet the requirement under Section A 1.1, the relevant provisions in Sections A 1.2 apply to façades manufactured with the curtain wall construction kit for structural safety analysis.

Annex B 2.2.1/5

1	Stability

Components made of sandwich panels as per EN 14509:2013 may not be used to brace buildings, building parts or structural works.

For the dimensioning and execution, the following applies: Sandwich elements shall be dimensioned and executed in accordance with Section E.2, E.3, E.5 and E.7 of the EN 14509:201351 standard. Sections E.4.2 and E.4.3 do not apply. The deflection limits as per EN 14509:201351, Section E.5.4, must be observed. The differences in temperature between the surface layers must be taken into account. The maximum temperature differential between the two temperatures operating simultaneously in both coating layers where T = T1 – T2 shall be specified as follows:

Interior coating layer temperature T2

- T2 shall normally be assumed to be +20 °C in winter and +25 °C in summer; this applies to both the proof of stability and to the proof of fitness for purpose.

- In special applications (e.g. air-conditioned halls such as ripening halls, refrigerated warehouses), T2 shall be set in accordance with the operating temperature inside the building.

Exterior coating layer temperature T1

- In winter, T1 shall be assumed to be -20 °C; snow-covered roofing elements are subject to the standard with respect to T1. In summer, the coating layer temperature T1 for the proof of fitness for purpose shall - in accordance with the standard - be assumed to be +80 °C (in direct sunlight) and +40 °C (not in direct sunlight.

The insulating panels shall be attached directly (visibly) by screws extending through both coating layers, the usefulness of which has been demonstrated for this purpose. The wrinkling stresses at the intermediate supports shall only apply when attaching the panels using a maximum of 3 screws per metre. Where more than 3 screws per metre are used, the wrinkling stresses shall be reduced by the factor K = (11 – n)/8 (n = number of screws per metre).

Proof of the load-bearing capacity of the screws and the screw head displacements shall be furnished in accordance with Technical Building Regulations or the proof of fitness for purpose regarding the screws, in which connection the actions and combinations thereof shall be determined analogous to EN 14509:201351, Section E.5.3. In the case of continuous sandwich elements, the incorporation of crease joints above the interior supports (ultimate load method as per EN 14509:201351, Sections E.7.2.1 and E.7.2.3) may not be specified when determining the impacts in relation to the fastenings (no chain of single-span elements).

The combination coefficients 0 and 1 shall be based on Table E.6 and the load factors F in Table E.8 on the standard EN 14509:201351. The material-related safety factors M are given in the table below:

| Characteristics in respect of which γM is valid | Limit state |  |
| --- | --- | --- |
|  | Load-bearing capacity | Usability |
| Metal coating layer yield | 1.10 | 1.00 |
| Creasing of a metal base course in the panel and at a central support (interaction with the support reaction) | 2.80 | 1.40 |
| Shear failure of the core | 2.40 | 1.30 |
| Shear failure of a profiled coating layer | 1.10 | 1.00 |
| Compressive failure of the core | 2.40 | 1.30 |
| Profiled coating layer failure at the central support | 1.10 | 1.00 |

2	Fire safety / fire resistance

The use of self-supporting sandwich elements with double-sided metal top coatings according to EN 14509:2013 requires classification of the fire characteristics according to DIN EN 13501-1:2010-01 with the addition ‘all end uses’.

The fire resistance of structural elements (building types) is not regulated.

Annex B 2.2.1/6

The provisions of A 1.2.7.1 apply to the use of construction kits of fully or partly glazed dividing walls in category IV under ETA.

Annex B 2.2.1/7

1	Gypsum plasterboards under EN 520:2004+A1:2009 used with load-bearing (including stiffening) components must meet the provisions of DIN 18180:2014-09. Gypsum plasterboards from reprocessing manufactured pursuant to EN 520:2004+A1:200954 may only be used on load-bearing components if the reprocessing does not reduce load-bearing capacity.

2	Thermal insulation

The thermal insulation certificate shall be issued with the rated thermal resistance value. The rated thermal resistance value is the nominal value of thermal resistance R divided by the conversion factor for moisture content Fm = 1.25.

Annex B 2.2.1/8

Verification of the limit state of serviceability must be performed without bonding the steel profiles with the timber components. The formation of water pockets must be excluded.

Compliance of sufficient wood protection (particularly condensation) for the roofing elements must be demonstrated pursuant to DIN 68800-2:2012-02.

Annex B 2.2.1/9

The relevant provisions of Section A.1.2 shall be observed to comply with the requirements of Section A 1.1. The technical rules pursuant to paragraph 1.2.3 et seq. do not apply to the following:

1) Roofing with roof elements (including their fasteners) that are fastened according to technical best practices and meet the following conditions:

small-sized roof elements – except for the elements specified in subparagraphs (b) and (c) – with ≤ 0.4 m² area and ≤ 5 kg intrinsic weight, or

Roof tiles and blocks (according to DIN EN 1304:20051 or EN 490:20112) with an area ≤ 0.4 m² and an intrinsic weight ≤ 7 kg or

Shaped clinkers and blocks (according to DIN EN 1304:20051 or EN 490:20112) with an area ≤ 0.4 m² and an intrinsic weight ≤ 13 kg, or

other roofing elements with a substructure support spacing of ≤ 1.0 m – excluding those made of glass,

2) Roof light strips made of plastic panels that meet the following conditions:

level rooflights with roofing elements with a substructure support spacing ≤ 1.0 m, or

upward curving rooflights with roofing elements with a substructure support spacing in the main load-bearing direction (in the direction of the curve for single-axis curved roofing elements) ≤ 2.0 m,

3) Prefabricated plastic dome lights with a substructure support spacing in the main load-bearing direction ≤ 2.0 m.

______

1	Implemented in Germany by DIN EN 1304:2008-07

2	Implemented in Germany by DIN EN 490:2012-01

Annex B 2.2.2/1

EN 13964:2014 must be observed with the following restrictions when using fibre-cement boards under EN 12467:2012 or cement-bound building panels under ETA as suspended ceilings indoors:

1	Anchoring in concrete, cellular concrete, no-fines-texture concrete, bricks, steel, timber or similar anchoring bases is done with anchoring elements such as, for example, rawl plugs, setscrews or bolts whose use is regulated in the Technical Building Regulations.

2	The heat insulation certificate shall be issued with the rated thermal conductivity value. The rated thermal conductivity value is derived from the nominal value specified in ETAError! Bookmark not defined. by converting to a moisture content at 23 °C and 80 % relative humidity. The conversion factors outlined in the ETA shall be used for conversion for the moisture.

Annex B 2.2.3/1

There are no technical rules on the planning, design and execution of factory-made foam glass gravel under load-bearing foundation slabs.

Annex B 2.2.4/1

– deleted from MVV TB 2019/1 –

Annex B 2.2.5/1

The surface sealings under EN 14891:2012+AC:2012-05 may be used for the sealing of wall and floor surfaces as well as swimming pools that are located outdoors and not connected to buildings.

Annex B 2.2.5/2

– deleted from MVV TB 2019/1 –

Annex B 2.2.5/3

Products with ETA under ETAG 005/EAD xyz 'Liquid-applied roof waterproofing' may be used for waterproofing used and unused roof areas as defined in DIN 18531-1 to -5 depending on the areas of application and stress class if at least the following performance levels are demonstrated in an ETA:

Table 1:Unused roof areas

| Unused roof areas | Technical performance levels under ETAG 005 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Stress class pursuant to DIN 18531 | Climate zone | Durability W | Working load P | minimum surface temperature TL | maximum surface temperature TH | Minimum layer thickness[mm] |
| I A | M | W2 | P4 | TL 3 | TH 3 | gradient ≥ 2 %: 1.5 mm gradient < 2%: 2.0 mm |
| I B |  |  | P4 | TL 2 | TH 2 |  |
| II A |  |  | P3 | TL 3 | TH 3 |  |
| II B |  |  | P3 | TL 2 | TH 2 |  |

Table 2: 	Used roof areas

| Used roof areas | Technical performance levels under ETAG 005 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type of utilisation | Climate zone | Durability W | Working load P | Minimum surface temperature TL | Maximum surface temperature TH | Minimum layer thickness60[mm] |
| directly used | S | W3 | P4 | TL 3 | TH 3 | 2.0 |
| indirectly used | M |  |  | TL 2 | TH 2 | 2.0 |

Also applicable:

For extensively and intensively green areas, the waterproofing must be root-resistant or protection against root penetration must be ensured by other means.

Annex B 2.2.5/4

Waterproofing layers of mechanically secured waterproofing systems with an ETA under ETAG 006/EAD xyz may be used as roof sealing for unused roof areas if the waterproofing layers meet the requirements of DIN SPEC 20000-201:2015-08 Section 5.1 or 5.3.

Annex B 2.2.5/5

Construction kits for sealing wet rooms with an ETA as per ETAG 022/EAD 030352-0x-0503, EAD 030436-0x-0503 and/or EAD 030437-0x-0503 may be used if at least the following performance characteristics are demonstrated:

| Item No | Product property in accordance with ETAG 022 Part... (Section) | Requirements for application in stress class A for seals with ETA as per ETAG 022/EAD 030352-0x-0503, EAD 030436-0x-0503 and/or EAD 030437-0x-0503 |  |  |
| --- | --- | --- | --- | --- |
|  |  | ETAG 022 Part 1/ EAD 030352-0x-0503 | ETAG 022 Part 2/ EAD 030436-0x-0503 | ETAG 022 Part 3/ EAD 030437-0x-0503 |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Fire performance Part 1, 2, 3 (2.4.1) | E | E | E |
| 2 | Release of hazardous substances Part 1, 2, 3 (2.4.2) | Compliance with the statutory requirements of substances that may be released in installed condition | Compliance with the statutory requirements of substances that may be released in installed condition | Compliance with the statutory requirements of substances that may be released in installed condition |
| 3 | Water vapour permeability Part 1, 2, 3 (2.4.3) | Value declaration | Value declaration | Value declaration |
| 4 | Watertightness Part 1, 2, 3 (2.4.4.1) | waterproof | Watertight | Watertight |
| 5 | Crack-bridging ability Part 1, 2, 3 (2.4.4.2) | Proof only for crack-prone underlay: ≥ 0.4 mm | Proof for walkways bonded to the underlay and only for crack-prone underlay: ≥ 0.4 mm | Proof for thin and brittle plates bonded to the underlay and only for crack-prone underlay: ≥ 0.4 mm |
| 6 | Adhesive pull strength Part 1, 2, 3 (2.4.4.3) | ≥ 0.5 MPa | ≥ 0.3 MPa | ≥ 0.3 MPa |
| 7 | Scratch resistance Part 1, 2, 3 (2.4.4.4) | Proof only for systems without wearing surface: scratch-proof | Proof only for systems without wearing surface: scratch-proof | Proof only for systems without wearing surface: scratch-proof |
| 8 | Joint bridging ability Part 1, 2, 3 (2.4.4.5) | Certificate only for underlay with seam: Rating category 2: Test passed | Certificate only for underlay with seam: Rating category 0: No testing required or rating category 2: Test passed | Certificate only for underlay with seam: Rating category 0: No testing required or rating category 2: Test passed |
| 9 | Impermeability at joints Part 3 (2.4.4.6) | Proof not provided for | Proof not provided for | waterproof |
| 10 | Watertightness at penetrations Part 1, 2 (2.4.4.6) Part 3 (2.4.4.7) | Rating category 2: Test passed | Rating category 2: Test passed | Rating category 2: Test passed |
| 11 | Temperature resistance Part 1 (2.4.6.1) Part 2, 3 (2.4.6.2) | Rating category 2: Adhesive pull strength ≥ 0.5 MPa Additional proof for crack-prone underlay: Crack bridging ≥ 0.4 mm or for underlay with seam: Proof of seam-bridging ability | Change in tensile strength and elongation: ≤ 20 % | Change in flexural strength: ≤ 20 % Adhesive pull strength: ≥ 0.3 MPa |
| 12 | Water resistance Part 1 (2.4.6.2) Part 2, 3 (2.4.6.3) | Tensile bond strength: ≥ 0.5 MPa | Tensile bond strength: ≥ 0.3 MPa | Demonstrated if the requirements in lines 10 and 6 are met |
| 13 | Alkali resistance Part 1 (2.4.6.3) Part 2, 3 (2.4.6.4) | Tensile bond strength: ≥ 0.5 MPa | Change in tensile strength and elongation: 20 % after storage at 50°C for 16 weeks | Adhesive pull strength: ≥ 0.3 MPa |
| 14 | Reparability Part 1, 2, 3 (2.4.7.2) | Tensile bond strength: ≥ 0.5 MPa | repairable | repairable |
| 15 | Thickness of waterproofing layer Part 1, 2, 3 (2.4.7.3) | 2.0 mm for mineral waterproofing slurries 1.0 mm for reactive resin systems 0.5 mm for dispersions | 0.20 mm with wearing surface 0.70 mm without wearing surface | 5 mm |
| 16 | Processability Part 1, 2, 3 (2.4.7.3) | processable | processable | Proof not provided for |

Polymer dispersions may only be installed on wall surfaces.

Coverings that have been assessed pursuant to ETAG 022 Annex H (Paint systems for walls without wearing surface)/EAD 030352-0x-0503 may not be used in stress class A.

Annex B 2.2.5/6

Construction kits for liquid-applied seals with ETA as per ETAG 033/EAD xyz may be used for seals on bridges and other concrete traffic areas. Depending on the usage areas, they must provide evidence of the properties set out in the Table and fulfil the requirements set out therein.

Products with an ETA as per ETAG 033/EAD xyz may be used as seals for the following usage areas:

(I)	Traffic areas for vehicular traffic with very high load such as bridges, court cellar ceilings and access ramps for all types of vehicles

Products in usage category (A: A.1 - A.4) may be used.

(II)	Traffic areas for vehicular traffic with low and high load such as bridges for pedestrians and cyclists and court cellar ceilings, parking levels and access ramps thereto with vehicular traffic up to 160 kN.

Products in usage category (A) or (B) may be used. Products in usage category (B) may only be used in conjunction with a surface layer.

| Property as per ETAG 033 with detection method as per Section 5/EAD xyz |  | Evidence provided for test categories (P,S,T) as per ETAG 033, Annex D/EAD xyz | Requirement |
| --- | --- | --- | --- |
| 5.1.1.1 | Adhesive pull strength to the base | P 1, S0, T5 | > 1.3 MPa (initial value) |
|  | Exposure to heat and thermal ageing | P1, MA/LMA/CBM, T5 | > 1.3 MPa (for A.1, A.2, A.3) |
|  | Freeze-thaw cycle | P1, FT, T5 | > 1.3 MPa and < 30 % drop from initial value |
|  | Processing climate | P2min, S0, T5 | > 1.3 MPa and < 30 % drop from initial value |
|  | Damp concrete | P3, S0, T5 | > 1.3 MPa and < 30 % drop from initial value |
|  | Construction joint | P4, S0, T5 | > 1.3 MPa and < 30 % drop from initial value |
|  | Section joint | P4, S0, T5 | > 1.3 MPa and < 30 % drop from initial value |
| 5.1.1.2 | Crack-bridging ability | P1, MA/LMAmax/CBM, HA, T2/T1 | Pass (for A) |
|  |  | P1, UV, T2/T1 | Pass (for B) |
| 5.1.1.4.1 | Resistance to compaction of rolled asphalt | P1, CBM, T5 | Pass (for A.1) |
| 5.1.1.5 | Heat resistance |  |  |
|  | Pull strength/elongation behaviour | P1, S0, T5 | > 3.0 MPa / 350 % (initial value) |
|  | Change in tensile strength | P1, MA/LMAmax/CBM, T5 | < 30 % deviation from initial value (for A.1, A.2, A.3) |
|  | Change in deformation behaviour |  | < 30 % deviation from initial value (for A.1, A.2, A.3) |
| 5.1.1.6 | Perforation-resistance | P1, S0, T5 | passed with I4 (for B) |
| 5.1.1.7/ 5.1.4.2 | Shear strength of the assembled system | P1, LMAmin, T5 | > 0.45 MPa (for A.1, A.2, A.3) (initial value) |
|  |  | P1, LMAmin, FT, T5 | > 0.45 MPa and < 20 % drop from initial value (for A.1, A.2, A.3) |
| 5.1.1.8 | Water-tightness | P1, S0, T5 | Watertight (for A and B) |
|  |  | P1, UV, T5 | Watertight (for B) |
| 5.1.4.1 | Adhesive pull strength to the protective layer | P1, MA/LMAmin/CBM,T5 | > 0.4 MPa (for A.1, A.2, A.3) (initial value) |
|  |  | P1, MA/LMAmin/CBM, | > 0.4 MPa (for A.1, A.2, A.3) |
|  |  | FT, T5 | < 30 % drop from initial value |
| 5.1.4.3 | Slip resistance | Declared value | > 55 (for B) |
| 5.1.7.1.2 | Compatibility of materials with active substances: | P1, T5 |  |
|  | Water | Change in micro-hardness | > -15 IHRD |
|  | Alkali | Change in mass | < 2.5 % |
|  |  | Change in micro-hardness | Value > -7 IHRD + Value after exposure to water |
|  |  | Change in mass | < 0.5 % |
|  | Oil, petrol, diesel, de-icing salt | ---------- | Pass |
|  | Bitumen | Change in micro-hardness | -16 IHRD < value < 6 IHRD |
| 5.1.7.1 | Durability aspects: Pull strength/elongation behaviour | P1, S0, T5 | > 3.0 MPa / 350 % (initial value) |
|  | Resistance to thermal ageing | P1, HA, T5 |  |
|  | Change in tensile strength |  | < 30 % deviation from the initial value (for A) |
|  | Change in deformation behaviour |  | < 30 % deviation from the initial value (for A) |
|  | Resistance to UV radiation Change in tensile strength | P1, UV, T5 | < 30 % deviation from the initial value (for B) |
|  | Change in deformation behaviour |  | < 30 % deviation from the initial value (for B) |
|  | Resistance to wear and tear | Declared value | Pass (for B) |
| 5.1.7.2 | Usability aspects: |  |  |
|  | Resistance to sagging | Declared value for change in mass | Pass (≤ 10.0 %) |
|  | Minimum layer thickness/maximum layer thickness | Declared value | 2.0 mm / 6.0 mm |
| * The combined impact of water, temperature and alkali should be taken into account when determining change in mass. |  |  |  |

Annex B 2.2.5/7

The waterproofing system with an ETA can be used as a two-layer compound seal for used and unused roof areas on concrete substrate if performances for the following material characteristics specified in EAD 030065-0402 are declared:

|  | Material characteristic | Requirement |
| --- | --- | --- |
| 1. | Fire-resistant properties | Class E |
| 2. | Water-tightness | Pass |
| 3. | Resistance to mechanical damage | Resistant to mechanical damage (P4) |
| 4. | Fatigue-resistance | Resistant to fatigue |
| 5. | Resistance to low and high surface temperatures | Resistant to low (-20 °C) and high (+60 °C) |
| 6. | Useful life | 25 years |
| 7. | Resistance to thermal ageing | Resistant to thermal ageing |
| 8. | Resistance to water ageing | Resistant to water ageing |
| 9. | Resistance to root penetration | resistant to rooting (for green roofs only) |
| 10. | Effects from manufacturing conditions | no effects |

Annex B 2.2.5/8

Waterproofing layers with an ETA61 may be used as one-layer roof sealing for unused roof areas as defined in DIN 18531 if the key features meet the requirements for rubber sheets of DIN SPEC 20000-201:2015-08 Table 17.

Waterproofing layers may also be used to manufacture building waterproofing against ground moisture, non-pressing water, water pressing from the outside as defined in DIN 18195 Parts 4, 5 and 6 if the key features of the requirements for rubber sheets of DIN SPEC 20000-202:2016-03, Table 26.

Annex B 2.2.5/9

The waterproofing system for manufacturing barriers to connections to ascending components or penetrations in conjunction with surface sealing of bitumen sheets may be used on unused or extensively green roofs if performance is declared in respect of the following material characteristics mentioned in EAD 030155-0402:

|  | Material characteristic | Requirement |
| --- | --- | --- |
| 1. | Fire-resistant properties | At least Class E |
| 2. | Water-tightness | Pass |
| 3. | Release of hazardous substances | without chemical additives for root penetration protection |
| 4. | Adhesive pull strength to the substrate | > 50 kPa |
| 5. | Resistance to dynamic impression | Pass at 2.0 m drop height |
| 6. | Resistance to movement in the heat insulation layer | Pass |
| 7. | Resistance to different movement of horizontal and vertical areas | Pass |
| 8. | Resistance to slipping | < 2 mm |
| 9. | Compatibility with the vertical substrate and bitumen membrane | > 25 N/50 mm |
| 10. | Flexibility in the cold | ≤ -35 °C |
| 11. | Resistant to root penetration | Pass (for green roofs only) |
| 12. | Resistance to thermal ageing | < 15 % loss in performance |
| 13. | Resistance to UV ageing | < 20 % loss in performance |
| 14. | Resistance to water ageing | < 20 % loss in performance |

The hardened waterproofing layer must have a minimum thickness of 1.5 mm. Where there is a slight inclination of 2 % in the sealing layer on the roof, a minimum layer thickness of 2.0 mm must be kept at connections and penetrations.

______

1	Under EAD/ETAG/CUAP

Annex B 2.2.5/10

The coated joint plate with an ETA may be used as a joint seal in WU concrete components for the documented applications and the permitted water pressure, if the following fundamental characteristics in accordance with EAD 320002-02-0605 have been evaluated with an ETA and the declaration of performance includes the following product performance levels:

| 1. | Fire-resistant properties | Class E |
| --- | --- | --- |
| 2. | Watertightness when installed | Field of application a), b) or c) and permitted water pressure |
| 3. | Tensile strength in as-supplied condition | Value |
| 4. | Tensile strength after heat aging | Deviation from 3. < 20 % |
| 5. | Durability | if required <3 % |

Annex B 2.2.6/1

For faecal-free wastewater, type 2, 3 and 5 anti-flooding devices under EN 13564-1:2002 must be used. For wastewater containing faecal matter, type 3 anti-flooding devices marked F under EN 13564-1:200262 must be used.

Annex B 2.2.6/2

Properties not within the scope of EN 1916:2002, Table 1 may be demonstrated for the use of site drainage manholes and inspection chambers pursuant to DIN V 1201:2004-08.

Annex B 2.2.6/3

Properties not within the scope of EN 1917:2002, Table 1 may be demonstrated for the use of site drainage manholes and inspection chambers pursuant to DIN V 4034-1:2004-08.

Annex B 2.2.6/4

Pipes and fittings with corrosion protection coatings containing less than < 50 ppm benzo(a)pyrene may be used.

B 3	Technical building equipment and parts of systems for the storage, filling and handling of water-polluting substances that do not have the CE mark under the Construction Products Regulation

B 3.1	General

Technical building equipment and parts of systems for the storage, filling and handling of water-polluting substances that do not meet specific fundamental requirements under Article. 3(1) of the Construction Products Regulation for building structures and parts thereof in respect of their intended use (and are subject to further harmonised legal areas).

For these products, proof of fitness for purpose is required to demonstrate the main features missing under the conditions of § 18(1) LBO. This does not apply if provided different otherwise in column 4, letter d. In this case, a declaration of conformity on the missing fundamental characteristics according to § 23 LBO issued by the manufacturer based on a prior examination of the construction products by a testing agency recognised under building supervisory provisions.

| Item No | Construction product | Relevant harmonisation provisions | a: Specific purpose b: Fundamental requirement pursuant to LBO, with elaboration where applicable c: Main features missing d: Procedure for documentation of the missing fundamental characteristic |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| B 3.2 Provisions pursuant to § 83a(2)(3) LBO |  |  |  |
| B 3.2.1 Technical building equipment subject to requirements under other legislation |  |  |  |
| B 3.2.1.1 | Amalgam separators | 2014/35/EU 2014/30/EU 93/42/EEC 2006/42/EC | a: Use in building drainage b: Hygiene, health, environmental protection c: Sealing, backflow prevention, odour sealing and sufficient separation rate |
| B 3.2.1.2 | Small sewage treatment plants with motor drives | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in building drainage b: Hygiene, health, environmental protection c: Sealing, backflow prevention, odour sealing and biological purification |
| B 3.2.1.3 | Plants to limit heavy metals in wastewater from the manufacture of ceramic products and that are fitted with motor drives | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in building drainage b.1: Hygiene, health, environmental protection b.2: Safety in use c.1: Sealing, limitation effect c.2: Operational reliability of measuring, control and regulation devices |
| B 3.2.1.4 | Plants to limit substances capable of being filtered, arsenic, antimony, barium, lead and other heavy metals, designed for an intake of wastewater from the construction and processing of glass and artificial mineral fibres and fitted with motor drives | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in building drainage b.1: Hygiene, health, environmental protection b.2: Safety in use c.1: Sealing, limitation effect c.2: Operational reliability of measuring, control and regulation devices |
| B 3.2.1.5 | Plants to limit hydrocarbons in wastewater containing mineral oils fitted with motor drives | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in building drainage b.1: Hygiene, health, environmental protection b.2: Safety in use c.1: Sealing, limitation effect c.2: Operational reliability of measuring, control and regulation devices |
| B 3.2.1.6 | Plants to limit silver content in wastewater from photographic procedures fitted with motor drives | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in building drainage b.1: Hygiene, health, environmental protection b.2: Safety in use c.1: Sealing, limitation effect c.2: Operational reliability of measuring, control and regulation devices |
| B 3.2.1.7 | Plants to limit halogenated hydrocarbons in wastewater from dry cleaners fitted with motor drives | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in building drainage b.1: Hygiene, health, environmental protection b.2: Safety in use c.1: Sealing, limitation effect c.2: Operational reliability of measuring, control and regulation devices |
| B 3.2.1.8 | Fire dampers for ventilation ducts not within the scope of DIN EN 15650 | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in ventilation systems b: Fire protection c: Sealing, surface temperature, activation device and smoke alarms |
| B 3.2.1.9 | Smoke dampers for ventilation ducts | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in ventilation systems b: Fire protection c: Sealing, smoke alarm and closure when ancillary power supply is interrupted |
| B 3.2.1.10 | Ventilation devices with a volume flow ≤ 1000 m3/h | 2014/35/EU 2014/30/EU 2006/42/EC 2009/125/EC Regulation (EC) No 1253/2014 2010/30/EU Delegated Regulation (EU) No. 1254/2014 | a: Aeration and ventilation of residential and non-residential buildings b.1: Fire protection b.2: Hygiene, health, environmental protection b.3: Energy savings and thermal insulation c.1: Fire-resistant properties c.2: Characteristic curve, minimum volume flow, sealing, air quality (filter), safety equipment c.3: Energy characteristics |
| B 3.2.1.11 | Sealed solid-fuel furnaces with motor-operated parts | 2014/35/EU 2014/30/EU 2006/42/EC | a: Room heating b.1: Hygiene, health, environmental protection b.2: Safety and accessibility in use c.1: CO concentration in waste gas, required draught c.2: Operational reliability for this mode of operation, self-closing furnace doors, installation conditions, minimum air requirement, tightness |
| B 3.2.1.12 | Sealed solid-fuel furnaces with motor-operated parts | 2014/35/EU 2014/30/EU 92/42/EEC 2006/42/EC | a: Room heating b.1: Hygiene, health, environmental protection b.2: Safety and accessibility in use c.1: CO concentration in waste gas, required draught c.2: Operational reliability for this mode of operation, self-closing furnace doors, installation conditions, minimum air requirement, tightness |
| B 3.2.1.13 | Quickly adjustable solid-fuel furnaces with motor-operated parts for individual rooms or groups of rooms (individual furnaces) | 2014/35/EU 2014/30/EU 2006/42/EC | a: Room heating b.1: Hygiene, health, environmental protection b.2: Safety and accessibility in use c.1: CO concentration in waste gas, required draught c.2: Operational reliability for this mode of operation, switch-off time, fuel dosage, installation conditions, minimum air requirement, tightness |
| B 3.2.1.14 | ‘Oil and gas-driven furnaces 4 kW to max. 400 kW’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.15 | ‘Oil and gas-driven furnaces < 4 kW and > 400 kW’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.16 | Assemblies for hot water generation loaded by hand with solid fuels | 2014/68/EU | a: Room heating b.1: Fire protection b.2: Hygiene, health, environmental protection b.3: Safety and accessibility in use c.1: Fire safety of furnaces c.2: Where necessary: Suitability for contact with drinking water, hygienic combustion c.3: Safety in use of furnaces |
| B 3.2.1.17 | ‘Boilers with motorised drive for solid fuels’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.18 | Stand-alone safety equipment for ensuring safe joint operation of ventilation systems and atmospheric furnaces | 2014/35/EU 2014/30/EU | a: Ensuring safe joint operation of ventilation systems (including ambient air extraction systems such as extractor hoods or tumble dryers) and atmospheric furnaces b.1: Hygiene, health, environmental protection b.2: Safety and accessibility in use c.1: Prevention of dangerous underpressure in the furnace installation area during furnace operation c.2: Operational reliability |
| B 3.2.1.19 | ‘Heat pumps, electr.’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.20 | ‘Non-electrically operated heat pumps (sorption or motor-driven heat pumps)’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.21 | ‘Thermal solar systems, prefabricated systems and partial systems’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.22 | Solar collectors with mechanically contained glass top layers with a maximum individual pane area of up to 3.0 m2 for the application: - in roof areas with an inclination ≤ 75° - in building-independent solar systems in areas not open to the public1 | 2014/68/EU | a: Energy generation for warming heating water b.1: Fire protection c.1: Fire characteristics of components required to be flame-resistant or non-combustible |
| B 3.2.1.23 | Solar collectors in derogation of B 3.2.1.22 | 2014/68/EU | a: Energy generation for warming heating water b.1: Mechanical strength and stability c.1: Depending on the installation situation, the provisions of A 1.2.7 must be met |
| B 3.2.1.24 | ‘Solar accumulators’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.25 | Photovoltaic modules with mechanically held glass cover areas with a maximum individual module area of up to 2.0 m2 for use: - in roof areas with angle of inclination < 75° - in building-independent solar systems in areas not open to the public | 2014/35/EU | a: Power generation for buildings b: Fire protection c: Fire characteristics of components required to be flame-resistant or non-combustible |
| B 3.2.1.26 | Photovoltaic modules without glass covers for use in roof areas | 2014/35/EU | a: Power generation for buildings b: Fire protection c: Fire characteristics of components required to be flame-resistant or non-combustible |
| B 3.2.1.27 | Photovoltaic modules in derogation of B 3.2.1.25 or B 3.2.1.26 | 2014/35/EU | a: Power generation for buildings b.1: Mechanical strength and stability b.2: Fire protection c.1: Depending on the installation situation, the provisions of A 1.2.7 must be met c.2: Fire characteristics of components required to be flame-resistant or non-combustible |
| B 3.2.1.28 | ‘Drinking water reservoirs’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.29 | ‘Combined heat and power plants, CHPs’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.30 | ‘District and local heat transfer stations’ deleted from MVV TB 2019/1 |  |  |
| B 3.2.1.31 | Exhaust gas heat exchanger | 2014/68/EU | a: Heat recovery for heating buildings b.1: Fire protection b.2: Safety and accessibility in use c.1: Fire characteristics of exhaust gas heat exchanger c.2: Operational reliability of combustion plants with waste gas heat exchanger |
| B 3.2.1.32 | distribution box for electric circuit systems with functional integrity requirement in the event of fire | 2014/35/EU 2014/30/EU 2006/42/EC | a: Use in electrical circuit systems b: Fire protection c: Functional integrity in the event of fire |
| B 3.2.2 Parts of systems for the storage, filling and handling of water-polluting substances that are not subject to the requirements of other legal provisions |  |  |  |
| B 3.2.2.1 | Overfill protection for containers | 2014/35/EU 2014/30/EU 2014/34/EU | a: Storage, filling and handling of water-polluting liquids b: Hygiene, health, environmental protection c: Operational reliability, visibility of alarm displays, corrosion resistance and fault indicators |
| B 3.2.2.2 | Leakage indicators for containers and pipes | 2014/35/EU 2014/30/EU 2014/34/EU | a: Storage, filling and handling of water-polluting liquids b.1: Resistance and stability b.2: Hygiene, health, environmental protection c.1: Monitoring room stability c.2: Suitability of leakage detection medium, corrosion resistance, consistency and sealing of monitoring room and operational reliability of leakage indicator |
| B 3.2.2.3 | Leak detection systems7 | 2014/35/EU 2014/30/EU | a: Storage, filling and handling of water-polluting liquids b: Hygiene, health, environmental protection c: Operational reliability, visibility of alarm displays, corrosion resistance and fault indicators |
| B 3.2.2.4 | Containers with overpressure compared to atmospheric pressure over 0.5 bars during normal operation | 2014/68/EU | a: Storage, filling and handling of water-polluting liquids b.1: Resistance and stability b.2: Hygiene, health, environmental protection b.3: Safety in use (only for containers used to store, fill and handle water-polluting liquids with flashpoint ≤ 55 °C) c.1: Stability of monitoring room (only for double-walled containers) c.2: - Leak detection (only for containers with leak detection lining and double-walled containers) - Permeation (only for underground plastic containers) c.3: - Explosion resistance (only for containers without flame arrester equipment) - Electrostatic charging (only for containers without a device to discharge electro-static charging) |
| B 3.2.2.5 | Pipes, hoses, associated fittings, sealants, mountings for pipes with overpressure compared to atmospheric pressure over 0.5 bars during normal operation | 2014/68/EU | a: Storage, filling and handling of water-polluting liquids b.1: Resistance and stability b.2: Hygiene, health, environmental protection b.3: Safety in use (only for pipes for facilities used to store, fill and handle water-polluting liquids with flashpoint ≤ 55 °C) c.1: Stability of monitoring room (only for double-walled pipes) c.2: - Leak detection (only for double-walled pipes) - Permeation (only for underground plastic pipes) c.3: Electrostatic charging (only for pipes without a device to discharge electro-static charging) |
| B 3.2.2.6 | Independently closing nozzles | 2014/34/EU 2006/42/EC | a: Storage, filling and handling of water-polluting liquids b: Hygiene, health, environmental protection c: Operational reliability d: Declaration of conformity pursuant to C 3.17 |
| B 3.2.2.7 | Coupling with emergency separating function (safety breaks) for flexible pipes with overpressure compared to atmospheric pressure over 0.5 bars | 2014/68/EU | a: Storage, filling and handling of water-polluting liquids b.1: Hygiene, health, environmental protection b.2: Safety in use c.1: Leakage amount c.2: Emergency separating function |
| B 3.2.3 Fire prevention accessories subject to requirements under other legislation |  |  |  |
| B 3.2.3.1 | Electrical cable systems with functional integrity requirement in the event of fire | 2014/35/EU | a: Use in electrical circuit systems b: Fire protection c: Functional integrity under fire exposure d: Declaration of conformity pursuant to C 4.9 |

B 4	Construction products and designs subject to the requirements of other legal provisions for which legislation has been enacted under § 83(5 a) LBO

Systems with construction products for the treatment of waste water or SDT installations must be sound, tight and durable, and must consist of building materials that are at most normally flammable.

| Item No | Designation | Measures/specifications pursuant to § 83a(2) LBO |
| --- | --- | --- |
| 1 | 2 | 3 |
| B 4.1 Technical requirements for stationary plants and parts of plants in storage, filling and handling plants used for handling water-polluting substances |  |  |
| B 4.1.1 | - catch basins and collecting equipment as well as pre-fabricated parts for collecting basins and surfaces, - sealants for catch basins, collecting equipment, collecting basins and surfaces, - containers, - internal coatings and linings for containers and pipes, - pipes, associated fittings, sealants and mountings, and - safety equipment | Annex B 4.1/1 |
| B 4.2 Technical requirements for the installation, operation and maintenance of plants with construction products for wastewater treatment |  |  |
| B 4.2.1 | Systems with construction products for the treatment of waste water with proportions of light liquids of mineral origin | Annexes B 4.2/1, B 4.2/2 and 4.2/4 |
| B 4.2.2 | Systems with construction products for the retention of light liquids of mineral origin | Annexes B 4.2/1, B 4.2/2 and 4.2/4 |
| B 4.2.3 | Plants with construction products for handling fatty wastewater (grease separators) | Annexes B 4.2/1 and B 4.2/3 |

Annexes to B4

Annex B 4.1/1

For the proof of stability, at least the following impacts must be considered: Temperature, test and operating pressure or filling level, dead and fill load, traffic load, impact, wind, snow, earthquake (exceptional load), flooding, chemical stress due to environmental factors and due to the storage or filling medium (water-polluting substances).

Consequence class CC2 and reliability class RC2 pursuant to Annex B of EN 1990 apply at a minimum.

Crack width control for concrete components in storage, filling and handling plants:

uncoated components: wcal ≤ 0.1 mm

cladded or coated components: Crack width w matched with sealant performance.

Execution class EXC 2 under DIN EN 1090-2 to welding seams of steel parts with a sealant function, along with compliance with the requirements for welding execution and traceability of materials.

Annex B 4.2/1

1	Stability

Documentation of load-bearing capacity and suitability for use of systems with construction products for the treatment of waste water containing light liquids and systems with construction products for the treatment of fat-containing waste water shall be provided on the basis of DIN 19901:2012-12 by type static analysis or static proof in individual cases. The following then applies:

For concrete containers with no interior lining/interior cladding, the penetration characteristics in concrete of grease or light liquids in waste water must be taken into account.

For plastic containers, the necessary characteristic values for static calculation shall be determined taking into account the effects of medium, time and temperature.

2	Fire protection

For structures containing construction products for the treatment of waste water containing light liquids

which are intended for outdoor installation, any containers, roofings and components that connect to the inlet and outlet must be made of non-combustible building materials.

having containers, roofings and components that do not connect to non-combustible building materials, the relevant structure shall be embedded in the soil at least up to the level of the maximum operating fluid level or, if there is a risk of accumulation (e.g. if an automatic closing device is fitted on the separator drain) up to the top of the shaft cover.

If construction products according to EN 858-1:2002+A1:2004 are used, the following performance levels must be declared for the fire-resistant characteristics:

| Intended use/installation condition | Fire-resistance class pursuant to EN 13501-1:2010-01 at least |
| --- | --- |
| Free-standing installation | A2-s1,d0 |
| Underground installation | E-d2 |

Annex B 4.2/2

The plants must be erected and operated in such a way that light liquids do not leak onto the soil or water.

DIN 1999-100:2016-12, Section 1 excluding paragraph 2 and 3, Section 2, Section 3, Section 5 excluding point 5.4, point 5.7.2, point 5.8 and point 5.10, Section 9, Section 10, Section 11, Section 12, Annex A and Annex B shall apply.

In addition to DIN 1999-100:2016-12, Section 10, point 10.1, volumes of additional fittings must be deducted when dimensioning sludge traps.

Separator systems for class I light liquid under EN 858-1:2002+A1:2004, Section 4 must be used to use the plants with construction products to handle wastewater with parts of light liquids of mineral origin, whose pollutant load mainly originates from operating facilities in which wastewater containing mineral oil regularly accrues during removal, cleaning, servicing, maintenance and recovery of vehicles and parts thereof.

Annex B 4.2/3

The plants must be erected and operated in such a way that grease does not leak onto the soil or water.

DIN 4040-100:2016-12, Section 1, Section 2, Section 3, Section 4, excluding Section 4.2, Section 5 excluding point 5.4, point 5.6, point 5.7.2, point 5.8 and point 5.9, Section 8, Section 9, Section 10, Annex A, Annex B shall apply.

When choosing the nominal size, the following requirements apply in addition to DIN EN 1825-2:2002-05, Section 6:

Volumes of additional fittings must be deducted when dimensioning sludge traps.

In conjunction with EN 1825-1:2004, Section 5.5.3, the following shall apply:

The minimum surface of the grease separator corresponds to the overall water surface less the surfaces of the inlet and outlet area and fittings. The minimum volumes of the grease separator is the requisite full volume of the grease separator in water and stored grease, i.e. including the grease collection space but without the inlet and outlet areas. For mathematical proof, the minimum volume of the grease collection space should be assumed to have density of grease to be separated of 1.0 g/cm3.

Annex B 4.2/4

Electric charges resulting from mechanical processes in the structure must be conducted away from the structure and equipotential bonding measures must be taken.

C - 
Technical Building Regulations for construction products that do not bear the CE mark and for designs

C 1	General

C 2	Requirements for submission of the compliance declaration for a construction product under § 23 LBO

C3	Construction products that require only a general building inspection test certificate pursuant to § 20(1)(2) LBO

C4	Designs that require only a general building inspection test certificate pursuant to § 17a(3) LBO

Prerequisites for issuing a declaration of conformity for construction products and details on designs and construction products that require only a general building inspection test certificate

C 1	General

Construction products may only be used if during use the physical structure meets building inspectorate requirements.

To clarify the building inspection requirements with Technical Building Regulations, compulsory technical rules have been agreed with the highest federal state building inspection authorities (see § 83a LBO). These technical rules for construction products that do not bear the CE mark under the Construction Products Regulation (Regulation (EU) No 305/2011) are set out in Chapter C 2 column 3. The manufacturer must confirm compliance with these technical rules by issuing a declaration of conformity and marking the construction products with the ‘Ü-Zeichen’ conformity mark. Pursuant to § 83a(2)(5) LBO, Chapter C 2, column 4 sets out the requirements for issuing a manufacturer’s declaration of conformity (§ 23 LBO):

Manufacturer’s declaration of conformity (ÜH),

Manufacturer’s declaration of conformity following prior testing of the construction product by an accredited test centre (ÜHP), or

Certificate of conformity by an accredited certification body (ÜZ).

Chapter C 2 sets out the regulations previously listed under Building Regulations List A Part 1.

Where construction products that do not bear have the CE mark under the Construction Products Regulation do not have technical approval and there are no generally accepted technical standards, or where the construction product deviates significantly from a Technical Building Regulation, general building inspection approval (§ 19 LBO) or approval in individual cases (§ 21 LBO) is required.

This does not include construction products listed in Chapter C 3 for which there are recognised test procedures in column 2 and those which require only a general building inspection test certificate instead of general building inspection approval (§ 20 LBO). Pursuant to § 83a(2)(5) LBO, column 4 sets out the requirements for issuing a manufacturer’s declaration of conformity in respect of the general building inspection test certificate.

Chapter C 3 sets out the regulations previously listed under Building Regulations List A Part 2.

The type of declaration of conformity required in each case is determined for construction products in Chapters C 2 and C 3.

The type of proof required under public law is decisive, even if the technical rule may stipulate otherwise. External monitoring provided for in a technical rule therefore need not be observed under public law if column 4 does not stipulate a certificate of conformity.

If tests on construction products, in particular suitability tests, initial tests or tests for obtaining test certificates or factory certificates, are provided for in the technical rules in accordance with Chapters C 2 and C 3, these tests must be carried out within the framework of the stipulated proof of conformity.

In-house quality control is the manufacturer’s continuous monitoring of production to ensure that the construction products it manufactures satisfy the provisions of the relevant technical rules. The quality control is carried out under DIN 18200:2000-05, Section 3. Moreover, the provisions of the technical rules are decisive for in-house quality control. Self-monitoring provisions apply as provisions for in-house quality control.

If construction products are not manufactured in series by companies whose operators are listed in the Register of Craftsmen, the requirements for in-house quality control under DIN 18200:2000-05, Section 3, are considered to be met if the handicraft regulations are observed.

The test shall be carried out in accordance with DIN 18200:2000-05 Sections 4.1 and 4.3. Moreover, the provisions of the technical rules are decisive for independent quality control.

Designs that deviate significantly from the Technical Building Regulations or for which there are no generally accepted technical standards in respect of planning, design and execution may only be used if there is general type approval or project-related type approval.

This does not include designs listed in Chapter C 4 for which there are recognised test procedures (column 2) and those which require only general type approval instead of general building inspection approval. Users must confirm compliance of the design with the general building inspection test certificate in a declaration of conformity.

Chapter C 4 sets out the regulations previously listed under Building Regulations List A Part 3.

‘Under the principle of mutual recognition, a construction product that is not the subject matter of EU-wide harmonisation and has lawfully been placed on the market in another member state of the European Union, of the European Economic Area, in Turkey or Switzerland under their national technical provisions qualifies as equivalent to a construction product under and on the basis of the requirements set out in the Building Code, provided it is used as intended according to the other national technical provisions and meets the requirements applicable in Germany under and on the basis of the Building Code. This includes requirements pertaining to the conformity assessment procedure and the conformity assessment bodies.

C 2	Requirements for submission of the compliance declaration for a construction product under § 23 LBO

The following is stipulated in accordance with § 83a(2)(5) LBO:

| Item No | Construction product | Technical rules/Version | Declaration of conformity |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| C 2.1 Construction products for concrete, reinforced concrete and prestressed concrete construction |  |  |  |
| C 2.1.1 Binders |  |  |  |
| C 2.1.1.1 | Early-setting cement (FE cement) and quick-setting Portland and Portland composite cement (SE cement) | DIN 1164-11:2003-11 Also applicable: Annex C 2.1.1 | ÜZ |
| C 2.1.1.2 | Cement with an increased proportion of organic constituents | DIN 1164-12:2005-06 | ÜZ |
| C 2.1.2 Concrete admixtures |  |  |  |
| C 2.1.2.1 | Trass | DIN 51043:1979-08 | ÜZ |
| C 2.1.3 Reinforcing steel |  |  |  |
| C 2.1.3.1 | Reinforcing steel bars | DIN 488-2:2009-08 DIN 488-6:2010-01 Also applicable: DIN 488-1:2009-08 | ÜZ |
| C 2.1.3.2 | Reinforcing steel mesh | DIN 488-4:2009-08 DIN 488-6:2010-01 Also applicable: DIN 488-1:2009-08 | ÜZ |
| C 2.1.3.3 | Reinforcing steel in coils/steel wire | DIN 488-3:2009-08 DIN 488-6:2010-01 Also applicable: DIN 488-1:2009-08 | ÜZ |
| C 2.1.3.4 | Lattice girders | DIN 488-5:2009-08 DIN 488-6:2010-01 Also applicable: DIN 488-1:2009-08 | ÜZ |
| C 2.1.4 Concrete |  |  |  |
| C 2.1.4.1 | Sprayed concrete | DIN EN 14487-1:2006-03 Also applicable: DIN 18551:2014-08 | ÜZ |
| C 2.1.4.2 | Standard concrete | DIN EN 206-1:2001-07, DIN EN 206-1/A1:2004-10, DIN EN 206-1/A2:2005-09 and DIN 1045-2:2008-08 Also applicable: DIN 1045-3:2012-03 and DIN EN 1008:2002-10 | ÜH |
| C 2.1.4.3 | Concrete by properties, concrete by composition | DIN EN 206-1:2001-07, DIN EN 206-1/A1:2004-10, DIN EN 206-1/A2:2005-09, DIN EN 206-9:2010-09 and DIN 1045-2:2008-08 Also applicable: DIN 1045-3:2012-03, DIN EN 1008:2002-10 and Annexes C 2.1.2 and C 2.1.3 Also applicable, depending on construction product: DafStb Guideline for concrete with extended processing time (slow setting concrete) (2006-11), DafStb guideline on precautions against harmful alkali reactions in concrete (Alkali-Richlinie [Alikali Guideline]) – AlkR- (2013-10), DafStb Guideline for concrete in line with DIN EN 206-1 and DIN 1045-2 with recycled aggregates in line with DIN EN 12620: Part 1 - RBrezG/1 - (2010-09), DAfStb Guideline on the manufacture and use of dry concrete and dry mortar (Dry Concrete Guideline) – TrBMR – (2005-06), DAfStb Guideline – Self-compacting concrete – SVBR – (2012-09), DAfStb Guideline – Solid concrete components (2010-04) and DAfStb Guideline – Steel fibre reinforced concrete (2012-11) | ÜZ |
| C 2.1.4.4 | Grout for pre-stressing tendons | DIN EN 447:1996-07 Also applicable: DIN EN 445:1996-07, DIN EN 446:1996-07 and Annexes C 2.1.4 and C 2.1.5 | ÜZ |
| C 2.1.4.5 | Grouting mortar, liquid concrete | DAfStb Guideline on the manufacture and use of cement-bound liquid concrete and grouting mortar – VeBMR – (2011-11) | ÜZ |
| C 2.1.5 Prefabricated concrete and reinforced concrete components, glass blocks and bricks |  |  |  |
| C 2.1.5.1 | Concrete windows | DIN 18057:2005-08 Also applicable: Annex C 2.1.6 | ÜZ |
| C 2.1.5.2 | Statically active roof tiles with non-prefabricated carriers | DIN 4159:2014-05 | ÜZ |
| C 2.1.5.3 | ‘Statically inactive roof tiles with non-prefabricated carriers’ deleted from MVV TB 2019/1 |  |  |
| C 2.1.5.4 | Load-bearing pre-cast products of concrete, reinforced concrete or pre-stressed concrete that do not meet the harmonised product standards. | DIN 1045-4:2012-02 Also applicable: Annex C 2.1.7 | ÜZ, also applies to non-serial production |
| C 2.1.5.5 | Prefabricated brick ceilings | DIN 1045-100:2017-09 in conjunction with DIN 1045-101:2017-09 | ÜZ, also applies to non-serial production |
| C 2.1.5.6 | Steel-fibre reinforced concrete load-bearing units | DafStb Guideline for steel fibre reinforced concrete (2012-11), DIN 1045-4:2012-02 Also applicable: Annex C 2.1.7 | ÜZ, also applies to non-serial production |
| C 2.2 Construction products for masonry |  |  |  |
| C 2.2.1 | Statically active bricks for cast slabs | DIN 4159:2014-05 | ÜZ |
| C 2.2.2 | Façades and cast slabs | DIN 1053-4:2013-04 | ÜZ, also applies to non-serial production |
| C 2.3 Timber construction products |  |  |  |
| C 2.3.1 Prefabricated building components |  |  |  |
| C 2.3.1.1 | Glued load-bearing timber construction products under DIN 1052-10:2012-05, Sections 6.2 to 6.5 and 6.7, excluding construction products under paragraph C 2.3.1.5 | DIN 1052-10:2012-05 Also applicable: Annex C 2.3.1 Also applicable, depending on construction product: DIN 4102-4:2016-05 | ÜH |
| C 2.3.1.2 | Load-bearing structures of laminated beams, glued laminated timber or laminated veneer softwood timber with punched metal plate fasteners | DIN 1052:2008-12 and DIN 1052/Corrigendum 1:2010-05 Also applicable, depending on construction product: DIN 4102-4:2016-05 | ÜZ, also applies to non-serial production |
| C 2.3.1.3 | Glued composite parts made of laminated timber that do not fall within the scope of DIN EN 14080, and cross-laminated timber | DIN 1052-10:2012-05 Also applicable, depending on construction product: DIN 4102-4:2016-05 | ÜZ |
| C 2.3.1.4 | Non-glued wall, ceiling and roof elements lined or planked on both sides; e.g. panel elements in wooden frame houses built using the panel construction method | DIN 1052:2008-12 and DIN 1052/Corrigendum 1:2010-05 Also applicable, mutatis mutandis: Guideline on the monitoring of wall, ceiling and roof elements for wooden frame houses built using the panel construction method as per DIN 1052 Parts 1 to 3 (1992-06) Also applicable, depending on construction product: DIN 4102-4:2016-05 | ÜZ, also applies to non-serial production |
| C 2.3.1.5 | Glued wall, ceiling and roof elements which are lined or planked on both sides; e.g. panel elements in wooden frame houses built using the panel construction method | DIN 1052-10:2012-05 Also applicable, mutatis mutandis: Guideline on the monitoring of wall, ceiling and roof elements for wooden frame houses built using the panel construction method as per DIN 1052 Parts 1 to 3 (1992-06) Also applicable, depending on construction product: DIN 4102-4:2016-05 | ÜZ, also applies to non-serial production |
| C 2.3.2 Fasteners |  |  |  |
| C 2.3.2.1 | Rebars, threaded bars and steel bars with wood screw thread for timber construction | DIN 1052-10:2012-05 Also applicable: Annex C 2.3.2 | ÜH |
| C 2.3.2.2 | Brackets that do not fall within the scope of DIN EN 14592 | DIN 1052-10:2012-05 | ÜHP |
| C 2.3.3 Adhesives for load-bearing timber components |  |  |  |
| C 2.3.3.1 | Phenoplastics and aminoplastics of adhesive type I for glued load-bearing connections in and between timber components | DIN EN 301:2013-12, DIN 68141:2008-01 Also applicable: Annex C 2.3.3 | ÜHP |
| C 2.4 Construction products for metal construction |  |  |  |
| C 2.4.1 Non-alloy steel construction products |  |  |  |
| C 2.4.1.1 | Bright steel | DIN EN 10278:1999-12 Also applicable: DIN EN 10277-2:2008-06 and Annexes C 2.4.1 and C 2.4.2 | ÜHP |
| C 2.4.1.2 | Bright equal angle square edged angle steel | DIN 59370:2008-06 Also applicable: DIN EN 10277-2:2008-06 and Annexes C 2.4.1, C 2.4.2 and C 2.4.3 | ÜHP |
| C 2.4.1.3 | Hot rolled seamless non-alloy steel pipes for use in tank construction | DIN 1629:1984-10 Also applicable: Annexes C 2.4.2, C 2.4.3 and C 2.4.4 | ÜHP |
| C 2.4.1.4 | Cold rolled strip and sheet | DIN 1623:2009-05 Also applicable: Annex C 2.4.2 | ÜHP |
| C 2.4.1.5 | Steel wire ropes | DIN 3051-4:1972-03 Also applicable: Annex C 2.4.2 | ÜHP |
| C 2.4.1.6 | Hot rolled sheet piling of non alloy steels | DIN EN 10248-1:1995-08 Also applicable: Annexes C 2.4.2 and 2.4.3 | ÜHP |
| C 2.4.1.7 | Cold formed sheet piling of non alloy steels | DIN EN 10249-1:1995-08 Also applicable: Annexes C 2.4.2 and 2.4.3 | ÜHP |
| C 2.4.2 Forged steel construction products |  |  |  |
| C 2.4.2.1 | Forged steel pieces | DIN EN 10222-4:2001-12 DIN EN 10250-2:1999-12 Also applicable: Annexes C 2.4.2 and 2.4.5 | ÜHP |
| C 2.4.3 Construction products made of casting materials |  |  |  |
| C 2.4.3.1 | Cast-steel products | DIN EN 10293:2015-04 DIN 18800-1:2008-11 Also applicable: Annex C 2.4.2 | ÜHP |
| C 2.4.4 Stainless steel construction products |  |  |  |
| C 2.4.4.1 | ‘Forged rust-proof steel pieces for use in tank construction and steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 2.4.4.2 | ‘Flat products, rods and wires for use in steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 2.4.4.3 | ‘Welded rust-proof circular steel pipes for use in tank construction and steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 2.4.4.4 | ‘Seamless rust-proof circular steel pipes for use in tank construction and steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 2.4.4.5 | ‘Hot or cold rolled steel heat-resistant rustproof strip and sheet, hot or cold formed rods, rolled wire and profiles of heat-resistant rustproof steel for use in steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 2.4.5 Fasteners (rivets, screws, bolts, nuts and washers), welding consumables, welding adjutants |  |  |  |
| C 2.4.5.1 | Square taper washers for U sections | DIN 434:2000-04 | ÜH |
| C 2.4.5.2 | Square taper washers for I sections | DIN 435:2000-01 | ÜH |
| C 2.4.5.3 | Washers for steel structures | DIN 7989-1, -2:2001-04 | ÜH |
| C 2.4.5.4 | Wedge-shaped square washers for HT screws on I profiles | DIN 6917:1989-10 | ÜH |
| C 2.4.5.5 | Wedge-shaped square washers for HT screws on U profiles | DIN 6918:1990-04 | ÜH |
| C 2.4.5.6 | Steel round head rivets with diameters of ≥ 10 mm | DIN 124:2011-03 Also applicable: Annex C 2.4.10 | ÜZ |
| C 2.4.5.7 | Steel countersunk rivets | DIN 302:2011-03 Also applicable: Annex C 2.4.10 | ÜZ |
| C 2.4.5.8 | Aluminium round head rivets | DIN 660:2012-01 Also applicable: Annex C 2.4.10 | ÜZ |
| C 2.4.5.9 | Steel round head rivets with diameters of < 10 mm | DIN 660:2012-01 Also applicable: Annex C 2.4.10 | ÜZ |
| C 2.4.5.10 | T-head bolts with square neck | DIN 186:2010-09 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.11 | T-head bolts with double nib | DIN 188:2011-02 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.12 | T-head bolts | DIN 261:1987-01 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.13 | T-head bolts with large head | DIN 7992:2010-09 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.14 | Anchor plates for T-head bolts | DIN 24539-2:1985-05 | ÜHP |
| C 2.4.5.15 | U-bolts | DIN 3570:1968-10 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.16 | Eyebolts | DIN 444:1983-04 in conjunction with DIN EN 22340:1992-10 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.17 | Turnbuckles made of tubular steel or round steel | DIN 1478:2005-09 | ÜZ |
| C 2.4.5.18 | Forged open-shape turnbuckle nuts | DIN 1480:2005-09 | ÜZ |
| C 2.4.5.19 | Welding ends for turnbuckles | DIN 34828:2005-09 | ÜZ |
| C 2.4.5.20 | Hexagonal turnbuckle nuts | DIN 1479:2005-09 | ÜZ |
| C 2.4.5.21 | Hot dip galvanised sets from high-strength hex bolts with large spanner sizes in sizes M 39 to M 72 | DASt guideline 021 (2013-09) Also applicable: Annex C 2.4.11, DIN EN 1090-2:2011-10 and DIN EN ISO 10684:2011-09 | ÜZ |
| C 2.4.5.22 | Hexagon socket countersunk head screws with strength class 8.8 and 10.9 | DIN EN ISO 10642:2004-06 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.5.23 | Threaded bars | DIN 976-1:2002-12 Also applicable: Annex C 2.4.11 | ÜZ |
| C 2.4.6 Anti-corrosive agents and construction products protected against corrosion (without mechanical fasteners) |  |  |  |
| C 2.4.6.1 | Thermal spraying. Metallic and other inorganic coatings. Zinc, aluminium and their alloys | DIN EN ISO 2063:2005-05 Also applicable: Annex C 2.4.12 | ÜHP |
| C 2.4.6.2 | Hot dip load-bearing structural elements of steel and cast steel (batch galvanising) | DASt Guideline 022 (2016-06) Also applicable: Annex C 2.4.13 | ÜZ |
| C 2.4.7 Prefabricated metal building components |  |  |  |
| C 2.4.7.1 | Prefabricated components made of steel that are not covered by DIN EN 1090-1 and need to bear payloads | DIN EN 1090-2:2011-10 Also applicable: Annex C 2.4.14 | ÜH |
| C 2.4.7.2 | Prefabricated components made of aluminium that are not covered by DIN EN 1090-1 and need to bear payloads | DIN EN 1090-3:2008-09 Also applicable: Annex C 2.4.15 | ÜH |
| C 2.5 Heat and sound insulating materials |  |  |  |
| C 2.5.1 | ‘Urea formaldehyde resin in-situ foam for thermal insulation’ deleted from MVV TB 2019/1 |  |  |
| C 2.6 Doors and gates |  |  |  |
| C 2.6.1 | Mineral fibreboard as inserts for fire doors | DIN 18089-1:1984-01 | ÜZ |
| C 2.6.2 | Revolving and folding lift shaft doors for lifts in lift shafts with fire resistance class F 90 walls | DIN 18090:1997-01 Also applicable: Annex C 2.6.1 | ÜZ, also applies to non-serial production |
| C 2.6.3 | Horizontal and vertical sliding doors for lifts in lift shafts with fire-resistant walls | DIN 18091:1993-07 Also applicable: Annex C 2.6.1 | ÜZ, also applies to non-serial production |
| C 2.6.4 | Vertical sliding doors for small service lifts in lift shafts with fire resistance class F 90 walls | DIN 18092:1992-04 Also applicable: Annex C 2.6.1 | ÜZ, also applies to non-serial production |
| C 2.6.5 | Mortise locks for fire/smoke protection doors | DIN 18250:2003-10 | ÜZ |
| C 2.6.6 | Door closers with a controlled closing-sequence - upper door closer with crank drive and spiral spring | DIN 18263-1:2015-04 Also applicable: Annex C 2.6.2 | ÜZ |
| C 2.6.7 | Door closers with a controlled closing-sequence - swing door drive with self-closing function | DIN 18263-4:2015-04 | ÜZ |
| C 2.6.8 | Spring hinge and construction hinge for fire doors | DIN 18272:1987-08 | ÜZ |
| C 2.6.9 | Door handles for fire/smoke protection doors | DIN 18273:1997-12 | ÜZ |
| C 2.6.10 | Automatic sliding doors in escape routes | Guideline on automatic sliding doors in escape routes - AutSchR - (1997-12) | ÜHP |
| C 2.6.11 | Electrical locking systems for doors in escape routes | Guideline on electrical locking systems for doors in escape routes - EltVTR - (1997-12) | ÜHP |
| C 2.6.12 | Inner doors applicable to the requirements on sound insulation, with the exception of fire and smoke barriers. | Annex C 2.6.3 | ÜHP |
| C 2.6.13 | Automatic door systems for sliding doors in escape routes | DIN 18650-1, -2:2005-12 Also applicable: Paragraph C 2.6.10 | ÜHP |
| C 2.7 Inventory |  |  |  |
| C 2.7.1 | Guide bearings and restraint bearings with sliding surfaces steel to steel | DIN 4141-13:2010-07 Also applicable: Annex C 2.7.1 | ÜZ |
| C 2.8 Special constructions |  |  |  |
| C 2.8.1 | Roller shutter housings for heat and sound insulation requirements | Guidelines on roller shutter housings - RokR - (2016-07) (see Annex 13) | ÜHP |
| C 2.8.2 | PVC-coated polyester fabric | DIN 18204-1:2007-05 | ÜZ |
| C 2.8.3 | Textile surface structures (sheets) for hangars and tents | DIN 18204-1:2007-05 | ÜHP |
| C 2.8.4 | Plastic gratings as per DIN 24537-3 | Annex C 2.8.1 | - |
| C 2.9 Construction products for roofs and roof coverings, walls and wall coverings, as well as ceilings and ceiling linings and internal non-load-bearing dividing walls |  |  |  |
| C 2.9.1 | Autoclaved aerated concrete slabs and panels not covered by the scope of EN 12602 | DIN 4166:1997-10 Also applicable: Annex C 2.1.5 | ÜH |
| C 2.9.2 | Lightweight concrete cavity wall panels | DIN 18148:2000-10 with the exception of the provisions concerning independent quality control inspection Also applicable: Annexes C 2.1.5, C 2.1.6 and C 2.9.1 | ÜH |
| C 2.9.3 | Unreinforced lightweight concrete wall panels | DIN 18162:2000-10 with the exception of the provisions concerning independent quality control inspection Also applicable: Annexes C 2.1.6 and C 2.9.2 | ÜH |
| C 2.9.4 | Concrete slabs for external wall cladding ventilated at rear | DIN 18516-5:2013-09 | ÜHP |
| C 2.9.5 | Wet-processed factory-produced mineral panels | DIN 18177:2012-11 Also applicable: Annex C 2.9.3 | ÜH |
| C 2.10 Construction products for construction sealing and roof sealing |  |  |  |
| C 2.10.1 | Naked bitumen sheets | DIN 52129:2014-11 Also applicable: DIN 52144:2014-11 | ÜH |
| C 2.10.2 | Elastomer joint tapes of average flammability for sealing joints in concrete | DIN 7865-1, -2:2015-02 Also applicable: Annex C 2.10.1 and DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜH |
| C 2.10.3 | Average flammability jointing tapes of thermoplastic materials for sealing joints in in-situ concrete | DIN 18541-1, -2:2014-11 with the exception of the provisions concerning independent quality control inspection Also applicable: DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜH |
| C 2.10.4 | Normally flammable adhesives and top coaters for building waterproofing systems made of bitumen according to DIN EN 13304 | DIN 18533-2:2017-07, Table 4 Also applicable: DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜH |
| C 2.10.5 | Asphalt mastic for building waterproofing | DIN EN 12970:2001-02 | ÜH |
| C 2.10.6 | Spherical corrugated metal bands for structural waterproofing | DIN 18533-2:2017-07, Table 2 | ÜH |
| C 2.11 Glass construction products |  |  |  |
| C 2.11.1 | Prefabricated safety barrier glazing | DIN 18008-4:2013-07 with the exception of Annex A, Annex D (with load-bearing capacity determined by testing) and Annex E | ÜH |
| C 2.11.2 | Prefabricated glazing designed to sustain human loads | DIN 18008-5:2013-07, with the exception of Annex A | ÜH |
| C 2.12 Construction products for site drainage |  |  |  |
| C 2.12.1 Pipes, fittings and sealants for conductors and ducts |  |  |  |
| C 2.12.1.1 | Cold-processable plastic sealants for concrete drains and sewers | DIN 4062:1978-09 | ÜZ |
| C 2.12.1.2 | Unplasticised polyvinyl chloride plastics piping systems for discharging waste within buildings | DIN EN 1329-1:2014-07 in conjunction with DIN CEN/TS 1329-2:2012-09 Also applicable: DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.3 | Unplasticised polyvinyl chloride pipes, fittings and pipelines for non-pressure underground sewers and piping and for devices for storing and filling slurry, liquid manure and silage effluent | DIN EN 1401-1:2009-07 in conjunction with DIN CEN/TS 1401-2:2012-09 Also applicable: Annex C 2.12.2 | ÜZ |
| C 2.12.1.4 | High-density polyethylene pipes and fittings for hot-water resistant waste and soil discharge systems inside buildings | DIN EN 1519-1:2000-01 in conjunction with DIN CEN/TS 1519-2:2012-05 Also applicable: DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.5 | High-density polyethylene pipes and fittings for sewers and piping | DIN EN 12666-1:2011-11 in conjunction with DIN CEN/TS 12666-2:2012-11 | ÜZ |
| C 2.12.1.6 | Shafts and accessories of unplasticised polyvinylchloride (PVC-U), polypropylene (PP) and polyethylene (PE) for unpressurised underground drains and sewers | DIN EN 13598-1:2011-02 in conjunction with DIN CEN/TS 13598-3:2012-07 | ÜZ |
| C 2.12.1.7 | Manholes and inspection chambers of unplasticised polyvinylchloride (PVC-U), polypropylene (PP) and polyethylene (PE) for unpressurised underground drains and sewers | DIN EN 13598-2:2010-05 in conjunction with DIN CEN/TS 13598-3:2012-07 | ÜZ |
| C 2.12.1.8 | Chlorinated polyvinyl chloride plastics piping systems for discharging waste within buildings | DIN EN 1566-1:1999-12 in conjunction with DIN CEN/TS 1566-2:2012-09 Also applicable: Annex C 2.12.1 and DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.9 | Glass fibre reinforced polyester resin pipes and fittings for underground sewers and piping and for devices for storing and filling slurry, liquid manure and silage effluent | DIN EN 14364:2013-05 in conjunction with DIN CEN/TS 14632:2012-05 | ÜZ |
| C 2.12.1.10 | Entry and control shafts from glass fibre reinforced thermosetting plastics (GFK) based on polyester resin (UP) | DIN EN 15383:2014-02 in conjunction with DIN CEN/TS 14632:2012-05 | ÜZ |
| C 2.12.1.11 | Fibre cement pipes and fittings for building drainage systems | DIN EN 12763:2000-10 Also applicable: Annex C 2.1.5 | ÜZ |
| C 2.12.1.12 | Fibre cement pipes and fittings for drains | DIN EN 588-1:1996-11 Also applicable: DIN 19850-1:1996-11 and Annexes C 2.1.5 and C 2.12.3 | ÜZ |
| C 2.12.1.13 | Fibre cement shafts for underground drains and sewers | DIN 19850-3:1990-11 Also applicable: Annex C 2.1.6 | ÜZ |
| C 2.12.1.14 | Polypropylene plastics piping systems for discharging waste within buildings | DIN EN 1451-1:1999-03 in conjunction with DIN CEN/TS 1451-2:2012-05 Also applicable: DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.15 | Acrylonitrile-butadiene-styrene plastics piping systems for discharging waste within buildings | DIN EN 1455-1:1999-12 in conjunction with DIN CEN/TS 1455-2:2012-09 Also applicable: Annex C 2.12.1 and DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.16 | Styrene copolymer blends plastics piping systems for discharging waste within buildings | DIN EN 1565-1:1999-12 in conjunction with DIN CEN/TS 1565-2:2012-09 Also applicable: Annex C 2.12.1 and DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.17 | Unplasticised polyvinyl chloride plastics piping systems with structured-wall pipes for soil and waste discharge inside buildings | DIN EN 1453-1:2000-03 in conjunction with DIN 19531-10:1999-12 Also applicable: DIN 4102-1:1998-05, DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.12.1.18 | Polypropylene waste pipes and fittings for underground drainage and sewerage | DIN EN 1852-1:2009-07 in conjunction with DIN CEN/TS 1852-2:2016-04 | ÜZ |
| C 2.12.1.19 | Plastics piping systems made from polypropylene with mineral modifiers for discharging waste outside buildings | DIN EN 14758-1:2012-05 in conjunction with DIN CEN/TS 14758-2:2007-10 Also applicable: Annex C 2.12.4 | ÜZ |
| C 2.12.1.20 | Plastic piping systems for pressure-less underground drainage and sewage with profiled walls of polyvinylchloride (PVC-U), polypropylene (PP) and polyethylene (PE) - pipes and fittings with smooth inner and outer surfaces, pipe type A - | DIN EN 13476-2:2007-08 in conjunction with DIN CEN/TS 13476-4:2013-07 | ÜZ |
| C 2.12.1.21 | Plastic piping systems for pressure-less underground drainage and sewage with profiled walls of polyvinylchloride (PVC-U), polypropylene (PP) and polyethylene (PE) - pipes and fittings with smooth inner and profiled outer surfaces, pipe type A - | DIN EN 13476-3:2009-04 in conjunction with DIN CEN/TS 13476-4:2013-07 | ÜZ |
| C 2.12.1.22 | Pipes and fittings of polyester resin moulding materials for underground drainage and sewerage | DIN EN 14636-1:2010-04 Also applicable: Annex C 2.12.5 | ÜZ |
| C 2.12.1.23 | Manholes and inspection chambers of polyester resin moulding materials for non-pressure underground drainage and sewerage | DIN EN 14636-2:2010-04 Also applicable: Annex C 2.12.5 | ÜZ |
| C 2.12.1.24 | Semi-finished products for close-fit-lining for the renovation of underground drain networks (open channels) | DIN EN ISO 11296-3:2011-07 Also applicable: Annex C 2.12.6 | ÜZ |
| C 2.12.1.25 | Semi-finished products for cured-in-place lining for the renovation of underground drain networks (open channels) | DIN EN ISO 11296-4:2011-07 Also applicable: Annex C 2.12.6 | ÜZ |
| C 2.12.1.26 | Semi-finished products for the winding tube for the renovation of underground drain networks (open channels) | DIN EN ISO 11296-7:2013-05 Also applicable: Annex C 2.12.6 | ÜZ |
| C 2.12.1.27 | Semi-finished product for lining with firmly anchored plastic linings for the renovation of underground drain networks (open channels) | DIN EN 16506:2014-12 Also applicable: Annex C 2.12.6 | ÜZ |
| C 2.12.2 Sanitary appliances and shut-off devices |  |  |  |
| C 2.12.2.1 | Drainage fittings for sanitary appliances | DIN EN 274-1, -2, -3:2002-05 with the exception of the provisions concerning independent quality control inspection | ÜHP |
| C 2.12.2.2 | Urinal connecting piece | DIN 1380:2001-05 | ÜHP |
| C 2.12.2.3 | Toilet connecting piece | DIN 1389:2001-05 | ÜHP |
| C 2.12.2.4 | Odour trap for specific purposes | DIN 19541:2004-12 with the exception of the provisions concerning independent quality control inspection | ÜHP |
| C 2.12.2.5 | Outlets for buildings | DIN EN 1253-1:2015-03, DIN EN 1253-2:2015-03 and DIN EN 1253-4:2016-07 in conjunction with DIN 1253-3:2016-09, except for the provisions relating to the independent quality control inspection Also applicable: DIN 4102-1:1998-05 and DIN 4102-4:2016-05, DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜHP |
| C 2.12.2.6 | Gullies with light liquids closure | DIN EN 1253-5:2017-05 in conjunction with DIN EN 1253-3:2016-09 with the exception of the provisions concerning independent quality control inspection Also applicable: DIN 4102-1:1998-05 DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜHP |
| C 2.13 Technical building equipment |  |  |  |
| C 2.13.1 | ‘Heat pumps, electr.’ deleted from MVV TB 2019/1 |  |  |
| C 2.13.2 | ‘Thermal solar systems, prefabricated systems and partial systems’ deleted from MVV TB 2019/1 |  |  |
| C 2.13.3 | ‘Solar collectors’ deleted from MVV TB 2019/1 |  |  |
| C 2.13.4 | ‘Solar accumulators’ deleted from MVV TB 2019/1 |  |  |
| C 2.13.5 | ‘Drinking water reservoirs, direct/indirect (electr./gas) heated and buffer reservoir’ deleted from MVV TB 2019/1 |  |  |
| C 2.13.6 | Ventilation devices in accordance with DIN 4719:2009-07 | Annex C 2.6.4 | - |
| C 2.14 Firing systems |  |  |  |
| C 2.14.1 Furnaces and firing equipment |  |  |  |
| C 2.14.1.1 | Oil-fired heating units with vaporising burners | DIN 4731:1989-07 Also applicable: Annex C 2.14.1 | ÜHP |
| C 2.14.1.2 | Oil-fired stoves with vaporising burners | DIN 4732:1990-01 Also applicable: Annex C 2.14.1 | ÜHP |
| C 2.14.1.3 | Oil-fired storage water heaters with vaporising burners | DIN 4733:1990-01 Also applicable: Annex C 2.14.1 | ÜHP |
| C 2.14.1.4 | Coal-fired storage water heaters | DIN 18889:1956-11 Also applicable: Annex C 2.14.1 | ÜHP |
| C 2.14.1.5 | Sealed furnaces as per DIN 18897-1:2005-06 | Annex C 2.6.4 | - |
| C 2.14.1.6 | ‘Oil and gas-driven furnaces 4 to max. 400 kW’ deleted from MVV TB 2019/1 |  |  |
| C 2.14.1.7 | ‘Oil and gas-driven furnaces < 4 and > 400 kW’ deleted from MVV TB 2019/1 |  |  |
| C 2.14.1.8 | ‘Boilers with motorised drive for solid fuels’ deleted from MVV TB 2019/1 |  |  |
| C 2.14.1.9 | Boilers without motorised drive for solid fuels | DIN EN 303-5:2012-10 | ÜHP |
| C 2.14.2 Flues |  |  |  |
| C 2.14.2.1 | Draught regulator for house chimneys without motor drive | DIN 4795:1991-04 | ÜHP |
| C 2.14.2.2 | Elastomeric sealants for chimneys | DIN EN 14241-1:2013-11 Also applicable: Annex C 2.14.4, DIN 4102-1:1998-05, DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 2.15 Construction products for stationary facilities for the storage, filling and handling of water polluting materials |  |  |  |
| C 2.15.1 | Horizontal containers (tanks) from steel, single-walled, for the underground storage of water polluting liquids | DIN 6608-1:1989-09 Also applicable: Annexes C 2.15.1, C 2.15.2 and C 2.15.3 | ÜZ |
| C 2.15.2 | Horizontal containers (tanks) from steel, double-walled, for the underground storage of water polluting liquids | DIN 6608-2:1989-09 Also applicable: Annexes C 2.15.1, C 2.15.2 and C 2.15.3 | ÜZ |
| C 2.15.3 | ‘Horizontal cylindrical single-wall and double-wall steel containers (tanks) for the surface storage of water-polluting liquids that are not liquid fuels for the energy supply of heating and cooling systems for buildings or for the storage of water-polluting fuels with density > 1.0 kg/l and/or flashpoint ≤ 55 °C for the energy supply of heating and cooling systems for buildings’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.4 | Vertical steel containers (tanks), single-walled, with volume less than 1 000 litres for the overground storage of water polluting liquids | DIN 6623-1:2017-06 Also applicable: Annex C 2.15.3 | ÜZ |
| C 2.15.5 | Vertical steel containers (tanks), double-walled, with volume less than 1 000 litres for the overground storage of water polluting liquids | DIN 6623-2:2017-06 Also applicable: Annex C 2.15.3 | ÜZ |
| C 2.15.6 | ‘Steel horizontal containers (tanks), single-walled, with volume from 1 000 to 5 000 litres for the overground storage of water polluting liquids’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.7 | ‘Steel horizontal containers (tanks), double-walled, with volume from 1 000 to 5 000 litres for the overground storage of water polluting liquids’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.8 | Single-walled prefabricated containers with flat walls and floors for the overground storage of water-polluting liquids with flashpoint > 55 °C | DIN 6625-1, -2:2013-06 Also applicable: Annex 2.15.3 | ÜZ |
| C 2.15.9 | ‘Single-walled shipping containers used as collection or dispensing containers that are design-approved under the traffic regulations for the carriage of dangerous goods’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.10 | ‘Single-walled metallic shipping containers used as collection or dispensing containers that are not design-approved under the traffic regulations for the carriage of dangerous goods’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.11 | ‘Single-walled metallic shipping containers used as fixed storage containers that are design-approved under the traffic regulations for the carriage of dangerous goods’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.12 | Steel collecting trays and collection tanks with up to 1 000 l capacity | Guideline on the requirements for steel collecting trays with a volume of up to 1 000 litres (StawaR) - (September 2011) | ÜHP |
| C 2.15.13 | Single-walled metallic pipes, related fittings, sealant, mountings for pipes in plants used for storing water-polluting liquids, except for components for oil supply systems for oil burners | TRbF 50 (2002-06), Annex A Also applicable: Annexes C 2.15.3, C 2.15.9 and C 2.15.10 | ÜH |
| C 2.15.14 | Vertical prefabricated cylindrical metallic flat-bottomed metallic containers with rigid roofs for the overground storage of liquids or cooled gases | DIN 4119-1:1979-06 and DIN 4119-2:1980-02 in conjunction with the Adapting Guideline for Steel Construction (1998-10) with amendments and supplements (2001-12) Also applicable: Annex C 2.15.3 | ÜZ |
| C 2.15.15 | Concrete formwork bricks for fermentation silos and liquid manure tanks in biogas storage and filling systems and systems for the storage of slurry, liquid manure and silage effluents containing mixtures, up to a maximum of 10% by volume of silage effluents | DIN 11622-22:2015-09 Also applicable: Annexes C 2.1.5 and 2.1.6 | ÜZ |
| C 2.15.16 | Concrete used as sealant for drainage channels and surfaces | DIN 1045-2:2008-08 in conjunction with DIN EN 206-1:2001-07, DIN EN 206-1/A1:2004-10, DIN EN 206-1/A2:2005-09 Also applicable: DIN 1045-3:2012-03 in conjunction with DIN EN 13670:2011-03, DAfStb Guideline Concrete construction when handling water-endangering substances (BUmwS), Part 2 (2011-03), DAfStb Guideline for steel fibre reinforced concrete (2012-11) and Annex C 2.15.11 | ÜZ |
| C 2.15.17 | Dome shafts and dome shaft collars made of steel | DIN 6626:2016-11 | ÜHP |
| C 2.15.18 | ‘Dome shaft collars made of steel for masonry dome shafts’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.19 | Waterstops for sealing working and movement joints in in-situ concrete sealing constructions | DAfStb Guideline on concrete construction when handling water polluting materials (BuUmwS) (2011-03), Part 1 Sections 7.3.3(1) to (3) and (6) to (12), Part 2 Section 3.4(1) and (5) Also applicable: Annex C 2.15.12 | ÜH |
| C 2.15.20 | Hoses, related fittings, sealant, mountings for pipes in plants used for storing, filling and handling water-polluting substances | TRbF 50 (2002-06), Annex B Also applicable: Annex C 2.15.9 | ÜH |
| C 2.15.21 | ‘Single-walled metallic shipping containers used as collecting containers for waste oil and other waste materials that are design-approved under the traffic regulations for the carriage of dangerous goods’ deleted from MVV TB 2019/1 |  |  |
| C 2.15.22 | Oil production units, control and safety equipment for oil supply systems for oil burners | DIN EN 12514-1:2000-05 Also applicable: Annex C 2.15.13 | ÜHP |
| C 2.15.23 | Structural components, mountings, pipes, filters, oil de-aerators, meters for oil supply systems for oil burners | DIN EN 12514-2:2000-05 Also applicable: Annexes C 2.15.13 and C 2.15.14 | ÜHP |
| C 2.15.24 | Leak detectors for under- and overpressure systems for storing water-polluting liquids | Annex C 2.15.15 | ÜHP |
| C 2.15.25 | Leak detectors for liquid systems for storing water-polluting liquids1 | Annex C 2.15.16 | ÜHP |
| C 2.15.26 | Concrete as a sealant in systems for storing and filling fermentation substrates and fermentation residues of agricultural origin, as well as slurry, liquid manure and silage effluents, with a maximum proportion of 10% by volume of silage effluents | DIN 11622-2:2015-09, Sections 4, 6.1, 6.2.1 and 6.2.5 | ÜZ |
| C 2.15.27 | Reinforced concrete and prestressed prefab concrete components as part of the sealing construction in systems for storing and filling fermentation substrates and fermentation residues of agricultural origin as well as slurry, liquid manure and silage effluents, with a maximum proportion of 10% by volume of silage effluents | DIN 11622-2:2015-09, Sections 4, 6.1, 6.2.1 and 6.2.5 | ÜZ |
| C 2.15.28 | Joint plates for sealing in-situ concrete sealing constructions in systems for storing and filling fermentation substrates and fermentation residues of agricultural origin as well as slurry, liquid manure and silage effluents | DIN 11622-2:2015-09, Section 6.4.1 | ÜZ |
| C 2.15.29 | Concrete for flat bottom silos (including associated filling surfaces) in systems for storing fermented substrates of agricultural origin and silage and for discharging the silage effluents produced | DIN 11622-5:2015-09, Section 4(2) and (3) | ÜZ |
| C 2.15.30 | Reinforced concrete and prestressed prefab concrete components as a part of flat bottom silos (including associated filling surfaces) in systems for storing fermented substrates of agricultural origin and silage and for discharging the silage effluents produced | DIN 11622-5:2015-09, Section 4(2) and (3) | ÜZ |
| C 2.15.31 | Horizontal cylindrical single-wall and double-wall steel containers (tanks) for the above-ground storage of water-polluting liquids, except for liquid fuels for the energy supply of heating and cooling systems for buildings | Annex C 2.15.17 Annex C 2.15.3 also applies | ÜZ |
| C 2.16 Scaffolding components |  |  |  |
| C 2.16.1 | Adjustable steel telescopic piles with mathematically determined load-bearing capacity1 | DIN EN 1065:1998-12 Also applicable: Annex C 2.16.1 | ÜZ |
| C 2.16.2 | System-independent steel pipes for use in falsework and working scaffolding | DIN EN 39:2001-11 Also applicable: Annex C 2.16.2 | ÜHP |
| C 2.16.3 | Lightweight scaffold spindles | DIN 4425:1990-11 with the exception of the provisions concerning independent quality control inspection Also applicable: Annexes C 2.16.2 and C 2.16.3 | ÜHP |
| C 2.16.4 | Couplings | DIN EN 74-1:2005-12 Also applicable: Annexes C 2.16.2 and C 2.16.4 | ÜZ |
| C 2.16.5 | Welded circular pipes of non-alloy steel for use on falsework | DIN 1626:1984-10 Also applicable: Annexes C 2.4.2, C 2.4.3, C 2.16.2 and C 2.16.5 | ÜHP |
| C 2.16.6 | Timber scaffolding boards and beams for use on protective scaffolding | DIN 4420-1:2004-03 Also applicable: Annex C 2.16.2 | ÜH |
| C 2.16.7 | Pre-assembled steel, aluminium and wooden scaffolding parts | DIN EN 12812:2008-12 Also applicable: Annexes C 2.16.2 and C 2.16.6 | ÜH |
| C 2.16.8 | Hot rolled seamless non-alloy steel pipes for use on falsework | DIN 1629:1984-10 Also applicable: Annexes C 2.4.2, C 2.4.3, C 2.16.2 and C 2.16.7 | ÜHP |
| C 2.16.9 | Cast steel products for use on falsework | DIN EN 10293:2015-04 Also applicable: Annexes C 2.4.2, C 2.16.2 and C 2.16.8 | ÜHP |
| C 2.16.10 | Industrially produced wooden formwork beams | DIN EN 13377:2002-11 in conjunction with DIN 20000-2:2013-12 | ÜZ |
| C 2.16.11 | Base plates and centre bolts | DIN EN 74-3:2007-07 and DIN EN 74-3/Corrigendum 1:2007-10 Also applicable: Annex C 2.16.2 | ÜH |
| C 2.16.12 | Special couplers | DIN EN 74-2:2009-01 Also applicable: Annexes C 2.16.2, C 2.16.9 and C 2.16.10 | ÜZ |
| C 2.16.13 | Adjustable aluminium telescopic piles | DIN EN 16031:2012-09 Also applicable: Annex C 2.16.10 | ÜZ |
| C 2.16.14 | Load-bearing structures of solid softwood timber with punched metal plate fasteners | DIN 1052:2008-12 and DIN 1052/Corrigendum 1:2010-05 | ÜZ, also applies to non-serial production |
| C 2.16.15 | Pre-assembled steel, aluminium and timber scaffolding parts, except for standard components, hatch panels and console coatings | DIN EN 12811-1:2004-03 Also applicable: Annex C 2.16.11 | ÜZ |
| C 2.16.16 | Castings of non-alloy and low-grade spheroidal graphite cast iron for use on falsework | DIN EN 1563:2003-02 Also applicable: Annexes C 2.4.2, C 2.16.2 and C 2.16.12 | ÜHP |
| C 2.16.17 | Malleable castings for use on falsework | DIN EN 1562:2006-08 with the exception of the provisions of Annex ZA Also applicable: Annexes C 2.4.2, C 2.16.2 and C 2.16.13 | ÜHP |

Annexes to C2

Annex C 2.1.1

The manufacturer must specify the type and percentage of (cement) additives as per DIN 1164-11:2003-11, Section 5 to the certification body.

Annex C 2.1.2

In derogation of DIN 1045-2:2008-08, Annex F, Table F.2.1, concrete for bridge caps that are laden with de-icing salt may be manufactured with a maximum water/cement ratio of 0.50 in exposure class XD3. In derogation of Tables F.2.1 and F.2.2, in exposure classes XD3 and XF4, the minimum compressive strength class of the air entrained concrete after 28 days is C25/30.

In derogation of DIN 1045-2:2008-08, Section 5.3, Tables F.2.1 and F.2.2, in exposure classes XD2, XS2, XF2, XF3 or XA2, as regards structural members of road bridges, tunnels and frames, the minimum compressive strength class of the concrete after 28 days is C30/37.

Annex C 2.1.3

1	Re DIN 1045-2:2008-08

1.1 	Section 5.1.2:

To be amended as follows: ‘Cements in accordance with EN 197-1:2011, DIN 1164-10:2013-03, DIN 1164-11:2003-11, DIN 1164-12:2005-06 and EN 14216:20152 are deemed suitable.’

1.2	Section 5.1.6:

To be supplemented as follows: 'As regards ground granulated blast furnace slag as per EN 15167-1:2006, proof of suitability as a type II additive is regarded as having been furnished.'

1.3	Section 5.2.3.4:

To be supplemented as follows: ‘The alkali reactivity class of aggregates under EN 12620:2002+A1:2008 under the DAfStb Alkali Guideline can be taken from the declaration of performance.’

1.4 	Section 5.2.3.5:

The paragraph is replaced by: 'As regards the use of recycled aggregates as per DIN EN 12620:2008-07, DAfStb Guideline for concrete as per DIN EN 206-1 and DIN 1045-2 with recycled aggregates as per DIN EN 12620:2010-09 must be observed.'

1.5 	Section 5.2.5.1:

To be supplemented as follows: ‘Suitability of the k-value approach is regarded as having been demonstrated for ground granulated blast furnace slag.’

The following shall be added after paragraph 8: ‘Only silicate dusts with a Class 1 silica content may be used.’

1.6	Section 5.2.5.2.1:

To be supplemented as follows: ‘As regards application of the k-value approach to ground granulated blast furnace slag, the stipulations under DIN 1045-2:2008-08, 5.2.5.2.2 apply to fly ash, mutatis mutandis. The lowering of the minimum cement content and making allowances for the water/cement ratio are not permitted with regard to the exposure classes XF2 and XF4.

The simultaneous use of ground granulated blast furnace slag and fly ash and/or silicate dust is not permitted.’

1.7	Section 5.2.5.2.2:

To be supplemented as follows: ‘As regards the maximum quantity of ground granulated blast furnace slag h which may be included in the water/cement ratio, the condition h/z  (ratio of ground granulated blast furnace slag to cement) 0.33 % by mass can be applied in the case of all cements pursuant to point 5.2.5.2.2.

In the case of cements with the main constituent D, a quantity of ground granulated blast furnace slag in excess of h/z = 0.15 may be used.

The provisions under 5.2.5.2.2 concerning fly ash used in the production of concrete with a high sulphate resistance may not be applied to ground granulated blast furnace slag.’

To be amended as follows: ‘NOTE: The requirements for HS cement are met for CEM I-SR 0, CEM I-SR 3, CEM III/B-SR and CEM III/C-SR under EN 197-1:2011.’

To be supplemented as follows: ‘The provisions under 5.3.4 regarding the use of fly ash in underwater concrete do not apply to ground granulated blast furnace slag.’

1.8	Table F.3.1

Table heading:

To be amended as follows: 'Areas of application for cements under EN 197-1:201181, DIN 1164-11:2003-11, DIN 1164-12:2005-06 and FE cements as well as CEM I-SE and CEM II-SE under DIN 1164-11:2003-11 to manufacture concrete in accordance with DIN 1045-2:2008-08’

Footnote d:

To be amended as follows: ‘NOTE: The requirements for HS cement are met for CEM I-SR 0, CEM I-SR 3, CEM III/B-SR and CEM III/C-SR under EN 197-1:201181.'

2	Re the Alkali Guideline – AlkR – (2013-10)

Section 7.1.1:

To be supplemented as follows: 'The manufacturer must declare compliance with DIN 1164-10:2013-03 for cement with low effective alkali content.’

Annex C 2.1.4

The following must be observed when applying the technical rule:

1	The prestressing tendons should be grouted with a Portland concrete grout CEM I in line with EN 197-1:201181 or DIN 1164-10:2013-03, water and a pressing aid in line with EN 934-4:2009. The use of grouting aids must satisfy DIN V 20000-101: 2002-11. As an alternative to DIN V 20000-101:2002-11, Section 7, corrosion behaviour may also be demonstrated based on DIN EN 934-1:2008-04. The use of other grout types requires official proof of fitness for purpose.

2	Re DIN EN 445:1996-07

2.1	Section 2:

The most recent date of issue ‘DIN EN 196-1:2016-11’ must be cited11’.

2.2	Section 3.2.2.3:

The final sentence ‘Two... must be performed.’ shall be replaced by the following sentences: ‘Three tests must be carried out; the first test shall be conducted immediately after the grout has been mixed, with the two remaining tests performed 30 minutes after mixing. While the tests are being carried out, the grout must be kept in motion.’.’

2.3	Section 3.4.2.3:

Instead of ‘(see 3.4)’, write ‘(see 3.3.3)’.

2.4	Section 3.4.3:

The word ‘vessel method’ shall be replaced by ‘container method’. Accordingly, use of the word ‘vessels’ in the subsections is always taken to mean ‘containers’. All occurrences in the subsections of the words ‘calliper gauge’ shall be replaced by the words ‘depth indicator’.

2.5	Section 3.4.3.2:

Under a), the first two sentences in the first paragraph must carry the following wording: ‘The initial measurement must be performed immediately after the containers have been filled with grout, while the gap between the surface of the grout and the upper edge of the container with the cover plate on the container must be read off at at least 6 points using the depth indicator or other measuring devices. The marking on the cover plate must correspond to the marking on the edge of the container (reference point).’).’

Under a), the second paragraph shall be replaced with the following: ‘In the case of the second measurement, the gap between the firm surface of the grout and the upper edge of the vessel must be measured at the same 6 points used for the initial measurement while using the same measuring method.’.’

Under a), ‘(see 3.6)’ at the end shall be deleted.

2.6	Section 3.5.1.2:

‘b)...’ shall be replaced with the following: ‘b) Storage facilities pursuant to Section 4.1 of DIN EN 196-1:2016-11’.

2.7	Section 3.5.1.3.1:

The third paragraph must be supplemented as follows at the end: ‘The samples must then be covered with a glass top.’.’

3	Re DIN EN 446:1996-07

3.1	Section 0:

The words ‘Requirements pertaining to the grout’ shall be replaced with ‘Requirements pertaining to compacting with grout’ and ‘Eurocode 2’ shall be replaced with ‘DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03’.

3.2	Section 3:

The definitions of the grouting procedures given in subsections 3.2 and 3.3 shall be replaced with the following:

‘3.2	Re-pressing: Additional press compacting designed to remove air bubbles or water blisters by grouting in the prestressing cuts before the original grout has hardened.

3.3	Re-backfilling: Additional press compacting designed to remove air bubbles or water blisters by grouting in the prestressing cuts after the original grout has hardened.’.’

3.3	Section 4:

The following must be clarified regarding Section 4: ‘The preliminary test as per DIN EN 446:1996-07, Section 4, shall be regarded as having been satisfied from the point of view of the building inspection in relation to the materials pursuant to DIN EN 447:1996-07, Section 4, provided the latter comply with the technical rules specified in Section C 2 or, in case of significant deviations, the required proof of fitness for purpose is available and the proof of conformity was furnished in relation to it.’

3.4	Section 7.3:

The words ‘Press compacting and re-pressing procedures’ must replace the words ‘Pressing and re-pressing procedures’‘.

3.5	Section 7.6:

The following shall be deleted: ‘ without curing retardant ’.

3.6	Section 7.8:

The word ‘re-pressing’ must replace all instances of the words ‘re-injection’ and ‘re-press compacting’ in the heading as well as in the body of text itself.

3.7	Section 7.9:

In the heading and the body of text itself, the word ‘re-pressing’ shall be replaced by the word ‘re-backfilling’ and, in the first sentence of the text, the word ‘form’ shall be replaced by the words ‘have formed’.

3.8	Section 8.1:

After the first bullet point, the word ‘consumer’ shall be replaced by ‘client’, while the second sentence after the second bullet point shall be replaced with the following: ‘The competent centre may call for additional checks.’.’

3.9	Section 8.4:

After ‘bleeding:’ the following shall be added: ‘...grout fluidity... the requirements"...’.

The word ‘grouting’ shall be replaced by the words ‘press compacting instruction’.

4	Re DIN EN 447:1996-07

4.1	Section 0:

In the second paragraph, the words ‘above all’ before the bullet points must be deleted.

4.2	Table 1:

Table 1 shall be replaced with the following:

| In accordance with DIN EN 445:2008-01 | Immediately after mixing, time (in s) | 30 minutes after mixing1) or following press compacting, time (in s) | at the outlet of the cladding tube, time (in s) |
| --- | --- | --- | --- |
| Immersion test | 30 | 80 (200)2) | 30 |
| Funnel method | 25 (50)2) | 25 (50)2) | 10 |
| 1) The mixing time shall be measured from the point when all the necessary material quantities are to be found in the mixer. 2) As regards grouts which are prepared in certain mixers which have a high agitator speed, the limit values indicated in Table 1 above may be increased by up to 200 s in the case of the immersion test and by up to 50 s in the case of the funnel method. The choice of mixer and these limit values must be agreed with the competent authority. |  |  |  |

4.3	Section 4.2:

The words ‘blast furnace slag’ shall be replaced by ‘granulated blast furnace slag’ in footnote 2.

4.4	Section 4.4:

By way of deviation from Section 4.4, only those admixtures (grouting aids) which are approved for use in grout may be used.

4.5	Section 5.2:

In the second sentence, the words ‘Sections 3.2 and 3.3’ shall be replaced by ‘Section 3.2’3.2’.

In deviation from Section 5.2, fluidity testing may only be performed in relation to grouts containing grouting aids using the immersion test as per Section 3.2.1 of DIN EN 445 since the limit values as per Table 1 relating to the discharge hopper do not apply to this grout. If, during the suitability testing of a grout containing grouting aids, the limit values relating to the discharge hopper are calibrated using the immersion test, measurements may also be conducted in accordance with Section 3.2.2 of DIN EN 445 using the funnel method. The limit values determined must be observed instead of the values specified in Table 1 in relation to the funnel method.

4.6	Section 5.3:

Reference shall be made to ‘Section 3.3’ instead of to ‘Section 3.4’.

4.7	Section 5.4:

Reference shall be made to ‘Section 3.4’ instead of to ‘Section 3.5 or 3.6’. The final sentence must be supplemented as follows: ‘Grout containing foaming agents may not exhibit any reduction in volume during the suitability test.’.’

4.8	Section 5.5:

In deviation from Section 5.5, the compressive strength of grouts containing grouting aids may only be tested using the cylinders indicated in Table 2.

4.9	Table 2:

In Table 2, the references must be altered as follows:

To ‘Section 3.5.1’ instead of to ‘Section 3.7’,

to ‘Section 3.5.2’ instead of to ‘Section 3.8’ and

in footnote 1), to ‘Section 3.5.2’ instead of to ‘Section 3.6’.

4.10	Section 6:

By way of deviation from Section 6, the mixing time is limited to 4 minutes.

Annex C 2.1.5

Table: 	Use of cement according to EN 197-1:201183

The DIN 1164-1:1994-10 standard was replaced by the European standard EN 197-1:201183 as well as by the standard DIN 1164-10:2013-03. Insofar as there is a reference to DIN 1164 (earlier editions) in the technical rules of the administrative provision in the Building Regulations, the cements in line with EN 197-1:201183 can be used according to the following table. The restrictions on use in the technical rules remain unaffected.

| Item No | Technical rule |  | Usable cement (cement type) according to EN 197-1:2011 |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1 | DIN EN 447 | 1996-07 | CEM I |
| 2 | DIN EN 588-1 | 1996-11 | In line with the application rules for exposure class XF 1 in DIN 1045-2:2008-08 |
| 3 | DIN 4166 | 1997-10 | All |
| 4 | DIN 18148 | 2000-10 | All |
| 5 | DIN 18162 | 2000-10 |  |
| 6 | DIN EN 12763 | 2000-10 | As for paragraph 2 |

Table A:Classification of concrete properties under DIN 1045:1988-07 on concrete as per DIN EN 206-1

| Item No | Section DIN 1045:1988-07 |  | DIN EN 206-1 or DIN 1045-2 exposure class or section |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1 | 6.5.5.1 | Unreinforced concrete | X0 |
| 2 | 6.5.1, 6.5.5.1 | Internal component | XC1 |
| 3 | 6.5.1, 6.5.5.1 | External component | XC4/XF1 |
| 4 | 6.5.7.2 | Waterproof concrete | DIN 1045-2, 5.5.3 |
| 5 | 6.5.7.3 | Concrete with high frost resistance | XC4/XF1 |
| 6 | 6.5.7.4 | Concrete with high frost and de-icing salt resistance | XF4 |
| 7 | 6.5.7.4 | Concrete with high frost and de-icing resistance, very high frost and de-icing impact | XF4 |
| 8 | 6.5.7.5 | Concrete with high resistance to low chemical attack | XA1 |
| 9 | 6.5.7.5 | Concrete with high resistance to high chemical attack | XA2 |
| 10 | 6.5.7.5 | Concrete with high resistance to very high chemical attack | XA2 |
| 11 | 6.5.7.6 | Concrete with high wear resistance | XM1 |
| 12 | 6.5.7.7 | Concrete for use at high operating temperatures up to 250 °C | DIN 1045-2, 5.3.6 |
| 13 | 6.5.7.8 | Concrete for underwater filling (underwater concrete) | DIN 1045-2, 5.3.4 |

Annex C 2.1.6

Concrete admixtures may only be added to concrete if proof of their usability can be furnished pursuant to EN 934-2:2009+A1:2012 or in the form of a European technical approval/assessment.

Annex C 2.1.7

In the production of pre-cast elements made from concrete, reinforced concrete and pre-stressed concrete or steel fibre reinforced concrete the technical rules of the Building Regulations, paragraph C 2.1.4.3 apply to the concrete.

Annex C 2.2.1

– deleted from MVV TB 2019/1 –

Annex C 2.3.1

Where construction products are delivered to users via retail and the delivered construction products are divided by the retailer, the parts must be distinctively marked by means of a package insert, paint application, lanyard tags, etc. All divisions must be documented.

Annex C 2.3.2

Where standard DIN 1052-10:2012-05 provides for several kinds of metal, the alloy, material number, steel grade or steel tendons for metallic fasteners must be indicated as a key feature for use in the conformity mark.

Annex C 2.3.3

Adhesives for load-bearing wooden components must meet the requirements of adhesive type I under DIN EN 301:2013-12 for use in Germany of wooden components glued together. For these adhesives, the performance characteristics under DIN EN 301:2013-12, Section 6 must be determined and documented, and open drying time under DIN 68141:2008-01, Section 3.2.2 identified.

Possible application expansions (e.g. hardwood bonding or bonding of chemically treated wood) must also be indicated in the ‘Ü-Zeichen’ conformity mark.

Annex C 2.4.1

The technical rules only apply to steel grades with the following material numbers:

| S 235 | 1.0037, 1.0036, 1.0038, 1.0114, 1.0116, 1.0117, 1.0120, 1.0121, 1.0122, 1.0115, 1.0118, 1.0119 |
| --- | --- |
| S 275 | 1.0044, 1.0143, 1.0144, 1.0145, 1.0128, 1.0140, 1.0141, 1.0142 |
| S 355 | 1.0045, 1.0553, 1.0570, 1.0577, 1.0595, 1.0596, 1.0551, 1.0554, 1.0569, 1.0579, 1.0593, 1.0594 |

Annex C 2.4.2

The material number or abbreviation must be indicated as a key feature in the conformity mark.

Where a test certificate as per EN 10204:2004 is required in the Technical Building Regulations, this test certificate must be attached as an enclosure with the delivery note and furnished with the conformity mark. They are sufficient as information on key features under the Ü-Zeichen-Verordnung [Regulation on conformity marks].

Where metallic construction products are delivered to users via retail and the delivered construction products are divided by the retailer, the parts must be distinctively marked by means of restamping, paint application, adhesive labels or lanyard tags. All divisions must be documented. This applies accordingly to metallic construction products that will be reused.

Annex C 2.4.3

In the case of scheduled deviations from the nominal metal profile dimensions, the profile standard must, as a technical rule, be indicated in the conformity mark with ‘Special Profile’. The deviation limits and form tolerances indicated in the profile standards remain unaffected. Compliance with the deviation limits and form tolerances must be incorporated in the in-house production control.

Annex C 2.4.4

The technical rules only apply to steel grades with the following material numbers: 1.0254, 1.0256, 1.0421.

Annex C 2.4.5

The technical rules apply to steel grades under DIN EN ISO 10250-2:1999-12 with the following material numbers: 1.0038, 1.0116, 1.0570 and pursuant to EN 10222-4:2017 with the material numbers: 1.0565 and 1.0571.

Annex C 2.4.6

– deleted from MVV TB 2019/1 –

Annex C 2.4.7

– deleted from MVV TB 2019/1 –

Annex C 2.4.8

– deleted from MVV TB 2019/1 –

Annex C 2.4.9

– deleted from MVV TB 2019/1 –

Annex C 2.4.10

Scope and type of independent quality control testing for rivets

| Time | Type of testing | Scope of testing |
| --- | --- | --- |
| Initial testing | In-depth testing | customary and special properties |
| Independent quality control in year 1 | normal testing | customary properties |
| Independent quality control from year 2 | reduced testing | customary properties |

During independent quality control, samples shall be taken at 6-month intervals so that all product types are tested alternately.

Customary properties

| Characteristic | tested product | Nature of testing scope |  |  |
| --- | --- | --- | --- | --- |
|  |  | reduced | normal | in-depth |
|  |  | L P Pr | L P Pr | L P Pr |
| Dimensions | all | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |
| Shear test | all | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |
| Hardness test | all | 1 x 3 x 3 | 2 x 3 x 3 | 4 x 3 x 3 |
| Head impact strength | all | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |

Special properties

| Characteristic | Nature of in-depth testing scope |  |  |
| --- | --- | --- | --- |
|  | L | P | Pr |
| Coat thickness | 1 x | 3 x | 3 |
| Tensile test | 1 x | 3 x | 1 |
| Notch impact energy | 1 x | 3 x | 1 |

L	=	Lot

P	=	Sample

Pr	=	Test

Annex C 2.4.11

Scope and type of independent quality control testing for screws and nuts

| Time | Type of testing | Scope of testing |
| --- | --- | --- |
| Initial testing | In-depth testing | customary and special properties |
| Independent quality control in year 1 | normal testing | customary properties |
| Independent quality control from year 2 | reduced testing | customary properties |

During independent quality control, samples shall be taken at 6-month intervals so that all product types are tested alternately.

Customary properties

| Characteristic | tested product | Nature of testing scope |  |  |
| --- | --- | --- | --- | --- |
|  |  | reduced | normal | in-depth |
|  |  | L P Pr | L P Pr | L P Pr |
| Dimensions | all products | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |
| Oblique tensile test or tensile test on the whole screw | Screws 8.8 and 10.9 | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |
| Tensile test on the unscrewed specimen | Screws 4.6 and 5.6 | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |
| Test force test | all nuts | 1 x 3 x 1 | 2 x 3 x 1 | 4 x 3 x 1 |
| Pull test | 8.8 and 10.9 sets | 1 x 6 x 1 | 2 x 12 x 1 | 4 x 12 x 1 |
| Hardness HV 30 | all products | 1 x 1 x 3 | 2 x 2 x 3 | 4 x 2 x 3 |
| Hardness HV 0.3 | 8.8 and 10.9 screws | 1 x 1 x 3 | 2 x 2 x 3 | 4 x 2 x 3 |
| Ground surface (limit state) | 10.9 screws | 1 x 1 x 3 | 2 x 2 x 3 | 4 x 2 x 3 |
| Coat thickness | all products | 1 x 1 x 3 | 2 x 2 x 3 | 4 x 2 x 3 |

Special properties

| Characteristic | tested product | Nature of in-depth testing scope |  |  |
| --- | --- | --- | --- | --- |
|  |  | L | P | Pr |
| Chemical composition | Screws and nuts | 2 x | 2 x | 1 |
| Start test | 8.8 and 10.9 screws | 4 x | 3 x | 1 |
| Notch impact energy | Screws | 4 x | 3 x | 1 |
| Crack indication | Screws and nuts | 1*) x | 100 x | 1 |
|  |  | +4 x | 20 x | 1 |
| *) Scope of testing on disputed lots or when defects occur |  |  |  |  |

L	=	Lot

P	=	Sample

Pr	=	Test

Annex C 2.4.12

Steel components and cast iron components must match the related item numbers in Section C 2.

Annex C 2.4.13

Steel components and cast iron components must match the related item numbers in Section C 2.

Zinc bath class 1 as per Table 8 as per DASt Guideline 022:2016-06 is only permitted for hot galvanising of supporting steel and cast iron components. The simplified proof in accordance with Section 4.2.2 of DASt Guideline 022:2016-06 shall be furnished. Mathematical proof as per Annex 4 may not be used.

Annex C 2.4.14

Re DIN EN 1090-2

The following rule shall be applied as follows:

1	Confirmation of compliance of steel components not covered by EN 1090-1:2009 A1:2011 covered, but which need to bear payloads, must be accompanied by a manufacturer’s declaration of conformity based on an initial type test in accordance with Section 6.2 of EN 1090-1:2009 A1:201188 by the manufacturer and factory production control in accordance with Section 6.3 of EN 1090-1:2009+A1:201188.

2	The manufacturer shall provide the declaration of conformity by marking the construction products with the ‘Ü-Zeichen’ conformity mark, with reference to their designated use.

3	The manufacture of welded steel components not covered by EN 1090-1:2009+A1:2011 but which need to bear payloads, may be carried out only by companies which possess a proof of suitability for the execution of welding work in the relevant execution class (EXC).

The following may be used as an alternative:

a welding certificate in line with EN 1090-1:2009+A1:201189 issued or certified by a notified body, if the firm’s in-house production control is certified by this body in line with EN 1090-1:2009+A1:201189;

a welding certificate issued by an officially recognised certification body on the basis of DIN EN 1090-2:2018-09 in conjunction with EN 1090-1:2009+A1:201189, Table B.1.

The assignment of components to execution classes (EXC) is subject to DIN EN 1993-1-1/NA: 2018-12.

Annex C 2.4.15

Re DIN EN 1090-3

The following rule shall be applied as follows:

1	Confirmation of compliance of aluminium components not covered by EN 1090-1:2009+A1:201189 but which need to bear payloads must be accompanied by a manufacturer’s declaration of conformity based on an initial type test in accordance with Section 6.2 of EN 1090-1:2009+A1:201189 and in-house quality control in accordance with Section 6.3 of EN 1090-1:2009+A1:201189.

2	The manufacturer shall provide the declaration of conformity by marking the construction products with the ‘Ü-Zeichen’ conformity mark, with reference to their designated use.

3	The manufacture of welded aluminium components not covered by EN 1090-1:2009+A1:201189 but which need to bear payloads, may be carried out only by companies which possess a proof of suitability for the execution of welding work in the relevant execution class (EXC). The following may be used as an alternative:

a welding certificate in line with EN 1090-1:2009+A1:201189 issued or certified by a notified body, if the firm’s in-house production control is certified by this body in line with EN 1090-1:2009+A1:201189;

a welding certificate issued by an officially recognised certification body on the basis of DIN EN 1090-3:2008-09 in conjunction with EN 1090-1:2009+A1:201189, Table B.1;

The assignment of components to execution classes (EXC) is subject to DIN EN 1999-1-1/NA:2018-03.

Annex C 2.6.1

When using landing doors as per

DIN 18090:1997-01

DIN 18091:1993-07

DIN 18092:1992-04

Annex 4(5.3) applies.

Annex C 2.6.2

Door closers as per DIN 18263-1:2015-04 may only be used as replacement parts. They are only suitable for fire and/or smoke barriers if these are single-leaf sliding doors.

Annex C 2.6.3

1	General

The following provisions shall apply to interior doors, on which there are requirements on sound insulation. Interior doors consist of the door leaf and frame.

Interior doors must be of at least normally flame-resistant materials.

2	Rated sound insulation value

Where sound insulation properties must be shown according to purpose, the rated sound insulation value Rw must be determined as per DIN EN ISO 10140-1:2012-05, DIN EN ISO 10140-2, -4 and -5:2010-12 and DIN EN ISO 717-1:2013-06.

Test reports in accordance with DIN EN 20140-3:1995-05 and DIN EN ISO 140-3:2005-03 in conjunction with DIN EN ISO 717-1:1997-01, or DIN EN ISO 717-1:2006-11 or DIN EN ISO 717-1:2013-06, that are created before the entry into force of this edition of the administrative provision in the Building Regulations may continue to be used.

3	Main features for the ‘Ü-Zeichen’ conformity mark

In the conformity mark of an interior door meeting the requirements of Section 2, the rated sound insulation value Rw shall be submitted in addition to the combinations of door leaves with frames to which this applies.

Annex C 2.6.4

Proof of usability as per § 18(1) LBO is required.

Annex C 2.7.1

EN 1337-8:2007 to guide bearings and retentive constructions. For tribological paring steel / steel used in guide bearings and retentive constructions, the corresponding section of DIN V 4141-13:2010-07 can be used.

Annex C 2.8.1

Plastic gratings which can be walked on as per DIN 24537-3: 2007-08 require a general building inspectorate approval as proof of usability if the drop height exceeds 0.5 m or if the span of the grates exceeds 0.5 m.

Annex C 2.9.1

Re DIN 18148:2000-10

Re Section 1: Lightweight cavity wall panels may only be used to manufacture lightweight dividing walls pursuant to DIN 4103-1:2015-06.

Annex C 2.9.2

Re DIN 18162:2000-10

Re Section 1: Unreinforced lightweight concrete wall panels may only be used to manufacture lightweight dividing walls pursuant to DIN 4103-1:2015-06.

Annex C 2.9.3

The fire performance of non-flammable and flame-retardant wet-processed factory-produced mineral panels shall be proven in line with item number C 3.9, or C 3.11.

As regards products which are in class TVOC 3 according to Table 3 and/or FH class 3 according to Table 4 and therefore cannot be used indoors, the Ü-marking shall contain the following: 'The product cannot be used indoors'

Annex C 2.10.1

Re DIN 7865-1 and DIN 7865-2

DIN 7865-2:2015-02 applies with the exception of Section 8.1(2) and (4), Section 8.3 and Annex A.

The building material class must be indicated in the product identification.

Annex C 2.12.1

Pipes and fittings may be glued only if the adhesive is in accordance with EN 14680:2006 or, for adhesives that do not fall within the scope of the above harmonised specification, if they have been issued an official proof of fitness for purpose or European Technical Assessment.

Annex C 2.12.2

The use of waste pipes and fittings with a nominal ring stiffness lower than SN 4 (tested pursuant to DIN EN ISO 9969:2016-06) requires general building inspectorate approval.

Annex C 2.12.3

Re DIN 588-1: 1996-11

Re Section 4.1	General material composition

The technical rule only applies to products listed under Type NT (asbestos-free technology).

Annex C 2.12.4

For multi-layer waste pipes and fittings with mineral filler content, proof of usability is required by means of general building inspectorate approvals.

Annex C 2.12.5

Only natural mineral supplements and fillers pursuant to EN 12620:2002+A1:2008 may be added. The use of other natural mineral supplements and fillers requires general building inspectorate approval.

Annex C 2.12.6

General building inspectorate approval is required for the final determination of the usability of construction products produced on site from semi-finished products for the renovation of underground drainage networks.

Annex C 2.13.1

– deleted from MVV TB 2019/1 –

Annex C 2.13.2

– deleted from MVV TB 2019/1 –

Annex C 2.13.3

– deleted from MVV TB 2019/1 –

Annex C 2.13.4

– deleted from MVV TB 2019/1 –

Annex C 2.13.5

– deleted from MVV TB 2019/1 –

Annex C 2.14.1

Labelling with a DIN testing and monitoring mark with registration number is not required to meet the requirements of the technical rules set out under column 3 or for labelling with a conformity mark under state building regulations.

Annex C 2.14.2

– deleted from MVV TB 2019/1 –

Annex C 2.14.3

– deleted from MVV TB 2019/1 –

Annex C 2.14.4

Compliance of sealants must be confirmed for the manufacturing plant with a certificate of conformity based on in-house production control pursuant to DIN EN 14241-1:2013-11 Section 8.4, and regular external monitoring including initial testing of the construction product must be carried out in accordance with the following provisions.

For the issuing of a certificate of conformity and external monitoring including product tests, the manufacturer of the construction product must call on a recognised certification body and recognised monitoring body. In-house production control must be carried out regularly via external monitoring in the factory, at least twice a year. For external monitoring, initial testing of the construction product must be carried out in line with Section 6 of the standard. Moreover, samples for sample testing must be taken and the material properties tested on at least five samples in line with Section 8.3 Table 8 of the standard.

Sampling and testing is always the responsibility of the approved monitoring body. The results of certification and external monitoring should be kept for at least five years.

Annex C 2.15.1

Impacts from flooding are not considered in the standard.

Annex C 2.15.2

Impacts from an earthquake are not considered in the standard.

For unchambered containers that are fully embedded into the soil, the effects of an earthquake are not relevant to stability and are therefore not covered by the standard if appropriate constructive measures are taken to prevent the effects of union joints being transferred to the container. After an earthquake event classed higher than that assumed for earthquake zones 1 DIN 4149:2005-04, a function test must be carried out on the container.

Containers embedded in the soil for which one or both of the floors leads to building areas for accessibility purposes or earth-covered containers (barrow-types storage) where the container is completely or partly above the ground surface) do not qualify as fully embedded in the soil. Effects due to earthquakes must be demonstrated.

Annex C 2.15.3

If necessary, the sheet thicknesses (net wall thicknesses) shall be increased by corrosion allowances to account for the expected material degradation due to corrosion as a function of design lifespan, type of stored liquid and removal rate. In doing so, the abovementioned corrosion allowances may only be disregarded if no erosion due to corrosion is expected for the specific liquid/material combination, accounting for the design lifespan and intended operating conditions. This must be proven for each specific application by an expert report from an independent material testing body.

For steel sheets of statically relevant components that are touched by the stored liquid or its vapors or condensate, compliance with the nominal sheet thicknesses must be checked at regular distances by sheet thickness measurements. Once the nominal sheet thickness has been reached, the construction products shall be taken out of service.

Special properties such as increased corrosive impact during storage of hygroscopic media and simultaneous ventilation in the ‘vapour zone’ immediately above the liquid surface, accumulation of water on the ground with media of densities <1.0 kg/l that do not mix with water, shall be considered individually.

External corrosion of construction products and their support structures due to the corrosive impact of ambient conditions at the site must be prevented through appropriate measures (such as a coating system with a duration of protection adapted to the design lifespan.

The manufacturer must be demonstrably proficient at the required procedures to ensure the construction product is properly manufactured. Proof shall be provided by means of a welding certificate for execution class EXC 2 or higher as per DIN EN 1090-2:2018-09 for steel construction products and as per DIN EN 1090-3:2019-07 for aluminium construction products. Contrary to DIN EN 1090-2:2019-07, Table 14, and DIN EN 1090-3:2019-07, Table 7, respectively, the welding supervision staff responsible for coordinating the construction product manufacturing processes must have at least the special technical skills under DIN EN ISO 14731:2006-12.

Full traceability must be ensured for the building materials used to manufacture the construction product.

The welding processes are to be qualified according to DIN EN ISO 15614-1:2017-12. Welders shall be examined in accordance with DIN EN ISO 9606-1:2017-12.

Annex C 2.15.4

– deleted from MVV TB 2019/1 –

Annex C 2.15.5

– deleted from MVV TB 2019/1 –

Annex C 2.15.6

– deleted from MVV TB 2019/1 –

Annex C 2.15.7

– deleted from MVV TB 2019/1 –

Annex C 2.15.8

– deleted from MVV TB 2019/1 –

Annex C 2.15.9

Evidence of compliance with this technical rule does not apply if pipes or hoses and related fittings, sealants and mountings meet the requirements of the Pressure Equipment Directive (PED) and have a CE mark.

Annex C 2.15.10

Re TRbF 50 (2002-06), Annex A

No. 3.21 (5) of Annex A does not apply.

Annex C 2.15.11

1	The DAfStb guideline ‘Concrete construction when handling water-polluting materials (BUmwS)’:2011-03 does not regulate how building components have to be transported, stored in the interim or installed so that they are then suitable for use as part of the sealing surface.

2	The provisions of the following technical regulations pertaining to water-polluting materials (TRwS):

DWA-A 786 ‘Execution of sealing surfaces’ and

DWA-A 781 to 784 relating to petrol stations for the fuelling of motor vehicles, track vehicles, watercraft and aircraft

must be taken into consideration.

3	The DAfStb guideline ‘Concrete construction when handling water-polluting materials (BUmwS)’:2011-03 does not apply to use in installations that are used for storing and drawing off sewage, liquid manure and water that has seeped through silage.

Annex C 2.15.12

For waterstops encased in concrete, the provisions of the DAfStb Guideline 'Concrete construction when handling water-polluting materials':2011-03, Annex B also apply: Explanatory notes re Section 7.3.3.

Annex C 2.15.13

The Bunsen burner test is required for hoses (contrary to the information in Section 4.5 of DIN EN 12514-1:2000-05). Components subject to compression pressure must comply with nominal pressure stage PN10. Regulation of the anti-siphon valve is excluded.

Annex C 2.15.14

Where the listed pipes are classified as single-walled metal pipes, related fittings and mountings for pipes for the storage of water-polluting liquids under paragraph C 2.15.13, the technical rule listed therein applies with the ÜH certificate of conformity.

Annex C 2.15.15

1	Construction product requirements

Leak detectors must be designed in accordance with DIN EN 13160-2:2003-09, in conjunction with EN 13160-1:20031.

The parts of a leak detector designed for installation outdoors must be operational within a temperature range of -20 °C to +60 °C.

Any parts of the leak detector affected by the stored liquids or their vapours or condensate must be made of sufficiently resistant materials. Proof of material suitability must be provided through manufacturer information, publications in the scientific literature, own empirical values or relevant test result. DIN 6601:2007-04 applies to steel.

2	Specifications for factory production control and initial type testing

EN 13160-1:2003, Annex ZA, Table ZA.1 and Table ZA.3 apply to factory production control and initial type testing. During initial type testing, the operating instructions must be tested in accordance with EN 13160-1:200393, Section 5.7. The other sections of Annex ZA do not apply.

3	Marking specifications

For conformity marking, the administrative provision in the Building Regulations, Section C 2, Annex C 2.15.15 shall be indicated as the decisive technical rule.

Furthermore, when marking construction products, their packaging or accompanying documents, at least the type description, the year of manufacture, the material and performance of the product (pressure and temperature ranges suitable for the following media: ...) must be indicated.

4	Installation specifications

Leak detectors for under- and overpressure systems as part of a class I leak detection system may be used for the following areas of application:

double-walled containers,

double-walled pipes,

single-walled containers with leak detection lining,

single-walled pipes with leak detection lining,

single-walled containers with leak detection jacketing,

single-walled pipes with leak detection jacketing.

Annex C 2.15.16

1	Construction product requirements

Leak detectors must be designed in accordance with DIN EN 13160-3:2003-09 in conjunction with EN 13160-1:2003.

The parts of a leak detector designed for installation outdoors must be operational within a temperature range of -20 °C to +60 °C.

Any parts of the leak detector affected by the leak detection liquid, stored liquids or their vapours or condensate must be made of sufficiently resistant materials. Proof of material suitability must be provided through manufacturer information, publications in the scientific literature, own empirical values or relevant test result. DIN 6601 applies to steel.

The leak detection liquid must correspond to the 'List of leak detection liquids for inspection rooms of double-walled pipes (as at December 2010)', published on the DIBt homepage.

2	Specifications for factory production control and initial type testing

EN 13160-1:200394, Annex ZA, Table ZA.1 and Table ZA.3 apply to factory production control and initial type testing. During initial type testing, the operating instructions must be tested in accordance with EN 13160-1:200394, Section 5.7. The other sections of Annex ZA do not apply.

3	Marking specifications

For conformity marking, the administrative provision in the Building Regulations, Section C 2, Annex C 2.15.16 shall be indicated as the decisive technical rule.

Furthermore, when marking construction products, their packaging or accompanying documents, at least the type description, the year of manufacture, the material and performance of the product (pressure and temperature ranges suitable for the following media: ...) must be indicated.

4	Installation specifications

1	Leak detectors for liquid systems as part of a class II leak detection system may be used for the following areas of application:

double-walled, pressure-less, overground containers,

single-walled, pressure-less, overground containers with leak detection lining,

single-walled, pressure-less, overground containers with leak detection jacketing.

2	The max. volume of the plant inspection room is 1m3.

Annex C.2.15.17

1	Requirement for the construction product

The containers shall be executed in accordance with EN 12285-2:2005 as tank class B or C. The height n1 of the saddle may not exceed 500 mm.

2	Specifications for factory production control and initial type testing

The factory production control shall be carried out in accordance with DIN EN 1090-2:2018-09 on the basis of the requirements of execution class EXC 2. Notwithstanding EN 12285-2:200595, Section 5, the leakage test of the interior container shall be carried out as a routine test, as follows:

After completion of all welding, the pressure or leak test of the container shall be carried out. The test shall be done with water. The test pressure to be used is the sum, increased by a safety allowance of 1.3, of the maximum permitted operating overpressure and the expected operational hydrostatic pressure of the stored fluid for the maximum permitted density at the lowest point in the container, with a minimum of 2 bar. After the settling phase, the pressure shall be maintained for at least half an hour. The container shall be able to withstand this test pressure without measurable changes in shape and without leaking (no pressure loss from the settling phase onwards).

For multi-chamber containers, each chamber shall also be able to withstand the test overpressure associated with the relevant permitted operating pressure (the sum, increased by a safety allowance of 1.3, of the maximum permitted operating pressure and the expected operational hydrostatic pressure of the stored liquid for the maximum permitted density at the lowest point in the container).

3	Marking specifications

The designation of construction products shall include at least the type designation, the year of manufacture, the serial number, the materials used for manufacture, the nominal capacity of the container at the maximum permitted filling level, the filling percentage or filling level (based on the permitted maximum filling percentage) and the performance of the product (maximum permitted media density, nominal sheet thicknesses, corrosion allowances where required, pressure and temperature ranges).

4	Installation specifications

In flood plains, the tanks must be positioned in such manner that they cannot be reached by flood water.

They may not be positioned in earthquake zones 1 to 3 (DIN 4149:2005-04).

Annex C 2.16.1

The regulations of Annex E to the standard for monitoring level M apply to the ÜZ certificate of conformity. Contrary to Table E.1, the properties of the materials and components used are specified in test certificate 2.2, and the properties of the pipes with an increased yield strength are specified in the acceptance test certificate 3.1 in accordance with EN 10204:2004.

Mathematical proof of the load-bearing capacity of adjustable steel telescopic piles must be tested under the certification procedure. Testing may be carried out directly by the certification body itself or by a third body appointed by it.

Annex C 2.16.2

For scaffolding construction parts, the conformity mark and the manufacturer's last two numbers of the year of production, as well as the material class, must be displayed permanently on the scaffolding construction part. If in the technical rules relating to these scaffolding construction parts a mark containing additional characteristics is required these must also be taken into account.

Annex C 2.16.3

Re DIN 4425:1990-11

Testing for the threaded connection of adjustment nut pipe spindles under Section 7.2 may only be conducted by inspection bodies that are also accredited for conducting initial type testing.

Annex C 2.16.4

As regards the ÜZ certificate of conformity, the provisions under Annex B to the standard shall apply to the monitoring level M.

Annex C 2.16.5

The technical rules apply to steel pipes with the material number:1.0254.

Annex C 2.16.6

With the application of the technical rule, the section 'Production' of the 'Application guideline for supporting frames in accordance with DIN EN 12812', August 2009 version, as published in DIBt Mitteilungen vol. 6/2009 p. 227, is to be used.

Annex C 2.16.7

The technical rules apply to steel pipes with the material numbers:1.0254, 1.0421.

Annex C 2.16.8

The technical rules apply to casting materials with the following material numbers: 1.0420, 1.0446.

Annex C 2.16.9

Re DIN EN 74-2

Re Section 9.2.2	Slip force Fs of a half coupler

Measurement of the displacement Δ1 can be dispensed with.

Re Figure. 10:

The abutment shall be mounted on the opposite shoulder of the pipe.

Re Figure. 12:

The test loads ‘P’ and ‘P/2’ shall be replaced by ‘2/P’ and ‘P’ respectively.

Figure. B.3 shall be replaced by the following diagram:

In the equations (B.1) to (B.4), ‘Fs,R,d’ shall be replaced by ‘Ff,R,d’.

Annex C 2.16.10

The provisions under Annex A to the standard for monitoring level M apply to the ÜZ certificate of conformity.

Annex C 2.16.11

For manufacture, the 'Application guidelines for working scaffolding', November 2005 edition and for the welding of steel and aluminium components in Annexes A 1.2.4/3 and A 1.2.4/4 must be observed.

Components as per Annex A, Paragraph A.1 of DIN EN 12810-1:2004-03 qualify as basic components.

Scaffolding parts must be marked in accordance with federal state conformity regulations. Scaffolding parts must also be easily recognisable and durably marked with:

the capital letter ‘Ü’,

the manufacturer’s logo,

an identification label,

the last two numbers representing the year of manufacture (encoded if necessary) and

a label allocating the scaffolding part to a scaffolding system.

Scaffolding parts may only be manufactured by manufacturers whose in-house quality control is regularly checked at least every five years by external monitoring. The manufacturer may itself carry out initial type testing on scaffolding parts that can be assigned to a product group for which initial type testing has been carried out for the manufacturer on at least one scaffolding part by an accredited body.

Welded steel or aluminium scaffolding parts may only be manufactured by firms that have a welding certificate for at least execution class EXC 2 under EN 1090-1:2009+A1:2011 for the field of application.

Annex C 2.16.12

The technical rules apply to casting materials with the following material numbers: EN-JS 1015, EN-JS 1030.

Annex C 2.16.13

The technical rules apply to casting materials with the following material numbers: EN-JM 1010, EN-JM 1020, EN-JM 1030, EN-JM 1050.

C3	Construction products that require only a general building inspection test certificate pursuant to § 20(1)(2) LBO

The following is stipulated in accordance with § 83a(2)(4) LBO:

| Item No | Construction product | Recognised test procedure in accordance with | Declaration of conformity |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| C 3.1 | Prefabricated ventilation ducts to which requirements on fire resistance and/or sound insulation apply | Also applicable, depending on construction product: As regards the fire resistance time: DIN EN 4102-6:1977-09 and – where applicable - in conjunction with DIN V 4102-21:2002-08), or DIN EN 1363-1:2012-10, DIN EN 1366-1:2014-12 and – where applicable - in conjunction with DIN V 4102-21:2002-08 and Annex C 3.1 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1:2013-06 | ÜH |
| C 3.2 | Building materials for which there are only requirements concerning behaviour in case of fire and - which must be non-combustible, without combustible components, - which must be normally flammable Building materials under Section D 2.2 are excluded | DIN 4102-1:1998-05 in conjunction with DIN 4102-16:2015-09 | ÜH |
| C 3.3 | Building materials for which there are only requirements for fire-resistant characteristics and which must be normally flammable. Building materials under Section D 2.2 are excluded2.2 | DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜH |
| C 3.4 | Building materials for which there are only requirements concerning behaviour in case of fire and - which must be non-combustible, with combustible components, - which must be flame-resistant, except for floor coverings | DIN 4102-1:1998-05 in conjunction with DIN 4102-16:2015-09 | ÜZ |
| C 3.5 | Flooring that must be flame-resistant, is not intended for use in human-occupancy areas and does not fulfil the requirements of EN 13813 or EN 14041 or EN 14904 or EN 14342 or EN 15285 | DIN 4102-1:1998-05 Table 1.2.1 or DIN EN ISO 11925-2:2011-02 and DIN EN ISO 9239-1:2010-11 in conjunction with Annex C 3.8 | ÜZ |
| C 3.6 | Cleaning hatches and soot preventers | Testing principles for cleaning hatches and soot preventers (2012-11) | ÜHP |
| C 3.7 | Appliances and equipment used in water supply installations in relation to which requirements are laid down in terms of noise emission | DIN EN ISO 3822-1:2009-07 DIN EN ISO 3822-2:1995-05 DIN EN ISO 3822-3:2018-04 DIN EN ISO 3822-4:1997-03 | ÜHP |
| C 3.8 | Coatings for concrete, plaster and screed surfaces in collecting trays and catch basins used for storing - EL heating oil, - unused combustion engine and motor vehicle gear oils, - mixtures of saturated and unsaturated hydrocarbons with aromatics content ≤ 20 % by mass and flashpoint > 60 °C, and - Oils (e.g. transformer and hydraulic oils) which may be classified as consisting of such mixtures | Principles for construction and testing (BPG) Coatings in collecting areas (2017-08) | ÜZ |
| C 3.9 | Rivet-like and helicoidal joints and attachments for regular cladding for external walls | DIN 18516-1:2010-06 Also applicable: Annex C 3.2 | ÜHP |
| C 3.10 | Wood-fired ovens with open or closed combustion chambers | DIN 18880-2:1991-08 Also applicable: Annex C 3.3 | ÜHP |
| C 3.11 | Metal-plastic composite profiles for load-bearing frames of doors, windows, window walls and curtain walls, unless they are components of the door, window, window wall or curtain wall. | Guideline for demonstrating the stability of metal-plastic composite products, Section 3.2 (1986-08) | ÜH |
| C 3.12 | Surface coating materials OS 7 and OS 10 for concrete repairs which are required to maintain the stability of concrete building parts | DAfStb Guideline on the Protection and repair of concrete building parts (Maintenance Guideline) -SIBR, Part 2 (2001-10) and Part 4 (2001-10) Also applicable: Annex C 3.4 and DIN 4102-1:1998-05 or DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 3.13 | Adjustable steel telescopic piles whose load-bearing capacity is determined via tests | DIN EN 1065:1998-12 | ÜZ |
| C 3.14 | Doors and gates used as smoke barriers excluding curtains | DIN 18095-1:1988-10 DIN 18095-3:1999-06 | ÜH |
| C 3.15 | Accessories (unregulated) for smoke barriers, excluding single-axis door hinges and retractable floor seal | DIN 4102-18:1991-03 in conjunction with DIN 18095-1:1988-10 | ÜH |
| C 3.16 | Liquid-applied seals for sealing areas that can be driven over | Technical delivery requirements and technical test regulations concerning building materials used in the manufacture of bridge floorings on a concrete base, Part 3 (1995 version) and Technical delivery requirements and technical test regulations concerning epoxy resins for filling materials, seals and coarse fillers beneath asphalt coverings on a concrete base (1999 version) Also applicable: DIN 4102-1:1998-05 or DIN EN ISO 11925-2:2011-02 in conjunction with Annex C 3.7 | ÜZ |
| C 3.17 | Independently closing nozzles | DIN EN 13012:2012-09 | ÜHP |
| C 3.18 | Prefabricated safety barrier glazing with load-bearing capacity determined by testing under impact load | DIN 18008-4:2013-07, in accordance with Annex A, Annex D and Annex E; Also applicable: Annex C 3.5 | ÜH |
| C 3.19 | Point holder without ball joint with load-bearing capacity determined via testing | DIN 18008-3:2013-07, Annex D | ÜH |
| C 3.20 | Prefabricated glazing designed to sustain human loads with load-bearing capacity determined by testing under impact load | DIN 18008-5:2013-07, Annex A | ÜH |
| C 3.21 | Highly fire-retardant components whose load-bearing, stiffening and space-enclosing parts are made of timber or timber materials and that have a fire-retardant covering on all sides consisting of non-flammable materials (fire-resistant lining) and insulation materials made of non-flammable materials | for the requirements on safety in case of fire: Model Guideline on fire protection requirements for fire-retardant components in timber construction – M-HFHHolzR (2004-07) in compliance with A 2.2.1.4 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-3:2015-11, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1, -2:2013-06 As regards protection against falling: ETB Guideline ‘Components that protect against falls’ (1985-06) | ÜZ |
| C 3.22 | Coating and enclosure systems for refurbishment of timber components contaminated with pentachlorphenol (PCP) | Test plan for refurbishment of timber components contaminated with pentachlorphenol (PCP) (2006-01) | ÜHP |
| C 3.23 | ‘Seamless circular pipes of non-alloy steel pursuant to EN 10216-1 for use on steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 3.24 | ‘Welded circular pipes of non-alloy steel pursuant to EN 10217-1 for use on steel chimneys’ deleted from MVV TB 2019/1 |  |  |
| C 3.25 | ‘Materials for sealing components in contact with the ground against pressing water in transition to waterproof components’ deleted from MVV TB 2019/1 |  |  |
| C 3.26 | Mineral slurry seals and flexible polymer-modified thick coatings for structural waterproofing | Test principles for the conferral of general building supervisory inspection certificates for rigid and flexible mineral slurry seals as well as flexible polymer-modified thick coatings for the waterproofing of structures (PG-MDS/FPD) (2016-11) | ÜHP |
| C 3.27 | Seals in conjunction with tiles and slab coverings - for walls and floors inside and outside, where these are connected with buildings, against non-pressurised water with higher stress such as in wet areas in the public and civil sector - for containers and basins located inside or outside, where these are connected to buildings against fill water such as with swimming pools | Testing principles for the granting of general building test certificates for seals in connection with tiles and slab surfaces - Part 1: Liquid-applied seals (PG AIV-F) (2014-05), - Part 2: Sheet-type seals (PG AIV-B) (2014-05), - Part 3: Slab-type seals (PG AIV-P) (2012-08) | ÜHP |
| C 3.28 | Waterproofing buildings using fluid synthetic materials | Testing principles regarding the issuing of a general building inspectorate test certificate for waterproofing buildings using fluid synthetic materials (PG-FLK) (2010-06) | ÜHP |
| C 3.29 | Waterproofing roofs with fluid synthetic materials | Testing principles regarding the issuing of general building inspectorate test certificates for waterproofing roofs using fluid synthetic materials Annex C 3.6 | ÜHP |
| C 3.30 | Waterproofing for joints and transitions in or on water-tight structural elements including those made of concrete, with high resistance to water penetration in soil contact areas, which cannot be classified as C 2.10.2 or C 2.10.3 products as referred to in Section C 2 | Testing principles regarding the issuing of general building supervisory inspection certificates for joint sealants in concrete components with a high resistance to water penetration (PG-FBB Part 1: Waterproofing for construction joints and crack cross-sections, transitions and connections (September 2017) Part 2: Waterproofings for expansion joints (September 2017) | ÜHP |
| C 3.31 | Attachments for assembled exhaust systems, unless covered by DIN EN 13502:2003-01, DIN EN 16475-7:2016-05 and DIN EN 14989-1:2007-05 | DIN CEN/TS 16134:2011-11 | ÜH |

Annexes to C3

Annex C 3.1

Ventilation ducts

A round or rectangular ventilation duct with maximum dimensions according to DIN EN 1366-1:2014-12, Table 6, may be classified as L... in accordance with DIN 4102-6:1977-09 if the ventilation duct of standard dimensions according to DIN EN 1366-1:2014-12, Section 6.1 has observed the requirements of DIN EN 1363-1:2012-10 in conjunction with DIN EN 1366-1:2014-12, Section 11, for a test duration of... minutes.

A ventilation duct where the air-carrying component has a cross-section with a nominal inner dimensions of 1250 mm x 1000 mm < W x H ≤ 2500 mm x 1250 mm or a nominal inner diameter of 1000 mm < D ≤ 1250 mm may be classified as L... pursuant to DIN 4102-6:1977-09 if

it has been tested in accordance with DIN V 4102-21:2002-08 and, for a test duration of... minutes observed the requirements of DIN V 4102-21:2002-08, Section 5.2 and 5.3

and if

a ventilation duct with the same design (material, material thickness, connection technology, mounting) under DIN EN 1363-1:2012-10 in conjunction with DIN EN 1366-1:2014-12 for the dimension set out in DIN EN 1366-1:2014-12, Table 2 was previously tested.

Annex C 3.2

The characteristic load-bearing capacity value for the joints and attachments is the 5 % quantile with 75 % confidence coefficient established each time from the test results.

Annex C 3.3

The test procedures under DIN 18880-2:1991-08 and DIN 18880-1:1991-08 must be restricted to the relevant conditions for the use of logs and for operation as pizza ovens. In particular these are:

DIN 18880-1:1991-08, Section 5, excluding Section 5.7.3

DIN 18880-2:1991-08, Section 6, excluding Section 6.3.

In respect of the installation and operating instructions, DIN 18880-2:1991-08, Section 7, must be observed, and for labelling and lettering, DIN 18880-2:1991-08, Section 8 must be observed.

Annex C 3.4

The general building inspectorate test certificate for the various surface coating materials may also be issued on the basis of the TL/TP OS regulations (1996 edition).

Annex C 3.5

For test proof of load-bearing capacity of punctiform storage structures (point holders), paragraph C 3.19 applies.

For double-sided linear-mounted single-pane glazing, Category A, instead of the test required under the last sentence in DIN 18008-4, A 1.9, the impact glass plate may alternatively be broken with the grains, which then must be tested by pendulum impact with a drop height of 450 mm.

Annex C 3.6

The test principles consist of the test procedures described in Chapters 2 - 7 in ETAG 005 ‘Liquid-applied roof waterproofing’, Parts 1 to 8, published in the Federal Gazette, Vol. 53, No. 200a, 25 October 2001 and Vol. 57, No. 102a, 04 June 2005. The application rules set out in Section B 2.2.5.10 must also be observed.

Annex C 3.7

A building material may also be classified under B2 as per DIN 4102-1:1998-05, if the test results under DIN EN ISO 11925-2:2011-02 comply with the prerequisite of DIN 4102-1:1998-05, Section 6.2.2.

Testing under DIN EN ISO 11925-2:2011-02 must be carried out for edge flaming (Section 7.3.3.2 of the standard) and, where failure is expected, for surface flaming (Section 7.3.3.1 of the standard). The specifications of DIN 4102-1:1998-05, Sections 6.2.5.2, 6.2.5.5 and 6.2.5.6 must be observed during testing.

Annex C 3.8

A building material may also be classified under B1 as per DIN 4102-1:1998-05, if the test results under DIN EN ISO 11925-2 comply with the prerequisites of DIN 4102-1:1998-05, Section 6.2.2, and the test results under DIN EN ISO 9239-1 comply with the prerequisites of DIN 4102-1:1998-05, Section 6.1.2.3.

Testing under DIN EN ISO 11925-2 must be carried out for edge flaming (Section 7.3.3.2 of the standard) and, where failure is expected, for surface flaming (Section 7.3.3.1 of the standard). The specifications of DIN 4102-1:1998-05, Sections 6.2.5.2, 6.2.5.5 and 6.2.5.6 must be observed during testing.

C4	Designs that require only a general building inspection test certificate pursuant to § 17a(3) LBO

The following is stipulated in accordance with § 83a(2)(4) LBO:

| Item No | Design | Recognised test procedure in accordance with |
| --- | --- | --- |
| 1 | 2 | 3 |
| C 4.1 | Designs relating to the construction of ceilings, roofs, suspended ceilings, false floors, cavity flooring, supports, beams, ceiling joists, stairs and load-bearing walls in relation to which requirements pertaining to fire resistance time and/or sound insulation are laid down. This does not apply to the parts of structural works which are subject to additional requirements if the definitive designs deviate significantly from Technical Building Regulations or if the definitive designs are not covered by any technical best practice. | Also applicable, depending on design: As regards the fire resistance time: DIN 4102-2:1977-09 with the exception of Sections 6.2.7, 6.2.9 and 6.2.10 (for DIN 4102-3:1977-09 fire walls), or DIN EN 1363-1:2012-10, DIN EN 1363-2:1999-10, DIN EN 1364-2:1999-10, DIN EN 1365-1:2013-08, DIN EN 1365-2, -3:2000-02, DIN EN 1365-4:1999-10 in conjunction with Annex C 4.6 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-3:2015-11, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1, -2:2013-06 and DIN EN ISO 10848-1, -2, -3:2018-02 |
| C 4.2 | Designs relating to the construction of non-load-bearing, interior dividing walls, including fittings (e.g. sanitation), the anti-fall safety of which must be demonstrated experimentally and/or are subject to requirements in terms of fire resistance time and/or sound insulation, with the exception of those made of glass. The second sentence of paragraph C 4.1 applies accordingly. | Also applicable, depending on design: As regards protection against falling: DIN 4103-1:2015-06 The following characteristics are each to be met together with the requirements of DIN 4103-1:2015-06: As regards the fire resistance time: DIN 4102-2:1977-09 apart from Sections 6.2.7 and 6.2.9 or DIN EN 1363-1:2012-10, DIN EN 1363-2:1999-10, DIN EN 1364-1:1999-10 in conjunction with Annex C 4.6 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1:2013-06 and DIN EN ISO 10848-1, -2, -3:2018-02 |
| C 4.3 | Designs for the construction of non-load-bearing exterior walls to which requirements on fire resistance and sound insulation apply. The second sentence of item No C 4.1 also applies. | Also applicable, depending on design: As regards the fire resistance time: DIN 4102-3:1977-09 or DIN EN 1363-1:2012-10, DIN EN 1363-2:1999-10, DIN EN 1364-1:1999-10 in conjunction with Annex C 4.6 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1:2013-06 and DIN EN ISO 10848-1, -2, -3:2018-02 As regards protection against falling: ETB Guideline ‘Components that protect against falls’ (1985-06) |
| C 4.4 | Designs for the construction of ventilation ducts to which requirements on fire resistance and/or sound insulation apply. The second sentence of item No C 4.1 also applies. | Also applicable, depending on design: As regards the fire resistance time: DIN EN 4102-6:1977-09 and – where applicable – in conjunction with DIN V 4102-21:2002-08), or DIN EN 1363-1:2012-10, DIN EN 1366-1:2014-12 and – where applicable – in conjunction with DIN V 4102-21:2002-08 and Annex C 3.1 of Section C 3 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1:2013-06 |
| C 4.5 | Designs for pipe bulkheads on metal pipes (heat-insulated where applicable), - whose function is based on the arrangement of a pipe encasement/section insulation layout and - in relation to which requirements are only laid down in terms of fire resistance time. The second sentence of paragraph C 4.1 applies accordingly. | DIN 4102-11:1985-12 in conjunction with Annex C 4.5 and Annex C 4.1 |
| C 4.6 | Designs for pipe bulkheads on thermoplastic pipes (heat-insulated where applicable), - whose function is based on the arrangement of a pipe encasement/section insulation layout, - for which no intumescent building materials are used and - in relation to which requirements are only laid down in terms of fire resistance time. The second sentence of paragraph C 4.1 applies accordingly. | DIN 4102-11:1985-12 in conjunction with Annex C 4.5 and Annex C 4.1 |
| C 4.7 | Designs for the manufacture of service shafts and ducts, including the closures of their inspection openings, which are subject to fire resistance and sound insulation requirements. The second sentence of item No C 4.1 also applies. | Also applicable, depending on design: As regards the fire resistance time: DIN EN 4102-11:1985-12 and. plus, as test procedures for installation shaft walls DIN 4102-2:1977-09 apart from Sections 6.2.7 and 6.2.9 in conjunction with Annex C 4.6 or DIN EN 1363-1:2012-10, DIN EN 1363-2:1999-10, DIN EN 1364-1:1999-10 As regards sound insulation: DIN EN ISO 10140-1:2014-09, DIN EN ISO 10140-2, -4:2010-12, DIN EN ISO 10140-5:2014-09, DIN EN ISO 717-1:2013-06 |
| C 4.8 | Designs for manufacture of roofing, for which there are requirements regarding resistance to spreading of fires and radiating heat. The second sentence of item No C 4.1 also applies. | DIN 4102-7:1998-07 in conjunction with DIN SPEC 4102-23:2011-10 Sections 1, 2, 3, 4 and 7 or DIN CEN/TS 1187:2012-03 Test method 1 in conjunction with DIN SPEC 4102-23:2011-10 Sections 1, 2, 3, 4 and 7 or DIN CEN/TS 1187:2012-03 Test method 1 in conjunction with DIN CEN/TS 16459:2014-03 Sections 1, 2, 3, 4, 7 and Annex A |
| C 4.9 | Designs for manufacturing electrical cable systems for which there are requirements regarding functional integrity under fire exposure. The second sentence of paragraph C 4.1 applies accordingly. | DIN 4102-12:1998-11 |
| C 4.10 | Designs for the construction of smoke extraction ducts to which requirements on fire resistance and/or sound insulation apply. The second sentence of paragraph C 4.1 applies accordingly. | Also applicable, depending on design: As regards the fire resistance time: DIN 4102-6:1977-09 DIN V 18232-6:1997-10 in conjunction with Annex C 4.2 or DIN EN 1363-1:2012-10, DIN EN 1366-1:2014-12 in conjunction with DIN EN 1366-8:2004-10 in conjunction with Annex C 4.3 As regards sound insulation: DIN 52210-6:2013-07 |
| C 4.11 | Designs for the construction of smoke extraction ducts to which no requirements on fire resistance and/or sound insulation apply. The second sentence of paragraph C 4.1 applies accordingly. | DIN V 18232-6:1997-10 in conjunction with Annex C 4.4 |
| C 4.12 | Safety barrier glazing with load-bearing capacity determined by testing under impact load | DIN 18008-4:2013-07 Annex A, Annex D and Annex E Also applicable: Annex C 3.5 of Section C 3 |
| C 4.13 | Glazing designed to sustain human loads with load-bearing capacity determined by testing under impact load | DIN 18008-5:2013-07 Annex A |
| C 4.14 | Polymer-modified bituminous thick coatings (PMBC) as waterproofing for transition joints on water-impermeable/watertight structural elements | Testing principles regarding the issuing of general building supervisory inspection certificates for joint sealants in concrete components with high resistance to water penetration (PG FBB) Part 1: Seals for construction joints, crack cross-sections, transitions and connections (September 2017) |

Annexes to C4

Annex C 4.1

Re DIN 4102-11: 1985-12

Re Section 3.1	Verification with fire tests

By way of deviation from Section 3.1, one specimen will be sufficient for the fire test.

Re Section 4.2.3	Specimens and test set-up

In deviation from Section 4.2.3, the performance of fire tests on pneumatic tube lines and dust intake pipes at a working pressure of -0.5 bar is dispensed with.

Re Section 4.2.4.1	Fire test with minimal stress

Section 4.2.4.1 lapses.

Re Section 4.2.4.2	Fire test with the standard temperature-time curve

In deviation from Section 4.2.4.2, the measuring points for determining the mean temperature increase at a distance of 10 cm and 60 cm from the wall or ceiling are dropped.

Re Section 4.2.4.3	Fire test with stress due to smouldering fire

Section 4.2.4.3 lapses.

Annex C 4.2

In derogation of DIN V 18232-6:1997-10 leakage from the category 3 smoke extractor duct in the aforementioned standard must be determined under fire stress using the oxygen measurement method set out in DIN EN 1366-8:2004-10 for pressure levels 1 or 2 or 3 as set out therein.

Annex C 4.3

A smoke extractor duct can be classified as category 3 under DIN V 18232-6:1997-10 if it passes the tests under DIN EN 1366-1:2014-12 (duct A at pressure of -500 Pa) and meets the requirements under DIN EN 1366-8:2004-10, Section 11.3.2, Sealing; under Section 11.3.3, Space barrier; under Section 11.3.4 Thermal insulation and under Section 11.3.5 Cross-section reductions during the test time of ≥ 30 minutes at temperature stress under DIN EN 1363-1:2012-10.

Annex C 4.4

In derogation of DIN V 18232-6:1997-10 leakage from the category 2 smoke extractor duct in the aforementioned standard must be determined under fire stress using the oxygen measurement method set out in DIN EN 1366-8:2004-10 for pressure levels 1 or 2 or 3 as set out therein.

Annex C 4.5

A pipe encasement/pipe seal can be classified as R ... under DIN 4102-11:1985-12 if it complies with the conditions under DIN 4102-11:1985-12 with testing

in accordance with DIN 4102-11:1985-12 (including Annex 4.1) has been conducted

- or

in accordance with DIN 4102-11:1985-12 but with modified test conditions in line with DIN EN 1366-3:2009-07, Section 5 has been conducted: Furnace temperature is controlled as per DIN EN 1363-1:1999-10, Section 5.1, with furnace thermocouples as per Section 4.5.1.1 and testing begins as per DIN EN 1363-1:1999-10, Section 10.3. The pressure conditions in the fire compartment are in line with DIN EN 1366-3:2009-07, Section 5.2.

Annex C 4.6

1	Non-load-bearing dividing walls

A non-load-bearing dividing wall may be classified as F... under DIN 4102-2:1977-09 if it either

complies with the conditions under DIN

or

has been tested in accordance with DIN EN 1363-1:2012-10 in conjunction with DIN EN 1364-1:1999-10 and, for a duration of... Minutes has observed the requirements of DIN EN 1363-1:2012-10, Section 11.2, Enclosing function, and Section 11.3, Thermal insulation.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1364-1:1999-10, a fire test is required for symmetrical components.

2	Load-bearing space-enclosing walls

A load-bearing space-enclosing wall may be classified as F... pursuant to DIN 4102-2:1977-09 if it

complies with the conditions under DIN 4102-2:1977-09

or

was tested in accordance with DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-1:2013-08, for a test duration of...minutes has observed the requirements of DIN EN 1363-1:2012-10, Section 11.1, Load-bearing capacity, Paragraph II, as well as Section 11.2, Enclosing function, and Section 11.3, Thermal insulation.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-1:2013-08, a test is required for symmetrical components.

3	False ceilings (as a stand-alone structural component)

A false ceiling as a stand-alone structural component may be classified as F... under DIN 4102-2:1977-09 if it either

complies with the conditions under DIN 4102-2:1977-09

or

was tested in accordance with DIN EN 1363-1:2012-10 in conjunction with DIN EN 1364-2:1999-10, for a test duration of ...minutes, has met the requirements of DIN EN 1364-2:1999-10, Section 11.2, Enclosing function, and Section 11.3, Thermal insulation.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1364-2:1999-10, a stress test is required on the underside and on the topside. If classification is only to be done on one side, a stress test on this side is required.

4	Columns

A column may be classified as F... under DIN 4102-2:1977-09 if it

complies with the conditions under DIN 4102-2:1977-09

or

was tested in accordance with DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-4:1999-10 and, for the test duration of ...minutes has observed the requirements of DIN EN 1363-1:2012-10, Section 11.1, Load-bearing capacity, Subsection II.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-4:1999-10, one test is required.

5	Fire walls

A fire wall may be classified as such under DIN 4102-2:1977-09 if it

complies with the conditions under DIN

or

has been tested according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-1:2013-08 and DIN EN 1363-2:199-10, Section 7, during which it complied with the requirements under DIN EN 1363-1:2012-10, Section 11.1, Load-bearing capacity, Subsection II as well as Section 11.2, Enclosing function, and Section 11.3, Thermal insulation, for the test duration of 90 minutes.

The walls must meet these requirements without cladding. They must also be made of non-combustible materials.

For testing according to DIN EN 1363-10:2012-10 in conjunction with DIN EN 1365-1:2013-08 and DIN EN 1363-2:1999-10, Section 7, a test is required for symmetrical components.

6	Beams/joists

A beam/joist may be classified as F... under DIN 4102:1997-09 if it

complies with the conditions under DIN 4102-2:1977-09

or

was tested in accordance with DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-3:2000-02 and, for the test duration of ...minutes, has met the requirements of DIN EN 1363-1:2012-10, Section 11.1, Load-bearing capacity, Subsection I.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-3:2000-02, one test is required.

7	Ceilings/roofs

A ceiling/roof may be classified as F... under DIN 4102:1977-09 if it

complies with the conditions under DIN 4102-2:1977-09

or

was tested in accordance with DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-2:2000-02 and, for the test duration of ...minutes, has met the requirements of DIN EN 1363-1:2012-10, Section 11.1, Load-bearing capacity, Subsection I, as well as Section 11.2, Enclosing function, and Section 11.3, Thermal insulation.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1365-2:2000-02, one test is required.

8	Service shafts and ducts

A service shaft/duct may be classified as I... under DIN 4102-11:1985-12 if it either

complies with the conditions under DIN

or

being a service shaft, consists of walls that have been tested pursuant to DIN

or

being a service shaft, consists of wall that have been tested pursuant to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1364-1:1999-10 and, for a duration of... minutes has observed the requirements of DIN EN 1363-1:2012-10, Section 11.2, Enclosing function, and Section 11.3, Thermal insulation.

For testing according to DIN EN 1363-1:2012-10 in conjunction with DIN EN 1364-1:1999-10, a fire test is required for symmetrical components.

D - 
Construction products that do not require proof of fitness for purpose

D 1	General

D 2	List pursuant to § 83a(4) LBO

D 3	Technical documentation pursuant to § 83a(2)(6) LBO

D 1	General

Under § 18(3) LBO the administrative provision contains a non-exhaustive list of construction products that do not require evidence of usability (§ 83a(4) LBO). This list provides clarification for those involved in the build.

On the one hand, the list includes construction products for which there are generally accepted technical standards and on which the building regulations also impose requirements pursuant to § 3 LBO, but for which evidence of usability is not required (formerly 'other construction products'). Usability of construction products as defined in § 17b LBO must physically exist but this does not need to be demonstrated under the building regulations. These include in particular construction products covered by other certification and approval systems (e.g. DVGW and VDE).

On the other hand, it also includes construction products for which there are neither technical building regulations nor generally accepted technical standards and for which compliance with the requirements under § 3 LBO are irrelevant. The waiver of building inspectorate evidence of usability identifies the minor significance of these construction products in terms of the building regulations.

D 2	List pursuant to § 83a(4) LBO

D 2.1	Examples of products that are not covered by generally accepted technical standards

Barrier mountings in water supply and disposal plants

Barrier installations in gas supply plants

Flow monitors

Gas installation safety equipment

Gas hose safety lines for connection to domestic gas appliances

Multi-layer composite piping for domestic gas installations

Liquid gas pressure regulators

Drinking water heaters and storage devices

Hot water surface heating systems and radiator connections

Plastic piping systems for hot water underfloor heating

Heat transfer systems

Sanitary appliances

  - Washbasins

  - Toilets

Shafts for wells and percolation systems

Percolation pipes for landfills

Lightning protection installations

Electrical installations such as cables, switches, sockets, etc. for general power supply under standard conditions in physical structures

Telecommunications, television and radio installations

| D 2.2 Products that are not covered by generally accepted technical standards This list only applies to construction products and applications that are only subject to a normal flammability requirement under building inspection requirements, and not to any further fire protection requirements or requirements for sound or thermal insulation. D 2.2.1 Construction products for shell construction |  |
| --- | --- |
| D 2.2.1.1 | Basement light wells with light well openings up to 1.50 m (clear width parallel to basement wall) x 1.0 m (clear width to basement wall) |
| D 2.2.1.2 | Drainage elements |
| D 2.2.1.3 | External wall infill including fastenings with support spacing of ≤ 1.0 m if not used to ensure the stability of a physical structure or parts thereof |
| D 2.2.1.4 | Masonry reinforcement not required to ensure masonry stability |
| D 2.2.1.5 | Auxiliary materials for construction work and roof waterproofing such as primers, protective coatings, separation layers, protective layers, joint fillings and auxiliary materials for connections and barriers |
| D 2.2.1.6 | Façade sealing to protect against wind and driving rain |
| D 2.2.1.7 | Water-repellent agents against capillary absorption and transport of water with the exception of those required to maintain the stability of concrete components |
| D 2.2.1.8 | Construction products for dehumidification of damp walls, excluding products that harden in direct contact with groundwater or the soil |
| D 2.2.1.9 | Plywood and formwork panels as well as shuttering units as lost formwork |
| D 2.2.1.10 | Elastic bearing for stairs |
| D 2.2.1.11 | Wall and roof components, including fastenings, for single-storey physical structures with enclosed space ≤ 30 m3 |
| D 2.2.1.12 | Multi-layer separating layers (e.g. 'sliding film') to enable relative displacements between components for uses for which the failure or impairment of component function have no effects on the stability or sealing of the load-bearing structure in respect of the storage of water-polluting liquids. |
| D 2.2.1.13 | Bentonite mats used as additional sealing measures for concrete components with high resistance to water penetration |
| D 2.2.1.14 | Plastic slatted floors with clearance to load-bearing floor slabs or load-bearing ceilings of ≤ 0.5 m |
| D 2.2.1.15 | Products used to seal laps, joints, and connections of rubber vapour control layers and other draught-proofing layers (e.g. sealing tapes, adhesive tapes) |
| D 2.2.1.16 | Separation layers between floating screeds and footfall sound insulating layers as well as separation layers between building components and building components for acoustic decoupling |
| D 2.2.2 Construction products for interior work |  |
| D 2.2.2.1 | Façade elements (including fastenings) for exterior wall cladding attached according to generally accepted technical standards - with small-sized cladding panels with an area of ≤ 0.4 m² and an intrinsic weight of ≤ 5 kg - with board format cascade elements with a width of ≤ 0.3 m and a substructure support spacing of ≤ 0.85 m |
| D 2.2.2.2 | Roofing elements (including fastenings) for roof cladding attached according to generally accepted technical standards - with small-format elements with an area of ≤ 0.4 m² and a dead weight of ≤ 5 kg - with other elements with a substructure support spacing of ≤ 1.0 m excluding glass |
| D 2.2.2.3 | Internal doors including accessories |
| D 2.2.2.4 | Non-load-bearing and non-stiffening window and door openings, window sills, and their fastenings |
| D 2.2.2.5 | Double floors and hollow screed with clear width to load-bearing ceilings of ≤ 0.5 m |
| D 2.2.2.6 | External wall cladding up to 2 cm thick |
| D 2.2.2.7 | ‘Floorings not intended for use in human occupancy areas’ deleted from MVV TB 2019/1 |
| D 2.2.2.8 | Infill for protectors including fastenings: - plated infill with substructure support spacing ≤ 1.0 m, excluding glass infills - infill span wire system attached under a load-bearing handrail or balustrade with span width ≤ 2.0 m |
| D 2.2.2.9 | Edge insulating strips for screed |
| D 2.2.2.10 | Support and aprons for bath tubs and shower trays |
| D 2.2.2.11 | Seals against non-pressurised water at low or moderate stress, such as for sealing balconies, splash-prone floor and wall areas in wet rooms and domestic bathrooms |
| D 2.2.2.12 | O-ring seals for pipe openings and seals of formwork tie points for external components in contact with the ground on which no requirements are imposed in respect of fire prevention |
| D 2.2.2.13 | Snow guard devices that do not support loads as per DIN EN 1991-1-3:2010, Section 6.4 and DIN EN 1991-1-3/NA:2010, NCI re 6.4 (1) |
| D 2.2.2.14 | Construction products of mineral building materials and polymer concrete for cladding internal walls |
| D 2.2.2.15 | Wedges and blocks for adjusting components not used for storage as defined in DIN EN 1337-1 |
| D 2.2.2.16 | Elastic elongation elements for metallic components in roofs and walls |
| D 2.2.2.17 | Bonding courses for gypsum plaster systems |
| D 2.2.2.18 | Reinforcements of façade elements for external wall cladding where these are not required to ensure stability |
| D 2.2.2.19 | Mobile dividing walls |
| D 2.2.2.20 | Air-permeable fabric (dead load ≤ 1.0 kg/m2), including the fastening, positioned on a substructure that is stable on its own for positioning as wind breaks on halls, as roofing on single-storey buildings and structural works or for affixing to the exterior. The substructure must be capable of reliably dissipating the loads exerted under the assumption of fabric which is not permeable to air. |
| D 2.2.2.21 | Fastenings of insulating materials on internal walls, excluding synthetic-resin adhesives |
| D 2.2.2.22 | Adhesives and/or dowels (anchors) on insulating materials on internal ceilings if overall weight from thermal insulation and coatings does not exceed 15 kg/m2; the use of synthetic-resin adhesives in internal areas is excluded. |
| D 2.2.3 Construction products for building equipment |  |
| D 2.2.3.1 | Flame catalysts |
| D 2.2.3.2 | Oil burners |
| D 2.2.3.3 | Ventilation ducts including accessories |
| D 2.2.3.4 | Prefabricated installation shafts and ducts including inspection openings |
| D 2.2.3.5 | Casings and claddings of flues to the outdoors including related substructures and cover plates and joint seals for openings from flues of non-combustible building materials as per DIN 4102-4:2016-05, Section 4 |
| D 2.2.3.6 | Subordinated accessories of flues not exposed to waste gas (components for condensate discharge or rear ventilation, spacers, wall mountings, etc.) |
| D 2.2.3.7 | Fastenings for pipe encasements |
| D 2.2.3.8 | Latent heat accumulator elements of encapsulated calcium chloride (CaCl2 x 6 H2O) for underfloor heating, provided the encapsulation is suitable for purpose |
| D 2.2.3.9 | Closures of openings for the dissipation of smoke in necessary stairwells for smoke extraction after evacuation and not for keeping escape routes free of smoke, as well as devices for opening them |
| D 2.2.3.10 | Heating and cooling surfaces on ceilings and walls |
| D 2.2.3.11 | Radiator covers |
| D 2.2.3.12 | Components outside buildings for aerating and ventilating the building and for site drainage (excluding vent valves under DIN EN 12380) |
| D 2.2.3.13 | Daylight control systems with cross-sectional area ≤ 0.4 m 2 |
| D 2.2.4 Construction products for landfills |  |
| D 2.2.4.1 | Draining pipes for landfill sealing |
| D 2.2.4.2 | Drainage elements for landfill sealing |
| D 2.2.4.3 | Landfill sealing elements |
| D 2.2.4.4 | Protective layers for landfill sealing elements |
| D 2.2.5 Construction products for repairs |  |
| D 2.2.5.1 | Construction products for repairs to construction seals and related installation components, excluding products that harden in direct contact with groundwater or the soil |
| D 2.2.5.2 | Construction products for repairs to roof waterproofing and related installation components |
| D 2.2.6 Other construction products |  |
| D 2.2.6.1 | Construction parts for water basins with ≤ 100 m3 capacity |
| D 2.2.6.2 | Pressureless containers with up to 50 m3 volume and up to 3 m high for storing rain and drinking water |
| D 2.2.6.3 | Sample and pattern encoders and spacers for paving |
| D 2.2.6.4 | Supporting elements used with height difference of up to 1.0 m |
| D 2.2.6.5 | Plastic components for water slides up to 2.0 m high |
| D 2.2.6.6 | Rigid and flexible bulk goods silos with capacity up to 3 m3 and up to 3 m high (top edge of silo above ground) |
| D 2.2.6.7 | Non-accessible covers for containers under which there are no trafficked areas and which do not serve to stabilise structural facilities or their parts. The covers must be exposed to a maximum inner pressure of 50 mbar. |
| D 2.2.6.8 | Construction products for building-independent solar systems in areas not open to the public up to 3 m high |

D 3	Technical documentation pursuant to § 83a(2)(6) LBO

In relation to the material characteristics of a construction product covered by the harmonised technical specifications underlying CE marking, the CE mark is the only marking (Article 8(3)(1) CPD). Otherwise, other product information may be provided voluntarily. In this case, the accuracy thereof must be shown in the technical documentation. Depending on the product, installation situation and purpose of use, this may require stating in technical documentation which technical rule the test is based on and whether any bodies have been appointed and if so which ones. For example, it may be advisable to appoint a body qualified under Article 30 CPD unless there are applicable, accepted technical standards or a body qualified under Article 43 CPD, provided only independent third-party testing is carried out using an applicable technical rule.

Supplementary notes can be found in the Decree of the Ministry of the Interior, Rural Areas and Integration of 14 October 2016, which can be accessed on the Ministry’s internet site under the following link:

https://www.schleswig-holstein.de/DE/Fachinhalte/B/bauen/bautechnik.html

# Annexes

| Annex 1 to paragraph A 1.2.3.7 | Subsequent rebar connections with bonded-in rebars - Requirement for design, dimensioning and execution:2019-05 | 160 |
| --- | --- | --- |
| Annex 2 to paragraph A 1.2.3.8 | Anchors in concrete with embedded or retrofitted fasteners - Requirement for design, dimensioning and execution:2018-07 | 170 |
| Annex 3 to paragraph A 1.2.6.3 | Anchors in masonry with subsequently installed fasteners - Requirement for design, dimensioning and execution:2018-07 | 173 |
| Annex 4 to paragraph A 2.2.1.2 | Building inspection requirements, classification, use of construction products, use of designs:2019-05 | 176 |
| Annex 5 to paragraph A 2.2.1.5 | ETICS with EPS, socket fire test procedure:2016-06 | 209 |
| Annex 6 to paragraph A 2.2.1.6 | Rear-ventilated exterior wall cladding:2016-06 | 215 |
| Annex 7 | Requirements for locking mechanisms:2017-07 deleted from MVV TB 2019/1 |  |
| Annex 8 to paragraph A 3.2.1 | Health protection requirements for building structures (ABG):2019-05 | 219 |
| Annex 9 to paragraph A 3.2.2 | Textile flooring:2017-05 | 234 |
| Annex 10 to paragraph A 3.2.3 | Requirement for building structures regarding effects on soil and water (ABuG):2019-05 | 243 |
| Annex 11 to paragraph B 2.2.1.5 | ETICS with ETA pursuant to ETAG 004:2019-05 | 264 |
| Annex 12 to paragraph B 2.2.1.6 | TR - Application rules for non-load-bearing permanent formwork kits/systems and formwork blocks for the construction of in-situ concrete walls, June:2019-05 | 271 |
| Annex 13 to paragraph C 2.8.1 | Guideline on roller shutter cases (RokR): 2016-07 | 281 |
| Annex 14 to paragraph A 2.2.1.16 | Technical Rule on Technical Building Equipment – TR TGA: 2019-05 | 284 |

Annex 1

Subsequent rebar connections with bonded-in rebars - Requirement for design, dimensioning and execution

As at: May 2019

Contents

1	Scope of application

2	Planning

3	Design

4	Execution

5	Operating requirements

6	Proof of suitability

7	Training and testing of site personnel

Annex 1 – Scope of application

Annex 2 – General construction rules

Scope of application

This technical rule applies to steel rebar connections pursuant to DIN 488-1 to -3:2009-08 or in accordance with general building supervisory approval that are bonded in using an injection system with European Technical Assessment (ETA) as per ETAG 001 and EOTA Technical Report TR 023 'Assessment of subsequent rebar connections' or EAD 330087-00-0601 'Systems for subsequently bonded-in rebar connections'.

The possible fields of application are shown in Annex 1, Figure 1 to Figure 5.

Planning

Rebar connections must be designed in line with engineering practice. In compliance with the following points, verifiable design drawings must be drawn up.

Rebar connections may only be used to transfer tension forces in the direction of the bar axis.

The position of reinforcement set in concrete must be determined based on the planning documents and, where applicable, marked on the concrete surface.

The concrete strength class of the anchor base must be determined based on the planning documents and, where applicable, core sampling.

The transmission of transverse forces between existing and new concrete shall be documented in accordance with DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12. The joints for concreting must be roughened at least to the point that aggregates protrude. NOTE: Information on how to perform the roughening must be supplied in the design drawings (e.g. as per DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12).

Where the surface of the existing concrete is carbonated, the carbonated layer must be removed before connecting the new bar near the rebar connection with a diameter of  + 6 cm. The depth of the concrete to be removed must at least meet the minimum concrete covering for the corresponding environmental conditions under DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12. This does not apply in the case of new, non-carbonated components in dry surroundings.

General construction rules as per Annex 2

Minimum concrete covering cmin as per Table 1 and minimum clearance a as per Table 2

Drilling procedure

Table 1:	Minimum concrete covering cmin [mm] depending on drilling procedure, bar diameter and the use of a drilling aid

| Drilling procedure | Bar diameter | Without drilling aid | With a drilling aid |
| --- | --- | --- | --- |
| Hammer drilling hollow drilling diamond drilling | < 25 mm | cmin = 30 mm + 0.06 v 2 | cmin = 30 mm + 0.02 v 2 |
|  | ≥ 25 mm | cmin = 40 mm + 0.06 v 2 | cmin = 40 mm + 0.02 v 2 |
| Compressed air drilling | < 25 mm | cmin = 50 mm + 0.08 v | cmin = 50 mm + 0.02 v |
|  | ≥ 25 mm | cmin = 60 mm + 0.08 v 2 | cmin = 60 mm + 0.02 v 2 |

Table 2:	Minimum clearance a [mm] depending on in the use of a drilling aid and on bar diameter

| Without drilling aid | With a drilling aid |
| --- | --- |
| a = 40 mm ≥ 4 | a 2 |

Design

Rebar connections must be designed in line with engineering practice. Verifiable calculations must be made taking into account the loads to be anchored.

Rebar connections must be designed as per DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12.

The bond stress calculation values for fbd or the reduction factor for the bond stress calculation values kb are specified in the European Technical Assessment/Approval (ETA), and must be multiplied by the bond stress calculation value as per DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12.

For rebar connections with fire resistance requirements, the bond stress calculation value under fire stress fbd,fi must be determined in accordance with the relevant ETA specifications.

The minimum anchorage length lb,min and the minimum lap length l0,min according to DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 must be multiplied by the factor lb specified in the ETA.

If the specifications of the relevant ETA are observed, proof of direct local force application in the concrete is deemed provided.

Transfer within the component of the loads to be anchored must be demonstrated.

Execution

General

The rebar connections may only be executed by firms that meet the requirements of Section 5.

The rebar connections must be executed in line with the construction drawings and the installation instructions (drilling, cleaning, preparing the rebar, injecting adhesive mortar and setting rebar) of the relevant injection system manufacturer. Only the appliances provided for this purpose may be used for drilling, cleaning and injecting the mortar.

Execution documentation

An installation log must be drawn up for each rebar connection. The execution documentation is determined by Table 3. Installation logs must be readily available on the building site during the construction period. As for the delivery notes, they must be kept for at least 5 years by the companies after work is completed.

Execution monitoring

The proper preparation and execution of work must be monitored. To this end, the installation log must be checked and countersigned. In case of deviations from the planning guidelines, the responsible planning engineer must be contacted.

Table 3:	Installation log - Tests, Requirements and Frequency

| Row | Test object | Type of test | Requirements |  | Frequency, time |
| --- | --- | --- | --- | --- | --- |
|  | Preparation |  |  |  |  |
| 1 | Mortar container | Packaging instructions | Expiry date not yet passed |  | each delivery |
|  |  | Visual inspection | no noticeable changes |  | ongoing |
|  |  | Storage conditions | Manufacturer’s instructions |  | for storage/outsourcing |
| 2 | Processing equipment | Functional check | proper working order |  | on commissioning and daily |
| 3 | Work plan (created from the planning documents) | Manufacturing and processing instructions | Compliance with provisions |  | prior to work starting |
|  | Processing |  |  |  |  |
| 4 | Weathering | Temperature (in anchor base) | Compliance with work plan and installation instructions | before filling the drill hole |  |
|  |  | Drill hole protected from water ingress | no water in drill hole | before filling the drill hole |  |
| 5 | Drilling | Overlap, edge distances centre distances | Compliance with work plan and installation instructions No reinforcement strikes during drilling Involve planners if strikes occur | each drill hole |  |
| 6 | Drill hole cleaning | Visual inspection and blow-out check | dust-free; clean drill hole surface | each drill hole before filling |  |
| 7 | Rebar | condition, marking, mobility in drill hole | only rust film, embedment depth marked, mobile | each bar before filling the drill hole |  |
| 8 | Occupational safety | Personal safety equipment | wear suitable protective clothing, protective gloves and goggles/face protection | during operations involving injection mortar |  |
| 9 | Backfilling | Mortar fill mark on mixer extension tube | in line with work plan and installation instructions | each bar during setting |  |
|  |  | without cavities | no bar resilience, no mortar spraying |  |  |
| 10 | Bonded-in rebar connections | Embedment depth | Embedment mark at drill hole mouth | each bar after setting |  |
|  |  | Backfilling | Visibly leaking mortar at drill hole mouth |  |  |

Operating requirements

General

Those persons manufacturing the rebar connection must

1	have valid proof of suitability as per Section 6,

2	have a qualified manager stated in the proof of suitability,

3	have a responsible site manager,

4	have site staff specifically trained for executing rebar connections who have certification of successful training attendance and

5	have the necessary instrumentation.

The firm must ensure that the site personnel have been trained in the manufacture of subsequent rebar connections with bonded-in rebar.

Qualified manager

The qualified managers must have sufficient knowledge in reinforced concrete construction and experience in the manufacture of subsequent rebar connections with bonded-in rebar. They must have at least the qualifications necessary for reinforced concrete work independently and to manage operations in this field.

The qualified managers are competent and responsible for manufacturing rebar connections on the building site.

The tasks of qualified management include:

Assessing construction drawings in respect of the completeness of the information for subsequently bonded-in rebar,

Drawing up and, where applicable, testing service descriptions and assessing the operability of the rebar connections,

Drawing up work plans (work instructions),

Assessing the expert qualifications of site personnel,

Evaluating the results of the installation log.

Responsible site manager

When manufacturing subsequent rebar connections with bonded-in rebar, a responsible site manager named in the proof of suitability must check on-site that the rebar connections with subsequent bonded-in rebar are manufactured in line with the provisions of this Guideline.

They must ensure that the work is properly prepared and executed and must monitor the execution of the work. To this end, the installation log drawn up by the site personnel must be checked and countersigned.

The site manager must have technical knowledge of and skills and practical experience with concrete and other materials. The site manager must either have equivalent qualifications to the qualified managers or be trained to the same degree as the site personnel.

Skilled site personnel

The work must be done by trained site personnel named in the proof of suitability and trained as per Section 7, must in particular be trained for manual work and must have the relevant skills and practical experience.

The tasks of skilled personnel include:

The practical execution of drilling, cleaning, filling and fixing work according to the work plan. Any deviations must be documented in the installation log and the responsible site manager immediately informed.

Keeping the installation log.

Equipment

For the manufacture of rebar connections with subsequent bonded-in rebars, the equipment and devices mentioned in the installation instructions of the injection system to be used must be present on the building site to enable expert execution of these works. All devices and equipment must be kept in good working order.

Devices and equipment include:

Devices for accurate drilling (drilling aids) drillings stands for diamond core drilling devices,

Devices for cleaning the drill holes,

Equipment for storing the injection mortar cleanly and at the right temperature,

Functional discharge units and mixer extension tubes,

Compressor for oil-free compressed air of at least 6 bars.

Proof of suitability

Proof of suitability shall be issued by a recognised inspection body (see PÜZ-Verzeichnis Part IV).

If the inspection body has determined that the operating requirements under Section 5.1(2) to (4) are met, and if the company can demonstrate possession of a complete system case provided with functional equipment, it shall issue proof of suitability.

Proof of suitability is issued for a period of 3 years and is revocable. Upon request, the validity period of the proof of suitability may be extended by the inspection body for 3 years.

Before any extension, the inspection body must be provided with proof that the above-mentioned operating requirements have been met. Any change to the personnel named in the proof of suitability must be notified to the inspection body.

Training and testing of site personnel

General

Site personnel must be trained as set out below. After training, a recognised inspection body must check that the personnel has sufficient knowledge (see PÜZ Verzeichnis Part IV, Paragraph 7).

If this inspection body determines that training was successful, it shall issue a certificate to this effect.

Contents of training

Safety measures (goggles, gloves, etc.)

Ensuring that devices function (when is a device no longer working properly)

Drilling methods (what methods are valid for the system and how they work, what characteristics, etc.)

Using drilling aids (when and why they may be necessary, how to use)

Cleaning methods (what methods are valid for the system and how they work, what characteristics, etc.)

Special installation conditions (e.g. overhead, extreme temperatures)

Work process (hierarchy and tasks of persons involved in planning and manufacturing; minimum work plan requirements; inspections to be carried out during and after the setting process; what to do in case of reinforcement strikes, abortive drilling or missing information or incomplete work plan; requirements and inspections of additional equipment required; storage and protection of equipment and injection mortar; keeping the installation log; what to do if work is interrupted)

Contents of theoretical testing

Theoretical testing involves site personnel demonstrating in writing that there is sufficient knowledge of the training content for the system.

Contents of practical testing

Practical testing involves site personnel carrying out the following tasks:

Executing complete overlapping joints near the edge  = 12 mm, v = 1.0 m in reinforced concrete according to the design drawings with installation log according to the manufacturer’s installation instructions (MPII)

  - with subsequent final check and self-assessment

Bonding in a rebar  = 12 mm in covered, transparent viewing tube where v = 60 cm.

  - The time required to inject the mortar and insert the bar must be measured.

Practical testing involves site personnel demonstrating that there is inter alia sufficient knowledge regarding the following issues:

Was the work plan checked for completeness in terms of all necessary information?

Before work begins, is there sufficient understanding of the work to be carried out?

Do the devices used meet the approval requirements and are these devices safely controlled?

Is the drill hole in the right place?

For drilling near edges is the guidance device safely handled?

Does the angular deviation during drilling meet the permitted tolerances?

Is the drill hole cleaned in line with installation instructions?

Are the rebar anchor lengths correctly marked and mobility in the drill hole controlled?

Are mortar containers checked for temperature and expiry date?

Are mortar containers correctly opened and prepared for changing the container?

Are injection devices handled according to installation instructions?

- Is the fill mark correctly indicated on the mixer extension tube?

Is the marked bar to hand before injection begins?

Is the necessary volume of mortar discarded when a new container is opened?

Does the mortar injection procedure meet the installation instructions for complete and cavity-free filling?

Is the bar properly placed up to the the anchor depth marking?

Is the mortar leaking at the drill hole mouth?

Is the permitted processing time complied with from the start of injection until the rebar is set?

Were defects during or after rebar connection manufacture detected and properly corrected?

Was the installation log completely and accurately kept?

Annex 1 – Scope of application

Fig. 1: Overlapping joint with existing reinforcement of rebar connections of slabs and beams

Fig. 2: Overlapping joint with existing reinforcement of supports or walls subject to bending stress to a base.The rebar is subject to tensile stress.

Fig. 3: End anchorage of slabs or beams

Fig. 4: Rebar connections for structural elements predominantly subject to compressive loading

Fig. 5: Anchoring of reinforcement to cover resistance to tension curve in construction parts subject to bending stress

| Zugkraftlinie | Resistance to tension curve |
| --- | --- |
| Hüllkurve von Med/Z + Ned | Envelope of Med/Z + Ned |

Notes:

No transverse reinforcement is shown in Fig. 1 to 5. The required transverse reinforcement pursuant to DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 must be present.

The transverse force transmission between existing and new concrete shall be designed in accordance with DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12.

Annex 2 – General construction rules

8 mm ≤ ϕ ≤ 40 mm

Fig. 6: Distances between existing and subsequently installed rebars and distance to the (parallel) edge.

*)	If the clear width of overlapping bars is more than 4 · ϕ, the overlap length must be increased by the difference between the existing clear bar spacing and 4 · ϕ.

c	Concrete surfacing for the bonded-in rebar

c1	Concrete surfacing on the front of the embedded rebar

cmin	Minimum concrete cover according to Table 1 and DIN EN 1992-1-1:2011-01, DIN EN 1992-1-1/A1:2015-03, DIN EN 1992-1-1/NA: 2013-04 and DIN EN 1992-1 -1/NA/A1:2015-12

ϕ	Diameter of the reinforcing steel

l0	Length of the overlap joint according to DIN EN 1992-1-1:2011-01, DIN EN -1-1/A1:2015-03, DIN EN 1992-1-1/NA: 2013-04 and DIN EN 1992-1 -1/NA/A1:2015-12

lv	Embedment depth ≥ l0 + c1

Annex 2
 - 
Anchors in concrete with embedded or retrofitted fasteners - Requirement for design, dimensioning and execution

As at: July 2018

Contents

1	Field of application

2	Planning

3	Design

4	Execution

1	Field of application

These technical rules apply to anchors set in concrete with fastening that have a European Technical Assessment/Approval (ETA) according to the following technical specifications:

EAD 330008-02-0601 ‘Anchor bars’

EAD 330084-00-0601 ‘Anchor plates with head bolts’

EAD 330232-00-0601 ‘Mechanical anchors for use in concrete’

EAD 330284-00-0604 ‘Plastic anchors for redundant non-structural systems in concrete and masonry’

EAD 330499-00-0601 ‘Bonded anchors for use in concrete’

EAD 330747-00-0601 ‘Anchors for use in concrete for anchoring redundant, non-load-bearing systems’

ETAG 001 ‘Metal anchors for anchoring in concrete’

ETAG 020 ‘Plastic anchors’.

This technical rule does not apply to anchors in nuclear installations.

2	Planning

2.1	General

Anchors must be designed in line with engineering practice. Verifiable design drawings must be prepared taking into account the loads to be anchored.

The provisions of the relevant ETA must be observed. In particular these are:

Difference in cracked or uncracked concrete

Concrete strength class of anchor base

minimum component thickness

minimum centre and edge distances

Limit values for ambient and component temperatures.

2.2	Fasteners for multiple use for non-structural systems

Redundant, non-load-bearing (non-structural) systems are defined as follows:

Mechanical anchors and composite anchors:	n1 ≥ 4; n2 ≥ 1 and n3 ≤ 3.0 kN or

n1 ≥ 3; n2 ≥ 1 and n3 ≤ 2.0 kN.

Plastic anchors:	n1 ≥ 4; n2 ≥ 1 and n3 ≤ 4.5 kN or

n1 ≥ 3; n2 ≥ 1 and n3 ≤ 3.0 kN.

n1 = number of attachment points

n2 =number of anchors per attachment point

n3 = design value of effects NSd (kN) for an attachment point

2.3	Anchors in structures in earthquake zones

For anchors in structures in earthquake zones in Germany, all the fastenings mentioned in Section 1 may be used. The earth anchors shall be designed in accordance with the design process given in Section 3 for static and quasi-static effects.

3	Design

3.1	General

Anchors must be designed in line with engineering practice. Verifiable calculations must be made taking into account the loads to be anchored.

Depending on the type of fastening, the following design methods should be used for designing anchors:

ETAG 001, Annex C or

DIN SPEC 1021-4-1 to -4-5:2009-08 or

EOTA TR 029 or

EOTA TR 055 or

ETAG 020, Annex C or

EOTA TR 064.

The aforementioned design methods may not be mixed.

The product characteristics required for the design (characteristic values of load-bearing capacity, centre and edge distances, installation parameters) must be taken from the relevant ETA.

If the specifications of the relevant ETA are observed, evidence of direct local force application in the concrete is deemed provided.

Extension of the loads to be anchored in the component must be demonstrated.

3.2	Anchors with fire resistance requirements

When designing anchors with fire resistance requirements, the provisions of EOTA TR 020 must also be observed.

4	Execution

Notes on the execution are contained in the DIBt paper ‘Notes on the installation of anchors, October 2010’ (www.dibt.de).

## Annex 3
 - 
Anchors in masonry with subsequently installed fasteners - Requirement for design, dimensioning and execution

As at: July 2018

Contents

1	Field of application

2	Planning

3	Design

4	Execution

1	Field of application

These technical rules apply to anchors set in concrete with fastenings that have a European Technical Assessment/Approval (ETA) according to the following technical specifications:

EAD 330076-00-0604 ‘Metal injection anchors for anchoring in masonry’

EAD 330284-00-0604 ‘Plastic anchors for redundant non-structural systems in concrete and masonry’

ETAG 029 ‘Metal injection anchors for anchoring in masonry’

ETAG 020 ‘Plastic anchors’.

2	Planning

2.1	General

Anchors must be designed in line with engineering practice. Verifiable design drawings must be prepared taking into account the loads to be anchored.

The provisions of the relevant ETA must be observed. In particular these are:

Differentiation between anchoring methods

Strength class of anchor base

Type of butt joints and horizontal joints

minimum component thickness

minimum centre and edge distances

Limit values for ambient and component temperatures

Drill procedure.

The characteristic load-bearing capacities in the ETA apply only to the stones as specified in the ETA. For masonry made of other comparable stones, the characteristic load-bearing capacity of injection anchor systems with ETA may be determined through on-site tests in accordance with the technical rule ‘Execution and evaluation of on-site tests for injection anchor systems in masonry with ETA according to ETAG 029 or EAD 330076-00-0604, version: December 2016'.

2.2	Fasteners for multiple use for non-structural systems

Redundant, non-load-bearing (non-structural) systems are defined as follows:

Plastic anchors:	n1 ≥ 4; n2 ≥ 1 and n3 ≤ 4.5 kN or

n1 ≥ 3; n2 ≥ 1 and n3 ≤ 3.0 kN.

n1 = number of attachment points

n2 =number of anchors per attachment point

n3 = design value of effects NSd (kN) for an attachment point

3	Design

Anchors must be designed in line with engineering practice. Verifiable calculations must be made taking into account the loads to be anchored.

Depending on the type of fastening, the following design methods should be used for designing anchors:

ETAG 029, Annex C or

EOTA TR 054 or

ETAG 020, Annex C or

EOTA TR 064.

The aforementioned design methods may not be mixed.

The product characteristics required for the design (characteristic values of load-bearing capacity, centre and edge distances, installation parameters) must be taken from the relevant ETA.

If the specifications of the relevant ETA are observed, proof of direct local force application in the masonry is deemed provided.

Transfer within the component of the loads to be anchored must be demonstrated.

4	Execution

Notes on the execution are contained in the DIBt paper ‘Notes on the installation of anchors, October 2010’ (www.dibt.de).

Annex 4
 - 
Building inspection requirements, classification, use of construction products, use of designs

As at: May 2019

The following official journals of the European Union have been taken into account:

1. hEN - List of 11.08.2017 (2017/C 267/04)

2. EAD – List of 09.06.2017 (2017/C 183/03)

3. ETAG – List of 15.12.2017 (2017/C 435/07)

CONTENTS

1	Parts of building structures that are subject to the requirements for fire characteristics and smouldering

2	Electrical cables and electrical cable systems

3	Roofing

4	Parts

5	Locks

6	Preventive measures for cable and/or pipe passages in fire-resistant components

7	Heat extraction devices in accordance with EN 12101-2:2003 for use in roofs in shopping streets pursuant to the Model Points of Sale Ordinance [Muster-Verkaufsstättenverordnung] and provisions on application and execution

8	Service ducts and shafts, including opening barriers

9	Fire-resistant glazing

10	Special fire protection products

NB: To the extent that the conditions of use or execution in this technical rule are not followed, individual approvals pursuant to § 21 LBO or project-related type approvals pursuant to § 17a(2) LBO will be required.

1	Parts of building structures that are subject to the requirements for fire characteristics and smouldering

For the fulfilment of the structural requirements in A 2.1.2 when using parts of building structures according to Technical Building Regulations or according to proofs of fitness for purpose according to § 18 LBO, the minimum required building material classes should be as given in Section 1.1. Unless otherwise specified in the following sections, the minimum requirement ‘normally flammable’ applies to the fire characteristics of the building materials.

For the fulfilment of the structural requirements in A 2.1.2 when using parts of building structures that use construction products in accordance with harmonised technical specifications, the minimum required building material classes should be as given in Section 1.2.

1.1	Building inspection requirements and building material classes according to DIN 4102-1:1998-05 and other features

Table 1. 1:	Building inspection requirements and building material classes according to DIN 4102-1:1998-05 including floor coverings and linear pipe insulation, and other features

| Building inspection requirement | Minimum required building material classes pursuant to DIN 4102-1:1998-05 | Additional features for use |
| --- | --- | --- |
| 1 | 2 | 3 |
| non-combustible1 | A 2 | -- |
| flame-resistant | B 1 | Building materials with the exception of floor coverings: limited smoke development (I ≤ 400 % x min. when tested pursuant to DIN 4102-15:1990-05) Pass |
| flame-resistant and no burning droplets or particles | B 1 | No burning droplets or particles falling limited smoke development (I ≤ 400 % x min. when tested pursuant to DIN 4102-15:1990-05) Pass |
| flame-resistant and low smoke development | B1 | low smoke development (I ≤ 100 % x min. when tested pursuant to DIN 4102-15:1990-05) Pass |
| flame-resistant and no burning droplets or particles and low smoke development | B1 | No burning droplets or particles falling low smoke development (I ≤ 100 % x min. when tested pursuant to DIN 4102-15:1990-05) Pass |
| normally flammable, no burning droplets or particles falling | B 2 | No burning droplets or particles falling |
| normally flammable | B 2 | -- |
| 1 if necessary, additionally melting point> 1000 °C |  | Specification: Melting point at least 1 000 °C under DIN 4102-17:2017-12 |

For construction products – except floorings – the tests shall include results for burning droplets or burning sample parts falling pursuant to DIN 4102-1:1998-05, Sections 6.1 and 6.2, or values for smoke development pursuant to DIN 4102-1:1998-05, Sections 6.1. These results and the values must be provided by the manufacturer except for floor coverings.

1.2	Minimum required performance for fire characteristics

For use in building structures, construction products including their components may be used based on harmonised technical specifications. The minimum required performance shall be taken from Table 1.2.

Table 1.2: 	Building inspection requirements and minimum required performance with respect to fire characteristics

| Building inspection requirements | Minimum required performance |  |  |
| --- | --- | --- | --- |
|  | Construction products, except for linear pipe insulation materials and floor coverings | linear pipe insulation materials | Floor coverings |
| non-combustible1 | A2 – s1,d0* | A2L – s1,d0* | A2fl – s1 |
| flame-resistant and no burning droplets or particles and low smoke development | C – s1,d0* | CL – s1,d0* | - |
| flame-resistant and no burning droplets or particles | C – s2,d0* | CL – s2,d0* | - |
| flame-resistant and low smoke development | C – s1,d2* | CL – s1,d2* | Cfl – s1 |
| flame-resistant | C – s2,d2* | CL – s2,d2* | Cfl – s1 |
| normally flammable and no burning droplets or particles | E | EL | - |
| normally flammable | E – d2 | EL – d2 | Efl |
| 1 if necessary, additionally melting point > 1000 °C | Specification: Melting point of at least 1000 °C | Specification: Melting point of at least 1000 °C | - |
| * if necessary, smouldering characteristics | see 1.3 | see 1.3 | - |

Explanatory notes for Table 1.2:

| Derivation of abbreviations | Criterion | Scope of application |
| --- | --- | --- |
| s (Smoke) | Smoke development | Smoke development requirements s1; low smoke development s2: limited smoke development |
| d (Droplets) | burning droplets/particles | Requirements for burning droplets/particles d0; no burning droplets/particles d1, d2; burning droplets/particles |
| ....fl (Floorings) |  | Fire characteristics classes for floorings |
| …L (Linear Pipe Thermal Insulation Products) |  | Fire characteristics class for products for the thermal insulation of pipes |

1.3	Minimum required performance for smouldering characteristics

In order to fulfil the requirements for the structure in A 2.1.2 in case of flame-resistant or non-combustible parts of structures where construction products compliant with the following harmonised standards (EN 438-7:2005, EN 13162:2012+A1:2015, EN 13168:2012+A1:2015, EN 13170:2012+A1:2015, EN 13171:2012+A1:2015, EN 13950:2014, EN 13964:2014, EN 13986:2004+A1:2015, EN 14064-1:2010, EN 14190:2014, EN 14303:2009+A1:2013, EN 15037-4:2010+A1:2013, EN 15498:2008) will be used, information on smouldering characteristics pursuant to Table 1.2 is required. For the determination of the smouldering characteristics there is a European test procedure DIN EN 16733:2016-07 in place; the required information is: ‘The test was passed: the product shows no tendency of continuous smouldering.’.

2	Electrical cables and electrical cable systems

2.1	Electrical cables

2.1.1	Building inspection requirements and building material classes according to DIN 4102-1:1998-05 and other features

To demonstrate the fire characteristics of electrical cables under the Technical Building Regulations or under the proof of fitness for purpose pursuant to § 18 LBO, assignment of building material classes pursuant to DIN 4102-1:1998-05 for the requirements of Paragraph A 2.1.2 may be based on Table 2.1.1 as well as further characteristics.

Table 2.1.1: 	Building inspection requirements and building material classes pursuant to DIN 4102-1:1998-05 and other characteristics

| Building inspection requirements | Minimum required building material classes pursuant to DIN 4102-1:1998-05 | Additional features for use |
| --- | --- | --- |
| 1 | 2 | 3 |
| non-combustible | A2 |  |
| flame-resistant | B1 | limited smoke development (I ≤ 400 % x min. when tested pursuant to DIN 4102-15:1990-05) Pass |
| flame-resistant and low smoke development | B1 | low smoke development (I ≤ 100 % x min. when tested pursuant to DIN 4102-15:1990-05) Pass |
| normally flammable | B2 | -- |

For construction products, values for smoke development are determined in the tests pursuant to DIN 4102-15:1990-05, Section 4.4. These values shall be specified by the manufacturer.

2.1.2	Minimum required performance for fire characteristics

For cables and wires for use in structures pursuant to Section 4.1 of EN 50575:2014+A1:2016, the minimum required performances shall be taken from Table 2.1.2.

Table 2.1.2: 	Building inspection requirements and minimum required performance with respect to fire characteristics

| Building inspection requirement | Minimum required performance |
| --- | --- |
| non-combustible | Aca |
| flame-resistant | B1ca –s2 |
| flame-resistant and low smoke development | B1ca -s1 |
| normally flammable | Eca |

Explanatory notes for Table 2.1.2: …ca(cable) Fire characteristics class of cables

2.2	Electrical cable systems

In order to fulfil the structural requirements in A 2.1.15 and A 2.2.1.8, functional integrity of electrical cable systems under fire impact for types according to § 17a LBO shall be demonstrated based on the minimum required functional integrity classes pursuant to DIN 4102-12:1998-11 as given in Table 2.2.1.

Table 2.2.1: 	Building inspection requirements and functional integrity classes pursuant to DIN 4102-12:1998-11

| Functional integrity in minutes Requirements | Minimum required functional integrity classes pursuant to DIN 4102-12:1998-11 |
| --- | --- |
| ≥ 30 | E 30 |
| ≥ 60 | E 60 |
| ≥ 90 | E 90 |

3	Roofing

3.1	Roofing with fire exposure from outside due to flying sparks and radiating heat and class according to DIN 4102-7:1998-07

In order to fulfil the structural requirements in A 2.1.9, the property of a roofing as part of the building structure under fire impact from outside against flying sparks and radiating heat (hard roofing) shall be demonstrated based on the minimum required class for a roofing deemed resistant to flying sparks and radiating heat pursuant to DIN 4102-7 in conjunction with DIN SPEC 4102-23:2011-10, as given in Table 3.1.

Table 3.1: 	Building inspection requirement and class pursuant to DIN 4102-7:1998-07

| Building inspection requirement | DIN 4102-7:1998-07 |
| --- | --- |
| Fire stress from outside due to flying sparks and radiating heat (hard roof covering) | resistant against flying sparks and radiating heat |

3.2	Roofing with fire impact from outside due to flying sparks and radiating heat when using construction products according to European harmonised specifications and minimum required performances

In order to fulfil the structural requirements in A 2.1.9, proof for hard roofing using construction products (EN 494:2012+A1:2015, EN 534:2006+A1:2010, EN 1873:2005, EN 13707:2004+A2:2009, EN 13956:2012, EN 14351-1:2006+A2:2016, EN 14783:2013 and EN 14963:2006) with CE marking pursuant to Regulation (EU) No 305/2011, shall be based on the minimum required performance as given in Table 3.2.

If the CE marking uses class BROOF(t1), external fire exposure pursuant to DIN EN 13501-5:2016-12, this will apply to the roofing pursuant to A 2.1.9 only if the execution of the roofing is compliant with the specifications of the corresponding classification document.

Table 3.2: 	Building inspection requirement and minimum required performance

| Building inspection requirement | Minimum required performance |
| --- | --- |
| Fire stress from outside due to flying sparks and radiating heat (hard roof covering) | BROOF(t1)*1) |

4	Parts

4.1	Load-bearing components

In order to fulfil the structural requirements in A 2.1.3 in the design, dimensioning and execution of load-bearing parts of building structures, Tables 4.1.1 and 4.1.2 shall be observed when determining the stability in case of fire according to Eurocode.

The requirements in the tables are deemed fulfilled only if the design of the components has been carried out in accordance with the Technical Building Regulations of Part A, Chapter A 1, Paragraph A 1.2.

Table 4.1.1:	Building inspection requirements and dimensioning according to Eurocode

| Building inspection requirement | Calculated duration of stability in case of fire in minutes pursuant to Eurocode ** in case of impact ETK according to DIN EN 1991** | Application rule to be observed in addition to the Eurocode for types using certain building materials *** |
| --- | --- | --- |
| fire retardant | ≥ 30 | DIN 4102-4:2016-05 |
| fire retardant and made of non-combustible materials | ≥ 30**** | DIN 4102-4:2016-05 |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing made of non-combustible* building materials) | - | - |
| highly fire retardant and made of non-combustible materials in the main parts highly fire retardant and made of non-combustible materials | ≥ 60**** | DIN 4102-4:2016-05 |
| fire-resistant (non-combustible load-bearing and stiffening parts) fire-resistant and made of non-combustible materials | ≥ 90**** | DIN 4102-4:2016-05 |
| Fire wall (fire-resistant and made of non-combustible materials) Wall instead of a fire wall (highly fire-retardant and made of non-combustible* building materials and stable even under additional mechanical stress | not determinable | - |
| Exterior walls which, from the inside out, always have the fire resistance of the load-bearing and supporting parts of the building (however, the structural elements must be at least fire-retardant), and, from the outside in, have the fire resistance of the fireproof structural elements | not determinable | - |
| Fire resistance 120 minutes and made of non-combustible* materials | ≥ 120**** | - |
| * Table 1.1 applies to the requirements. ** DIN EN 1992-1-2:2010-12, DIN EN 1993-1-2:2010-12, DIN EN 1994-1-2:2010-12, DIN EN 1995-1-2:2010-12, DIN EN 1999-1-2:2010-12, DIN EN 1996-1-2:2011-04, DIN EN 1991-1-2:2010-12, Section 3.2.1 Dimensioning according to Eurocode does not account for the fire characteristics of building materials. Table 1.2 applies *** With respect to the requirements, Table 1.1 or Table 1.2 applies **** Not applicable to DIN EN 1995, as requirements for the fire characteristics of load-bearing parts are not fulfilled. |  |  |

Table 4.1.2: 	Building inspection requirements and classes (values from the table) pursuant to Eurocode DIN EN 1992-1-2:2010-12, DIN EN 1994-1-2:2010-12, DIN EN 1996-1-2/NA:2013-06

| Building inspection requirement | Classes according to Eurocode** DIN EN 1992-1-2:2010-12, Section 5 DIN EN 1994-1-2:2010-12, Section 4.2 DIN EN 1996-1-2/NA:2013-06, to Annex B | Application rule to be observed in addition to Eurocode for designs using certain building materials*** |
| --- | --- | --- |
| fire retardant | R 30 | DIN 4102-4:2016-05 |
| fire retardant and made of non-combustible materials | R 30 | DIN 4102-4:2016-05 |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing made of non-combustible* building materials) | - | - |
| highly fire retardant and made of non-combustible materials in the main parts highly fire retardant and made of non-combustible materials | R 60 | DIN 4102-4:2016-05 |
| fire-resistant (non-combustible load-bearing and stiffening parts) fire-resistant and made of non-combustible materials | R 90 | DIN 4102-4:2016-05 |
| Fire wall (fire-resistant and made of non-combustible materials) Wall instead of a fire wall (highly fire-retardant and made of non-combustible* building materials and stable even under additional mechanical stress | - | - |
| Exterior walls which, from the inside out, always have the fire resistance of the load-bearing and supporting parts of the building (however, the structural elements must be at least fire-retardant), and, from the outside in, have the fire resistance of the fireproof structural elements | - | - |
| Fire resistance 120 minutes and made of non-combustible* materials | R 120 | DIN 4102-4:2016-05 |
| * Table 1.1 applies to the requirements. ** The Eurocode class does not account for the fire characteristics of building materials. Table 1.2 applies. *** With respect to the requirements, Table 1.1 or Table 1.2 applies |  |  |

The requirements of Table 4.1.1, column 1 and Table 4.1.2, column 1, are deemed fulfilled only if the components supporting or stiffening these parts have at least the same fire resistance.

4.2	Space-enclosing components

In order to fulfil the structural requirements in A 2.1.3 in the design, dimensioning and execution of space-enclosing and, where applicable, load-bearing parts of building structures, Tables 4.2.1 to 4.2.3 shall be observed when determining the fire resistance according to Eurocode.

The requirements in Tables 4.2.1. to 4.2.3 are deemed fulfilled only if the design of the components has been carried out in accordance with the Technical Building Regulations of Part A, Chapter A 1, Paragraph A 1.2.

4.2.1	Non-load-bearing room-enclosing walls

Table 4.2.1: 	Building inspection requirements and classes (value from the table) according to Eurocode DIN EN 1992-1-2:2010-12 and DIN EN 1996-1/NA: 2013-06

| Building inspection requirement | Classes according to Eurocode** DIN EN 1992-1-2:2010-12, Section 5 DIN EN 1996-1-2/NA:2013-06, to Annex B | Application rule to be observed in addition to Eurocode for designs using certain building materials*** |
| --- | --- | --- |
| fire retardant | EI 30 | DIN 4102-4:2016-05 |
| fire retardant and made of non-combustible materials | EI 30 | DIN 4102-4:2016-05 |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing made of non-combustible* building materials) | - | - |
| highly fire retardant and made of non-combustible materials in the main parts highly fire retardant and made of non-combustible materials | EI 60 | DIN 4102-4:2016-05 |
| fire-resistant (non-combustible load-bearing and stiffening parts) fire-resistant and made of non-combustible materials | EI 90 | DIN 4102-4:2016-05 |
| Fire wall (fire-resistant and made of non-combustible* materials) Wall instead of a fire wall (highly fire-retardant and made of non-combustible* building materials and stable even under additional mechanical stress | - | - |
| Exterior walls which, from the inside out, always have the fire resistance of the load-bearing and supporting parts of the building (however, the structural elements must be at least fire-retardant), and, from the outside in, have the fire resistance of the fireproof structural elements | - | - |
| Fire resistance 120 minutes and made of non-combustible* materials | EI 120 | DIN 4102-4:2016-05 |
| * Table 1.1 applies to the requirements. ** The Eurocode class does not account for the fire characteristics of building materials. Table 1.2 applies. *** With respect to the requirements, Table 1.1 or Table 1.2 applies. |  |  |

The requirement of Table 4.2.1, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance. The transitions to such components must not affect the space barrier pursuant to paragraph A 2.1.3.3.

4.2.2	Load-bearing dividing walls

Table 4.2.2:	Building inspection requirements and classes (values from the table) according to Eurocode DIN EN 1992-1-2:2010-12 and DIN EN 1996-1/NA:2013-06

| Building inspection requirement | Classes according to Eurocode** DIN EN 1992-1-2:2010-12, Section 5 DIN EN 1996-1-2/NA:2013-06, to Annex B in case of unilateral fire impact | Application rule to be observed in addition to Eurocode for designs using certain building materials*** |
| --- | --- | --- |
| fire retardant | REI 30 | DIN 4102-4:2016-05 |
| fire retardant and made of non-combustible materials | REI 30 | DIN 4102-4:2016-05 |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing made of non-combustible* building materials) | - | - |
| highly fire retardant and made of non-combustible materials in the main parts highly fire retardant and made of non-combustible materials | REI 60 | DIN 4102-4:2016-05 |
| fire-resistant (non-combustible load-bearing and stiffening parts) fire-resistant and made of non-combustible materials | REI 90 | DIN 4102-4:2016-05 |
| Fire wall (fire-resistant and made of non-combustible materials) | REI 90 and Criterion M | DIN 4102-4:2016-05 |
|  | REI-M 90 | DIN 4102-4:2016-05 |
| Wall instead of a fire wall (highly fire-retardant and made of non-combustible* building materials and stable even under additional mechanical stress | REI 60 and Criterion M | DIN 4102-4:2016-05 |
|  | REI-M 60 | DIN 4102-4:2016-05 |
| Exterior walls which, from the inside out, always have the fire resistance of the load-bearing and supporting parts of the building (however, the structural elements must be at least fire-retardant), and, from the outside in, have the fire resistance of the fireproof structural elements | - | - |
| Fire resistance 120 minutes and made of non-combustible* materials | REI 120 | DIN 4102-4:2016-05 |
| * Table 1.1 applies to the requirements. ** The Eurocode class does not account for the fire characteristics of building materials. Table 1.2 applies. *** With respect to the requirements, Table 1.1 or Table 1.2 applies. |  |  |

The requirement of Table 4.2.2, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance. The transitions to such components must not affect the space barrier pursuant to paragraph A 2.1.3.3.

4.2.3	Load-bearing space-enclosing ceilings

Table 4.2.3:	Building inspection requirements and classes (values from the table) according to Eurocode1

| Building inspection requirement | Classes according to Eurocode** DIN EN 1992-1-2:2010-12, Section 5 or DIN EN 1994-1-2:2010-12, Section 4.3 | Application rule to be observed in addition to Eurocode for designs using certain building materials*** |
| --- | --- | --- |
| fire retardant | REI 30 | DIN 4102-4:2016-05 |
| fire retardant and made of non-combustible materials | REI 30 | DIN 4102-4:2016-05 |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing) | - | - |
| highly fire retardant and made of non-combustible materials in the main parts highly fire retardant and made of non-combustible materials | REI 60 | DIN 4102-4:2016-05 |
| fire-resistant (non-combustible load-bearing and stiffening parts) fire-resistant and made of non-combustible materials | REI 90 | DIN 4102-4:2016-05 |
| Fire resistance 120 minutes and made of non-combustible* materials | REI 120 | DIN 4102-4:2016-05 |
| * Table 1.1 applies to the requirements. ** The Eurocode class does not account for the fire characteristics of building materials. Table 1.2 applies. *** With respect to the requirements, Table 1.1 or Table 1.2 applies. |  |  |

1	For ceilings, the proof pursuant to column 2 shall also be given for fire impact from above (fire from top to bottom) in accordance with the requirement in A 2.1.8.

The requirement of Table 4.2.3, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance. The transitions to such components must not affect the space barrier pursuant to paragraph A 2.1.3.3.

For ceilings made of concrete, reinforced concrete, prestressed concrete or composite ceilings in accordance with Eurocodes DIN EN 1992-1-1:2011-01 or DIN EN 1994-1-1:2010-12, which are dimensioned for load-bearing capacity in case of fire (criterion R), the following applies in addition to Table 4.1.1:

For the ceilings, proof of space enclosing function (criteria E and I) for the duration as given in Table 4.1.1, column 2, shall be provided based on the provisions of paragraph A 1.2.

For ceilings, the aforementioned proof shall also be given for fire impact from above (fire from top to bottom) in accordance with the requirement in A 2.1.8.

4.2. 4	Load-bearing components, space-enclosing ceilings, fire walls and walls instead of fire walls, dividing walls, walls of necessary stairwells and landings, exterior walls, independent suspended ceilings, roofs, stairs, system floors

In order to fulfil the structural requirements in A 2.1.3, space-enclosing and/or load-bearing parts of building structures according to Technical Building Regulations or according to a proof of fitness for purpose in accordance with § 18 LBO or proof of the suitability of designs according to § 17a LBO shall be subject to the minimum required classes as given in Section 4.2, Table 4.2.4.

Table 4.2.4:	Building inspection requirement and class pursuant to DIN 4102-2:1977-09

| Building inspection requirement | Minimum required classes pursuant to DIN 4102-2:1977-09 | Abbreviation pursuant to DIN 4102-2:1977-09 |
| --- | --- | --- |
| fire retardant | Fire resistance class F 30 | F 30-B1 |
| fire retardant and made of non-combustible materials | Fire resistance class F 30 and made of non-combustible materials | F 30-A1 |
| highly fire retardant and made of non-combustible materials in the main parts | Fire resistance class F 60 and made of non-combustible materials in the main parts | F 60-AB2,3 |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing)6 | - | - |
| highly fire retardant and made of non-combustible materials | Fire resistance class F 60 and made of non-combustible materials | F 60-A2,3 |
| fire-resistant (non-combustible load-bearing and stiffening parts) | Fire resistance class F 90 and made of non-combustible materials in the main parts | F 90-AB4,5 |
| fire-resistant and made of non-combustible materials | Fire resistance class F 90 and made of non-combustible materials | F 90-A4,5 |
| Fire wall (fire-resistant and made of non-combustible materials) | Fire wall | - |
| Wall instead of a fire wall (highly fire-retardant and made of non-combustible* building materials and stable even under additional mechanical stress | highly fire-retardant wall instead of a fire wall and made of non-combustible building materials and stable even under additional mechanical stress (walls instead of fire walls) | - |
| Wall instead of a fire wall highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing)7 | - | - |
| Exterior walls which, from the inside out, always have the fire resistance of the load-bearing and supporting parts of the building (however, the structural elements must be at least fire-retardant), and, from the outside in, have the fire resistance of the fireproof structural elements | Exterior walls which, from the inside out, always have the fire resistance of the load-bearing and supporting parts of the building (however, the structural elements must be at least fire-retardant), and, from the outside in, have the fire resistance of the fireproof structural elements | F 30-B (from the inside) and F90-B (from the outside) |
| Fire resistance 120 minutes and made of non-combustible materials | Fire resistance class F 120 and made of non-combustible materials | F 120-A |
| 1 W 30 also permitted for non-load-bearing exterior walls. 2 Proof and classification as per Table 4.3.1. 3 W 60 also permitted for non-load-bearing exterior walls. 4 W 90 also permitted for non-load-bearing exterior walls. 5 Load-bearing components must be tested under DIN 4102-2:1977-09, Section 6.2.2.6. under appropriate load. 6 For these components, pursuant to the technical rule included in Paragraph A 2.2.1.4, a general building supervisory inspection certificate according to Part C 3, Paragraph 3.21, with the minimum required specification, is sufficient: R 60-K260 or REI 60-K260. 7 For these components, pursuant to the technical rule included in Paragraph A 2.2.1.4, a general building supervisory inspection certificate according to Part C 3, Paragraph 3.21 under impact load, with the minimum required specification, is sufficient: REI 60-M-K260. * Table 1 applies to the requirements. 1. ** Layer of non-combustible building materials continuous in the component level. |  |  |

The requirement of Table 4.2.4, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance. The transitions to such components must not affect the space barrier, if required, pursuant to paragraph A 2.1.3.3.

4.3	Use of construction products under harmonised technical specifications for load-bearing and/or space-enclosing components

For the fulfilment of the structural requirements in A 2.1.3 when using construction products in accordance with harmonised technical specifications for load-bearing and/or space-enclosing parts of building structures, the minimum required building material classes shall be taken from Section 4.3.

The requirements in the tables are deemed fulfilled only if the required performances have been achieved based on dimensioning or, where required, test load calculation in case of fire resistance tests in accordance with the Technical Building Regulations of Part A, Chapter A 1, Paragraph A 1.2.

Pursuant to A 2.1.3.3.1, for space enclosing function requirements the proof of fire resistance shall be given for all possible directions of fire exposure (e.g. inward, outward, downward or upward).

For lack of a technical best practice for the design, dimensioning and execution when using the aforementioned construction products, a proof pursuant to § 17a LBO is required.

4.3.1	Requirements for fire resistance including fire characteristics when using construction products according to harmonised technical specifications for load-bearing components and minimum required performances

Table 4.3.1: 	Building inspection requirements and minimum required performances

| Building inspection requirement | Minimum required performance |  |  |
| --- | --- | --- | --- |
|  | Fire resistance |  | Fire-resistant properties |
|  | without space barrier1 | with space barrier |  |
| fire retardant | R 30 | REI 30 | E – d2 |
| fire retardant and made of non-combustible materials | R 30 | REI 30 | A2 – s1,d0** |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing) | R 60 K260 | REI 60 K260 | Insulating materials and fire retardant covering: A2 – s1,d0**; otherwise: E – d2 |
| highly fire retardant and made of non-combustible materials in the main parts | R 60 | REI 602 | A2 – s1,d0** |
| Wall instead of a fire wall (highly fire-retardant and made of non-combustible* building materials and stable even under additional mechanical stress | - | REI 60-M | A2 – s1,d0** |
| Wall instead of of a fire wall (highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing) and stable even under additional mechanical stress) |  | REI 60-M K260 | load-bearing and stiffening Parts E, otherwise A2 – s1,d0** |
| fire-resistant (non-combustible load-bearing and stiffening parts) | R 90 | REI 902 | A2 – s1,d0**; otherwise E – d2 |
| fire-resistant and made of non-combustible materials | R 90 | REI 90 | A2 – s1,d0** |
| Fire resistance 120 minutes and made of non-combustible materials | R 120 | REI 120 | A2 – s1,d0** |
| Fire wall | - | REI 90-M | A2 – s1,d0** |
| 1 For steel parts coated with reactive fire protection systems, the IncSlow parameter pursuant to DIN EN 13501-2 shall also be mentioned in the declaration of performance. 2 A non-combustible layer continuous in the component plane: A2 – s1,d0** * Table 1.1 applies to the requirements. ** Section 1.3 shall apply where necessary. *** The fire wall must be made of non-combustible building materials. |  |  |  |

The requirement of Table 4.3.1, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance.

4.3.2	Requirements for fire resistance including fire characteristics when using construction products according to harmonised technical specifications for non-load-bearing walls as dividing walls or walls of necessary corridors and minimum required performances

Table 4.3.2:	Building inspection requirements and minimum required performances

| Building inspection requirement | Minimum required performance |  |
| --- | --- | --- |
|  | Fire resistance | Fire-resistant properties |
| fire retardant | EI 30 | E – d2 |
| fire retardant and made of non-combustible materials | EI 30 | A2 – s1,d0** |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing)3 | EI 60- on both sides: K260 | Insulating materials and fire retardant covering: A2 – s1,d0**, Otherwise: E – d2 |
| highly fire-retardant and made of non-combustible* materials in the main parts (non-combustible load-bearing and stiffening parts)2,3 | EI 60 | Principal parts: A2 – s1,d0**, Otherwise: E – d2 |
| fire-resistant (non-combustible load-bearing and stiffening parts)2,3 | EI 90 | A2 – s1,d0**, otherwise E – d2 |
| fire-resistant and made of non-combustible materials | EI 90 | A2 – s1,d0** |
| Fire resistance 120 minutes and made of non-combustible materials | EI 120 | A2 – s1,d0** |
| 2 A non-combustible layer continuous in the component plane: A2 – s1,d0**. 3 Parts within the component to ensure stability (intrinsic weight) and usability. * Table 1 applies to the requirements. 1. ** Section 1.3 shall apply where necessary. |  |  |

The requirement of Table 4.3.2, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance. The transitions to such components must not affect the space barrier pursuant to paragraph A 2.1.3.3.

4.3.3	Requirements for fire resistance including fire characteristics when using construction products according to harmonised technical specifications for non-load-bearing exterior walls (with space barrier) and minimum required performances

Table 4.3.3:	Building inspection requirements and minimum required performances

| Building inspection requirement | Minimum required performance |  |
| --- | --- | --- |
|  | Fire resistance | Fire-resistant properties |
| fire retardant | outward: E 30 (io) and inward: EI 30-ef (io) | E – d2 |
| fire retardant and made of non-combustible materials | outward: E 30 (io) and inward: EI 30-ef (io) | A2 – s1,d0** |
| highly fire-retardant (load-bearing parts combustible, insulating materials non-combustible* with effective fire-protective clothing)3 | outward: E 60 (io) and inward. EI 60-ef-(io) On both sides: K260 | Insulating materials and fire retardant covering: A2 – s1,d0**; Otherwise: E – d2 |
| highly fire-retardant and made of non-combustible materials in the main parts (non-combustible load-bearing and stiffening parts)2,3 | outward: E 60 (io) and inward: EI 60-ef (io) | Principal parts: A2 – s1,d0**, Otherwise: E – d2 |
| fire-resistant (load-bearing and stiffening parts non-combustible*)2, 3 | outward: EI 90 (io) and inward: EI 90-ef (io) | A2 – s1,d0**, Otherwise: E – d2 |
| fire-resistant and made of non-combustible materials | outward: EI 90 (io) and inward: EI 90-ef (io) | A2 – s1,d0** |
| 2 A non-combustible layer continuous in the component plane: A2 – s1,d0**. 3 Parts within the component to ensure stability (intrinsic weight) and usability. * Table 1.1 applies to the requirements. ** Section 1.3 shall apply where necessary. |  |  |

The requirement of Table 4.3.3, column 1, is deemed fulfilled only if adjacent components have at least the same fire resistance. The transitions to such components must not affect the space barrier pursuant to paragraph A 2.1.3.3.

5	Locks

5.1	Fire and/or smoke protection locks as well as tight and self-closing locks

In order to fulfil the structural requirements in A 2.1.6, A 2.1.7, A 2.1.8, A 2.1.11, A 2.1.12 and A 2.1.13 when using fire and smoke protection locks based on proofs of fitness for purpose in accordance with § 18 LBO, the minimum required classes and designations shall be taken from Sections 5.1.1 and 5.1.2.

In order to fulfil the structural requirements in A 2.1.6, A 2.1.7, A 2.1.8, A 2.1.11, A 2.1.12 and A 2.1.13 when using fire and smoke protection locks for which there are harmonised technical specifications, the minimum required performances shall be taken from Section 5.1.4.

Gates as fire barriers according to EN 16034:2014 in conjunction with EN 13241:2003+A2:2016 do not meet the requirements for electromotor opening and closing according to A 2.1.6.

5.1.1	Fire and/or smoke barriers in the interior of structures according to proofs of fitness for purpose in accordance with § 18 LBO, with the exception of conveyor system closures

Table 5.1. 1: 	Building inspection requirements and classes as well as other characteristics

| Building inspection requirements | Minimum required class pursuant to proof of fitness for purpose | Additional characteristic for use: tightly closing pursuant to Section 5.4 |
| --- | --- | --- |
| fire-retardant and automatically closing, tightly closing | T 30 | fulfilled |
| fire-retardant and self-closing smoke-tight | T 30-RS |  |
| highly fire-retardant and self-closing, tightly closing | T 60 | fulfilled |
| highly fire-retardant and self-closing, smoke-tight | T 60-RS |  |
| fire-resistant and self-closing, tightly closing | T 90 | fulfilled |
| fire-resistant and self-closing, smoke-tight | T 90-RS |  |
| Fire resistance 120 minutes and self-closing, tightly closing | T 120 | fulfilled |
| Fire resistance 120 minutes and self-closing, smoke-tight | T 120-RS |  |
| smoke-tight and self-closing | RS |  |

5.1.2	Fire and/or smoke barriers in exterior walls of building structures according to proofs of fitness for purpose in accordance with § 18 LBO, with the exception of conveyor system closures

For outdoor applications, the climate effects in accordance with class 2(d) and 2(e) according to DIN EN 12219:2000-06 must also be demonstrated.

Table 5.1.2:	Requirements and classes as well as other characteristics

| Building inspection requirements | Minimum required class pursuant to proof of fitness for purpose |  | Other characteristics for the application: Deformation classes |  |
| --- | --- | --- | --- | --- |
| fire-retardant, smoke-tight and self-closing | T 30-RS |  | Classes 2(d) and (e) |
| fire-resistant, smoke-tight and self-closing | T 90-RS |  | Classes 2(d) and (e) |
| smoke-tight and self-closing | RS |  | Classes 2(d) and (e) |

5.1.3	Provisions on application and execution for barriers pursuant to Paragraphs 5.1.1 and 5.1.2

The provisions on application and execution are part of the proofs of fitness for purpose according to § 18 LBO.

5.1.4	Fire and/or smoke barriers according to EAD No 020029-00-1102 and EN 16034:2014 in conjunction with EN 13241:2003+A2:2016 for use in structures

Table 5.1.4:	Building inspection requirements and minimum required performances

| Building inspection requirements | Minimum required performance |  |  |  |
| --- | --- | --- | --- | --- |
|  | Fire resistance and smoke tightness |  |  | Fire-resistant properties |
|  | Fire barriers2 |  | Smoke barriers2 |  |
|  | without smoke control property | with smoke control property |  |  |
| fire-retardant, tightly closing, self-closing | EI2 30-SaC [..] 1 |  |  | E – d2 |
| highly fire-retardant, tightly closing, self-closing | EI2 60-SaC [..] 1 |  |  |  |
| fire-resistant, tightly closing, self-closing | EI2 90-SaC [..] 1 |  |  |  |
| fire-retardant, smoke-tight, self-closing |  | EI2 30-S200C [..] 1 |  |  |
| highly fire-retardant, smoke-tight, self-closing |  | EI2 60-S200C [..] 1 |  |  |
| fire-resistant, smoke-tight, self-closing |  | EI2 90-S200C [..] 1 |  |  |
| smoke-tight and self-closing |  |  | S200C [..]1 |  |
| tightly closing and self-closing |  |  | SaC [..]1 |  |
| tightly closing and self-closing, made of non-combustible* materials |  |  | SaC [.. ]1 | A 2-s1,d0 |
| * *Table 1.2 applies to the requirements 1 Determination of the number of test cycles for the endurance tests (classification in compliance with the criteria according to EN 14600:14600:2005): [C5 (200 000 cycles) for fire/smoke protection doors (revolving barriers)] [C2 (10 000 cycles) for other fire/smoke protection barriers (e.g. flaps, gates)] 2 The minimum required performances must be declared for both sides of the barrier. |  |  |  |  |

5.1.5	Fire and/or smoke barriers according to EN 16034:2014 in conjunction with EN 14351-1:2006+A2:2016 or EN 13241:2003+A2:2016 for use in exterior walls of building structures

The requirements and minimum required performances according to Table 5.1.4 apply. For outdoor applications, the climate effects in accordance with classes 2(d) and (e) according to DIN EN 12219:2000-06 must also be demonstrated.

Table 5.1.5:	Building inspection requirements and minimum required performances

| Building inspection requirements | Minimum required performance |
| --- | --- |
|  | Deformation classes |
| fire-retardant, smoke-tight and self-closing | Classes 2(d) and (e) |
| fire-resistant, smoke-tight and self-closing | Classes 2(d) and (e) |
| smoke-tight, self-closing | Classes 2(d) and (e) |

5.1.6	Provisions on application and execution for barriers pursuant to Paragraphs 5.1.4 and 5.1.5

The use of fire and/or smoke barriers is subject to DIN 18093:2017-10 and the following provisions on application and execution:

1.	Use is only permitted if the components that need to be described in the manufacturer’s installation instructions pursuant to DIN 18093, Section 3.2, are in compliance with the fire resistance requirements for the building structure. These components must be dimensioned so as to withstand the impacts produced by the use of the construction product as well as the impacts produced by the construction product in case of fire.

2.	Use in escape and rescue routes is permitted only if sliding, lifting or rolling barriers and fire or smoke curtains that do not open in the direction of escape have a door provided in the immediate vicinity that does open in the direction of escape.

3.	Lateral and/or camber flaps in conjunction with fire and/or smoke barriers are not covered by EN 16034:2014126. For the design, dimensioning and execution there are no technical best practices, and proof pursuant to § 17a LBO is required.

4.	For non-floor-level installation (height > 500 mm above ground), fire and/or smoke barriers cannot be used due to the requirements of the test standard of DIN EN 1634-1:2018-04.

5.	The camber/component over a fire and/or smoke barrier must be statically dimensioned so that the barrier does not receive any additional load (except for its own weight).

6.	Visible instructions shall be affixed to both sides of sliding, lifting and rolling barriers, reminding that the closing area must be kept free at all times from any objects that could obstruct the closing of the barrier. Sliding, lifting and rolling barriers shall be fitted with an acoustic warning system that announces their closure. Once initiated, the closing process may only be interrupted for personal safety purposes. The closing process must continue automatically from each opening position after the closing area has been released.

7.	A fire and/or smoke barrier in the interior of building structures may be fitted with a suitable locking mechanism with applicability demonstrated on this barrier by type approval.

8.	The indication ‘released’ for the ‘ability to release’ characteristic in the declaration of performance only means that a locking device is present, not a locking mechanism.

9.	The decision to use a fire curtain may be made only on the basis of the following criteria:

the shock resistance to collapsing or falling rubble, components or objects,

smoke tightness and

behaviour with pressure ratios deviating from those set out in DIN EN 1634-,

the rolling-down of the curtain in case of pressure differences.

10.	The decision to use a smoke curtain may be made only on the basis of the following criteria:

the shock resistance to collapsing or falling rubble, components or objects,

behaviour in pressure circumstances deviating from those set out in DIN EN 1634-3:2005-01.

11.	Use is only permitted if the installation manual specifies that the smoke barrier fulfils the requirements for fire impact from either side and smoke development pursuant to A 2.1.6.

Use in escape routes is only permitted if the installation manual specifies that the requirements for closing devices and the possibility of manual opening pursuant to A 2.1.6 are fulfilled.

5.2	Fire-protection barriers in path-bound conveyor systems

In order to fulfil the structural requirements in Paragraphs A 2.1.7 and A 2.1.8 when using fire protection barriers in railway conveyor systems based on proofs of fitness for purpose in accordance with § 18 LBO, the minimum required classes and designations shall be taken from Section 5.2.1.

In order to fulfil the structural requirements in Paragraphs A 2.1.7 and A 2.1.8 when using fire protection barriers in path-bound conveyor systems for which there are harmonised technical specifications in place, the minimum required performances shall be taken from Section 5.2.2.

5.2.1	Fire barriers in path-bound conveyor systems classified under DIN 4102-5:1977-05

Table 5.2. 1: 	Building inspection requirement and class pursuant to DIN 4102-5:1977-05

| Building inspection requirement | Fire barriers in conveyor systems |
| --- | --- |
| fire-resistant and self-closing | T 90 |

5.2.2	Construction products as fire protection barrier in path-bound conveyor systems classified under EAD 350022-01-1107

Table 5.2.2:	Building inspection requirements and minimum required performances

| Building inspection requirement | Minimum required performances2 |  |  |
| --- | --- | --- | --- |
|  | Fire resistance | Fire-resistant properties | electromotor open and/or closing |
| fire-resistant and self-closing | EI2 90-C[..]1 | E – d2 | Specification: Annexes B2 and B3 of the EAD observed |
| 1 Specifications on the number of test cycles for long-term performance tests: [C5 (200 000 cycles) for fire protection barriers in path-bound conveyor systems as scheduled closed barriers] [C2 (10 000 cycles) for fire protection barriers in path-bound conveyor systems as scheduled open barriers] 2 The minimum required performances must be declared for both sides of the barrier. |  |  |  |

5.2.3	Provisions on application and execution of construction products pursuant to Paragraph 5.2.2

1.	General

Use is only permitted if the components, adjacent to the construction product, that need to be described in the manufacturer’s installation manual are in compliance with the fire resistance requirements for the building structure. These components must be dimensioned so as to withstand the impacts produced by the use of the construction product as well as the impacts produced by the construction product in case of fire.

The fire barrier in path-bound conveyor systems (below: conveyor system barrier) must be installed at the place of use.

Otherwise, they may be installed only by companies with sufficient experience in this field that have been trained and briefed by the manufacturer and are able to present confirm thereof by the manufacturer as proof of their expertise.

The conveyor system barrier may be provided with a suitable locking mechanism whose suitability for the relevant barrier is documented by a type approval.

Where the conveyor system barrier has already been fitted with a locking device by the manufacturer, such device must comply with the provisions of the type approval for the locking mechanism used.

2.	Installation manual

The manufacturer shall provide a written German-language installation manual that is based on the classification document. It shall contain at least the following information:

Information for the installation of the fire barrier (e.g. adjacent components, permitted fasteners, number and spacing of fixing points, joints),

Instructions for any required welding work on the structure of the fire barrier,

References to permitted accessories for the fire barrier (e.g. damping devices),

Information on the functional interaction of all parts,

References to the order of working steps during installation,

References to setting the closing speed of the fire barrier,

Instructions for the use of locking mechanisms,

Information on interfaces for closing the conveyor system barrier,

Information on service and maintenance.

The user shall install the conveyor system barrier in accordance with this installation manual and present the installation manual to the client together with a statement confirming correct installation.

3.	Inspection of conveyor system barriers and conveyor systems in the closing area of the wall opening

Through suitable measures agreed with the locking mechanism manufacturer, care must be taken to ensure that when the fire alarm is triggered, the conveying process is interrupted and the goods located within the opening area of the completion leave this area.

4.	Maintenance and tests

The operator shall undertake and document the necessary maintenance and tests in accordance with the installation instructions.

Monthly check

The conveyor system barrier must be kept operational at all times. It must be tested for operational readiness at least once a month by the operator under its own responsibility. This monthly test must be performed by a qualified technician or a specially trained person. The results must be recorded in an inspection log. The manufacturer of the conveyor system barrier must notify this requirement to the conveyor’s operator in writing.

Annual testing and servicing

The operator is further required to undertake an annual test of the correct operation of the conveyor system barrier together with the conveyor system and the locking mechanism as well as appropriate maintenance irrespective of the intervals specified and the installation manual. This annual test and servicing must be performed by a qualified technician or specially trained person. The results must be recorded in an inspection log..

5.3	Landing doors

Lift shaft doors according to Part C, Chapter C 2, Paragraphs C 2.6.2 to C 2.6.4, for lifts in shaft walls pursuant to A 2.1.13 of fire resistance class F 90 are deemed to fulfil the requirements of § 40(2)(2) LBO only if the following application rules have been observed:

- they are installed in solid masonry or concrete dividing walls,

- b)	the lift cage is predominantly made of non-combustible building materials (this is the case if the load-bearing and stiffening parts of the lift cage are made of non-combustible building materials and the other parts of the lift cage (such as wall and ceiling cladding, flooring, ventilation and lighting covers) do not have more than 2.5 kg of combustible fuels, at least normally flammable building materials per m2 of the interior lift cage area),

- c)	the doors are controlled so that they only stay open as long as is necessary to enter or leave the lift cage; two overlapping doors in closed position prevent fire from being transferred to the upper storey,

- where several doors are positioned side by side, the doors shall be separated by fire-resistant components and are attached to these components, and

- the lift shaft shall have an opening to remove smoke as per § 40(3)(1) LBO.

Lift shaft doors with the classification ‘E 30/60/90’ according to DIN EN 81-58:2018-05 for installation in fire-retardant, highly fire-retardant or fire-resistant space-enclosing lift shaft walls according to A 2.1.13 are deemed to fulfil the requirements of § 40(2)(2) only if the requirements of subparagraphs (b), (c) and (e) have been observed and if the landing doors, if several are placed next to each other, are separated by and fastened to components having the same fire resistance as the shaft wall. The fire characteristics of the components of the landing door must be demonstrated; they must be at most normally flammable.

5.4	Tightly closing doors

Doors are deemed tightly closing if they have rigid door leaves and are fitted with three-sided, permanently elastic seals of a shape (lip/snake) that, after installation, fits closely to the frames as well as the door leaves when the door is closed. Door leaves are deemed rigid if they are unbroken and have longitudinal deformations ≤ 4 mm with respect to the door leaf plane (within the meaning of RAL-GZ 426/1).

For outdoor applications, the differential climate pursuant to EN 14351-1:2006+A2:2016 and the deformation class pursuant to DIN EN 12219:2000-06 must also be demonstrated.

Table 5.4:	Building inspection requirements and other characteristics

| Building inspection requirement | Other characteristic Differential climate and deformation class |
| --- | --- |
| tightly sealed | Classes 2(d) and (e) |

For outdoor applications of barriers, DIN 18055:2014-11 must be observed.

6	Preventive measures for cable and/or pipe passages in fire-resistant components

If, in order to fulfil the structural requirements in A 2.1.15 and A 2.2.1.8 for preventive measures for cable and pipe passages, proof of the suitability of designs pursuant to § 17a LBO, is required, the minimum required classes shall be as given in Table 6.

Table 6:	Building inspection requirements and classes pursuant to DIN 4102-9:1990-05 or DIN 4102-11:1985-12

| Building inspection requirement | Minimum required classes pursuant to |  |
| --- | --- | --- |
|  | DIN 4102-9:1990-05 for cable insulation | DIN 4102-11:1985-12 for pipe seals1 |
| fire retardant | S30 | R30 |
| highly fire retardant | S60 | R60 |
| fire-resistant | S90 | R90 |
| Fire resistance 120 minutes | S120 | R120 |
| 1 Classification is permitted only if in the fire test of: a) preventive measures for passages of combustible pipes or pipes with a melting point 1000 °C the pipe ends inside and outside of the test furnace are open. If the preventive measures are intended only for drinking water, heating and cooling pipes with diameters 110 mm, the pipe may optionally be closed outside the test furnace. b) preventive measures for passages of non-combustible pipes with a melting point 1000 °C (piping designed without connections of combustible pipes), the pipe ends used in the fire test are closed inside the test furnace and open outside (or optionally open on both sides). |  |  |

NB:

For lack of a technical best practice for the design, dimensioning and execution of preventive measures for cable and/or pipe passages using construction products based on harmonised technical specifications, proof pursuant to § 17a LBO is required.

Simplifications under the technical rule included in Paragraph A 2.2.1.8 are not affected.

7	Heat extraction devices in accordance with EN 12101-2:2003 for use in roofs in shopping streets pursuant to the Model Points of Sale Ordinance [Muster-Verkaufsstättenverordnung] and provisions on application and execution

Provisions on application and execution

Paragraph A 2.1.9 must be observed in respect of position and arrangement for the use of heat extraction devices as transparent areas in roof covering if the performance requirement under Section 7.5.2 of EN 12101-2:200327 is not declared as being at least A2 – s1,d0; otherwise, proof must be provided pursuant to A. 2.1.9 for roof covering resistant to flying sparks and radiating heat (see Section 3, Table 3.2), or the building structure must observe the distances set out in § 33(2) LBO. Use in transparent roof coverings that are permitted to be flame-resistant and that do not shed burning droplets is permitted if the performance requirement of Section 7.5.2 of DIN EN 12101-2:200327 is declared as being at least C – s3,d0.

Table 7:	Minimum required performance

| EN 12101-2:200327 | Minimum required performance |
| --- | --- |
| 4.1 | Thermocouple pursuant to 4.1.1 a) and manual release pursuant to 4.1.1 d) |
| 4.2 | fulfilled |
| 4.4 | Specifications (m²), width ≥1.0 m |
| 7.1.1 | Re 50 |
| 7.1.3 | yes, if additional ventilation function |
| 7.2.1.1 | SL 500 |
| 7.3.1 | T (0) |
| 7.4.1 | WL 1500 |
| 7.5.1 | B 300 |
| 7.5.2 | E – d2 |

8	Service ducts and shafts, including opening barriers

In order to fulfil the structural requirements in A 2.1.14 when using construction products for service shafts and ducts, including their openings, proof of the suitability of designs pursuant to § 17a LBO, the minimum required classes shall be as given in Section 8.1.

For the fulfilment of the structural requirements in A 2.1.14 when using construction products as service ducts for which there are harmonised technical specifications, the minimum required performances shall be as given in Section 8.2.

8.1	Service ducts and shafts, including opening barriers

Table 8.1:	Building inspection requirement and class pursuant to DIN 4101-11:1985-12

| Building inspection requirement | Minimum required classes pursuant to DIN 4101-11:1985-12 |
| --- | --- |
| fire retardant and made of non-combustible materials | I 30 |
| highly fire retardant and made of non-combustible materials | I 60 |
| fire-resistant and made of non-combustible materials | I 90 |
| fire resistance 120 minutes and made of non-combustible materials | I 120 |

8.2	Construction products for service ducts from prefabricated fittings and accessories according to EAD 350003-00-1109

Table 8.2:	Requirements and minimum required performances

| Building inspection requirement | Minimum required performance |  |
| --- | --- | --- |
|  | Fire resistance | Fire-resistant properties |
| fire retardant and made of non-combustible materials | EI 30(veho io) | A2 – s1, d0 |
| highly fire retardant and made of non-combustible materials | EI 60(veho io) |  |
| fire-resistant and made of non-combustible materials | EI 90(veho io) |  |
| Fire resistance 120 minutes | EI 120(veho io) |  |

8.3	Provisions on application and execution of construction products pursuant to 8.2

If the construction product used for the service duct is described exhaustively in the ETA based on the EAD, the manufacturer shall provide a written German-language installation manual based on the classification document, which must contain at least the following information:

Description of the combination of the permitted components,

Description of the installation in adjacent components (including permitted fasteners and their distances),

Description of permitted design variants.

Use is permitted only if the components, adjacent to the construction product, that need to be described in the manufacturer’s installation manual are in compliance with the fire resistance requirements for the building structure and the space barrier pursuant to A 2.1.3.3. is not affected.

The user shall install the construction product in accordance with this installation manual and present the installation manual to the client together with a statement confirming correct installation.

9	Fire-resistant glazing

In order to fulfil the structural requirements in A 2.1.6, A 2.1.7, A 2.1.8, A 2.1.9 and A 2.1.12 when using construction products for fire-resistant glazings with proof of fitness for purpose in accordance with § 18 LBO or proof of the suitability of designs according to § 17a LBO, the minimum required classes shall be as given in Section 9.1.

In order to fulfil the structural requirements in A 2.1.6, A 2.1.7, A 2.1.8, A 2.1.9 and A 2.1.12 when using construction products as fire-resistant glazings if there are harmonised technical specifications for them, the minimum required performances shall be as given in Section 9.2.

9.1	Fire-resistant glazing

Table 9: 	Building inspection requirement and class pursuant to DIN 4102-13:1990-05

| Building inspection requirement | Minimum required classes pursuant to DIN 4102-13:1990-05 |
| --- | --- |
| fire retardant | F 30 |
| highly fire retardant | F 60 |
| fire-resistant | F 90 |
| Fire resistance 120 minutes | F 120 |

Fire-resistant glazings that do not meet these requirements (such as G-glazing according to DIN 4102-13:1990-05) are specified under A 2.1.3.3.1.

9.2	Construction products for fire-resistant glazing according to ETAG 003 (used as EAD)

For the fulfilment of the structural requirements in A 2.1.6, A 2.1.7, A 2.1.8, A 2.1.9 and A 2.1.12 when using construction products for fire-resistant glazings that are used as construction products for non-load-bearing interior dividing walls, the minimum required performances are subject to Section 4.3 and Table 4.3.2. According to A 2.1.6 or A 2.1.12, closures of necessary openings in such dividing walls must have the same fire resistance as the non-load-bearing interior dividing wall. The minimum required performances for the closures are as given in Section 5.1.4.

9.3 Provisions on application and execution of construction products pursuant to 9.2

If the construction product used for the dividing wall is described exhaustively in the ETA, the manufacturer shall provide a written German-language installation manual based on the classification document, which must contain at least the following information:

Description of the combination of the permitted components,

Description of the installation in adjacent components (including permitted fasteners and their distances),

Description of permitted design variants.

Use is permitted only if the components, adjacent to the construction product, that need to be described in the manufacturer’s installation manual are in compliance with the fire resistance requirements for the building structure and the space barrier pursuant to A 2.1.3.3. is not affected.

The user shall install the construction product in accordance with this installation manual and present the installation manual to the client together with a statement confirming correct installation.

10	Special fire protection products

10.1	Fire protection agents

10.1.1	General

In order to fulfil the structural requirements in A 2.1.2 when using fire protective devices in based on proofs of fitness for purpose in accordance with § 18 LBO, the minimum required classes and designations shall be as given in Section 1.1.

For the fulfilment of the structural requirements in A 2.1.2 when using fire protection agents for which there are harmonised technical specifications, the minimum required performances shall be as given in Section 1.2.

10.1.2	Provisions on application and execution of construction products with fire protection agents based on harmonised technical specifications

If the construction product is described exhaustively in the ETA based on ETAG 028, the manufacturer shall provide a written German-language installation manual based on the classification document, which must contain at least the following information:

Description of the processing of the construction product

Description of the minimum applied quantity

Description of the installation of building materials equipped with the construction product

Fire-protection agents are not verified for use on floorings and/or substrates subject to moisture and UV radiation.

10.2	Reactive fire-proof coatings on steel components

In order to fulfil the structural requirements in Paragraph A 2.1.4 when using reactive fire protective coatings on steel components based on proofs of fitness for purpose in accordance with § 18 LBO, the minimum required classes and designations shall be as given in Section 4.3.

In order to fulfil the structural requirements in A 2.1.4 when using reactive fire protection coatings on steel components for ETA according to ETAG 018-1 and -2/EAD 350402-00-1101, the minimum required performance shall be as given in Section 4.3 and the designations as given in Table 4.3.1, footnote 1.

Provisions on application and execution

For lack of a technical best practice for the design, dimensioning and execution, the use of reactive fire protective coatings on steel components pursuant to ETAG 018-1 and -2 or EAD 350402-00-1101 requires proof pursuant to § 17a LBO.

10.3	Linear joint sealants

Joint sealants pursuant to EAD 350141-00-1106 are suitable for closing structurally defined horizontal and vertical linear joints (connection, structural and expansion joints) in or between fire-resistant space-enclosing components.

Joints are not independently considered under the building regulations.

Declaration of the performance characteristic ‘fire resistance’ for the joint sealing as per EAD 350141-00-1106 is not a substitute for the required proof of fire resistance of the overall component including joint(s).

Annex: 	Explanatory notes on classification criteria and additional classification information

| Derivation of abbreviations | Criterion | Scope of application |
| --- | --- | --- |
| R (Résistance) | Load-bearing capacity | to describe fire resistance |
| E (Étanchéité) | Space barrier |  |
| I (Insulation) | Thermal insulation (under fire exposure) |  |
| W (Radiation) | Limiting the passage of radiation |  |
| M (Mechanical) | Mechanical effect on walls (impact stress) |  |
| Sa (Smoke) | Limiting smoke permeability (sealing, leakage rate), meets the requirements at ambient temperature | tightly sealed barriers |
| S200 (Smokemax. leakage rate) | Limiting smoke permeability (sealing, leakage rate), meets the requirements at ambient temperature and at 200 °C | Smoke protection barriers (including for fire protection barriers as an additional requirement) |
| C... Closing | Self-closing property (where applicable with number of loading cycles) including permanent functionality | Smoke doors, fire protection barriers (including conveyor system barriers) |
| P | Maintaining energy supply and/or signal transmission | Electrical cable systems in general |
| K1, K2 | Fire protection ability | Wall and ceiling cladding (fire protection cladding) |
| I1, I2 | different thermal insulation criteria | Fire protection barriers (including conveyor system barriers) |
| io io io (in - out) | Direction of classified fire resistance time | Non-load-bearing exterior walls, service shafts/ducts, according to Table b) |
| ab (above - below) | Direction of classified fire resistance time | False ceilings |

## Annex 5
 - 
ETICS with EPS, socket fire test procedure

As at: June 2016

Contents

1	Test stand

2	Metrological test stand equipment

3	Primary fire source

4	Conditioning of the WDVS to be tested

5	Performance of testing

6	Assessment

1	Test stand

The test stand must be protected from the weather and consists of two connected walls adjoining each other at right angles. The dimensions of the test stand walls on which the test samples are assembled:

the long side is at least 4.0-m wide,

the short side is at least 2.0-m wide,

the height of the test stand is at least 9.8 m.

The walls of the test stand must be made of aerated concrete blocks approx. 25-cm thick with bulk density ≥ 600 kg/m³, coated on the WDVS application area with mineral-based plaster.

The following figure shows the plan and layout of the test stand.

approx. 0.25 m

4.0 m

approx. 0.25 m

9.80 m

Aerated concrete wall, side coated with mineral plaster

4.0 m

approx. 0.25 m

approx. 4.25 m

2.0 m

approx. 2.25 m

Plan of the test stand, view of the back wall

Layout of test stand

All dimensions given are minimum dimensions.

Figure 1:

For testing WDVS to be applied to walls made of framework load-bearing structures (e.g. timber or steel) with outside panelling, separate specifications are required for the test stand.

| Alle angegebenen Maße sind Mindestmaße. | All dimensions given are minimum dimensions. |
| --- | --- |
| Porenbetonwand, sicht-seitig mit mineral. Putz | Aerated concrete wall, side coated with mineral plaster |
| Ansicht des Prüfstandes, Blick auf die Rückwand | Plan of the test stand, view of the back wall |
| Grundriss des Prüfstandes | Layout of test stand |

2	Metrological test stand equipment

To carry out testing, the test stand and applied WDVS must be fitted with thermocouples (type K as per DIN EN 60584-1:2014-07, Ø 3 mm) pursuant to Figure 2.

Figure 2:

Back wall of test stand

Corner wall of test stand

D1 to D104	Measurement points in middle of insulating material (TE inserted from the reverse side of the test stand)

X	O1 to O104	Measurement points 20mm in front of the surface of the applied WDVS

X	O1 to O104	Measurement points 20mm in front of the surface of the applied WDVS

| Rückwand des Prüfstandes | Back wall of test stand |
| --- | --- |
| Eckwand des Prüfstandes | Corner wall of test stand |
| D1 bis D104 | D1 to D104 |
| Mess-Stellen in Dämmstoffmitte (TE von der Rückseite des Prüfstands eingeführt) | Measurement points in middle of insulating material (TE inserted from the reverse side of the test stand) |
| Mess-Stellen 20 mm vor der Oberfläche des applizierten WDVS | Measurement points 20mm in front of the surface of the applied WDVS |

A test recording must also be made with photo camera and video recording (HD standard).

3	Primary fire source

A 200kg (± 5 kg) pinewood crib should be used as the primary fire source in the test (bulk density 475 ± 25 kg/m³) with a surface area of approx. 1.1 x 1.1m. This should be made from wooden sticks with dimensions W x H x L = 40 (± 2) x 40 (± 2) x 1100 (± 10)mm.

The wooden sticks are stacked in layers arranged crosswise (90°) to one another at a ratio of wood : air ≈ 1 : 1, in which the lowermost layer is to be arranged parallel to the back wall. The number of wooden sticks required in the uppermost layer of the crib should be kept as low as possible and distributed evenly so that the above-mentioned wood weight is maintained. The layers should be nailed to each other.

The wood must be stored in a standard climate room as per DIN EN 13238:2010-06 until constant weight is achieved and may only be taken out on the day before the test to build the crib.

The lower edge of the crib should be approximately 15 - 20 cm above the floor of the test room and the distance of the crib to the surface of the WDVS applied on the back and corner wall of the test stand should be about 10 cm. For ignition, four troughs filled with 400 ml of isopropanol (width 25 mm x length 1100 mm x height 20 mm) should be inserted over the lowest position of the wooden sticks in the crib. An open flame serves as an igniter.

4	Conditioning of the WDVS to be tested

A conditioning time of 21 days is required for the fully applied WDVS test sample on the test stand. This time may be reduced if the humidity in the plaster system is below 6 % (approximately double residual humidity) and the minimum standing time of 14 days is adhered to. Humidity can be determined on a reference sample stored in the same atmosphere.

The ambient temperature during the conditioning time must be between 10 °C and 30 °C 1 m in front of the test stand and 1 m above the floor of the test room.

5	Performance of testing

Before starting the test, the ambient temperature in the test room must be between 5 °C and 30 °C 1.5 m in front of the test stand at a height of 1.5 m above the test room floor.

Charring of the test fire and test sample must take place under free ventilation conditions. The effect of wind or mechanical smoke on the test run should be avoided or kept to an acceptable minimum. This can be ensured if during testing with a vane anemometer placed in the middle directly before starting the test, flow velocity does not exceed 0.5 m/s – temporarily 1 m/s maximum – in the centre at 1 m above the top of the crib and 100 mm from the WDVS surface.

Any changes to the haul-off conditions during the test time must be documented (e.g. increased haul-off speed during mechanical, controllable smoke extraction, enlargement/reduction in ventilation and exhaust openings during natural smoke extraction).

The test time is at least 25 minutes (direct WDVS fire impact ≥ 20 minutes must be kept). It begins when the crib is ignited using the isopropanol. At the end of the test time, the crib must be extinguished so that the test samples are not affected. At this point, a monitoring period begins that should end no earlier than 60 minutes after the test begins.

The following measurement data must be taken during the test:

Temperatures in front of the surface of the WDVS and in the middle of the insulating materials at intervals of ≤ 10 seconds,

maximum flame height at intervals of ≤ 2 minutes using measurement markings 0.5 m from the test stand and continuously using video recording (the entire test sample must be filmed),

continuously all relevant observations on the behaviour of the test sample due to fire exposure from the primary fire source (see also Section 6).

After the end of the test, the type and extent of fire damage to the test sample must be determined.

The test may be ended early provided the applied WDVS is fully on fire – fire spreading to the side edges and top of the test sample – or the people present during the test are placed in serious danger.

6	Assessment

A test report shall be drawn up on the conduct and results of the test. The test report contains:

Name and address of the inspection body

Date and registration number of the test report

Name and address of the client

Test date

Description of test procedures applied, fire load used and flame exposure time

Description of WDVS applied and its components and the fire protection measures to be taken into account

  - Description of substrate

  - Dimensions of test sample

  - State of fire protection measures

  - Socket development executed

  - System barriers and connections

  - Name and type of WDVS components and information on proof of usability

  - Properties of WDVS components (bulk density, surface weight, order quantities or layer thickness, form and colour)

  - Fire behaviour (classification) of the independent building materials used where available

conditioning time and conditioning conditions

test conditions (temperature, relative humidity, air pressure, etc.)

air flow velocity before the start of the test, in the centre at 1m above the top of the crib and 100mm from the WDVS surface, and time and type of changes to ventilation conditions during the test time

detailed description of test run with all relevant observations,

  - time the test sample is subjected to fire exposure from the crib

  - time the test sample catches fire

  - fire propagation on or in the test sample

  - flame expansion of the test fire due to pyrolysis gases

  - maximum flame height in intervals of 2 minutes maximum

  - Flaming droplets or particles with information on time of occurrence and duration

  - time, size and duration of secondary fire on test room floor

  - non-flaming droplets and particles

  - changes to test set-up, surface bulges, discolouring, etc.

  - verbal description of smoke development

temperature curves recorded at measurement points and evaluation thereof (e.g. in the form of isotherm representations),

detailed description of WDVS state after the end of the test, inter alia:

  - Appearance of test sample directly after the end of the test

  - openings on the test sample surface occurring during the test (position and size)

  - Type and extent of damage (including burnt areas of individual layers, sooting, discolouring, structural change)

  - any continued bonding between individual layers

  - Condition of the fire protection measures and their fastening

detailed photographic documentation documenting the production of the test sample, the test run and its condition after the test.

The test results are assessed on the basis of the following aspects:

the opening of the applied and tested WDVS

observed expansion of flames from the primary fire source in front of the WDVS surface

burning in the insulating materials

spread of fire protection measures by flames in WDVS insulating materials

spread of fire to WDVS surface

time of any failure of fire protection measures and ensuing charring of WDVS

overall condition of WDVS after the test.

## Annex 6
 - 
Rear-ventilated external wall cladding

As at: June 2016

Contents

1	Field of application

2	Definitions

3	Insulating materials, substructures, rear-ventilation gap

4	Horizontal fire stops

5	Vertical fire stops in the area of fire walls

1	Field of application

In the case of rear-ventilated external wall cladding that

have hollows or air spaces which extend over several storeys

or

extend above fire walls,

special precautions must be taken against the spread of fire in accordance with § 29(4), in conjunction with (5), as well as in accordance with § 31(7) LBO. The possible precautionary measures are described below.

2	Definitions

2.1	Cladding for rear-ventilated external walls comprises:

Cladding with open or closed seams, overlapping elements and joints

Substructures [e.g. load-bearing profiles and, where appropriate, wall profiles from metal, wooden battens (load-bearing battens), counter-battens (basic battens)];

Holding devices (anchoring, joining and fastening elements)

accessories (e.g. connecting profiles, sealing strips, thermal separating elements)

Rear-ventilation gap

if necessary, thermal insulation with insulating material supports.

2.2	The back-ventilation gap is the air space between the cladding and the thermal insulation or between the cladding and the wall, if provision is not made for any external thermal insulation.

2.3	Fire stops assist in limiting the spread of fire in the back-ventilation gap for a sufficiently long period of time by interrupting or partially reducing the clear cross section of this gap.

3	Insulating materials, substructures, rear-ventilation gap

3.1	In deviation from § 29(3)(1) LBO, the thermal insulation in the cases described in the field of application must be non-combustible. The insulating materials shall be affixed to the subsoil either mechanically or using a adhesive mortar which is flame-resistant or which contains no more than 7.5 % of organic constituents. Rod-shaped timber substructures are permitted (§ 29(3)(1)(2) LBO).

3.2	The depth of the rear-ventilation gap may not exceed

50mm when using a timber substructure and

150mm when using a metal substructure.

4	Horizontal fire stops

4.1	On every other floor, horizontal fire stops shall be positioned in the rear-ventilation gap. The fire stops shall be installed between the wall and the cladding. In the case of external thermal insulation, installation between the insulating material and the cladding suffices if the insulating material is dimensionally stable in the event of fire and has a melting point of > 1 000°C.

4.2	Substructures of combustible building materials must be interrupted completely in the area of horizontal fire stops.

4.3	All told, the size of the openings in the horizontal fire stops shall be limited to 100 cm² per linear metre of wall. The openings may be positioned as evenly distributed individual openings or as a continuous gap.

4.4	The horizontal fire stops must be sufficiently dimensionally stable for a period of at least 30 minutes (e.g. from sheet steel with a thickness of d ≥ 1 mm). They shall be anchored in the external wall at intervals of ≤ 0.6 m. The steel sheets shall overlap the joints by at least 30 mm.

4.5	Reveals of external wall openings (doors, windows) may be an integral component of fire stops if the rear-ventilation gap is sealed by lining the reveals and lintels of the external wall openings. The cladding must satisfy the requirements as per point 4.4, while substructures and any thermal insulation that may be present must consist of non-combustible building materials.

4.6	Horizontal fire stops are not required:

1	in external walls which do not have any openings,

2	if the spread of fire in the back-ventilation gap is excluded as a result of the type of window assembly (e.g. continuous hinge plates, window elements which extend over several storeys) and

3	in external walls with rear-ventilated cladding which, along with the substructures, thermal insulation and holding devices, consists of non-combustible building materials, provided, in the event of fire, the rear-ventilation gap is sealed in a dimensionally stable manner for at least 30 minutes in the area of the reveal of openings (e.g. by sheet steel with a thickness of d ≥ 1 mm).

5	Vertical fire stops in the area of fire walls

The rear-ventilation gap may not extend above the fire wall. The rear-ventilation gap must at least be filled to the thickness of the fire wall using an insulating material which is dimensionally stable in the event of fire with a melting point of > 1 000°C.

§ 31(7)(1) LBO remains unaffected.

## Annex 7
 -
Requirements for locking mechanisms

As at: July 2017

- Annex 7 deleted from MVV TB 2019/1 -

## Annex 8
 -
Health protection requirements for building structures (Anlagen bezüglich des Gesundheitsschutzes, ABG)

As at: May 2019

Contents

1	Subject matter and scope of application

2	Requirements

Annex 1 – References

Annex 2 – LCI values (target compounds)

Annex 3

16 PAH according to EPA

1	Subject matter and scope of application

The ABG elaborate the general requirements for building structures with regard to health protection.

Indoor air quality plays a vital role in human health and well-being. Numerous scientific studies have shown that the development of respiratory and inflammatory diseases and respiratory and eye irritation, systemic damage, sensitisation/allergies as well as a number of nonspecific symptoms (unwellness, headaches, nausea, central nervous system disorders, dizziness etc.) are directly related to indoor air quality and air pollution. Among the adverse health effects, carcinogenic, mutagenic and reproductively toxic effects require special attention.

The health and hygiene requirements for building structures derive from the health-relevant properties of the components, kits and building materials used. These can contribute to indoor air pollution through emissions and cause significant health effects. These include potential emissions of volatile inorganic and organic compounds as well as particles.

Building structures, components and building materials with direct or indirect contact with the interior should be taken into account, i.e. including products that are cladded or covered with other products but are not sealed diffusion-tight. Also, the proportion of substances of zero or low volatility is important for assessments of their health impact since they may be released e.g. from the processing of the products in particulate or dust form, made available to the human body, or absorbed through direct skin contact.

2	Requirements

Other legislative instruments (e.g. the REACH Regulation (EC) No 1907/2006, the Biocides Regulation (EU) No 528/2012, the POP Regulation (EC) No 850/2004, the Chemicals Prohibition Ordinance [Chemikalien-Verbotsverordnung]) and the Recycling Act [Kreislaufwirtschaftsgesetz] are not affected.

2.1	General requirements for construction products

Otherwise, any construction product shall not be used as a part of building structures if the individual concentration of an active substance classified as Carc. (H350; H350i) in category 1A or 1B and/or as Muta. (H340) of category 1A or 1B according to Regulation (EC) No. 1272/2008, reaches or exceeds the following values:

the specific concentration limits set out in Part 3 of Annex VI to Regulation (EC) No 1272/2008; or

the respective general concentration limits set out in Part 3 of Annex I to Regulation (EC) No 1272/2008.

The stated requirements for components of construction products or kits relating to carcinogenic and mutagenic substances do not apply if it is demonstrated that they pose no potential hazard to human health when installed.

2.2	Special requirements for construction products in human occupancy areas and areas not structurally separate from them

In addition to the general requirements for construction products as referred to in 2.1, the active use of substances classified under the CLP Regulation (EC) No. 1272/2008, in the relevant current version, as Acute Tox. 1, 2 or 3 (H300, H301, H310, H311, H330 or H331), Repr 1A or 1B (H360, H360F, H360D, H360FD) and STOT SE 1 (H370) or STOT RE 1 (H372), in construction products that are used in human-occupancy areas and in areas not structurally separate from them, shall be avoided. If the above is not possible, it must be ensured that any health-hazardous exposure of building users is impossible.

2.2.1	Emissions

For the construction products listed below, there are requirements with respect to emissions of volatile organic compounds if they are used in human occupancy areas and in areas not structurally separate from those:

Flooring, flooring constructions and their components,

Adhesives,

Reactive fire-proof coating systems on steel components,

Insulating materials (phenolic foams and UF in-situ foams),

Decorative wall cladding and synthetic thick wall coatings,

Ceiling coverings and ceiling constructions based on plastics,

Wooden materials in the form of slim oriented strands (OSB) and synthetic-resin-bonded wood-chip plates,

High-pressure decorative laminated sheets (HPL),

organic fire-protection agents applied subsequently.

2.2.1.1	VOC emissions

The concepts used are defined as follows:

VVOC (retention area < C6): Volatile organic compound eluted before n-hexane from a gas-chromatographic separation column defined as a 5 % phenyl/95 % methyl polysiloxane capillary column.

VOC (retention area C6 to C16): volatile organic compound eluted between n-hexane and n-hexadecane inclusive from a gas-chromatographic separation column defined as a 5 % phenyl/95 % methyl polysiloxane capillary column.

SVOC (retention area > C16 to C22): semivolatile organic compound eluted between n-hexane and including n-hexadecane from a gas-chromatographic separation column defined as a 5 % phenyl/95 % methyl polysiloxane capillary column.

TVOCspec (total volatile organic compounds): Total of the volatile organic compounds. Total of the concentrations of identified and non-identified volatile organic compounds, calculated by adding the concentrations of all substances (target and non-target compounds, identified and unidentified compounds) in the air of the reference area; these are substances eluted between n-hexane and including n-hexadecane, using a defined separation column, each with a concentration of 5 μg/m³ or more. Target compounds shall be quantified substance-specifically, whereas non-target compounds, identified and unidentified compounds shall be quantified as a toluene equivalent.

∑SVOC (total concentrations of semivolatile organic compounds): total of the semivolatile organic compounds. Total of the concentrations of identified and non-identified semivolatile organic compounds, calculated by adding the concentrations of all substances (target and non-target compounds, identified and unidentified compounds) in the air of the reference area; these are substances eluted between n-hexane and including and-docosane, using a defined separation column, calculated based on the TIC response factor for toluene, each with a concentration of 5 μg/m³ or more.

R value
total of all Rivalues determined in a particular test.

The following requirements regarding emissions of volatile organic compounds - for the construction products listed in Section 2.2.1 - in accordance with DIN EN 16516:2018-01, apply to the specified parameters:

All compounds whose concentration is at least 1 µg/m³ are identified, listed with their CAS numbers and quantified by category.

Carcinogenic substances (categories 1A and 1B)

- No category 1A and 1B carcinogen according to CLP Regulation (EC) No 1272/2008 may exceed the emission levels given in Table 1. This rule does not apply to certain substances classified as 1A or 1B carcinogens, for which a threshold can be derived for the most sensitive endpoint where they may be assumed to no longer have carcinogenic potential. Substances for which an LCI (Lowest Concentration of Interest) value has been derived on this basis and listed in Annex 2 shall be treated in the same manner as other VOCs with LCI values (see R value).

TVOCspec
The TVOCspec values must not exceed the values given in Table 1.

TSVOC Total semivolatile organic compounds

- The total SVOCs in the chamber air after 28 days must not exceed the concentration given in Table 1. In individual cases, LCI values are derived for SVOCs.

- The SVOCs for which the LCI values were determined shall be mathematically included in the R value formation (see below) and in the TVOC values and are no longer subject to the total SVOC value of 0.1 mg/m³ after 28 days.

R value (evaluation of the individual substance)

- The sum of all Ri values must not exceed the value given in Table 1.

- R = total of all Ri = total of all ratios (Ci / LCIi) 1

- The evaluation shall be based on calculating for each compound i the ratio Ri as defined in the following equation.

- Ri = Ci /LCIi .

- Here, Ci is the substance concentration in the chamber air.

- For a large number of indoor-relevant volatile organic compounds (VVOC, VOC and SVOC) LCI values are listed in Annex 2. They are quantified in a substance-specific manner. All individual substances with a concentration of 5 μg/m³ or more shall be taken into account in the evaluation of the individual substance.

VOCs without assessment criteria according to LCI

- The total of the VOC that cannot be evaluated, with a concentration of ≥ 5 μg/m³, must not exceed the value given in Table 1.

Very volatile organic compounds (VVOC)

- The VVOCs for which the LCI values were determined shall be mathematically included in the R value formation but are not taken into account when forming the TVOC value.

Table 1:	Requirements for VOC emissions

| Type of emission | Value after 3 days | Value after 28 days | Section of ABG |
| --- | --- | --- | --- |
| Carcinogen (category 1A/1B) | ≤ 0.01 mg/m3 | ≤ 0.001 mg/m3 | 2.2.1.1 |
| TVOCspez | ≤ 10 mg/m3 | ≤ 1.0 mg/m3 |  |
| TSVOC |  | ≤ 0.1 mg/m3 |  |
| TVOC without LCI |  | ≤ 0.1 mg/m3 |  |
| R value |  | ≤ 1 |  |

2.2.1.2	Ammonia emissions

For parquet and wood floors containing smoked wood, the ammonia value at 28 days shall not exceed that shown in Table 2.

Ammonia emissions shall be determined under the same conditions as for VOC emissions (test chamber and chamber conditions as per DIN EN 16516:2018-01).

2.2.1.3	Requirements for nitrosamine emissions

For products pursuant to Section 2.2.1 containing vulcanised or unvulcanised rubber, which contain vulcanising agents with nitrosamine releasing agents and/or recycled rubber components, the nitrosamine level at 28 days must not exceed the value given in table 2.

The nitrosamine emissions shall be determined based on the analytic method for the determination of N-nitrosamines, DGUV Information 213-523 (formerly BGI/GUV-I 505-23 or ZH1/120.23).

Table 2:	Requirements for other emissions

| Type of emission | Value after 28 days [mg/m3] | Section of ABG |
| --- | --- | --- |
| Ammonia | ≤ 0.1 | 2.2.1.2 |
| Nitrosamines | ≤ 0.0002 | 2.2.1.3 |

2.2.2	Content

2.2.2.1	PAH

For products that are distributed to the general public (consumer-oriented applications), the requirements under the REACH Regulation must be observed; these include floor coverings and impact wall constructions for sports facilities and human occupancy areas, even when these are only supplied to professional users who use them.

In the case of products pursuant to Section 2.2.1, even ones not in direct contact with the building user (e.g. base layers, impact sound insulation under screed, flooring with PU coating) which contain raw materials with recycling proportions of rubber or raw materials with use of PAH-containing extender oils or PAH-containing soot, the content of benzo(a)pyrene (BaP), as the lead compound, and the content of 16 PAH (see Annex 3) as per EPA (US Environmental Protection Agency) may not exceed the values specified in Table 3.

Analytical demonstration of PAHs shall be done for 16 PAHs based on the method of AfPS GS 2019:01.

2.2.2.2	Nitrosamines

For products pursuant to Section 2.2.1 that contain vulcanised or unvulcanised rubber with nitrosamine release agents and/or recycled rubber, the content of nitrosamines as given in Table 3 shall not be exceeded.

Analytical determination of nitrosamine (pursuant to TRGS 552) is done in line with the DIK method (Deutsches Institut für Kautschuktechnologie e.V. [German Institute of Rubber Technology]), published in ‘Kautschuk Gummi Kunststoffe’, No 6/91, pp. 514-521).

Table 3:	Requirements for content

| Material/material group | Content [mg/kg] | Section of ABG |
| --- | --- | --- |
| B(a)P | ≤ 5 | 2.2.2.1 |
| 16 PAH142 | ≤ 50 | 2.2.2.1 |
| Nitrosamines | ≤ 0.011 | 2.2.2.2 |

Annex 1 – References

DIN EN 16516:2018-01	Construction products – Assessment of release of dangerous substances – Determination of emissions into indoor air; German version EN 16516:2017

DIN ISO 18287:2006-05	Soil quality – Determination of polycyclic aromatic hydrocarbons (PAH) – Gas chromatographic method with mass spectrometric detection (GC-MS)

TRGS 552	Technical rule for the hazardous substance ‘N-nitrosamines’; GMBI 2018 p. 913-934

DIK process specification	DIK (Deutsches Institut für Kautschuktechnologie e.V. [German Institute of Rubber Technology]), ‘Methods to determine N-nitrosamines in air, vulcanisates and vulcanisation vapours’, Liekefeld et. al., published in "Kautschuk Gummi Kunststoffe, No. 6/91, pp. 514-521).

AfPS GS 2019:01 PAK	GS Specification ‘Testing and assessment of polycyclic aromatic hydrocarbons (PAHs) when granting the GS mark of the Committee for Product Safety (AfPS)’; Annex Test Instruction Harmonised method to determine polycyclic aromatic hydrocarbons (PAHs) in polymers

DGUV Information 213-523	Analytical methods to determine N-nitrosamines

Annex 2 – LCI values (target compounds)

The LCI values in force pursuant to building legislation are listed in Table 4.

Table 4:	2018 list of LCI values

|  | Substance | CAS No. | LCI [µg/m³] | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Aromatic hydrocarbons |  |  |  |
| 1-1 | Toluene | 108-88-3 | 2900 | Adoption of EU LCI value |
| 1-2 | Ethylbenzene | 100-41-4 | 850 | Adoption of EU LCI value |
| 1-3 | Xylol, mixture of isomers o-, m- and p-xylol | 1330-20-7 | 500 | Adoption of EU LCI value |
| 1-4 | p-xylene | 106-42-3 | 500 | Adoption of EU LCI value |
| 1-5 | m-xylene | 108-38-3 | 500 | Adoption of EU LCI value |
| 1-6 | o-xylene | 95-47-6 | 500 | Adoption of EU LCI value |
| 1-7* | Isopropylbenzene | 98-82-8 | 1700 | Adoption of EU LCI value |
| 1-8 | n-propylbenzene | 103-65-1 | 950 | Adoption of EU LCI value |
| 1-9 | 1-propenylbenzene (ß-methylstyrene) | 637-50-3 | 1200 | Read across of α-methylstyrene |
| 1-10 | 1,3,5-trimethylbenzene | 108-67-8 | 450 | Adoption of EU LCI value |
| 1-11 | 1,2,4-trimethylbenzene | 95-63-6 | 450 | Adoption of EU LCI value |
| 1-12 | 1,2,3-trimethylbenzene | 526-73-8 | 450 | Adoption of EU LCI value |
| 1-13 | 2-ethyltoluene | 611-14-3 | 550 | Adoption of EU LCI value |
| 1-14 | 1-isopropyl-2-methylbenzene (o-cymene) | 527-84-4 | 1000 | Adoption of EU LCI value |
| 1-15 | 1-isopropyl-3-methylbenzene (m-cymene) | 535-77-3 | 1000 | Adoption of EU LCI value |
| 1-16 | 1-isopropyl-4-methylbenzene (p-cymene) | 99-87-6 | 1000 | Adoption of EU LCI value |
| 1-17* | 1,2,4,5-tetramethylbenzene | 95-93-2 | 250 | Adoption of EU LCI value |
| 1-18 | n-butylbenzene | 104-51-8 | 1100 | Adoption of EU LCI value |
| 1-19 | 1,3-diisopropylbenzene | 99-62-7 | 750 | Adoption of EU LCI value |
| 1-20 | 1,4-diisopropylbenzene | 100-18-5 | 750 | Adoption of EU LCI value |
| 1-21 | Phenyloctane and isomers | 2189-60-8 | 1100 | Adoption of EU LCI value |
| 1-22 | 1-phenyldecane and isomers | 104-72-3 | 1100 | Read across of ethylbenzene |
| 1-23 | 1-phenylundecane and isomers | 6742-54-7 | 1100 | Read across of ethylbenzene |
| 1-24 | 4-phenylcyclohexene (4-PCH) | 4994-16-5 | 300 | Read across of styrene |
| 1-25 | Styrene | 100-42-5 | 250 | Adoption of EU LCI value |
| 1-26 | Phenylacetylene | 536-74-3 | 200 | Read across of styrene |
| 1-27* | 2-phenylpropene (α-methylstyrene) | 98-83-9 | 1200 | Adoption of EU LCI value |
| 1-28* | vinyltoluene (all isomers: o-, m-, p-methylstyrenes) | 25013-15-4 | 1200 | Adoption of EU LCI value |
| 1-29 | Other Alkylbenenes, unless individual isomers shall be assessed differently |  | 450 | Read across of trimethylbenzene |
| 1-30* | Naphthalene | 91-20-3 | 10 | Adoption of EU LCI value |
| 1-31 | Indene | 95-13-6 | 450 | Adoption of EU LCI value |
| 2 | Aliphatic hydrocarbons (n-, iso- and cyclo-) |  |  |  |
| 2-1 | 3-methylpentane | 96-14-0 |  | VVOC |
| 2-2* | Hexane | 110-54-3 | 4300 | Adoption of EU LCI value |
| 2-3 | Cyclohexane | 110-82-7 | 6000 | Adoption of EU LCI value |
| 2-4 | Methylcyclohexane | 108-87-2 | 8100 | Adoption of EU LCI value |
| 2-5 | - |  |  | 1) |
| 2-6 | - |  |  | 1) |
| 2-7 | - |  |  | 1) |
| 2-8* | n-heptane | 142-82-5 | 15000 | Adoption of EU LCI value |
| 2-9* | Other saturated aliphatic hydrocarbons C6 to C8 |  | 14000 | Adoption of EU LCI value |
| 2-10 | Other saturated aliphatic hydrocarbons C9 to C16 |  | 6000 | Adoption of EU LCI value |
| 2-11 | Other saturated aliphatic hydrocarbons C17 to C22 |  | 1000 | SVOC Individual substance analysis |
| 2-12* | 1-dodecene | 112-41-4 | 750 | Individual substance analysis |
| 3 | Terpene |  |  |  |
| 3-1 | 3-carene | 498-15-7 | 1500 | Adoption of EU LCI value |
| 3-2 | α-pinene | 80-56-8 | 2500 | Adoption of EU LCI value |
| 3-3 | ß-pinene | 127-91-3 | 1400 | Adoption of EU LCI value |
| 3-4 | Limonene | 138-86-3 | 5000 | Adoption of EU LCI value |
| 3-5 | Terpene, other |  | 1400 | Adoption of EU LCI value (all monoterpenes and sesquiterpenes and their oxygen derivatives belong to the group) |
| 4* | Aliphatic mono alcohols (n-, iso- and cyclo-) and dialcohols |  |  |  |
| 4-1 | Ethanol | 64-17-5 |  | VVOC |
| 4-2 | 1-propanol | 71-23-8 |  | VVOC |
| 4-3 | 2-propanol | 67-63-0 |  | VVOC |
| 4-4 | tert-butanol, 2-methyl-2-propanol, | 75-65-0 | 620 | Adoption of EU LCI value |
| 4-5* | 2-methyl-1-propanediol** | 78-83-1 | 11000 | Adoption of EU LCI value |
| 4-6 | 1-butanol | 71-36-3 | 3000 | Adoption of EU LCI value |
| 4-7 | Pentanol (all isomers) | 71-41-0 30899-19-5 94624-12-1 6032-29-7 584-02-1 137-32-6 123-51-3 598-75-4 75-85-4 75-84-3 | 730 | Adoption of EU LCI value |
| 4-8 | 1-hexanol | 111-27-3 | 2100 | Adoption of EU LCI value |
| 4-9 | Cyclohexanol | 108-93-0 | 2 000 | Adoption of EU LCI value |
| 4-10 | 2-ethyl-1-hexanol | 104-76-7 | 300 | Adoption of EU LCI value |
| 4-11* | 1-octanol | 111-87-5 | 1700 | Adoption of EU LCI value |
| 4-12 | 4-hydroxy-4-methylpentan-2-one (diacetone alcohol) | 123-42-2 | 960 | Adoption of EU LCI value |
| 4-13* | Other C4-C10 saturated n- and iso-alcohols |  |  | Reassessment, see 4-16 and 4-17 |
| 4-14* | Other C11-C13 saturated n- and iso-alcohols |  |  | Reassessment, see 4-16 and 4-17 |
| 4-15 | 1,4-cyclohexandimethanol | 105-08-8 | 1600 | Individual substance analysis |
| 4-16* | Other C7-C13 saturated n-alcohols |  | 1700 | Read across of 1-octanol, except for cyclical compounds |
| 4-17* | Other C6-C13 saturated iso-alcohols |  | 300 | Read across of 2-ethyl-1-hexanol, except for cyclical compounds |
| 5 | Aromatic alcohols (phenols) |  |  |  |
| 5-1* | Phenol | 108-95-2 | 70 | Adoption of EU LCI value |
| 5-2 | BHT (2,6-di-tert-butyl-4methylphenol) | 128-37-0 | 100 | Adoption of EU LCI value |
| 5-3 | Benzyl alcohol | 100-51-6 | 440 | Adoption of EU LCI value |
| 6 | Glycols, Glycol ethers, glycol esters |  |  |  |
| 6-1* | Propylene glycol 1,2-dihydroxypropane | 57-55-6 | 2100 | Adoption of EU LCI value |
| 6-2* | Ethylene glycol (ethanediol) | 107-21-1 | 3400 | Adoption of EU LCI value |
| 6-3* | Ethylene glycol monobutyl ether | 111-76-2 | 1600 | Adoption of EU LCI value |
| 6-4* | Diethyleneglycol | 111-46-6 | 5700 | Adoption of EU LCI value |
| 6-5 | Diethylene glycol monobutyl ether | 112-34-5 | 670 | Adoption of EU LCI value |
| 6-6* | 2-phenoxyethanol | 122-99-6 | 60 | Adoption of EU LCI value |
| 6-7* | Ethylene carbonate | 96-49-1 | 4800 | Read across of ethylene glycol |
| 6-8* | 1-methoxy-2-propanol | 107-98-2 | 7900 | Adoption of EU LCI value |
| 6-9 | 2,2,4-trimethyl-1,3-pentanediol diisobutyrate | 25265-77-4 | 600 | Adoption of EU LCI value |
| 6-10* | Glycolic acid butyl ester (hydroxyacetic acid butyl ester) | 7397-62-8 |  | Reassessment |
| 6-11 | Butyl diglycol acetate (ethanol, 2-(2-butoxyethoxy)acetate, BDGA) | 124-17-4 | 850 | Adoption of EU LCI value |
| 6-12 | Dipropylene glycol monomethyl ether | 34590-94-8 | 3100 | Adoption of EU LCI value |
| 6-13 | 2-methoxyethanol | 109-86-4 | 3 | EU-OEL: 3.110 μg/m³; adoption of the EU LCI value is still under discussion |
| 6-14 | 2-Ethoxyethanol | 110-80-5 | 8 | EU-OEL: 8.000 μg/m³; adoption of the EU LCI value is still under discussion |
| 6-15 | 2-propoxyethanol | 2807-30-9 | 860 | Adoption of EU LCI value |
| 6-16 | 2-methyl ethoxy ethanol | 109-59-1 | 220 | Adoption of EU LCI value |
| 6-17* | 2-hexoxyethanol | 112-25-4 | 2 000 | Read across of ethylene glycol butyl ether |
| 6-18 | 1,2-dimethoxyethane | 110-71-4 | 4 | Read across of 2-methoxyethanol |
| 6-19 | 1,2-diethoxyethane | 629-14-1 | 10 | Read across of 2-ethoxyethanol |
| 6-20 | 2-methoxyethyl acetate | 110-49-6 | 5 | AGW: 4 900 µg/m³ |
| 6-21 | 2-ethoxyethyl acetate | 111-15-9 | 11 | EU-OEL: 11.000 μg/m³; adoption of the EU LCI value is still under discussion |
| 6-22* | 2-butoxyethylacetate | 112-07-2 | 2200 | Adoption of EU LCI value |
| 6-23 | 2-(2-hexoxyethoxy)-ethanol | 112-59-4 | 740 | Read across of diethylene glycol monobutyl ether |
| 6-24 | 1-methoxy-2-(2-methoxyethoxy)-ethane | 111-96-6 | 28 | Adoption of EU LCI value |
| 6-25 | 2-methoxy-1-propanol | 1589-47-5 | 19 | Adoption of EU LCI value |
| 6-26 | 2-methoxy-1-propylacetate | 70657-70-4 | 28 | Adoption of EU LCI value |
| 6-27* | Propylene glycol diacetate | 623-84-7 | 1600 | Adoption of EU LCI value |
| 6-28 | Dipropylene glycol | 110-98-5 25265-71-8 | 670 | Adoption of EU LCI value |
| 6-29 | Dipropylene glycol monomethyl ether acetate | 88917-22-0 | 3900 | Read across of dipropylene glycol monomethyl ether |
| 6-30 | Dipropylene glycol mono-n-propyl ether | 29911-27-1 | 740 | Read across of diethylene glycol monobutyl ether |
| 6-31 | Dipropylene glycol mono-n-butyl ether | 29911-28-2 35884-42-5 | 810 | Read across of diethylene glycol monobutyl ether |
| 6-32 | Dipropylene glycol mono-t-butyl ether | 132739-31-2 (mixture) | 810 | Read across of diethylene glycol monobutyl ether |
| 6-33 | 1,4-butanediol | 110-63-4 | 2 000 | Adoption of EU LCI value |
| 6-34* | Tri(propylene glycol) methyl ether | 20324-33-8 25498-49-1 | 1200 | Adoption of EU LCI value |
| 6-35 | Triethylene glycol dimethyl ether | 112-49-2 | 7 | Read across of 2-methoxyethanol |
| 6-36 | 1,2-propylene glycol dimethyl ether | 7778-85-0 | 25 | Read across of 2-methoxy-1-propanol |
| 6-37 | 2,2,4-trimethyl-1,3-pentanediol diisobutyrate | 6846-50-0 | 450 | Adoption of EU LCI value |
| 6-38 | Ethyldiglycol | 111-90-0 | 350 | Adoption of EU LCI value |
| 6-39 | Di(propylene glycol) methyl ether | 63019-84-1 89399-28-0 111109-77-4 | 1300 | Adoption of EU LCI value |
| 6-40* | Propylene carbonate | 108-32-7 | 1000 | Individual substance analysis |
| 6-41* | Hexylene glycol (2-methyl-2, 4-pentanediol) | 107-41-5 | 3500 | Adoption of EU LCI value |
| 6-42 | 3-Methoxy-1-butanol | 2517-43-3 | 500 | Individual substance analysis |
| 6-43 | 1,2-propylene glycol n-propyl ether | 1569-01-3 30136-13-1 | 1400 | Individual substance analysis |
| 6-44 | 1,2-propylene glycol n-butyl ether | 5131-66-8 29387-86-8 15821-83-7 63716-40-5 | 1600 | Individual substance analysis |
| 6-45* | Diethylene glycol-phenyl ether | 104-68-7 | 80 | Read across of 2-phenoxyethanol |
| 6-46 | Neopentylglykol (2,2-dimethyl-1,3-propanediol) | 126-30-7 | 1000 | Individual substance analysis |
| 7 | Aldehyde |  |  |  |
| 7-1 | Butanal | 123-72-8 | 650 | VVOC Adoption of EU LCI value |
| 7-2 | Pentanal | 110-62-3 | 800 | Adoption of EU LCI value |
| 7-3 | Hexanal | 66-25-1 | 900 | Adoption of EU LCI value |
| 7-4 | Heptanal | 111-71-7 | 900 | Adoption of EU LCI value |
| 7-5 | 2-Ethylhexanal | 123-05-7 | 900 | Adoption of EU LCI value |
| 7-6 | Octanal | 124-13-0 | 900 | Adoption of EU LCI value |
| 7-7 | Nonanal | 124-19-6 | 900 | Adoption of EU LCI value |
| 7-8 | Decanal | 112-31-2 | 900 | Adoption of EU LCI value |
| 7-9 | 2-butenal (crotonaldehyde, mixture of cis and trans) | 4170-30-3 123-73-9 15798-64-8 | 1 | Individual substance assessment; adoption of the EU LCI value is still under discussion |
| 7-10 | 2-pentenal | 1576-87-0 764-39-6 31424-04-1 | 12 | Read across of 2-butenal, but no EU mutagenicity classification; adoption of the EU LCI value is still under discussion |
| 7-11 | 2-hexenal | 16635-54-4 6728-26-3 505-57-7 1335-39-3 73543-95-0 | 14 | Read across of 2-pentenal; adoption of the EU LCI value is still under discussion |
| 7-12 | 2-heptenal | 2463-63-0 18829-55-5 29381-66-6 57266-86-1 | 16 | Read across of 2-pentenal; adoption of the EU LCI value is still under discussion |
| 7-13 | 2-octenal | 2363-89-5 25447-69-2 20664-46-4 2548-87-0 | 18 | Read across of 2-pentenal; adoption of the EU LCI value is still under discussion |
| 7-14 | 2-nonenal | 2463-53-8 30551-15-6 18829-56-6 60784-31-8 | 20 | Read across of 2-pentenal; adoption of the EU LCI value is still under discussion |
| 7-15 | 2-decenal | 3913-71-1 2497-25-8 3913-81-3 | 22 | Read across of 2-pentenal; adoption of the EU LCI value is still under discussion |
| 7-16 | 2-undecenal | 2463-77-6 53448-07-0 | 24 | Read across of 2-pentenal; adoption of the EU LCI value is still under discussion |
| 7-17* | Furfural | 98-01-1 | 10 | Adoption of EU LCI value |
| 7-18* | Glutaraldehyde | 111-30-8 | 1# | Adoption of EU LCI value |
| 7-19 | Benzaldehyde | 100-52-7 | 90 | WEEL (AIHA): 8 800 µg/m³ |
| 7-20 | Acetaldehyde | 75-07-0 | 1200 | VVOC Adoption of EU LCI value |
| 7-21* | Propanal | 123-38-6 | 750 | VVOC Individual substance assessment |
| 7-22 | Formaldehyde | 50-00-0 | 100 | VVOC Adoption of EU LCI value |
| 7-23* | Propenal | 107-02-8 | 14 | VVOC Individual substance analysis |
| 8 | Ketone |  |  |  |
| 8-1* | Ethyl methyl ketone | 78-93-3 | 20000 | Adoption of EU LCI value |
| 8-2 | 3-methyl-2-butanone | 563-80-4 | 7000 | Adoption of EU LCI value |
| 8-3* | Methyl isobutyl ketone | 108-10-1 | 1000 | Adoption of EU LCI value |
| 8-4 | Cyclopentanone | 120-92-3 | 900 | Adoption of EU LCI value |
| 8-5 | Cyclohexanone | 108-94-1 | 410 | Adoption of EU LCI value |
| 8-6 | 2-methylcyclopentanone | 1120-72-5 | 1000 | Read across of cyclopentanone |
| 8-7 | 2-methylcyclohexanone | 583-60-8 | 2300 | Adoption of EU LCI value |
| 8-8 | Acetophenone | 98-86-2 | 490 | Adoption of EU LCI value |
| 8-9* | 1-hydroxyacetone (1-hydroxy-2-propanone) | 116-09-6 | 2100 | Read across of propylene glycol |
| 8-10 | Acetone | 67-64-1 | 1200 | VVOC AGW: 1 200 000 µg/m³ |
| 9 | Acids |  |  |  |
| 9-1* | Acetic acids | 64-19-7 | 1200 | Adoption of EU LCI value |
| 9-2* | Propionic acid | 79-09-4 | 1500 | Adoption of EU LCI value |
| 9-3* | Isobutyric acid | 79-31-2 | 1800 | Adoption of EU LCI value |
| 9-4* | Butyric acid | 107-92-6 | 1800 | Adoption of EU LCI value |
| 9-5* | Pivalic acid | 75-98-9 | 2100 | Adoption of EU LCI value |
| 9-6* | n-valeric acid | 109-52-4 | 2100 | Adoption of EU LCI value |
| 9-7* | n-capronic acid | 142-62-1 | 2100 | Adoption of EU LCI value |
| 9-8* | n-heptanic acid | 111-14-8 | 2100 | Adoption of EU LCI value |
| 9-9* | n-octanic acid | 124-07-2 | 2100 | Adoption of EU LCI value |
| 9-10 | 2-ethylhexanic acid | 149-57-5 | 150 | Adoption of EU LCI value |
| 10 | Ester and lactone |  |  |  |
| 10-1 | Methyl acetate | 79-20-9 |  | VVOC |
| 10-2 | Ethyl acetate | 141-78-6 |  | VVOC |
| 10-3 | Vinyl acetate | 108-05-4 |  | VVOC |
| 10-4 | Isopropyl acetate | 108-21-4 | 4200 | Adoption of EU LCI value |
| 10-5 | Propyl acetate | 109-60-4 | 4200 | Adoption of EU LCI value |
| 10-6 | 2-methoxy-1-methylethyl acetate | 108-65-6 | 2700 | Adoption of EU LCI value |
| 10-7 | n-butyl formate | 592-84-7 | 2 000 | Read across of methyl formate (AGW: 120 000 µg/m³) |
| 10-8* | Methylmethacrylate | 80-62-6 | 750 | Adoption of EU LCI value |
| 10-9* | Other methacrylates |  | 750 | Read across of methyl methacrylate |
| 10-10 | Isobutyl acetate | 110-19-0 | 4800 | Adoption of EU LCI value |
| 10-11 | 1-butyl acetate | 123-86-4 | 4800 | Adoption of EU LCI value |
| 10-12 | 2-ethylhexyl acetate | 103-09-3 | 350 | Read across of 2-ethyl-1-hexanol |
| 10-13 | Methylacrylate | 96-33-3 | 180 | Adoption of EU LCI value |
| 10-14* | Ethyl acrylate | 140-88-5 | 200 | Adoption of EU LCI value |
| 10-15 | n-butyl acrylate | 141-32-2 | 110 | Adoption of EU LCI value |
| 10-16 | 2-ethylhexyl acrylate | 103-11-7 | 380 | Adoption of EU LCI value |
| 10-17 | Other acrylates (acrylic acid esters) |  | 110 | Adoption of EU LCI value |
| 10-18 | Adipic acid diethyl ester | 627-93-0 | 50 | Adoption of EU LCI value |
| 10-19 | Fumaric acid dibutyl ester | 105-75-9 | 50 | Adoption of EU LCI value |
| 10-20 | Bernstein acid dimethyl ester | 106-65-0 | 50 | Adoption of EU LCI value |
| 10-21 | Glutaric acid dimethyl ester | 1119-40-0 | 50 | Adoption of EU LCI value |
| 10-22 | Hexanediol diacrylate | 13048-33-4 | 10 | Adoption of EU LCI value |
| 10-23 | Maleic acid dibutyl ester | 105-76-0 | 50 | Adoption of EU LCI value |
| 10-24* | Butyrolactone | 96-48-0 | 2800 | Adoption of EU LCI value |
| 10-25 | Glutaric acid diisobutyl ester | 71195-64-7 | 100 | Individual substance analysis |
| 10-26 | Bernstein acid diisobutyl ester | 925-06-4 | 100 | Individual substance analysis |
| 11 | Chlorinated hydrocarbons |  |  |  |
|  | Not used at present |  |  |  |
| 12 | Other |  |  |  |
| 12-1* | 1,4-dioxane | 123-91-1 | 400 | Adoption of EU LCI value |
| 12-2 | Caprolactam | 105-60-2 | 300 | Adoption of EU LCI value |
| 12-3* | N-methyl-2-pyrrolidone | 872-50-4 | 1800 | Adoption of EU LCI value |
| 12-4 | Octamethylcyclotetrasiloxane (D4) | 556-67-2 | 1200 | Adoption of EU LCI value |
| 12-5 | Methenamine, Hexamethylentetramine (formaldehyde releaser) | 100-97-0 | 30 | Adoption of EU LCI value |
| 12-6* | 2-butanonoxime | 96-29-7 | 15 | Adoption of EU LCI value |
| 12-7* | Tributyl phosphate | 126-73-8 | 300 | SVOC Adoption of EU LCI value |
| 12-8* | Triethyl phosphate | 78-40-0 | 80 | Individual substance analysis |
| 12-9 | 5-chloro-2-methyl-4isothiazolin-3-on (CIT) | 26172-55-4 | 1 | Adoption of EU LCI value |
| 12-10 | 2-methyl-4-isothiazolin-3-one (MIT) | 2682-20-4 | 100 | Adoption of EU LCI value |
| 12-11* | Triethylamine | 121-44-8 | 60 | Adoption of EU LCI value |
| 12-12 | Decamethylcyclopentasiloxane (D5) | 541-02-6 | 1500 | Read across of octamethylcyclotetrasiloxane |
| 12-13 | Dodecamethylcyclohexasiloxane (D6) | 540-97-6 | 1200 | Read across of octamethylcyclotetrasiloxane |
| 12-14 | Tetrahydrofuran | 109-99-9 | 1500 | AGW: 150 000 µg/m³ |
| 12-15 | Dimethylformamide | 68-12-2 | 15 | AGW: 15 000 µg/m³ |
| 12-16 | Tetradecamethylcycloheptasiloxane (D7) | 107-50-6 | 1200 | Read across of octamethylcyclotetrasiloxane |
| 12-17* | N-ethyl-2-pyrrolidone | 2687-91-4 | 400 | Adoption of EU LCI value |
| 12-18* | N-butyl-2-pyrrolidone | 3470-98-2 | 500 | Individual substance assessment |

* New inclusions/amendments 2018 # LCI value assessment only takes place from measured emissions of 5 µg/m³. VVOC very volatile organic compounds SVOC semivolatile organic compounds 1) To ensure compatibility with the ADAM evaluation template, sequential numbers in the LCI list formerly used may not be re-used if substances or substance groups are discontinued or re-sorted.

Annex 3

List of 16 PAHs designated by the US Federal Environmental Protection Agency as lead substances for PAH analytics:

Benzo(a)pyrene

Benzo(a)anthracene

Benzo-(B)-fluoranthene

Benzo-(k)-fluoranthene

Benzo-(g,h,i)-perylene

Chrysene

Dibenzo(a,h)anthracene

Indeno-(1,2,3-cd)-pyrene

Pyrene

Fluoranthene

Anthracene

Phenanthrene

Fluorene

Acenaphtylene

Acenaphtene

Naphthalene.

## Annex 9
 - 
Textile flooring

As at: May 2017

CONTENTS

1	Subject matter and scope of application

2	Requirements

Annex 1:	Sampling log for emissions testing on textile floorings

List of abbreviations

Literature and references to standards

1	Subject matter and scope of application

The document 'Health protection requirements for physical structures' (ABG) contains general principles for the health assessment of physical structures, components, construction kids and building materials which are necessary to comply with the building requirements, while the product-specific requirements for ‘textile floorings’ are clarified in the technical rule.

This document specifies the test conditions (test sample requirements, test chamber loading requirements, etc.) and the parameters for classifying individual products in groups and selecting the representative product for each group (worst case scenario).

This technical rule does not apply:

to woven textile floorings with a PVC surface layer

to textile floorings that contain waste for recovery, unless the material for these is identical to production waste

to textile floorings that are also used vertically.

2	Requirements

The requirements set out in the document 'Health protection requirements for physical structures' (ABG), Chapter 2 must be met. According to this, the constituents, emissions from volatile organic compounds and requirements on the content must be assessed.

2.1	Determining and assessing volatile organic emissions (VVOC, VOC and SVOC emissions) and other emissions from textile floorings where applicable

Emissions of hazardous substances are determined and assessed by an expert inspection body (see Section 2.4) using a test chamber test as per ABG Section 2.2.1.1. This test chamber test must be conducted on each individual product or on a representative product of a group of chemically similar individual products in line with the following group formation parameters.

2.1.1	Group formation parameters and selection of representative products (worst case scenario)

Individual textile floorings must be classified in groups successively according to:

the manufacturing process,

the chemical base of the pile material/surface layer,

Adhesive layers/solidification and back base, as well as

additional chemical features

(see Figure 1).

A product is deemed representative of a group if it is expected to have the highest emissions – generally the heaviest and thickest product; in case of doubt, select the heaviest product. Where appropriate, several products in a group may have to be tested. The values are assumed to be representative of the group.

2.1.1.1	Classification in line with the manufacturing process

Individual products are first divided in line with the manufacturing process as follows: DIN EN 1307:2014-07 into:

tufted

woven

needled.

2.1.1.2	Classification in line with the chemical base of the pile material/surface layer

After being divided according to manufacturing process, the individual products are further divided according to the chemical base of the pile material/surface layer as follows:

Polypropylene (PP)

Polyester (PES)

Polyamide (PA 6 and PA 6.6, select PA 6 in the worst case scenario)

Wool

Natural plant fibres

etc.

For material blends, the chemical base of the pile with at least 50 % proportion in weight is the deciding factor for classification.

2.1.1.3	Classification according to adhesive layer/solidification and back base

The textile floorings previously divided according to manufacturing process and pile layer are further classified according to the backing material:

textile backing

foam backing (same chemical base)

heavy backing (same chemical base)

etc.

Care must be taken to ensure that products with the same backing have the same chemical base for the adhesive coats/solidification in order to be divided into the same group.

2.1.1.4	Classification according to additional chemical features

Lastly, the textile floorings are divided in terms of additional chemical features as follows:

with or without flame protection (with the same chemical base)

with or without anti-microbial/anti-fungal protection (with the same chemical base)

with or without anti-static protection (with the same chemical base)

etc.

| Herstellungsverfahren | Manufacturing process |
| --- | --- |
| Polschichtmaterial | Pile layer material |
| Rückenbasis | Back base |
| Zusatzausrüstung | Additional features |
| getuftet | tufted |
| Textil, Kleber A | Textile, adhesive A |
| PU-Schaumrücken | PU foam backing |
| Bitumen-Schwerbeschichtung | Bitumen heavy backing |
| PU-Schwerbeschichtung | PU heavy backing |
| mit Flammschutz | with flame protection |
| ohne Flammschutz | without flame protection |
| mit Biozid A | with biocide A |
| mit Antistatikum | with anti-static agent |
| Flammsch. A / Biozid A | flame protection A/biocide A |
| keine | none |

Figure 1: Sample grouping

It should be noted that changes in the chemical composition require a new assessment of the products/groups, which can result in new emissions testing.

2.1.2	Sampling of the product, transport and storage of the sample

Sampling of the product, transport and storage of the sample are in principle done in accordance with DIN prEN 16516:2015-07 and CEN/TR 16220:2011. The samples must be taken fresh from the production line or as soon as they can be traded and a sampling log with all key data must be drawn up (see Annex 1 for an example) and enclosed with the samples.

It should always be kept in mind that influences such as:

heat,

intense light,

excessive humidity,

detergents,

waste gases from vehicles or machinery as well as

solvents from colours, paints, fuels, exhaust gases, etc.

could distort inspection results or contaminate samples.

2.1.2.1	Sample size and sampling

When sampling products on rolls, one metre or at least the exposed part of the roll should be removed first. Then, 1 to 1.5 metres of the adjacent section should be taken as a sample. The width of the sample should be less than 2 m where possible. Where required, the width of the sample should be reduced accordingly. After the sample has been taken, it should be rolled up transversely with respect to the original direction, with the lower surface of the flooring facing outwards. After rolling up, the sample should be secured against unrolling using brackets or cords, but never using adhesive tape.

When taking samples from textile tiles, a full packaging unit must be used. If the size of the packaging unit makes shipment impossible, the sample should consist of four tiles (more for smaller tiles) in pairs with upper surfaces facing each other, taken from the centre of a single packaging unit. Textile tile floorings may not be rolled.

2.1.2.2	Packaging

Samples must be wrapped in aluminium foil within one hour, packed into a low-emission polyethylene bag and sealed. As an alternative, aluminium-coated packaging material may be used. To prevent external contamination, the package should be sealed maximally airtight with a film welding device or a low-emission adhesive tape. Different samples must also be packed separately.

2.1.2.3	Transport/shipment/storage

The usual freight and courier services may be used to ship samples. In transporting samples, it should be kept in mind that the sample should not be stored near any solvent-containing substances (e.g. spare drums).

2.1.3	Production and preparation of the test specimen

The test specimen is essentially produced and prepared according to DIN EN ISO 16000-11, Annex A. Contrary to the standard, the test specimen may also be blanked out. Edge sealing is not required as the effect of edges of textile floorings on emissions is negligible.

Once the test specimen has been produced, it should immediately be placed in the emission test chamber. This time is considered the starting time of the emission test (t0).

2.1.4	Test chamber conditions for measuring the emissions of textile flooring samples

Based on the dimensions of the reference area (DIN prEN 16516:2015-071), the following loading factors must be determined for textile floorings:

0.4 m²/m³ for floors.

An air exchange rate of 0.5/h and climatic conditions of 23 °C ± 1 °C and 50 % ± 5 % relative humidity are set in accordance with DIN prEN 16516:2015-071. The test chamber volume must not be below 20 l.

2.1.5	Measuring the emissions of textile flooring samples

Emissions of textile flooring samples are to be measured as set out in the ABG and DIN prEN 16516:2015-07 standard and evaluated after 3 days and 28 days.

The emissions test may be terminated early 7 days after loading the test chamber if the measured values are less than 50 % of the 28-day limit set out in the ABG, and if no significant increases in the concentration of individual substances can be found in comparison to the measurements of the third day. Compliance with these criteria should be appropriately corroborated by the test laboratory. The 50 % limit applies to all parameters, i.e. including the R value.

2.2	Assessing volatile organic emissions (VVOC, VOC and SVOC emissions)

The results of emission measurements for VVOC, VOC and SVOC must be assessed as set out in ABG Chapter 2.2.1.1 and detailed in a test report.

2.3	Determining the content of polycyclic aromatic hydrocarbons (PAHs)

When using heavy bituminous coatings, the PAH content in the bitumen must be tested. Analytical determination of PAHs is done as set out by the Environmental Protection Agency (EPA) in line with AfPS GS 2014:01 PAK using an internal standard. The BaP content as the lead compound is restricted to 5 mg/kg and to 50 mg/kg for PAHs.

2.4	Inspection body requirements for carrying out emissions testing on textile floorings

Inspection bodies for emissions testing must meet the following requirements:

they must be independent, i.e. they must operate independently of the economic interests of individual manufacturers.

Accredited as per EN ISO/IEC 17025, including test chamber trials.

they must be notified as per CEN/TS 16516 (notification as per CEN/TS 16516:2013 is sufficient until EN 16516 is published in the Official Journal of the European Union),

they must have the technical equipment for VOC, VVOC and SVOC emissions testing as per DIN prEN 16516:2015-07.

LCI substances must be present as standards (ABG Annex 2).

Substances classified as 1A and 1B carcinogens that could potentially be emitted by textile floorings must be present as standard. The 'Indicative List of Regulated Dangerous Substances possibly associated with Construction Products under the CPD' (European Commission document, Enterprise and Industry Directorate-General, document number 'DS 041/051' as amended) may be used as a guide.

they must take part in at least one ring trial for VOC thermodesorptions measurements as per DIN prEN 16516:2015-07148. Participation in ring trials offered by BAM and IFA is recommended (see:

  - http://www.bam.de/de/fachthemen/ringversuche/

  - http://www.dguv.de/ifa/Fachinfos/Ringversuche/index.jsp).

Annex 1:	Sampling log for emissions testing on textile floorings

| Name of applicant (Address / stamp): |  | Product manufacturer (if different from applicant): |  |
| --- | --- | --- | --- |
| Factory where the sample was taken: |  | Sample taken by (please mark): name, company, telephone: |  |
| Product name: |  | Flooring type textile flooring: |  |
| Model/ programme/ series: |  | Batch no.: |  |
| Item no.: |  | Date of production of the batch: |  |
| Date of sampling: |  | Time: |  |
| Sample taken | □ from current production □ from stocks □ from reserve samples | How was the product stored before sampling? | □ unpackaged □ packaged |
| Storage location: |  | Packaging type and material: |  |
| Details (any negative influences due to emissions at the place of sampling, fuel-exhaust gases, solvent emissions from production, uncertainties, questions, etc.): |  |  |  |
| Testing envisaged: |  |  |  |
| □ Emissions testing |  |  |  |
| □ Design features |  |  |  |
| □ other/further (PAH, nitrosamine, etc.) |  |  |  |
| Confirmation The undersigned hereby confirms the accuracy of the above statements. The sample was selected by the manufacturer, taken and packaged according to the sampling guide. |  |  |  |
| Date: | Signature: (Stamp) |  |  |
| * Please complete one sampling report per sample! |  |  |  |

List of abbreviations

| ABG | Health protection requirements for building structures |
| --- | --- |
| BAM | Bundesanstalt für Materialforschung [Federal Institute for Materials Research] |
| BaP | Benzo(a)pyrene |
| BauPVO | Construction Products Regulation [Bauproduktenverordnung] |
| CPD | Construction Product Directive (superseded on 01/07/2013 by the CPR – Construction Product Regulation) |
| DIN | Deutsches Institut für Normung [German Institute for Standardisation] |
| EN | European standard |
| EPA | Environmental Protection Agency |
| IFA | Institut für Arbeitsschutz [Institute for Occupational Safety and Health] |
| LBO | Landesbauordnung [state building regulations] |
| LCI | Lowest Concentrations of Interest |
| PAH | Polycyclic aromatic hydrocarbons |
| PA 6 | Polyamide 6 (nylon) |
| PA 6.6 | Polyamide 6.6 (dederon) |
| PES | Polyester |
| PP | Polypropylene |
| prEN | Draft standard |
| PVC | Polyvinyl chloride |
| R value | Total of all Ri where Ri = ci / LCIi |
| SVOC | Semi-volatile organic compounds |
| t0 | Start of emission measurement |
| VOC | Volatile organic compounds |
| VVOC | Very volatile organic compounds |

Literature and references to standards

CEN/TR 16220:2011	Construction products - Assessing the release of hazardous substances - Sampling Supplement

DIN CEN/TS 16516:2013-12/	Construction products - Assessing the release of hazardous

DIN SPEC 18023:2013-12	Materials – Determining emissions in indoor air

DIN EN 1307:2014-07	Textile flooring – Classification

DIN EN 16516 expected in 2017	Construction products - Assessing the release of hazardous substances – Determining emissions in indoor air

DIN EN ISO 16000-11:2006-06	Contamination of indoor air - Part 11: Determination of the emission of volatile organic compounds from construction products and furnishing – Sampling, storage of samples and preparation of test specimens

DIN EN ISO/IEC 17025:2005-08	General requirements for the competence of testing and calibration laboratories

DIN prEN 16516:2015-07	Construction products – Assessing the release of hazardous substances – Determining emissions in indoor air (Draft standard)

AfPS GS 2014:01 PAK	Testing and assessment of polycyclic aromatic hydrocarbons (PAHs) when granting the GS mark

## Annex 10
 - 
Requirements for building structures regarding effects on soil and water (ABuG)

As at: May 2019

CONTENTS

1	Subject matter and scope of application

2	Requirements for constituents

3	Requirements on the release of hazardous substances

4	Requirements for roof components

5	Requirements for exterior walls (including beams and columns)

6	Requirements for surface coverings outdoors

7	Requirements for foundations including piles

8.	Requirements for waterproofing bases for producing excavations

9	Requirements for backfill

10	Requirements for underground containers and pipes

Annex A – Maximums

1	Subject matter and scope of application

The LBO provides in § 3 that installations must be placed, erected, modified and maintained in such manner that public safety and order, in particular life, health and natural resources, are not endangered.

To meet the requirements set out in the LBO, for structural works or components thereof installed in the soil or groundwater or subject to precipitation, it must be ensured that the components used do not cause any harmful soil changes or groundwater pollution.

This document sets out the general requirements in respect of their effects on soil and water.

Building structures whose components and construction products used therein that are installed in soil and groundwater or are subject to precipitation are of particular significance because of their effects on soil and water. On contact with water, substances can be washed out of them and enter the groundwater, seawater, surface water and/or the soil that could adversely affect the quality thereof and thereby contribute to endangering natural resources.

Structural works, their components and the construction products used in them must therefore meet environmental protection requirements with respect to their constituents and the release of hazardous substances. An assessment of the release of heavy metals and organic substances is particularly relevant in this regard. The installation situation must also be taken into account (direct or indirect contact with the soil and groundwater). Where constructive measures exclude the release of hazardous substances, no proof need be provided regarding the release of hazardous substances.

Under § 1 of the Federal Soil Protection Act [Bundes-Bodenschutzgesetz, BBodSchG], damage caused by structural works or parts of structural works to the natural soil functions and its function as an archive of natural and cultural history by structural works must be avoided as far as possible.

The provisions of the ABuG do not affect the competent water authorities’ right to reserve the granting of permission, particularly in water protection areas.

Table 1 lists the components in contact with the soil, groundwater or precipitation for which environmental protection requirements under the LBO must currently be fulfilled (environmentally relevant components).

Table 1:	Environmentally relevant components (components in contact with the soil, groundwater or precipitation)

| Structural elements |  | For requirement see section |
| --- | --- | --- |
| Roof | Metal roof components | 4.1 |
|  | Concrete roof components | 4.2 |
|  | Timber roof components | 4.3 |
|  | Waterproofing | 4.4 |
| Exterior wall including beams and supports | Metal exterior wall components | 5.1 |
|  | Concrete exterior wall components | 5.2 |
|  | Timber exterior wall components | 5.3 |
|  | Waterproofing | 5.4 |
|  | Fire protection products for improving the fire resistance of components | 5.5 |
| Surface coverings | Concrete surface coverings | 6.1 |
|  | Timber surface coverings | 6.2 |
|  | Surface coverings handling wastewater | 6.3 |
| Foundations including piles | Injection and grouting materials | 7.2 |
|  | Concrete components | 7.3 |
|  | Waterproofing | 7.4 |
| Excavation seals | Injection and grouting materials made of binder suspensions or grout | 8.2 |
|  | Silicon-based injection and grouting materials | 8.3 |
| Granular backfill | Foam glass gravel used to backfill foundation slabs | 9.1 |
|  | Filter materials for treating precipitation run-off to be percolated | 9.2 |
| Underground pipes and containers | Underground concrete containers and pipes | 10.1 |
|  | Sewer rehabilitation products | 10.2 |

2	Requirements for constituents

The legal rules for substances such as the REACH Regulation (EC) No 1907/2006, the Biocide Regulation (EU) No 528/2012, the POP Regulation (EC) No 850/2004, the Chemicals Prohibition Ordinance [Chemikalien-Verbotsverordnung], and the Recycling Act [Kreislaufwirtschaftsgesetz], apply.

Otherwise, any component of a construction product or kit shall not be used as part of structural works if the concentration of any individual active substance classified as a carcinogen (H350, H350i) of category 1A or 1B, a mutagen (H340) of category 1A or 1B and/or reprotoxic of category 1A or 1B in accordance with Regulation (EC) No 1272/2008 reaches or exceeds the following values:

the specific concentration limits set out in Part 3 of Annex VI to Regulation (EC) No 1272/2008; or

the respective concentrations set out in Part 3 of Annex I to Regulation (EC) No 1272/2008, unless a specific concentration limit is specified in Part 3 of Annex VI to Regulation (EC) No 1272/.

The above requirements for components of construction products or kits with regard to carcinogenic, mutagenic and reprotoxic substances do not apply if it can be shown that they pose no potential hazard to soil or water when installed.

NB:

The active use of substances that must be marked H400, H410, H411, H300, H301, H310, H311, H341, H351, H361, H370 and H372 pursuant to the CLP Regulation (EU) No 1272/2008, as amended, shall be avoided. If the use of a component cannot be avoided, it must not pose a risk when installed.

3	Requirements on the release of hazardous substances

The concentration of hazardous substances released from building structures may:

change the chemical composition of bodies of water to only a negligible extent,

have no relevant eco-toxicological effects on bodies of water and

not adversely affect or overload the natural soil function, in particular the function of the soil as a decomposition, neutralisation and regeneration medium for material impacts by virtue of its filtering, buffering and substance conversion properties (filter and buffer function), and in particular for water protection purposes.

This is deemed to have been satisfied if, for example, the de-minimis thresholds and the requirements listed below in this section are met.

NB:

Eluate concentrations determined in laboratory tests are generally not directly comparable with the specification values at the place of assessment under real conditions. The installation situation and any transport pathways must be taken into account, for example with transfer functions.

The release of hazardous substances from structural works may not cause any lasting changes to electric conductivity or the pH or any other changes in water such as discolouration, turbidity, foaming or smell.

If the requirement values (Annex A) for the release of hazardous substances from a specific component/construction product are complied with – insofar as these are explicitly specified – these requirements are deemed to have been met.

Where organic substances are released from building structures for which no test values exist, the requirements as per Table 2 must also be met.

Table 2:	Requirements for environmentally relevant components of organic materials in respect of the biological effects in groundwater

| Parameter | Test during materials reaction* | Testing of fully cured materials* |
| --- | --- | --- |
| TOC | Indication in mg/l | Indication in mg/l |
| Algae test with Desmodesmus subspicatus or Pseudokirchneriella subcapitata according to DIN EN ISO 8692:2012-06 | GA** ≤ 8 | GA ≤ 4 |
| Daphnia test with Daphnia magna Straus according to DIN EN ISO 6341:2013-01 | GD ≤ 8 (after 24 h) | GD ≤ 4 (after 24 h) |
| Luminescent bacteria luminescence inhibition test with Vibrio fischeri according to DIN EN ISO 11348-1 to DIN EN ISO 11348-3:2009-05 | GL ≤ 8 | GL ≤ 8 |
| Luminescent cell proliferation inhibition test with Photobacterium phosphoreum according to DIN 38412-37:1999-04, if GL > 8 | GLW ≤ 2 | GLW ≤ 2 |
| Fish egg test with Danio rerio according to DIN EN ISO 15088:2009-06 | GEI ≤ 6 | GEI ≤ 6 |
| umu test on mutagenic potential according to ISO 13829:2000-03 | GEU ≤ 1,5 | GEU ≤ 1,5 |
| Biodegradability where TOC > 10 mg/l | ‘readily biodegradable’ as per OECD 301:1992-07 | ‘readily biodegradable’ as per OECD 301:1992-07 |
| * The requirements relate to elution testing on the component/construction product. ** Under the test specifications, inhibition of cell reproduction of green algae of 5 % or more is classified as a toxic effect. The thinning level necessary for less than 5 % inhibition of the original eluate (thinning level GA) is determined. The other G values are defined analogously. |  |  |

4	Requirements for roof components

No proof need be provided in respect of the release of hazardous substances for small-scale structural elements such as fastenings, lightning conductors.

4.1	Metal roof components

NB:

Extensive metal sheets may cause environmental impact on soil and water. For decentralised drainage of rainwater, reference is made to the requirements of the statutory planning and water regulations and to other local legal provisions, according to which precipitation cannot be allowed to leach out untreated.

4.2	Concrete roof components

Concrete base materials used in roof components must meet the requirements set out in the following sections.

When using natural aggregates, no proof need be provided in respect of concentrations of substances and the release of hazardous substances.

Construction products manufactured using display glass may not be used.

4.2.1	Recycled aggregates

Concrete roof components manufactured using recycled aggregates may only be installed if the recycled roof components meet the following requirements:

Waste from a rubble waste treatment facility may only be used as base materials for manufacturing recycled aggregates if it is produced during construction work (e.g. dismantling, demolition, conversion, extension, new construction and maintenance of structural and civil engineering, roads, paths, airfields and other traffic areas) and were previously used as natural or artificial mineral building materials in bound or unbound form in structural and civil engineering works. The waste must correspond to the waste types mentioned in Table A-1 (Annex A). Before converting, dismantling or demolishing a structure, a visual inspection and evaluation of existing documentation must first be done to determine whether there is likely to be pollutants in the materials. If there could be pollution beyond the scope of the parameters set out in Table A-2, the material must be separately assessed under waste regulations. Contaminated building materials and components must be separated when a structure is being dismantled and disposed of separately. This relates in particular to rubble, components with pitch-based insulation and coatings, interior walls of industrial chimneys, substances containing asbestos and PCBs, sections of gas works, service stations, electroplating plants and production facilities in chemical industry contaminated with pollutants.

Eluate concentrations under DIN EN 12457-4:2003-01 in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

Concentrations of solid matter in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

For concrete as per DIN 1045-2:2008-08, the material composition of the recycled aggregates must correspond to delivery types under DAfStb Guideline ‘Concrete pursuant to DIN EN 206-1 and DIN 1045-2 with recycled aggregates pursuant to DIN EN 12620:2010-09’.

If reject batches from precast concrete components (including concrete residue in ready-mixed concrete construction) are used directly as recycled aggregates in the production plant, no proof is required regarding the substance content and the release of hazardous substances.

4.2.2	Industrially manufactured aggregates

Concrete roof components manufactured using industrially manufactured aggregates may only be installed if the industrially manufactured aggregates meet the following requirements:

Eluate concentrations under DIN EN 12457-4 in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

Concentrations of solid matter in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

When crystalline blast-furnace slag, granulated blast furnace slag, slag tap granulate, vermiculite, expanded perlite, expanded shale, expanded clay, brick chippings from unused bricks and sintered hard coal fly ash, and boiler slag (boiler sand) from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass) – are used as aggregates (or rock dust) in concrete, no proof is required as to the substance content and any release of hazardous substances.

Industrially manufactured aggregates that are not listed in the above paragraph or in Table A-3 may not be used in concrete.

4.2.3	Fly ash

Concrete surface coverings manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the silicon-rich fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits of Table A-4 (Annex A).

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or technical best practice for assessing the impact on soil and water of calcium-rich fly ash (generally lignite fly ash) for concrete foundations. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

4.3	Timber roof components

NB:

Timber components treated with wood preservative may only be used for roof components (including windows) if the wood preservative (biocide products) meet the requirements of the Biocide Regulation (EU) No 528/2012. When using biocide products, the constraints listed in the approval under the Biocide Ordinance pursuant to Article 22(1) of the Biocide Ordinance and/or nationally applicable transitional provisions pursuant to the Ordinance on the reporting of biocidal products pursuant to the Chemicals Act (Biocide Reporting Ordinance – ChemBiozidMeldeV) must be met. Timber components treated with preservatives to guard against biological infestation must be marked as per DIN EN 15228:2009, Section 6.

When using scrap timber roof components, the requirements of the Scrap Timber Ordinance [Altholzverordnung] must be met.

4.4	Waterproofing for roof components

Waterproofing for roof components containing substances used to inhibit or prevent root penetration may only be installed if the requirements under Section 2 are met and the concentration of the root penetration protective agent in the eluate according to DIN CEN/TS 16637-2:2014-11 does not exceed 47 mg/m2.

5	Requirements for exterior walls (including beams and columns)

No proof need be provided in respect of the release of hazardous substances for small-scale structural elements such as fastenings.

Furthermore, no proof need be submitted regarding substance content and any release of hazardous substances for exterior wall components made of natural stone, glass or ceramic.

5.1	Metal exterior wall components

NB:

Extensive metal sheets may cause environmental impact on soil and water. For decentralised drainage of rainwater, reference is made to the requirements of the statutory planning and water regulations and to other local legal provisions, according to which precipitation cannot be allowed to leach out untreated.

5.2	Concrete exterior wall components

Concrete starting materials used in external wall components must meet the requirements set out in the following sections.

When using natural aggregates, no proof need be provided with respect to concentrations of substances and the release of hazardous substances.

Construction products manufactured using display glass may not be used.

5.2.1	Recycled aggregates

Concrete exterior wall components manufactured using recycled aggregates may only be installed if the recycled aggregates meet the following requirements:

Waste from a rubble waste treatment facility may only be used as base materials for manufacturing recycled aggregates if it is produced during construction work (e.g. dismantling, demolition, conversion, extension, new construction and maintenance of structural and civil engineering, roads, paths, airfields and other traffic areas) and were previously used as natural or artificial mineral building materials in bound or unbound form in structural and civil engineering works. The waste must correspond to the waste types mentioned in Table A-1 (Annex A). Before converting, dismantling or demolishing a structure, a visual inspection and evaluation of existing documentation must first be done to determine whether there is likely to be pollutants in the materials. If there could be pollution beyond the scope of the parameters set out in Table A-2, the material must be separately assessed under waste regulations. Contaminated building materials and components must be separated when a structure is being dismantled and disposed of separately. This relates in particular to rubble, components with pitch-based insulation and coatings, interior walls of industrial chimneys, substances containing asbestos and PCBs, sections of gas works, service stations, electroplating plants and production facilities in chemical industry contaminated with pollutants.

Eluate concentrations under DIN EN 12457-4:2003-01 in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

Concentrations of solid matter in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

For concrete as per DIN 1045-2:2008-08, the material composition of the recycled aggregates must correspond to delivery types under DAfStb Guideline ‘Concrete pursuant to DIN EN 206-1 and DIN 1045-2 with recycled aggregates pursuant to DIN EN 12620:2010-09’.

If reject batches from precast concrete components (including concrete residue in ready-mixed concrete construction) are used directly as recycled aggregates in the production plant, no proof is required regarding the substance content and the release of hazardous substances.

5.2.2	Industrially manufactured aggregates

Concrete exterior wall components manufactured using industrially manufactured aggregates may only be installed if the industrially manufactured aggregates meet the following requirements:

Eluate concentrations under DIN EN 12457-4:2003-01 in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

Concentrations in solid matter of industrially manufactured aggregates must comply with the upper limits given in Table A-3 (Annex A).

For concrete exterior walls produced using industrially manufactured aggregates applied in contact with soil and groundwater, the concentrations of the substances in the eluate as per DIN CEN/TS 16637-2:2014-11 (for hardened concrete test samples from a sample concrete) must comply with the upper limits given in Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 comply with the upper limits given in Table A-5 (Annex A) is not required if direct contact with soil or groundwater is prevented through constructive measures.

When crystalline blast-furnace slag, granulated blast furnace slag, slag tap granulate, vermiculite, expanded perlite, expanded shale, expanded clay, brick chippings from unused bricks and sintered hard coal fly ash, and boiler slag (boiler sand) from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass) – are used as aggregates (or rock dust) in concrete, no proof is required as to the substance content and any release of hazardous substances.

Industrially manufactured aggregates that are not listed in the above paragraph or in Table A-3 may not be used in concrete.

5.2.3	Fly ash

Concrete exterior wall components manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the silicon-rich fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits of Table A-4 (Annex A).

For exterior walls made of concrete produced using silicon-rich fly ash and used in contact with soil and groundwater, the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 (for hardened concrete test samples from a sample concrete) must comply with the upper limits given in Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 comply with the upper limits given in Table A-5 (Annex A) is not required if direct contact with soil or groundwater is excluded through constructive measures.

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or generally recognised rules of the trade for evaluating the effects on soil and water of calcium-rich fly ash (generally lignite fly ash) for concrete exterior wall components. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

5.2.4	Supersulphated cement and calcium aluminate sulphated cement

Components for concrete exterior walls manufactured using supersulfated cement and calcium aluminate sulfated cement may only be installed in contact with soil and groundwater if the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 (for hardened concrete test samples from a sample concrete) comply with the upper limits as per Table A-7 (Annex A).

Proof of compliance with these requirements is not required if direct contact of the component with soil or groundwater is prevented through constructive measures.

5.2.5	Concrete admixtures for concrete exterior walls

Concrete admixtures used in concrete for exterior walls in contact with soil or groundwater and for which there are no Technical Building Regulations or generally recognised rules of the trade are significant when it comes to complying with the requirements of § 3 LBO, including in respect of their effects on soil and water.

5.3	Timber exterior wall components

NB:

Timber components treated with wood preservative may only be used on exterior walls (including windows and doors) if the wood preservative (biocide products) meet the requirements of the Biocide Regulation (EU) No 528/2012. When using biocide products, the constraints listed in the approval under the Biocide Ordinance pursuant to Article 22(1) of the Biocide Ordinance and/or nationally applicable transitional provisions pursuant to the Ordinance on the reporting of biocidal products pursuant to the Chemicals Act (Biocide Reporting Ordinance – ChemBiozidMeldeV) must be met. Timber components treated with preservatives to guard against biological infestation must be marked as per DIN EN 15228:2009, Section 6.

When using scrap timber for exterior wall components, the requirements of the Waste Wood Ordinance must be met.

5.4	Waterproofing for exterior walls

There are no Technical Building Regulations or technical best practice for assessing the impact on soil and water of curtain injections as subsequent waterproofing for buildings. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

5.5	Fire protection products for improving the fire resistance of components

Reactive fire protection coatings, fire protection plaster cladding and linear joint seals must comply with the requirements of Section 2 with regard to the content of hazardous substances. Hazardous substances contained in the product must be declared.

6	Requirements for surface coverings outdoors

No proof need be provided in respect of the release of hazardous substances for small-scale structural elements such as fastenings.

6.1	Components for concrete surface coverings outdoors

Concrete base materials used in floorings or staircase coverings must meet the requirements set out in the following sections.

When using natural aggregates, no proof need be provided with respect to concentrations of substances and the release of hazardous substances.

Construction products manufactured using display glass may not be used.

6.1.1	Recycled aggregates

Concrete surface coverings manufactured using recycled aggregates may only be installed if the recycled aggregates meet the following requirements:

Waste from a rubble waste treatment facility may only be used as base materials for manufacturing recycled aggregates if it is produced during construction work (e.g. dismantling, demolition, conversion, extension, new construction and maintenance of structural and civil engineering, roads, paths, airfields and other traffic areas) and were previously used as natural or artificial mineral building materials in bound or unbound form in structural and civil engineering works. The waste must correspond to the waste types mentioned in Table A-1 (Annex A). Before converting, dismantling or demolishing a structure, a visual inspection and evaluation of existing documentation must first be done to determine whether there is likely to be pollutants in the materials. If there could be pollution beyond the scope of the parameters set out in Table A-2, the material must be separately assessed under waste regulations. Contaminated building materials and components must be separated when a structure is being dismantled and disposed of separately. This relates in particular to rubble, components with pitch-based insulation and coatings, interior walls of industrial chimneys, substances containing asbestos and PCBs, sections of gas works, service stations, electroplating plants and production facilities in chemical industry contaminated with pollutants.

Eluate concentrations under DIN EN 12457-4:2003-01 in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

Concentrations of solid matter in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

For concrete as per DIN 1045-2:2008-08, the material composition of the recycled aggregates must correspond to delivery types under DAfStb Guideline ‘Concrete pursuant to DIN EN 206-1 and DIN 1045-2 with recycled aggregates pursuant to DIN EN 12620:2010-09’.

If reject batches from precast concrete components (including concrete residue in ready-mixed concrete construction) are used directly as recycled aggregates in the production plant, no proof is required regarding the substance content and the release of hazardous substances.

6.1.2	Industrially manufactured aggregates

Concrete surface coverings manufactured using industrially manufactured aggregates may only be installed if the industrially manufactured aggregates meet the following requirements:

Eluate concentrations under DIN EN 12457-4:2003-01 in industrially manufactured aggregates must comply with the upper limits as per Table A-4 (Annex A).

Concentrations of solid matter in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

When crystalline blast-furnace slag, granulated blast furnace slag, slag tap granulate, vermiculite, expanded perlite, expanded shale, expanded clay, brick chippings from unused bricks and sintered hard coal fly ash, and boiler slag (boiler sand) from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass) – are used as aggregates (or rock dust) in concrete, no proof is required as to the substance content and any release of hazardous substances.

Industrially manufactured aggregates that are not listed in the above paragraph or in Table A-3 may not be used in concrete.

6.1.3	Fly ash

Concrete surface coverings manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the silicon-rich fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits of Table A-4 (Annex A).

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or generally recognised rules of the trade for evaluating the effects on soil and water of calcium-rich fly ash (generally lignite fly ash) for concrete surface coverings. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

6.2	Surface coverings made of timber components

NB:

Timber components treated with wood preservative may only be used as surface coverings (including windows) if the wood preservative (biocide products) meet the requirements of the Biocide Regulation (EU) No 528/2012. When using biocide products, the constraints listed in the approval under the Biocide Ordinance pursuant to § 22(1) of the Biocide Ordinance and/or nationally applicable transitional provisions pursuant to the Ordinance on the reporting of biocidal products pursuant to the Chemicals Act (Biocide Reporting Ordinance – ChemBiozidMeldeV) must be met. Timber components treated with protective agents to guard against biological infestation must be marked as per DIN EN 15228:2009-08, Section 6.

When using scrap timber for surface coverings, the requirements of the Scrap Timber Ordinance must be met.

6.3	Surface coverings handling wastewater

There are no Technical Building Regulations or technical best practice for assessing the impact on soil and water of water-permeable coverings for road traffic areas used for treating wastewater for subsequent percolation. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

7	Requirements for foundations including piles

7.1	General

No recycled or industrially manufactured aggregates may be used in injection or grouting materials for foundations and piles installed directly in groundwater.

7.2	Injection and grouting materials for foundations including piles

7.2.1	Fly ash

Foundations including piles made of binder suspension, grout (cement mortar) or concrete manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the silicon-rich fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits given in Table A-4 (Annex A).

The eluate concentrations pursuant to DIN CEN/TS 16637-2:2014-11 of mortar or concrete manufactured using silicon-rich fly ash must comply with the upper limits as per Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 of mortar or concrete (based on a model formulation) manufactured using silicon-rich fly ash comply with the upper limits as per Table A-4 (Annex A) is not required if direct contact with soil and/or groundwater is to be excluded through constructive measures.

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or generally recognised rules of the trade for evaluating the effects on soil and water of calcium-rich fly ash (generally lignite fly ash) for foundations including piles made of binder suspension, grout (cement mortar) or concrete. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

7.3	Concrete foundations

Concrete base materials used in foundations in contact with groundwater or soil must meet the requirements set out in the following sections.

When using natural aggregates, no proof need be provided with respect to concentrations of substances and the release of hazardous substances.

7.3.1	Recycled aggregates

Concrete foundations manufactured using recycled aggregates may only be installed if the recycled aggregates meet the following requirements:

Waste from a rubble waste treatment facility may only be used as base materials for manufacturing recycled aggregates if it is produced during construction work (e.g. dismantling, demolition, conversion, extension, new construction and maintenance of structural and civil engineering, roads, paths, airfields and other traffic areas) and were previously used as natural or artificial mineral building materials in bound or unbound form in structural and civil engineering works. The waste must correspond to the waste types mentioned in Table A-1 (Annex A). Before converting, dismantling or demolishing a structure, a visual inspection and evaluation of existing documentation must first be done to determine whether there is likely to be pollutants in the materials. If there could be pollution beyond the scope of the parameters set out in Table A-2, the material must be separately assessed under waste regulations. Contaminated building materials and components must be separated when a structure is being dismantled and disposed of separately. This relates in particular to rubble, components with pitch-based insulation and coatings, interior walls of industrial chimneys, substances containing asbestos and PCBs, sections of gas works, service stations, electroplating plants and production facilities in chemical industry contaminated with pollutants.

Eluate concentrations under DIN EN 12457-4:2003-01 in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

Concentrations of solid matter in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

For concrete as per DIN 1045-2:2008-08, the material composition of the recycled aggregates must correspond to delivery types under DAfStb Guideline ‘Concrete pursuant to DIN EN 206-1 and DIN 1045-2 with recycled aggregates pursuant to DIN EN 12620:2010-09’.

If reject batches from precast concrete components (including concrete residue in ready-mixed concrete construction) are used directly as recycled aggregates in the production plant, no proof is required regarding the substance content and the release of hazardous substances.

7.3.2	Industrially manufactured aggregates

Concrete foundations manufactured using industrially manufactured aggregates may only be installed if the industrially manufactured aggregates meet the following requirements:

Eluate concentrations under DIN EN 12457-4:2003-01 in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

Concentrations of solid matter in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

The eluate concentrations pursuant to DIN CEN/TS 16637-2:2014-11 (on hardened concrete test samples from a sample concrete) must comply with the upper limits as per Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2 comply with the upper limits given in Table A-5 (Annex A) is not required if direct contact with soil or groundwater is excluded through constructive measures.

When crystalline blast-furnace slag, granulated blast furnace slag, slag tap granulate, vermiculite, expanded perlite, expanded shale, expanded clay, brick chippings from unused bricks and sintered hard coal fly ash, and boiler slag (boiler sand) from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass) – are used as aggregates (or rock dust) in concrete, no proof is required as to the substance content and any release of hazardous substances.

Industrially manufactured aggregates that are not listed in the above paragraph or in Table A-3 may not be used in concrete.

7.3.3	Fly ash

Concrete foundations manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits given in Table A-4 (Annex A).

The eluate concentrations pursuant to DIN CEN/TS 16637-2:2014-11 (on hardened concrete test samples from a sample concrete) must comply with the upper limits as per Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2 comply with the upper limits given in Table A-5 (Annex A) is not required if direct contact with soil or groundwater is excluded through constructive measures.

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or generally recognised rules of the trade for evaluating the effects on soil and water of calcium-rich fly ash (generally lignite fly ash) for concrete foundations. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

7.3.4	Supersulphated cement and calcium aluminate sulphated cement

Concrete foundations manufactured using supersulphated cement or calcium aluminate sulphated cement may only be installed if the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 (for hardened concrete test samples from a sample concrete) comply with the upper limits as per Table A-6 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 comply with the upper limits given in Table A-6 (Annex A) is not required if direct contact with soil or groundwater is excluded through constructive measures.

7.3.5	Concrete admixtures

Concrete admixtures used for concrete foundations and for which there are no Technical Building Regulations or generally recognised rules of the trade are significant when it comes to complying with the requirements of § 3 LBO, including in respect of their effects on soil and water.

7.4	Waterproofing for foundations

There are no Technical Building Regulations or technical best practice for assessing the impact on soil and water of curtain injections as subsequent waterproofing for buildings. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

8.	Requirements for waterproofing bases for producing excavations

8.1	General

No recycled or industrially manufactured aggregates may be used in injection materials made of binder suspension or grout (cement mortar) installed directly in groundwater. Injection materials with acrylamide as a constituent or reaction product may not be used.

8.2	Injection and grouting materials for sealing bases made of binder suspensions or grout

8.2.1	Fly ash for cementitious sealing bases

Injection materials made of binder suspension or grout (cement mortar) manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the silicon-rich fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits of Table A-4 (Annex A).

The eluate concentrations pursuant to DIN CEN/TS 16637-2:2014-11 (on mortar or concrete test samples from a sample mortar or concrete) must comply with the upper limits as per Table A-5 (Annex A).

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or generally recognised rules of the trade for evaluating the effects on soil and water of calcium-rich fly ash (generally lignite fly ash) for injection materials made of binder suspensions or grout (cement mortar. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

8.3	Injection and grouting materials for silicone-based sealing bases

There are no Technical Building Regulations or technical best practice for assessing the impact on soil and water of injection and grouting materials for silicon-based sealing bases. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

9	Requirements for backfill

9.1	Foam glass gravel used to backfill foundation slabs

Backfill made of foam glass gravel may be installed under foundation slabs if the foam glass gravel meets the following requirements, and the backfill is installed above the saturated soil zone and above the groundwater capillary fringe (generally 30 cm above the highest measured groundwater level):

Eluate concentrations as per DIN EN 12457-4:2003-01 in the glass powder manufactured from foam glass gravel must comply with the upper limits as per Table A-7 (Annex A).

The content in the solid glass powder manufactured from foam glass gravel must comply with the upper limits given in Table A-7 (Annex A).

Construction products manufactured using display glass may not be used.

9.2	Filter materials for treating precipitation run-off to be percolated

There are no Technical Building Regulations or technical best practice for assessing the impact on soil and water of filter materials through which precipitation flows. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

10	Requirements for underground containers and pipes

10.1	Underground concrete containers and pipes

Concrete base materials used in underground containers and pipes in contact with groundwater or soil must meet the requirements set out in the following sections.

When using natural aggregates, no proof need be provided with respect to concentrations of substances and the release of hazardous substances.

Construction products manufactured using display glass may not be used.

10.1.1	Recycled aggregates

Underground containers and pipes manufactured using recycled aggregates may only be installed if the recycled aggregates meet the following requirements:

Waste from a rubble waste treatment facility may only be used as base materials for manufacturing recycled aggregates if it is produced during construction work (e.g. dismantling, demolition, conversion, extension, new construction and maintenance of structural and civil engineering, roads, paths, airfields and other traffic areas) and were previously used as natural or artificial mineral building materials in bound or unbound form in structural and civil engineering works. The waste must correspond to the waste types mentioned in Table A-1 (Annex A). Before converting, dismantling or demolishing a structure, a visual inspection and evaluation of existing documentation must first be done to determine whether there is likely to be pollutants in the materials. If there could be pollution beyond the scope of the parameters set out in Table A-2, the material must be separately assessed under waste regulations. Contaminated building materials and components must be separated when a structure is being dismantled and disposed of separately. This relates in particular to rubble, components with pitch-based insulation and coatings, interior walls of industrial chimneys, substances containing asbestos and PCBs, sections of gas works, service stations, electroplating plants and production facilities in chemical industry contaminated with pollutants.

Eluate concentrations under DIN EN 12457-4:2003-01 in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

Concentrations of solid matter in recycled aggregates must comply with the upper limits as per Table A-2 (Annex A).

For concrete as per DIN 1045-2:2008-08, the material composition of the recycled aggregates must correspond to delivery types under DAfStb Guideline ‘Concrete pursuant to DIN EN 206-1 and DIN 1045-2 with recycled aggregates pursuant to DIN EN 12620:2010-09’.

If reject batches from precast concrete components (including concrete residue in ready-mixed concrete construction) are used directly as recycled aggregates in the production plant, no proof is required regarding the substance content and the release of hazardous substances.

10.1.2	Industrially manufactured aggregates

Underground containers and pipes manufactured using industrially manufactured aggregates may only be installed if the industrially manufactured aggregates meet the following requirements:

Eluate concentrations under DIN EN 12457-4:2003-01 in industrially manufactured aggregates must comply with the upper limits as per Table A-3 (Annex A).

Concentrations of solid matter in industrially manufactured aggregates must comply with the upper limits given in Table A-3 (Annex A).

The following applies to components for underground concrete containers and pipes in contact with groundwater:

The eluate concentrations pursuant to DIN CEN/TS 16637-2:2014-11 (on hardened concrete test samples from a sample concrete) must comply with the upper limits as per Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2 comply with the upper limits given in Table A-5 (Annex A) is not required if direct contact with groundwater is excluded through constructive measures.

When crystalline blast-furnace slag, granulated blast furnace slag, slag tap granulate, vermiculite, expanded perlite, expanded shale, expanded clay, brick chippings from unused bricks and sintered hard coal fly ash, and boiler slag (boiler sand) from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass) – are used as aggregates (or rock dust) in concrete, no proof is required as to the substance content and any release of hazardous substances.

Industrially manufactured aggregates that are not listed in the above paragraph or in Table A-3 may not be used in concrete.

10.1.3	Fly ash

Concrete underground containers and pipes manufactured using silicon-rich fly ash (generally hard coal fly ash) may only be installed if the silicon-rich fly ash meets the following requirements:

Concentrations of solid matter in silicon-rich fly ash must comply with the upper limits of Table A-4 (Annex A).

The following applies to components for underground concrete containers and pipes in contact with groundwater:

The eluate concentrations pursuant to DIN CEN/TS 16637-2:2014-11 of hardened concrete (determined based on sample concrete) manufactured using silicon-rich fly ash must comply with the upper limits as per Table A-5 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 comply with the upper limits given in Table A-5 (Annex A) is not required if direct contact with groundwater is excluded through constructive measures.

Where silicon-rich fly ash from thermal power plants where only coal and no secondary fuels are co-combusted – with the exception of municipal sewage sludge (waste code 19 08 05 as per the EWC Ordinance) in an amount of up to 5 % by mass (dry mass), based on dry coal – is used in concrete, no proof is required as to the substance content and any release of hazardous substances.

There are no Technical Building Regulations or generally recognised rules of the trade for evaluating the effects on soil and water of calcium-rich fly ash (generally lignite fly ash) for underground containers and pipes. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

10.1.4	Supersulphated cement and calcium aluminate sulphated cement

Concrete underground containers and pipes manufactured using supersulfated cement and calcium aluminate sulfated cement may only be installed in contact with soil or groundwater if the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 for hardened concrete (based on sample concrete) manufactured using supersulfated cement or calcium aluminate sulfated cement comply with the upper limits as per Table A-6 (Annex A).

Proof that the eluate concentrations as per DIN CEN/TS 16637-2:2014-11 comply with the upper limits given in Table A-6 (Annex A) is not required if direct contact with soil or groundwater is excluded through constructive measures.

10.1.5	Concrete admixtures

Concrete admixtures used in concrete underground containers and pipes in contact with soil or groundwater and for which there are no Technical Building Regulations or generally recognised rules of the trade are significant when it comes to complying with the requirements of § 3 LBO, including in respect of their effects on soil and water.

10.2	Sewer rehabilitation products

There are no Technical Building Regulations or technical best practice for assessing the impact on soil or water of sewer rehabilitation products. However, they are of significance when it comes to complying with the requirements of § 3 LBO, including with regard to their effects on soil and water.

Annex A – Maximums

Table A-1:	Permitted base materials in a rubble waste treatment facility for manufacturing recycled aggregates

| 1 | Concrete (waste code 17 01 01 as per the EWC Ordinance*) |
| --- | --- |
| 2 | Bricks (waste code 17 01 02 as per the EWC Ordinance*) |
| 3 | Tiles, bricks, ceramic (waste code 17 01 03 as per the EWC Ordinance*) |
| 4 | Mixtures of concrete, tiles, bricks and ceramic that do not contain any hazardous substances (waste code 17 01 07 as per the EWC Ordinance*) |
| 5 | Bitumen mixes except for those under 17 03 01 (waste code 17 03 02 as per the EWC Ordinance*) (here: asphalt, tar-free) |
| 6 | Concrete waste but without concrete sludge (waste code 10 13 14 as per the EWC Ordinance*) |
| 7 | Soil and stones that do not contain any hazardous substances (waste code 17 05 04 as per the EWC Ordinance*) |
| * Ordinance on the European Waste Catalogue (EWC Ordinance) of 10 December 2001, as amended. |  |

Table A-2:	Upper limits for eluate concentrations and solids content in recycled aggregates

|  | Parameter | Dimension | Upper limit |
| --- | --- | --- | --- |
| Eluate concentration | Arsenic (As) | µg/l | 50 |
|  | Lead (Pb) | µg/l | 100 |
|  | Cadmium (Cd) | µg/l | 5 |
|  | Chromium, total (Cr) | µg/l | 100 |
|  | Copper (Cu) | µg/l | 200 |
|  | Nickel (Ni) | µg/l | 100 |
|  | Mercury (Hg) | µg/l | 2 |
|  | Zinc (Zn) | µg/l | 400 |
|  | Chloride (Cl-) | mg/l | 150 |
|  | Sulphate (SO42-) | mg/l | 600 |
|  | Phenol index | µg/l | 100 |
|  | pH | - | 7.0-12* |
|  | Conductivity | µS/cm | 3 000* |
| Solids content | Hydrocarbons | mg/kg | 1000** |
|  | PAH16 | mg/kg | 25 |
|  | PCB6 | mg/kg | 1 |
| * Overruns are not a criterion for exclusion if the concrete proportion in the material being investigated is at least 60 % by mass. ** Exceedances that are attributable to asphalt proportions are not a criterion for exclusion. |  |  |  |

Table A-3:	Upper limits for eluate concentrations and solids content in industrially manufactured aggregates

|  | Parameter | Dimension | Steel system slag | Bottom ash from coal-fired power plants with co-combustion* | Slag from copper production (CUS/CUG) | Foundry sand (foundry sand residuals, GRS) | Aggregate from broken glass scrap |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Eluate concentration | Arsenic (As) | µg/l |  | 40 |  | 60 | 60 |
|  | Lead (Pb) | µg/l |  |  | 100 | 200 | 200 |
|  | Cadmium (Cd) | µg/l |  |  |  | 10 | 6 |
|  | Chromium, total (Cr) | µg/l | 100 |  |  | 150 | 60 |
|  | Copper (Cu) | µg/l |  |  | 100 | 300 | 100 |
|  | Nickel (Ni) | µg/l |  |  |  | 150 | 70 |
|  | Mercury (Hg) | µg/l |  | 1 |  |  | 2 |
|  | Vanadium | µg/l | 250 |  |  |  |  |
|  | Zinc (Zn) | µg/l |  |  | 200 | 600 | 600 |
|  | Chloride (Cl-) | mg/l |  | 50 |  |  |  |
|  | Sulphate (SO42-) | mg/l |  | 200 |  |  |  |
|  | Fluoride | mg/l | 5 |  |  | 1 |  |
|  | Phenol index | µg/l |  |  |  | 100 |  |
|  | DOC | µg/l |  |  |  | 20000 |  |
|  | pH | - | 10-13 | 8-12 | 6.0-10 | 5.5-12 | 5.5-12 |
|  | Conductivity | µS/cm | 1500 | 1000 | 700 | 1000 | 2000 |
| Solids content | Arsenic | mg/kg | 150 | 150 | 150 | 150 | 150 |
|  | Lead | mg/kg | 700 | 700 | 700 | 700 | 700 |
|  | Cadmium | mg/kg | 10 | 10 | 10 | 10 | 10 |
|  | Chromium, total | mg/kg | 600 | 600 | 600 | 600 | 600 |
|  | Copper | mg/kg | 400 | 400 | 400 | 400 | 400 |
|  | Nickel | mg/kg | 500 | 500 | 500 | 500 | 500 |
|  | Thallium | mg/kg | 7 | 7 | 7 | 7 | 7 |
|  | Mercury | mg/kg | 5 | 5 | 5 | 5 | 5 |
|  | Zinc | mg/kg | 1500 | 1500 | 1500 | 1500 | 1500 |
|  | EOX | mg/kg |  |  |  | 10 |  |
|  | BTX | mg/kg |  |  |  | 1 |  |
|  | VOC | mg/kg |  |  |  | 1 |  |
|  | Benzo(a)pyrene | mg/kg |  |  |  | 3 |  |
|  | Hydrocarbons | mg/kg |  |  |  | 1000 |  |
|  | PAH16 | mg/kg |  |  |  | 20 |  |
|  | PCB6 | mg/kg |  | 0.5 |  |  |  |
|  | TOC | Mass % |  | 5 |  |  |  |
| * Only petrol coke or municipal sewage sludge (with waste code 19 08 05 pursuant to the EWC Ordinance) may be used for co-combustion. |  |  |  |  |  |  |  |

Table A-4:	Upper limits for the solids content of silicon-rich fly ash for use in concrete

|  | Parameter | Dimension | Upper limit |
| --- | --- | --- | --- |
| Solids content | Arsenic (As) | mg/kg | 150 |
|  | Lead (Pb) | mg/kg | 700 |
|  | Cadmium (Cd) | mg/kg | 10 |
|  | Chromium, total (Cr) | mg/kg | 600 |
|  | Copper (Cu) | mg/kg | 400 |
|  | Nickel (Ni) | mg/kg | 500 |
|  | Mercury | mg/kg | 5 |
|  | Thallium (Tl) | mg/kg | 7 |
|  | Vanadium (V) | mg/kg | 1500 |
|  | Zinc (Zn) | mg/kg | 1500 |
|  | PAH16 | mg/kg | 30 |
|  | PCB6 | mg/kg | 0.5 |
|  | PCDD/PCDF | ng/kg TE | 100 |
|  | Ignition loss | Mass % | 5 |

Table A-5:	Upper limits for substance release in eluates of hardened concrete (sample concrete) using silicon-rich fly ash or industrially manufactured aggregates

| Parameter | Dimension | Upper limit |
| --- | --- | --- |
| Antimony (Sb) | mg/m² | 5.5 |
| Arsenic (As) | mg/m² | 11 |
| Barium (Ba) | mg/m² | 375 |
| Lead (Pb) | mg/m² | 7.7 |
| Cadmium (Cd) | mg/m² | 0.56 |
| Chromium VI (Cr) | mg/m² | 6.6 |
| Chromium, total (Cr) | mg/m² | 7.7 |
| Cobalt (Co) | mg/m² | 8.8 |
| Copper (Cu) | mg/m² | 15.4 |
| Molybdenum (Mo) | mg/m² | 38.6 |
| Nickel (Ni) | mg/m² | 15.4 |
| Mercury (Hg) | mg/m² | 0.22 |
| Thallium (Tl) | mg/m² | 0.88 |
| Vanadium (V) | mg/m² | 4.4* |
| Zinc (Zn) | mg/m² | 63.9 |
| Chloride (Cl-) | mg/m² | 275515 |
| Fluoride (F-) | mg/m² | 826 |
| Sulphate (SO42-) | mg/m² | 264495 |
| * currently suspended |  |  |

Table A-6:	Upper limits for substance release in eluates of hardened concrete (sample concrete) using supersulfated cement or calcium aluminate sulfated cement

| Parameter | Dimension | Upper limit |
| --- | --- | --- |
| Antimony (Sb) | mg/m² | 5.5 |
| Arsenic (As) | mg/m² | 11 |
| Barium (Ba) | mg/m² | 375 |
| Lead (Pb) | mg/m² | 7.7 |
| Cadmium (Cd) | mg/m² | 0.56 |
| Chromium VI (Cr) | mg/m² | 6.6 |
| Chromium, total (Cr) | mg/m² | 7.7 |
| Cobalt (Co) | mg/m² | 8.8 |
| Copper (Cu) | mg/m² | 15.4 |
| Molybdenum (Mo) | mg/m² | 38.6 |
| Nickel (Ni) | mg/m² | 15.4 |
| Mercury (Hg) | mg/m² | 0.22 |
| Thallium (Tl) | mg/m² | 0.88 |
| Vanadium (V) | mg/m² | 4.4* |
| Zinc (Zn) | mg/m² | 63.9 |
| Chloride (Cl-) | mg/m² | 275515 |
| Fluoride (F-) | mg/m² | 826 |
| Sulphate (SO42-) | mg/m² | 264495 |
| * currently suspended |  |  |

Table A-7:	Upper limits for eluate concentrations and solids content of glass powder used for manufacturing foam glass gravel for backfill

|  | Parameter | Dimension | Upper limit |
| --- | --- | --- | --- |
| Eluate concentration | Arsenic (As) | µg/l | 20 |
|  | Lead (Pb) | µg/l | 80 |
|  | Cadmium (Cd) | µg/l | 3 |
|  | Chromium, total (Cr) | µg/l | 25 |
|  | Copper (Cu) | µg/l | 60 |
|  | Nickel (Ni) | µg/l | 20 |
|  | Mercury (Hg) | µg/l | 1 |
|  | Zinc (Zn) | µg/l | 200 |
| Solids content | Arsenic (As) | mg/kg | 45 |
|  | Lead (Pb) | mg/kg | 210 |
|  | Cadmium (Cd) | mg/kg | 3 |
|  | Chromium, total (Cr) | mg/kg | 180 |
|  | Copper (Cu) | mg/kg | 120 |
|  | Nickel (Ni) | mg/kg | 150 |
|  | Mercury (Hg) | mg/kg | 1.5 |
|  | Zinc (Zn) | mg/kg | 450 |

## Annex 11
 - 
Thermal Insulation System [WVDS] with ETA as per ETAG 004

As at: May 2019

CONTENTS

1	Scope

2	Stability and suitability for use

3	Fire protection

4	Sound insulation

5	Thermal insulation

6	Installation certificate for thermal insulation systems

1	Scope

The scope of application relates to glued or dowelled and glued thermal insulation systems (WDVS) with ETA as per ETAG 004 with insulating materials of polystyrene (EPS) as per EN 13163:2012+A1:2015 or mineral wool (MW) as per EN 13162:2012+A1:2015.

To execute the WDVS, DIN 55699:2017-08 must be observed unless otherwise specified below.

2	Stability and suitability for use

2.1	General conditions

The substrate on which the thermal insulation system is to be attached are masonry or concrete walls with or without plaster or with bonded ceramic coverings.

Thermal insulation systems may be used under the following framework conditions:

2.1.1	Thermal insulation systems with glued polystyrene (EPS) panels

The substrate (wall) has a minimum tear strength of 80 kN/m2 .

The thickness of the EPS panels is not greater than 400 mm.

The tear strength of the EPS panels/adhesive mortar and EPS panels/base coat is at least 80 kN/m².

The EPS panels must be glued so that at least 0.03 N/mm2 horizontal load is distributed over the bonding on the substrate.

For insulating materials more than 200-mm thick, the total applied quantity of base coat and final coat is no more than 22 kg/m2.

The base coat reinforcement is a textile glass scrim.

Wind pressure we (wind suction load) does not exceed the following values, depending on transverse tensile strength:

| EPS panels (tensile strength perpendicular to panel) |  | Wind pressure we (wind suction load) |
| --- | --- | --- |
| Average value according to insulating material standard | TR 100 | -1.1 kN/m2 |

2.1.2	Thermal insulation systems with glued mineral wool (MW) lamellae (fibres perpendicular to substrate)

The substrate (wall) has a minimum tear strength of 80 kN/m2.

The MW lamellae are no thicker than 400 mm and have a shear modulus of at least 1.0 N/mm2.

The tear strength of the MW panels/adhesive mortar and MW panels/base coat is at least 80 kN/m².

The MW lamellae must be glued so that at least 0.03 N/mm2 horizontal load is distributed over the bonding on the substrate; for thicknesses > 200 mm at least 0.05 N/mm2 horizontal load is distributed over the bonding on the substrate.

For insulating materials more than 200 mm thick, the total applied quantity of base coat and final coat is no more than 22 kg/m² and the strength of the MW lamellae is ≥ TR 100.

The base coat reinforcement is a textile glass scrim.

Even if the wall surface has sufficient breaking strength, the MW lamellae must be attached with additional anchors depending on wind pressure we:

| MW lamellae with tensile strength in the direction of fibres ≥ TR 80 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Plaster system |  |  |  | Wind suction load we [kN/m2] | Minimum number of anchors [Anchors/m2] |
| Thickness [mm] |  | Weight per surface [kg/m2] |  |  |  |
| any |  |  |  | < -0.8 | 0 |
| ≤ 10 | and |  | ≤ 10 | -0.8 to -1.1 | 3 |
| > 10 | or |  | > 10 | -0.8 to -1.1 | 5 |

The MW lamellae are attached with anchors with ETA as per ETAG 014 or EAD 330196-01-0604 (anchor plate diameter ≥ 60 mm; plate stiffness ≥ 0.3 kN/mm; load-bearing capacity of anchor plate ≥ 1.0 kN). The anchors are installed flush with the insulating material (anchor plate lies on the insulating material). Anchors with plate diameter < 140 mm are placed through the reinforcement fabric. Anchors with plate diameter ≥ 140 mm may be placed below the reinforcement fabric.

MW lamellae with insulation material thickness > 200 mm are executed as follows:

- Sufficient mounting safety is ensured by suitable support measures. The insulation panels are laid in a lattice structure. On building corners only full-length insulation panels are placed insofar as the geometrical framework conditions allow this.

- The insulation panels are attached in the following areas with 3 anchors/insulation panels or 2.5 anchors/m:

  - if minimum height is not reached for an area to be insulated of min H ≤ 2 x dinsulating material,

  - if minimum width is not reached for an area to be insulated of min W ≤ 2 x dinsulating material,

  - the last upper uninterrupted insulating panel position (upper building shell),

  - on the side building shell, in a strip of up to 2 m in width, at least one vertical anchoring series must be placed with 2.5 anchors.

A vertical drop of min H < dinsulating material may not be executed without additional support constructions.

The field sizes without expansion joints are

  - for thick film sections (base coat including final coat = total plaster thickness > 10 mm) 9 m x 9 m or 80 m2.

  - for thin film sections (base coat including final coat = total plaster thickness ≤ 10 mm) 50 m x 25 m.

2.1.3	Thermal insulation systems with polystyrene (EPS) panels or with mineral wool (MW) panels (fibres parallel to substrate) or with mineral wool (MW) lamellae (fibres perpendicular to substrate), mechanically attached with anchors and additionally glued

The thickness of the insulating material matches the following values:

|  | EPS panels | MW lamellae | MW panels |
| --- | --- | --- | --- |
| Insulating material thickness [mm] | ≤ 400 | ≤ 200 | ≤ 340 |

For insulating materials more than 200-mm thick, the total applied quantity of base coat and final coat is no more than 22 kg/m2.

The base coat reinforcement is a textile glass scrim.

The insulating material is attached with anchors with ETA as per ETAG 014 or EAD 330196-01-0604 (anchor plate diameter ≥ 60 mm; plate stiffness ≥ 0.3 kN/mm; load-bearing capacity of anchor plate ≥ 1.0 kN). The anchors are installed flush with the insulating material (anchor plate lies on the insulating material).

The following proofs as per a) to c) are kept:

- Proof of anchors being anchored in the substrate (wall):

Sd ≤ NRd

where

Sd = F · We

NRd = NRk / M,U

where

Sd	:	Design value of wind suction load

NRd	:	Design value of anchor load capacity

We	:	Effects of wind

NRk	:	characteristic tensile capacity of the anchor

(in accordance with the Annex for the relevant anchor ETA)

F	:	1.5 (safety factor for wind effects)

M,U	:	Safety factor of anchor extraction resistance from substrate

(see relevant anchor ETA)

- Proof of thermal insulation system:

Sd ≤ Rd

where

Sd = Design value of wind suction load

Rd =

where

Rd	:	Design value of thermal insulation system resistance

Rjoint, Rarea	:	The failure load resulting from the thermal insulation system (minimum value) in the area or not in the area of the panel joints (see relevant thermal insulation system ETA)

njoint, narea	:	Number of anchors (per m2) placed in the area/outside the area of the panel joints.

M,S	:	4.0

- Proof of insulating material in case of anchoring beneath the reinforcement fabric:

Sd ≤ Rd

where

Sd = (see preceding section)

Rd = NRk / M,D

where

NRk	:	Design value of thermal insulation system resistance (slabs: tensile strength perpendicular to panel, lamellae: tensile strength in the direction of fibres)

M,D	:	5.0

The larger anchor number is decisive, with at least 4 anchors/m2 installed.

For MW panels > 200-mm thick, at least 6 anchors/m² are present.

3	Fire protection

For the following building inspection requirements as to the fire characteristics of exterior walls in accordance with Chapter A 2.1.5 in conjunction with A 2.2.1.2 of the Administrative Order laying down the Technical Building Regulations (VV TB SH), classes for specific ETICS pursuant to DIN EN 13501-1:2010-01 are assigned and usage rules are specified.

3.1	ETICS with mineral wool (MW) insulation according to EN 13162:2012+A1:2015

| Building inspection requirement | Class pursuant to DIN EN 13501-1: 2010-01* | Provisions on use |
| --- | --- | --- |
| ETICS non-combustible | A1 A2 - s1,d0 | mineral-bonded base and final coats (bonding agent: lime and/or cement) with ≤ 5% organic matter (dry mass) or Organically bonded base and final coats (bonding agent: synthetic or silicone resin or silicate dispersion) with total plaster thickness (base coat and final coat) ≤ 10 mm, organic components content (dry-mass) of base coat and final coat both ≤ 10 % PCS value of base coat ≤ 3.0 MJ/kg PCS value of final coat ≤ 2.6 MJ/kg |
| Insulation: non-combustible | A1 A2 - s1,d0 |  |
| * The requirements from Annex 4 Section 1.3 shall apply. |  |  |

| Building inspection requirement | Class pursuant to DIN EN 13501-1: 2010-01* | Provisions on use |
| --- | --- | --- |
| ETICS, flame-resistant | C-s2,d0 | - |
| Insulating material: flame-resistant | C-s2,d0 |  |
| * The requirements from Annex 4 Section 1.3 shall apply. |  |  |

| Building inspection requirement | Class pursuant to DIN EN 13501-1: 2010-01* | Provisions on use |
| --- | --- | --- |
| ETICS normally flammable | E | - |
| Insulating material: normally flammable | E |  |
| * The requirements from Annex 4 Section 1.3 shall apply. |  |  |

3.2	ETICS with expanded polystyrene (EPS) insulation according to EN 13163:2012+A1:2015

| Building inspection requirement | Class pursuant to DIN EN 13501-1: 2010-01 | Provisions on use |
| --- | --- | --- |
| WDVS: flame-resistant | C-s2,d0 | - |
| Insulating material: flame-resistant | C-s2,d0 | Apparent density: ≤ 25 kg/m³, insulation thickness: ≤ 300 mm |
| constructive measures (fire barriers): non-combustible, dimensionally stable up to 1000 °C, Apparent density ≥ 60 kg/m², stable even in case of fire: Transverse tensile strength ≥ 5 kPa Minimum dimensions: Height: ≥ 200 mm | A2-s1,d0 | Fire protection measures against fire exposure from outside: 1. a fire block on the lower edge of the thermal insulation system or maximum 90 cm above ground level or used adjoining horizontal building units (e.g. rooftop parking decks, etc.), 2. a fire barrier at the ceiling of the firstfloor above ground level or adjacent horizontal building parts pursuant to Paragraph 1, but with an axis distance of not more than 3 m to the fire barrier below. For larger distances additional fire barriers should be installed, 3. a fire barrier at the ceiling of the thirdfloor above ground level or adjacent horizontal building parts pursuant to Paragraph 1, but with an axis distance of not more than 8 m to the fire barrier below. For larger distances additional fire barriers should be installed, 4. further fire barriers at exterior wall transitions to horizontal areas (e.g. transits, passageways, archways), provided these are in an area subject to fire stress from outdoors on the first to third floors . A fire block (as described above) shall furthermore be installed at most 1.0 m below adjacent combustible construction products (e.g. at the upper barrier of the thermal insulation system below a roof) within the insulation zone of the thermal insulation system. The thermal insulation system applied must meet the following requirements from the lower edge of the thermal insulation system to at least the height of the fire block as per No: Minimum thickness of plaster system (base and final coat) 4 mm, for the execution of prefabricated, clinker-type plaster units ('brick tile') thickness of base coat ≥ 4 mm, at building inside corners, fibreglass corner angles with areal density 280 g/m2 and tear resistance > 2.3 kN/5 cm (as delivered) must be incorporated and use of a reinforcement fabric with areal density ≥ 150 g/m2. Fire protection measures for fire exposure from exterior wall openings, above the fire block as per No 3: 1. Insulation material thickness d > 100 mm to d ≤ 300 mm for bonded or bonded-anchored thermal insulation systems When the following are used: exclusively minerally or organically bound adhesive mortars (no adhesive foam) minerally bound base and final coat (cement/lime binder) where Content in organic constituents in dry mass of base and final coat ≤ 5 % each, Wet application amount each ≥ 2.5 kg/m2, Total coat thickness (base and final coat) ≥ 4 mm organically bound base and final coat (binder: synthetic resin, silicone resin or silicate dispersion) with - Content in organic constituents in dry mass of base and final coat ≤ 10 % each, - Wet quantity applied 2.5 to 8 kg/m2 each, - Total coat thickness (base and final coat) 4 to 14 mm fire protection measures shall be carried out in the following areas: a) Above each opening in the area of the columns, projecting at least 300 mm laterally (left and right of the opening) and in the area of insulated jambs, b) When installing roller shutters or blinds directly above openings, or when mounting windows in the insulation plane, these must be enclosed on three sides – above and on both sides – with material at least 200 mm high and wide – as described under (a). The design according to a) and b) is not required if at least every second floor has a fire barrier running horizontally around the building. The insulating strips must be positioned so that a maximum distance of 0.5 m between the lower edge lintel and the upper edge fire block is maintained. 2. Insulating material thickness ≤ 100 mm: Windows are installed flush with or behind the shell edge. |
| ETICS normally flammable | E | - |
| Insulating material: normally flammable | E |  |

4	Sound insulation

If no nominal value is indicated, the thermal insulation system must be used with a value of ∆Rw = -6 dB when demonstrating sound insulation.

5	Thermal insulation

Mathematical proof of heat insulation must be carried out with the design values for thermal conductivity as per DIN 4108-4:2017-03.

6	Installation certificate for thermal insulation systems

The company that installed thermal insulation system in situ must issue a certificate for each building project certifying that the construction products (components) fitted by it meet the provisions of the European technical approval guideline or the European technical assessment as well as the applicable installation instructions and the provisions of this technical rule; the relevant classifications and properties must be indicated therein. This certificate must be issued to the property owner to forward onto the relevant building inspectorate, where required.

## Annex 12
 - 
Application rules for non-load-bearing permanent formwork kits/systems and formwork blocks for the construction of in-situ concrete walls

As at: May 2019

CONTENTS

Foreword

A	Special definitions

B	Stability and fitness for purpose

C	Fire protection

D	Sound insulation

E	Thermal insulation

References

Annex 1 Proof of resistance to horizontal impacts () at wall level for lattice-type and column-type walls, except for earthquake impacts

Foreword

This technical rule applies to the use or application of construction products or construction kits regulated in the following technical specifications:

- non-load-bearing permanent formwork blocks as per ETA built on the basis of ETAG 009 [1],

- non-load-bearing permanent formwork blocks of normal concrete and lightweight concrete as per EN 15435:2008 [2],

- non-load-bearing permanent formwork blocks of wood-chip concrete as per EN 15498:2008 [3].

The above-mentioned construction products or construction kits must be formed jointly so that they form a non-load-bearing lost formwork system to enable the construction of in-situ walls. The formwork blocks or formwork kits/systems as per I), II) and III) – hereinafter referred to as formwork blocks – remain part of the wall after the concrete core is concreted.

A	Special definitions

Geometric formation of load-bearing core concrete:

The geometric formation of the load-bearing core concrete is defined by the (non-load-bearing) formwork blocks and their arrangement. The concrete structure may be reinforced.

The core concrete thickness is defined as the smallest thickness above wall height of the geometric formation of the load-bearing core concrete.

Types according to geometric formation of the core concrete:

1.	Slab-type

Slab-type load-bearing core concrete is a concrete wall that is only interrupted at individual locations by punctiform spacers. The spacers must in general be regularly positioned. Total spacer cross-sectional areas must be no more than 1 % of the wall area.

2.	Lattice-type

Lattice-type load-bearing core concrete consists of concrete supports connected by horizontal concrete bars. The supports and bars occur due to the concreting in of the cavities in the formwork blocks. Vertical supports run over the entire height of the wall, without interruptions or reduction in the cross-sectional area.

3.	Column-type

Column-type load-bearing core concrete consists of regularly placed concrete supports without horizontal concrete bars or with concrete bars that have no mathematically load-bearing connection to the concrete supports. The supports occur due to the concreting in of the cavities in the formwork blocks. Vertical supports run over the entire height of the wall, without interruptions or reduction in the cross-sectional area.

4.	Other types

Other types not defined above.

B	Stability and fitness for purpose

B1	Dimensioning, construction and execution

The dimensioning, construction and execution of in-situ concrete walls with lost formwork block systems as per the above-mentioned technical specifications in line with A 1.2.3.1 of VV TB SH.

Formwork blocks must be laid dry.

Exterior walls built with formwork blocks must be protected against environmental impact by plaster or cladding.

To ensure that the reinforcing steel bars are connected, the formwork blocks may not be taken into account with the concrete surfacing.

For formwork blocks/systems as per ETA based on ETAG 009 [1] the statements on resistance to formwork pressure and/or statements on the maximum permitted fill level must be taken from the ETA. For formwork blocks as per EN 15435:2008 [2] and EN 15498:2008 [3], the resistance to formwork pressure (characteristic tensile strength of studs, characteristic bending tensile strength of walls) must be taken from the declaration of performance or the accompanying documents.

Where no maximum permitted fill level is specified, suitable static systems must be chosen to realistically determine the formwork load with the design loads due to fresh concrete pressure from DIN 18218:2010-01 [4]; Section B2 of this technical rule must be observed. To prove resistance to formwork pressure, the design values for the resistances (e.g. stud breaking stress, bending tensile strength of walls, tearing strength of the stud from the wall, where appropriate) should be compared to the design values for the stresses. The partial safety factors shall be determined according to DIN EN 1990:2010-12 and DIN EN 1990/NA: 2010-12 [5, 6].

B1.1	When designing and building a lattice-type, column-type or ‘other-type’ in-situ concrete wall from formwork blocks as per DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8], the following also applies:

1.	Only predominantly stationary effects are permitted. The design and construction of frames in earthquake circumstances are not covered by this technical rule.

2.	The thinness of the wall or the core concrete support may not exceed the value λ = 85.

3.	Higher in-situ concrete strength classes than C30/37 or LC30/33 may not be taken into account in calculations.

B1.2	When demonstrating resistance to horizontal effects () at wall level for lattice-type and column-type walls, the following also applies:

Walls may be designed as per Annex 1 if the horizontal concrete bars between the vertical pillars have a cross-section of at least 100 cm², the minimum thickness is at least triple the maximum particle size and at least four such bars are placed for each m of wall height. If this condition is not met, the design models as per Annex 1 may not be used. In this case, static proof of resistance against horizontal effects at wall level must be provided as if they were adjoining supports. The definition of bar recesses must be taken from ETA or DIN EN 15435:2008161, Section 3.1.10 [2] or DIN EN 15498:2008162, Figure 3.b [3].

For load-bearing walls of the latticework and column types, the length of the cross-section, in any direction, of the uninterrupted pillars shall be at least 120 mm over the entire wall height. This prohibits formwork components which do not fulfil this condition in their final state from being used for load-bearing walls.

The stability of non-load-bearing walls with dimensions smaller than 120 mm in the direction of a cross section must be demonstrated as per DIN 4103-1:2015-06 [9].

Annex 1 of this technical rule applies to the design of lattice-type walls at wall level under shear loading.

In case of stresses perpendicular to the plane of the wall, a wall of the latticework or column type must always be two-sided, i.e. such walls may normally be used only in structures where the ceilings have a disk-like effect.

The following reinforcements may be placed:

  - no more than 2 rebars in each concrete bar for lattice-type systems

  - in each support of the latticework type or column type systems, one vertical bar or a set of vertical bars combined into a mat for each side of the concrete cross-section, or a reinforcement basket for the entire concrete cross-section

For planning and execution, the following applies:

  - The horizontal dimensions, including spacers, of the reinforcement meshes and cages for vertical reinforcement must be smaller than the corresponding minimum dimensions of the concrete core to an appropriate extent.

For concrete coverings, the following applies: DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8].

The distance between the rebars is subject to the provisions pursuant to DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8].

If more than one reinforcing steel bar is positioned on one side of the concrete cross section, these must be connected to a mat (e.g. via welded-on or attached cross bars).

The vertical reinforcement may only be considered for structural-engineering purposes if it fulfils the associated reinforcement and construction requirements for normal-force and/or bending-stressed beams or columns pursuant to DIN EN 1992 1 1:2011-01 und DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8].

B2	In addition to DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8] the following applies:

1.	The minimum expansion class to be maintained and the maximum aggregate grain size for the fresh concrete used must match the information in the following Table 1 for all systems (including ‘slab-type’ systems.

Table 1

|  | Minimum filling area dimensions | Maximum aggregate grain size | Expansion class |
| --- | --- | --- | --- |
|  | 1 | 2 | 3 |
| 1 | < 120 mm | ≤ 16 mm | F5 |
| 2 | 120 to 140 mm | ≤ 16 mm | F3 |
| 3 | 140 mm | ≤ 32 mm | F2 |

The maximum expansion class must not exceed F5.

Fresh concrete at the lower end of expansion class F3 and below must be compacted by means of vibration.

Fresh concrete at the upper end of expansion class F3 and over must be compacted by means of raking.

The strength development of fresh concrete must be ‘Medium’ to ‘Fast’ according to DIN EN 206-1:2001-07, DIN EN 206-1/A1:2004-10 and DIN EN 206-1/A2:2005-09 [10] in conjunction with DIN 1045-2:2008-08 [11], Table 12.

2.	Horizontal construction joints should preferably be positioned at storey ceiling height. Where work stoppages cannot be avoided, vertical reinforcing steel bars (iron plug) must be placed as follows in the construction joints.

The iron plugs must be offset against each other and the distance between them must not be greater than 500 mm.

The total cross section must be at least 1/2000 of the cross section area of the concrete core to be connected, but at least two reinforcing steel bars B500 Ø 8 mm (or equivalent) must be positioned per meter of wall length.

The iron plugs must extend at least 200 mm in the concrete layers to be connected together.

3.	The concrete may be allowed to fall freely up to a height of 2 m, beyond this the concrete must be held together by material pipes or concreting pipes with a maximum diameter of 100mm and conducted to shortly before the installation site. Material cones should be avoided due to the short filling point intervals.

Sufficient space must be provided in the reinforcement for material pipes or concreting pipes. The DBV explanatory leaflet "Betonierbarkeit von Bauteilen aus Beton und Stahlbeton" [Concreting capability of concrete and reinforced concrete components] [12] – 01/2014 must be observed.

4.	The walls may not deviate from the perpendicular by more than 5 mm per running meter of wall height – by more than 15 mm from wall heights of 3 m and up – and must comply with the evenness tolerance for wall surfaces under DIN 18202:2013-04, Table 3, row 6 [13].

C	Fire protection

C1	Fire resistance

For load-bearing wall constructions built using the aforementioned formwork blocks or formwork kits/systems, fire resistance in respect of stability (load-bearing capacity criterion R) for generally interior load-bearing concrete constructions pursuant to DIN EN 1992-1-2:2010-12 [14] in conjunction with DIN EN 1992-1-2/NA:2010-12 [15] may be provided if stability can be fully demonstrated at normal temperatures based on DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8]. The extent to which assessment of fire resistance in respect of space barrier and insulation (EI) or load-bearing capacity, space barrier and insulation (REI) is possible, depends on the corresponding framework conditions of the verification procedure under DIN EN 1992-1-2:2010-12 [14] taking into account DIN EN 1992-1-2/NA:2010-12 [15].

There is no universally applicable technical rule on test-specific proof.

C2	Fire characteristics

For non-load-bearing lost formwork blocks made of expanded polystyrene (EPS) insulating material as per EN 13163:2012+A2:2016 [16], the TR ‘WDVS mit ETA nach ETAG 004’ [thermal insulation systems with ETA as per ETAG 004] (June 2016) Section 3.2, shall apply analogously in respect of classification in terms of building inspection requirements according to DIN EN 13501-1:2010-01 [17].

D	Sound insulation

If formwork blocks are used in cases where sound insulation requirements apply, proof of sound insulation as per DIN 4109-1:2018-01 [18] and DIN 4109-32:2016-07 [20] must be provided.

E	Thermal insulation

The nominal thermal resistance value of the formwork blocks indicated based on the above technical specifications under [1], [2] and [3]) must be converted into a design value for proof of thermal insulation. The design value is the nominal value divided by the safety factor = 1.2.

For formwork blocks, proof of thermal insulation may alternatively be provided using the thermal conductivity design values for individual components as per DIN 4108-4:2017-03 [21].

Only insulating materials with compression stress of at least ≥ 100 kPa [16] at 10 % compression may be used as integrated insulating materials, i.e. insulating materials inlaid inside formwork blocks directly exposed to fresh concrete pressure.

References

[1]	ETAG 009:2002-06	Non-load-bearing lost formwork kits/systems consisting of shuttering blocks/modular chimney blocks or elements from thermal insulation products and, occasionally, concrete

[2]	DIN EN 15435:2008-10 	Precast concrete products - Formwork blocks of normal and lightweight concrete - Product properties and performance characteristics; German version EN 15435:2008

[3]	DIN EN 15498:2008-08 	Precast concrete products - Wood-chip formwork blocks - Product characteristics and performance characteristics; German version EN 15498:2008

[4]	DIN 18218:2010-01	Pressure of fresh concrete on vertical formwork

[5]	DIN EN 1990:2010-12 	Eurocode: Bases of structural design; German version EN 1990:2002+A1:2005+A1:2005/AC:2010

[6]	DIN EN 1990/NA:2010-12 	National Annex - Nationally determined parameters - Eurocode: Basis of structural design

[7]	DIN EN 1992-1-1:2011-01	Eurocode 2: Design and construction of reinforced concrete and

DIN EN 1992-1-1/A1:2015-03	Prestressed concrete structures - Part 1-1: General rules and rules for buildings; German version EN 1992-1-1:2004 + AC:2010

[8]	DIN EN 1992-1-1/NA 	National Annex: 2013-04 - National Annex – Nationally

DIN EN 1992-1-1/NA/A1:2015-12	determined parameters - Eurocode 2: Design and construction of reinforced concrete and prestressed concrete structures - Part 1-1: General rules and rules for buildings

[9]	DIN 4103-1:2015-06	Non-load-bearing interior dividing walls – Part 1: Requirements and testing

[10]	DIN EN 206-1:2001-07	Concrete - Part 1: Specification, properties, production and conformity; German version EN 206-1:2000

DIN EN 206-1/A1:2004-10	Amendment A1

DIN EN 206-1/A2:2005-09	Amendment A2

[11]	DIN 1045-2:2008-08	Concrete, reinforced concrete and prestressed concrete structures - Part 2: Concrete – Specification, properties, production and conformity – Application rules for DIN EN 206-1

[12]	DBV leaflet 	Constructibility of concrete and reinforced concrete structures – Recommendations for design and execution of concrete works - 01/2014

[13]	DIN 18202:2013-04	Tolerances in building structure - Structures

[14]	DIN EN 1992-1-2:2010-12 	Design and construction of reinforced concrete and prestressed concrete supporting structures - Part 1-2: General rules – Structural fire design; German version EN 1992-1-2:2004 + AC:2008

[15]	DIN EN 1992-1-2/NA:2010-12	National Annex - Nationally determined parameters – Eurocode 2: Design of concrete structures – Part 1-2: General rules – Structural fire design

[16]	DIN EN 13163:2017-02	Thermal insulation products for buildings - Factory-made expanded perlite (EP) products - Specification; German version EN 13163:2012+A2:2016

[17]	DIN EN 13501-1:2010-01	Fire classification of construction products and building elements – Part 1: Classification using data from fire-resistant characteristics tests; German version EN 13501-1:2007+A1:2009

[18]	DIN 4109-1:2018-01	Sound insulation in structural engineering – Part 1: Minimum requirements

[19]	DIN 4109-2:2018-01	Sound insulation in structural engineering – Part 2: Mathematical proof of compliance with the requirements

[20]	DIN 4109-32:2016-07	Sound insulation in structural engineering – Part 32: Data for mathematical proof of sound insulation (component catalogue) – Solid construction

[21]	DIN 4108-4:2017-03	Thermal insulation and energy saving in buildings – Part 4: Thermal and moisture protection coefficients

Annex 1
Proof of resistance to horizontal impacts () at wall level for lattice-type and column-type walls, except for earthquake impacts

Design resistance is determined by choosing a relevant model (see (a), (b) or (c) below and the concrete used (normal or lightweight concrete). When determining the relevant impacts, account shall be taken of DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8].

Partial safety coefficients for ‘extraordinary design situations’ must be chosen in line with those for ‘constant and temporary design situations’.

Three static models as per Fig. 1 may be applied:

  - Frame model (unreinforced concrete)

  - Model with continuous struts (unreinforced concrete)

  - Beam model (reinforced concrete)

a) Framework model	b) Model with continuous struts	c) Beam model

Figure 1:	Static models for horizontal shear forces

Proof of horizontal forces along the wall (shear forces)  must be provided as follows:

where i = 1 to 3 (design resistance of individual models)

Under the combined effect of horizontal and vertical loads the concrete supports must remain as is , i.e. no tensile stress should occur, otherwise the planners must order vertical reinforcement in the supports to cover the tensile strength.

Proof  of the static models suggested may be provided using the following approaches:

A	Frame model

The design resistance  of the framework model depends on the tensile strength of the concrete bar. Assuming parabolic shear flow distribution along the length of the wall L under the beam theory and zero point moment in the middle of the concrete bar, the load-bearing capacity of a concrete bar is reached if the tensile strength exceeds the tensile strength of the concrete due to maximum bending moment at the bar/support intersection. The maximum shear stress value  is derived using equation (1):

(1)

thus giving a maximum shearing force  in a concrete bar or

(2)

The maximum related bending moment  in a concrete bar is	(3)

With a given resistance moment  for the concrete bar and a characteristic concrete tensile strength  this gives the following design resistance for a wall:

(4)

In equation (4) the following designations apply (see Figure. 2):

Design shear strength as per framework model;

Wall length;

hs	Distance between concrete bar centres;

lr	clear length of concrete bar;

Zr	resistance moment of concrete bar;

characteristic tensile strength of concrete;

[MN/m²];

characteristic compressive strength of concrete (cylinder);

where		partial safety factor for tensile strength of in-situ concrete;

where		for normal in-situ concrete;

for in-situ lightweight concrete with a calculated dry bulk density value of ρ in [kg/m³].

Figure 2:Designations

| Beton-Riegel | Concrete bar |
| --- | --- |
| stütze | support |

B	Model with continuous struts

The design resistance  of the model with continuous struts depends on the strength n of struts running continuously through the wall from one storey to the next (see Fig. 1 and 3).

Figure 3:Height dc of a continuous strut

| Durchbrüche im Kernbeton | Penetrations in core concrete |
| --- | --- |
| durch Stege der Schalungssteine | through studs in formwork blocks |

The design resistance of a strut is determined using equation (5). The angle of inclination  for the struts is derived from Fig. 3.

The design resistance HRd,2 is derived from equation (5):

(5)

where

=	Design resistance as per model with continuous struts;

=	Number of continuous struts in a wall;

=	Design value of concrete compressive strength;

=	 (corresponds to equation 6.6N in [8] or [9]);

=	Strut thickness;

=	Strut height (at least 70mm);

=	Slope of the struts 30°   60°;

=	Design value of standard force.

C	Beam model

Design resistance  under the beam model can be determined using same design rules as for reinforced concrete beams. The concrete diagonal strut does not run over the entire storey but within the concrete support. The concrete diagonal strut is re-suspended using the reinforcement. This ‘re-suspended reinforcement’ is formed using horizontal reinforcing steel bars running within the concrete bar of the support/bar system. Adequate end anchoring of the horizontal rods - e.g. by overlapping the reinforcement – shall be ensured in accordance with DIN EN 1992-1-1:2011-01 and DIN EN 1992-1-1/A1:2015-03 [7] in conjunction with DIN EN 1992-1-1/NA:2013-04 and DIN EN 1992-1-1/NA/A1:2015-12 [8], Section 8.

The design resistance  of re-suspended reinforcement is derived from equation (6):

(6)

where

=	Design resistance of re-suspended reinforcement as per beam model;

=	Cross section of horizontal re-suspended reinforcement;

=	Cross section of vertical concrete bar reinforcement;

=	Width of the concrete columns under consideration;

=	Design value of steel resistance of re-suspended reinforcement.

Design resistance HRd,3b of the diagonal strut is derived from equation (7) in the same way as with (5):

(7)

where

=	1;

=	Slope of the struts 30°   60°.

The design resistance  in the beam model in accordance with Figure 1c) follows from equation (8):

(8)

## Annex 13
 - 
Guideline on roller shutter cases (RokR)

As at: July 2016

CONTENTS

1	Scope

2	Thermal insulation

3	Sound insulation

4	Main features for the ‘Ü-Zeichen’ conformity mark

1	Scope

This directive applies to factory-made roller shutter housings (including roller shutter covers), which comply with the heat and sound insulation requirements.

The components of the roller shutter housings must consist of at least normally flammable materials.

For factory-made roller shutter housings with a static support function in the structure, the technical regulations laid down in Section C 2 must also be observed for the relevant construction product.

2	Thermal insulation

2.1 	Requirements for minimum heat insulation

Requirements have been laid down for the heat transmission limit and for the surface temperature.

The roller shutter housings must meet the requirements of the minimum heat insulation in accordance with DIN 4108-2:2013-02, Section 5.1.3.

This requirement is considered fulfilled if the heat transfer coefficient Usb of the roller shutter housing, as calculated according to Section 2.2 or measured according to Section 2.3, is Usb  0.85 W/(m²  K) and the temperature factor calculated according to Section 2.2 is fRsi  0.70.

2.2	Calculation of the heat transmission coefficient Usb and the temperature factor fRsi

The heat transmission coefficient Usb of the roller shutter housings shall be calculated two-dimensionally in accordance with DIN EN ISO 10077-2:2012-06 and rounded to two digits. The calculation is to be carried out with a blind frame with a 60 mm constructional depth, which for the purposes of this Directive is to be regarded as adiabatic. The fixed frame shall be set together with the outer side of the actual or planned window area, irrespective of its width.

During the two-dimensional calculation, the heat flux density shall be obtained from the relevant height bsb in accordance with DIN EN ISO 10077-2:2012-06.

The temperature factor fRsi of the roller shutters shall be calculated two-dimensionally in accordance with DIN EN ISO 10211:2008-04 in conjunction with DIN EN ISO 10077-2:2012-06 and rounded to two digits. The calculation shall be conducted using a 70 mm-deep invisible frame made of wood with a thermal conductivity of  = 0.13 W/(m  K) under the conditions stated in DIN 4108-2:2013-02. For the contact resistances, the conditions shall be set in accordance with Addendum 2 to DIN 4108:2006-03. The upper façade shall be considered as adiabatic for the purposes of this Directive.

For the components of the roller shutter housing, the respective rated thermal conductivity values are to be set in accordance with DIN EN ISO 10456:2010-05, DIN EN ISO 10077-2:2012-06 or DIN 4108-4:2017-03. For polyurethane foam insulated layers, the rated thermal conductivity value is set at  = 0.035 W/(m  K). The equivalent thermal conductivity of the roller area shall be set in accordance with DIN EN ISO 10077-2:2012-06. Suitable seals, e.g. brush seals, may be applied to reduce the size of the aperture.

2.3	Measurement of the heat transmission coefficient Usb

The heat transmission coefficient Usb of the roller shutter housing shall be determined in accordance with DIN EN 12412-4:2003-11.

3	Sound insulation

Where sound insulation characteristics are shown for the roller shutters, the associated calculated value for the rated sound insulation value shall be determined either:

either on the basis of the housing’s structural features in accordance with DIN 4109-35:2016-07, Table 6

by measurement in accordance with DIN EN ISO 10140-1:2012-05, DIN EN ISO 10140-2, -4 and -5:2010-12 and evaluation in accordance with DIN EN ISO 717-1:2013-06 and DIN 4109-2:2016-07, Section 4.4.2.

Test reports in accordance with DIN EN 20140-3:1995-05 and DIN EN ISO 140-3:2005-03 in conjunction with DIN EN ISO 717-1:1997-01, or DIN EN ISO 717-1:2006-11 or DIN EN ISO 717-1:2013-06, that are created before the entry into force of this edition of the administrative provision in the Building Regulations may continue to be used.

4	Main features for the ‘Ü-Zeichen’ conformity mark

In the ‘Ü-Zeichen’ conformity mark of a roller shutter housing which complies with the requirements of Sections 1 and 2, the heat transfer coefficient Usb is to be indicated as an essential feature in roller shutter housings with sound insulation properties in accordance with Section 3, in addition to the rated sound insulation value ‘RW = ...’.

The main features of the ‘Ü-Zeichen’ conformity mark also include the information for combining roller shutter housings with roller shutter housing covers.

For roller shutter housings with a static support function in the structure, the regulations for marking in accordance with the relevant technical rule must also be observed.

## Annex 14
 - 
Technical rule on Technical Building Equipment – TR TGA

As at: May 2019

CONTENTS

1	Firing systems

2	Fire alarm system

3	Alarm systems

4	Emergency lighting systems

5	Emergency power supply systems

6	Ventilation systems

7	Smoke extraction systems and smoke extraction devices

8	Pressure ventilation systems

9	CO warning systems

10	Fire extinguisher systems

1	Firing systems

1.1	Purpose of the systems

Firing systems consist of fixed furnaces and exhaust systems. Furnaces generate heat by burning liquid, gaseous or solid fuels. Fixed systems include systems and equipment connected via flexible pipes to fixed fuel supply lines. Other heat-producing systems are fixed combustion engines, combined heat and power plants, fuel cells, and compressors.

1.2	Operational and fire safety

For operational and fire safety, firing systems must be designed in compliance with technical best practices and using suitable construction products. In doing so, the requirements of the technical rule included in the VV TB SH under Paragraph A 2.2.1.12 must be observed, including in terms of combustion air supply, placement of furnaces, distances to combustible building materials, exhaust gas discharge, and fire resistance between floors.

Electrically supplied parts such as motors, sensors and switches must be appropriately dimensioned, insulated and protected; this also applies to impacts due to moisture and cold or heat.

System components used to transport fuel must be designed in such manner that fuels cannot ignite spontaneously in these system components nor in the fuel containers preceding them.

1.3	Installation of furnaces

Detailed requirements for the design and permitted uses of installation areas for furnaces are specified in the technical rule included in the VV TB SH under Paragraph A 2.2.1.12.

Boiler rooms are required according to the technical rule included in the VV TB SH in Paragraph A 2.2.1.12 if solid fuels are used and performance limits are exceeded.

1.4	Spread of fire and safe exhaust discharge

To prevent the spread of fire and to ensure that exhaust gases are properly discharged, the provisions of the technical rule included in the VV TB SH in Paragraph A 2.2.1.12 must be observed.

1.5	Fuel supply and storage

The provisions of the technical rule included in the VV TB SH in Paragraph A 2.2.1.12 must be observed for all fuels. In particular, the provisions on storage of fuels, including with regard to the provisions of the Product Safety Act [Produktsicherheitsgesetz], must be observed.

The building inspection requirements for the supply and connection of furnaces for gas and liquid gas as fuels shall be considered fulfilled if the technical regulations of the German Gas and Water Specialist Association (DVGW) or the German Liquid Gas Specalist Association (DVFG) have been followed in the construction of the fuel supply system.

1.6	Fundamental requirements

1.6.1	Fundamental requirements for firing systems

Proof that the exhaust gases from furnaces are properly discharged into the open air under all normal operating conditions and that there is no dangerous overpressure against rooms, must be given in accordance with DIN EN 13384-1:2008-08 or DIN EN 13384-2:2015-06 as appropriate.

Adequate combustion air supply for the operation of open-flue furnaces shall be ensured taking account of building impermeability and in compliance with the technical rule included in the VV TB SH in Paragraph A 2.2.1.12. Operational safety of open-flue furnaces must not be affected by the operation of ambient air extraction systems such as ventilation or hot air heating systems, extraction device hoods and tumble dryers.

In room-sealed furnaces, the required combustion air shall be supplied via air-tight ducts directly from the outside or via an air shaft, e.g. an air-exhaust system and a connecting line: it must not be taken from the installation areas of the furnaces. Proof of sufficient combustion air supply for the operation of room-sealed furnaces shall be provided in accordance with DIN EN 13384-1:2008-08 or DIN EN 13384-2:2015-06.

Room-sealed solid-fuel furnaces may only be installed in rooms, apartments or unit of similar size with systems that extract air from the room if the air supply-side dimensioning is such that no negative pressure greater than 8 Pa with respect to ambient air can be produced by the operation of the room-air extraction systems in the installation area, apartment or similar unit.

Room-sealed solid fuel furnaces must have automatic, tight-closing doors or other measures must be in place during operation to ensure that combustion gases cannot escape in hazardous amounts.

Due to their mode of operation, room-sealed furnaces may also be installed in units that are permanently air-impermeable in accordance with the state of the art as well as in units equipped with mechanical ventilation systems.

For the installation and operation of furnaces, additional requirements may arise from other areas of legislation, e.g. from federal emissions legislation, the Energy Saving Ordinance [Energieeinsparverordnung] or the Chimney Sweeping and Inspection Order [Kehr- und Überprüfungsordnung].

1.6.2	Fundamental requirements for independent safety equipment

To ensure the safe combined operation of ventilation systems, including ventilation extracting room air such as extraction device hoods or exhaust air dryers and open-flue furnaces, self-contained safety devices may be used to prevent the occurrence of dangerous negative pressure in the installation room in any operational state of the furnace.

Safety devices for differential pressure measurement must be designed in such manner that a negative pressure of 4 Pa in the installation room with respect to the ambient atmosphere is not exceeded.

Safety devices using an exhaust gas temperature sensor must be designed in such manner that the sensor triggers differential pressure measurement, position monitoring or other monitoring methods at a maximum exhaust gas temperature of 50 °C (solid fuel furnace).

Self-contained safety devices may be used only in units that can monitor the space of installation of the open-flue furnace and connected spaces. It should be kept in mind that the open-flue furnace should not be connected to an exhaust system with multiple connections.

Secure data transmission shall be ensured. Unauthorised access to safety-relevant functions shall be prevented.

The use of a safety device is not a substitute for professional dimensioning and execution of the air conditioning and firing systems in terms of the required combustion air supply and exhaust gas discharge with respect to the surrounding space. Self-contained safety devices may be installed only by persons with sufficient expertise. Where a safety device is installed, the operator shall inform the competent authorised district chimney sweep.

1.7	Requirements for the use of furnaces

1.7.1	Fundamental requirements

The building inspection requirements are deemed fulfilled if furnaces are used in accordance with this technical rule

with CE marking pursuant to the

  - Regulation (EU) No 305/2011 (Construction Products Regulation) (on residential appliances burning solid and liquid fuels), in particular in accordance with Section 1.9 of this technical rule,

  - Regulation (EU) 2016/426 (Gas Appliances Regulation) (on appliances burning gaseous fuels),

  - Directive 2006/42/EC (Machinery Directive) (on furnaces for liquid and solid fuels with motorised drive),

  - Directive 2014/35/EC (Low-Voltage Directive) (on e.g. furnaces for liquid and solid fuels with combustion air controls or convection air blowers) or

  - Directive 2014/68/EU (Pressure Equipment Directive) (on assemblies for the production of hot water),

without CE marking, e.g. if constructed in accordance with ‘Specialist Regulation [Fachregel] on furnace and air heating construction’, TR OL 2006, 2010 edition’, or if they are solid fuel furnaces without motorised drive, with the exception of residential furnaces, or

with building inspection proof of fitness for purpose.

1.7.2	Furnaces for solid and liquid fuels with CE marking based on harmonised technical specifications pursuant to the Construction Products Regulation

In order to fulfil the building inspection requirements, the performance of the construction products used in terms of fundamental characteristics must at least satisfy Table 1

Explanation for Table 1

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 13240:2001, EN 13240:2001/A2:2004 and EN 13240:2001/AC:2006 and EN 13240:2001/A2:2004/AC:2007 Solid fuel room heaters - Requirements and tests |
| 3 | EN 13229:2001, EN 13229:2001/A1:2003, EN 13229:2001/AC:2006 and EN 13229:2001/A2:2004/AC:2007 Inset appliances including open fires fired by solid fuels - Requirements and test methods |
| 4 | EN 12815:2001, EN 12815:2001/A1:2004 and EN12815:2001/AC:2006 and EN 12815:2001/A1:2004/AC:2007 - Residential cookers fired by solid fuel – Requirements and test methods |
| 5 | EN 12809:2001, EN 12809:2001/A1:2004, EN 12809:2001/AC:2006/AC:2007 + EN 12809:2001/A1:2004/AC:2007 Residential independent boilers fired by solid fuel - Nominal heat output up to 50 kW - Requirements and test methods |
| 6 | EN 15250:2007 Slow heat release appliances fired by solid fuel - Requirements and test methods |
| 7 | EN 14785:2006 Residential space heating appliances fired by wood pellets - Requirements and test methods |
| 8 | EN 15821:2010 Multi-firing sauna stoves fired by natural wood logs – Requirements and test methods |
| 9 | EN 1:1998 and EN1:1998/A1:2007 Flued oil stoves with vaporising burners and chimney connection |

Table 1

| Material characteristic | Product based on harmonised standard |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| Fire safety |  |  |  |  |  |  |  |  |
| Distances to combustible materials | L | L | L | L | L | L | L | L |
| Fire hazard due to falling out of burning fuel | X | X | X | X | X | X | X | - |
| Emissions of combustion products (at nominal heat output and if indicated at partial load and light load) |  |  |  |  |  |  |  |  |
| CO | L | L | L | L | L | L | L | K* |
| Release of hazardous substances. | X | X | X | X | X | X | X | X |
| Surface temperature | X | X | X | X | X | X | X | X |
| Electrical safety | X | X | X | X | X | X | X | X |
| Cleanability | - | - | - | - | - | - | - | - |
| Maximum operating pressure (applies only if the furnace is equipped with water-carrying components) | L | L | L | L | L | L | L | - |
| Mechanical strength (capacity to support a chimney) | - | - | - | - | - | - | - | - |
| Heat output/efficiency |  |  |  |  |  |  |  |  |
| Nominal room heat output | L | L | L | L | L | L | L | L |
| Nominal water heat output (if applicable)1 | L | L | L | L | L | L | L | - |
| Partial-load room heat output (if specified by the manufacturer)2 | L | L | L | L | L | L | L | L |
| Partial load water heat output (if applicable1 and if specified2) | L | L | L | L | L | L | L | - |
| Partial-load room heat output (if specified by the manufacturer2) | L | L | L | L | L | L | L | - |
| Light-load water heat output (if applicable1 and if specified by the manufacturer2) | L | L | L | L | L | L | L | - |
| Efficiency at nominal heat output | L | L | L | L | L | L | L | K |
| Efficiency at partial-load heat output (if specified by the manufacturer2) | L | L | L | L | L | L | L | - |
| Exhaust gas temperature at nominal heat output and partial-load heat output (if specified) | L | L | L | L | L | L | L | L |
| Durability | - | - | - | - | - | - | - | - |
| - Water heat output – Output must be specified if the furnace has a water heat exchanger; - if the manufacturer intends the furnace to operate under partial load or light load, the heat output must be specified for these cases; this applies both with and without a water heat exchanger; X must be fulfilled K Classification required K* In addition to CO value and efficiency, the class may comprise other parameters. L Value for performance required - fundamental characteristic not included in Annex ZA for the construction product, or included in Annex ZA but not required under building supervisory rules |  |  |  |  |  |  |  |  |

When using furnaces according to the Construction Products Regulation, except for sauna stoves according to EN 15821:2010, it should be kept in mind that

the distance to components made of combustible building materials, as specified by the CE marking, is observed, where adjacent components shall have a thermal resistance, in accordance with the harmonised standard, of R ≤ 1.2 m² K/W for solid fuel furnaces and R ≤ 0.127 m² K/W for liquid fuel furnaces, unless otherwise specified in the declarations of performance with respect to the thermal resistance of the adjacent components. In case of higher thermal resistances, additional measures may be required, e.g. according to DIN 18896:2014-02, Section 4.4.1.

for inset appliances in furnaces, the provisions of the ‘Specialist Regulation [Fachregel] on furnace and air heating construction, TG OL 2006, 2010 edition’ or the manufacturer’s specifications, e.g. pursuant to EN 13229:2001, shall be observed,

when using slow heat release appliances

- 1.	the nominal heat output (kW) of the furnace is specified on the basis of the total heat output [kJ] and the time until the average surface temperature is 25% of the maximum value, and

- 2	mineral structures of the furnace that come into contact with fire or exhaust gas, have the following characteristics as described in Table 2.

Table 2:

| Materials | Apparent density [kg/dm³] |
| --- | --- |
| Standard chamotte | 1.75 to 2.2 |
| Dense chamotte | 2.3 to 4.0 |
| Vermiculite | 0.6 to 1.5 |
| Soapstone1 | 2.8 to 3.2 |
| Fire-proof concrete | 1.9 to 2.8 |
| 1 not for the furnace |  |

or the durability requirements of relevant standards have been demonstrated as follows.

- Fire resistance (pyrometric cone equivalent as a fire resistance index) > 15,

- Thermal shock resistance ≥ 25 cycles,

- Thermal linear expansion ≤ 1.5 %,

- permanent change in length after exposure to temperature <1.5 %.

1.7.3	Furnaces with CE marking on the basis of harmonised legislation other than the Construction Products Regulation

When using furnaces without CE marking pursuant to the Construction Products Regulation, the following applies:

For the construction and operation of furnaces for gaseous fuels with CE marking pursuant to the Gas Appliances Regulation or the Machinery Directive, the requirements of the ‘technical rules for Gas Installations’ (DVGW Guideline G 600, technical rules for Gas Installations, DVGW-TRGI, 2018 version) or the technical rules summarised in the ‘technical rules for Liquefied Petroleum Gas’ (TRF 2012), shall be observed, taking account of the technical rule included in the VV TB SH in Paragraph A 2.2.1.12. This includes the exhaust system.

For the construction and operation of furnaces for liquid fuels with CE marking pursuant to the Machinery Directive, the technical rules summarised in the ‘technical rules for Oil Installations’ (TRÖl 2.0) shall be observed, together with the technical rule included in Paragraph A 2.2.1.12 of the VV TB SH.

1.7.4	Furnaces without CE marking

For the construction and operation of on-site built solid fuel furnaces with handcrafted furnaces, the technical rules summarised in the ‘Specialist Rules for Furnaces and Air Heating Systems’ TR OL 2006, 2010 edition, shall be observed together with the technical rule included in the VV TB SH n Paragraph A 2.2.1.12.

The following insulation materials may be used in accordance with the implementing provisions of the TR OL 2006, version 2010, for on-site built furnaces:

Thermal insulation products for building equipment and industrial installations - Factory made mineral wool (MW) products – pursuant to DIN EN 14303:2016-08;

Thermal insulation products for building equipment and industrial installations – Factory made calcium silicate (CS) products – pursuant to DIN EN 14306:2016-03;

Thermal insulation products for building equipment and industrial installations – Factory made expanded perlite (EP) and exfoliated vermiculite (EV) products pursuant to DIN EN 15501:2016-03.

1.8	Requirements for the construction and safe use of exhaust systems

Exhaust systems shall safely discharge the exhaust gases from furnaces to the outside. Exhaust systems, such as exhaust pipes, chimneys, air-exhaust systems, air-exhaust gas chimneys and connecting elements, may be constructed either from individual components (assembly exhaust system) or kits (system exhaust system) in accordance with this Section.

The building inspection requirements apply to the design and construction of exhaust systems for the discharge of exhaust gases from furnaces fired with solid, liquid or gaseous fuels, as well as for the discharge of exhaust gases from heat pumps, combined heat and power plants, and stationary interior combustion engines, if the rules of DIN V 18160-1:2006-01, except for Sections 5.2.1, 6.2, 6.5, 6.9, 6.10.1 and 6.10.2, in conjunction with DIN V 18160-1 Beiblatt 1:2015-11 and Supplement 2:2016 -04 as well as the following provisions.

Components of exhaust gas systems shall be at least normally flammable in terms of their fire characteristics.

The distance to combustible building materials, as specified in the marking of construction products for exhaust gas systems, applies only to adjacent walls with thermal resistance R ≤ 2.7 m2K/With and ceilings and roofs that need to be passed through, with thermal resistance R ≤ 5.4 m2K/W. The use of exhaust systems in buildings with wall, ceiling and roof structures made of or with combustible building materials with higher thermal resistances is permitted only if covered by harmonised specifications or if an appropriate type approval has been granted.

Where exhaust systems extend across floors they must be designed in such manner that in case of an indoor fire with an external fire impact on the surfaces of the exhaust system, propagation of the fire is prevented beyond a specified time. Such exhaust systems must therefore have a sufficiently long fire resistance time. This may be achieved by an appropriate choice of materials and construction for the exhaust system or by combining them with a shaft.

For applications subject to requirements for the fire resistance time of the exhaust system to prevent the transfer of fire between floors, the fire resistance shall be documented in accordance with DIN 18160-60:2014-02 in case of thermal stress from the heating operation, including a thermal pre-treatment.

Executed exhaust gas systems must be permanently and visibly marked, depending on the application, with at least the following information:

Standard number: DIN V 18160-1:2006-01,

The temperature class Txxx indicates the nominal operating temperature xxx in °C up to which the executed exhaust system can be operated.

The gas tightness/pressure class specifies the mode of operation for which the exhaust system is suitable:

- ‘ N1’ and ‘ N2’ for underpressure, ‘P1’ also for overpressure ≤ 200 Pa

- ‘ P2’ also for overpressure ≤ 200 Pa outdoors

- ‘ H1’ also for overpressure ≤ 5 000 Pa

- ‘ H2’ also for overpressure ≤ 5 000 Pa outdoors.

The condensate resistance class: specifies the operating conditions for which the exhaust system is suitable:

- ‘D’ for planned dry operation (without falling below the dew point),

- ‘ W’ also for planned wet operation.

The corrosion resistance class specifies the fuel type for which the exhaust system is suitable:

- ‘1’ for gaseous fuels with a sulfur content ≤ 50 mg/m³, such as LPG, natural gas (L-gas and H-gas), and for liquid fuels with a sulfur content ≤ 50 mg/kg, ‘2’ for gaseous fuels, for liquid fuels with a sulfur content ≤ 2 000 mg/kg and for wood in exclusively open fireplaces, ‘3’ for gaseous and liquid fuels and for wood, coal and peat.

The soot fire resistance class with specifications for distance from combustible building materials 
‘Oxx’ indicates that the exhaust system is not resistant to soot fires, and is accordingly suitable only as an exhaust gas duct for gaseous and liquid fuel furnaces;

- ‘Gxx’ indicates that the exhaust system is resistant to soot fires and is accordingly suitable as a chimney for solid fuel furnaces;

- ‘xx’ indicates the necessary minimum distance from the outer surface area of the flue to combustible components, where xx is the numerical value of the minimum distance in rounded millimetres.

The fire resistance class LAindicates the time during which an exhaust system is able to withstand external exposure to fire, and during which there will be no transfer of the fire via its surfaces to other fire compartments. The possible classes are set out in Table 3.

- Table 3

| Building inspection requirement and classification pursuant to DIN 18160-60 for exhaust systems |  |  |
| --- | --- | --- |
| Building inspection requirement | Fire resistance classes |  |
| fire retardant | LA30* | Fire resistance time ≥ 30 minutes |
| fire-resistant | LA90* | Fire resistance time ≥ 90 minutes |
| * The fire resistance indicated must be tested with thermal pre-treatment according to the chosen temperature class (e.g. T. |  |  |

Each performance indicator must correspond to the required class or a higher class in the following order:

T600 >T450 >T400 >T300 >T250 >T200 >T160 >T140 >T120 >T100 >T080;

H > P > N; Wx > Dx; D3 > D2 > D1; W3 > W2 > W1; G > O.

Example marking of an executed exhaust system:

| Exhaust system DIN V 18160-1 |  |  |  |  |  |  |  |  |  | T400 |  | P1 |  |  | W |  | 1 |  | O50 |  | LA90 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Standard number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temperature class |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gas tightness/pressure class |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Condensate resistance class |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Corrosion resistance class |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Soot fire resistance class with specifications for distance from combustible building materials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire resistance class |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Exterior shells of exhaust gas systems pursuant to DIN V 18160-1:2006-01 that are designed as assembly chimneys must have performance characteristics satisfying the same or a higher performance class than that required for the proposed design. To this end, construction products in accordance with EN 1858: 2008+A1:2001, EN 12446: 2011, EN 13069: 2005 and EN 1806:2006 may be used, and must be marked at least with T400 and G. If the application is subject to fire resistance requirements, this shall be documented pursuant to DIN 18160-60:2014-02 in the form of a building supervisory proof of fitness for purpose. The proof may be provided for the outer shell alone or for structures with multiple shells.

The following may also be used to manufacture outer shells from masonry:

Masonry bricks pursuant to DIN EN 771-1:2015-11 in conjunction with DIN 20000-401:2017-01 or alternatively DIN 105-100:01-2012, with wall thickness  11.5 cm;

Solid bricks (Mz) and perforated bricks type A (HLzA) in accordance with EN 771-1:2015-11 in conjunction with DIN 20000-401:2017-01 or alternatively DIN 105-100:2012-01 with wall thickness ≥ 11.5 cm and apparent density ≥ 1.2 kg/dm³;

Perforated bricks type B (HLzB) in accordance with EN 771-1:2015-11 in conjunction with DIN 20000-401:2017-01 or alternatively DIN 105-100:2012-01 with wall thickness ≥ 24 cm and apparent density ≥ 1.2 kg/dm³;

Sand-lime bricks pursuant to DIN EN 771-2:2015-11 in conjunction with DIN 20000-402:2017-01 with wall thickness  11.5 cm;

Aerated concrete blocks pursuant to DIN EN 771-4:2011-07 in conjunction with DIN 20000-404:2015-12 with wall thickness  10 cm;

Hollow bricks made of lightweight concrete as per DIN 18151 with wall thickness  17.5 cm;

Solid lightweight concrete bricks pursuant to DIN EN 771-3:2005-05 in conjunction with DIN V 20000-403:2005-06 or DIN V 18152-100:2005-10 with wall thickness  11.5 cm are deemed equivalent.

Outer shells made from the above-mentioned masonry correspond to classification T400 G50 LA90.

For assembled exhaust gas systems, insulating materials pursuant to DIN EN 14303:2016-08 may be used in accordance with the relevant requirements for the proposed exhaust system together with the following provisions.

- 1.	Insulating materials for assembly chimneys

- Insulating materials for assembled chimneys must withstand the temperature effects of soot fire. Pursuant to DIN EN 14303:2016-08, soot fire resistance cannot be demonstrated.

- Insulation shells made of insulating materials as per DIN EN 14303 must be at least 3 cm thick and have thermal resistance of at least 0.4 m²K/W at 300°C.

- Interior shells pursuant to EN 1856-1:2009 with a thermal insulation of at least 3 cm, when used in conjunction with an outer shell as specified in DIN V 18160-1:2006-01, Section 7.2.3, do not require an insulation shell.

- 2.	Insulating materials for assembled exhaust gas ducts

- Insulating materials as per DIN EN 14303:2016-08 may be used for assembled exhaust gas pipes. The upper application limit temperature of the insulating material must be higher than or equal to the required temperature class for the exhaust system.

- 3.	Insulating materials for connectors and single-layer metallic exhaust systems

- Insulating materials directly laid on the surfaces of metallic exhaust systems or connectors must be non-combustible. The upper application limit temperature of the insulating material must be higher than or equal to the required temperature class for the exhaust system.

Any subsequent designs will require a type approval:

Air-exhaust chimneys,

exhaust systems with multiple connections from room-sealed solid fuel furnaces,

Chimneys operated under overpressure,

Connectors for solid fuel furnaces operated under overpressure, and

Assembled exhaust systems with temperature class above T400.

For free-standing exhaust systems with a height > 3 m above the highest effective support, the provisions of Section A 1.2.8.1 of the VV TB SH shall be observed.

In order to meet the requirements for the quality of exhaust gas systems, the construction products used pursuant to harmonised technical specifications must satisfy at least the performance levels given in Tables 4 and 5 for the fundamental characteristics.

Explanation for Table 4

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 1457-1:2012 Flue liners operating under dry conditions |
| 3 | EN 1457-2:2012 Flue liners operating under wet conditions |
| 4 | EN 1806:2006 Clay/ceramic flue blocks for single wall chimneys |
| 5 | EN 1856-1:2009 Requirements for metal chimneys - System chimney products |
| 6 | EN 1856-2:2009 Metal flue liners and connecting flue pipes |
| 7 | EN 1857:2010 Concrete flue liners |
| 8 | EN 1858:2008+A1:2001 Concrete flue blocks |
| 9 | EN 12446:2011 Chimneys - Concrete exterior wall elements |
| 10 | EN 13063-1:2005+A1:2007 System chimneys with clay/ceramic flue liners |
| 11 | EN 13063-2:2005+A1:2007 System chimneys with clay/ceramic flue liners |
| 12 | EN 13063-3:2007 Air flue system chimneys |
| 13 | EN 13069:2005 Clay/ceramic exterior walls for system chimneys |
| 14 | EN 14471:2013+A1:2015 System chimneys with plastic flue liners |
| 15 | EN 14989-1:2007 Room-sealed heating applications - Vertical air/flue terminals for C6-type appliances |
| 16 | EN 14989-2:2007 Exhaust and air pipes for sealed furnaces |

Table 4

| Material characteristic | Product based on harmonised standard |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
| Temperature class | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K |
| Pressure class | K | K | K | K | K | K | K | - | K | K | K | - | K | K | K |
| Condensate resistance class | K | K | K | K | K | K | K | - | K | K | K | - | K | K | K |
| Corrosion resistance class | K | K | K | K | K | K | K | - | K | K | K | - | K | K | K |
| Soot fire resistance class | K | K | K | K | K | K | K | K | K | K | K | K | K | K | K |
| Specifications for distance from combustible building materials | - | - | L | L | L | - | L | L | L | L | L | - | L | L | L |
| Pressure class if not included above (for LAS) | - | - | - | - | - | - | - | K | - | - | - | K | - | - | - |
| Fire-resistant properties | - | - | - | - | - | K | K | K | - | - | - | - | K | - | - |
| Heat transfer resistance | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L |
| Flow resistance | L | L | L | L | L | L | L | - | L | L | L | - | L | L | L |
| Freeze-thaw cycle resistance | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X |
| Mechanical strength and stability | L | L | L | L | L | L | L | L | L | L | L | L | L | X | L |
| X must be fulfilled K Classification required L Value for performance required - fundamental characteristic not included in Annex ZA for the construction product, or included in Annex ZA but not required under building supervisory rules |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Explanation for Table 5

| Column no | European Assessment Document (EAD) |
| --- | --- |
| 2 | Exhaust systems with ceramic exhaust pipe EAD 060001-00-0802 |
| 3 | Exhaust systems with ceramic exhaust pipe and special exterior wall EAD 060003-00-0802 |
| 4 | Exhaust gas systems with ceramic flue, with different exterior walls and possible change of exterior wall EAD 060008-00-0802 |

Table 5

| Material characteristic | Construction product pursuant to European Assessment Document (EAD) |  |  |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| Temperature class | K | K | K |
| Pressure class | K | K | K |
| Condensate resistance class | K | K | K |
| Corrosion resistance class | K | K | K |
| Soot fire resistance class | K | K | K |
| Specifications for distance from combustible building materials | L | L | L |
| Pressure class if not included above (for LAS) | X | X | X |
| Heat transfer resistance | L | L | L |
| Flow resistance | L | L | L |
| Freeze-thaw cycle resistance | X | X | X |
| Mechanical strength and stability | L | L | L |
| X must be fulfilled K Classification required L Value for performance required |  |  |  |

1.9	Installation and operation of products

A detailed assembly and operating manual from the manufacturer or his representative must be available in German language and be observed.

The operating instructions must contain in detail the information required for commissioning, inspection, maintenance, repair and functional verification.

2	Fire alarm system

2.1	Purpose of the systems

Fire alarm systems are hazard alarm systems. They must allow persons to make immediate emergency calls (manual activation) in case of fire hazards. Automatic fire alarm systems must detect and report fires at an early stage. The fire alarm shall be forwarded immediately by the transmission device to alert the control center of the locally responsible fire department.

Fire alarm systems or individual components must have a power supply and remain operationally reliable for a sufficient length of time if the general power supply fails (emergency power supply.

Fire alarm systems may be technically suitable for informing the persons threatened by a fire about its occurrence.

Smoke alarms or networked smoke alarms do not constitute fire alarm systems.

2.2	Construction products of fire alarm systems

To fulfil the building inspection requirements, fire alarm systems must be permanently reliable in operation and constructed using construction products of the DIN EN 54 series of standards.

To that end, they must be sufficiently powerful and permanently reliable, have sufficient response delay, moisture, corrosion and temperature resistance as well as shock and vibration resistance.

In order to fulfil the building inspection requirements, the performance of the construction products used in terms of fundamental characteristics must at least satisfy Table 1. The building materials used must be at most normally flammable. Proof of fire characteristics may be given in accordance with VV TB SH, section D3.

Explanation for Table 1

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 54-2:1997-12 + A1 2006 Fire detection and alarm systems |
| 3 | EN 54-3:2014 Acoustic signalling device |
| 4 | EN 54-4:1997-12 + A1 2003:3+A2 Power supply equipment |
| 5 | EN 54-5:2000 +A1:2002 Heat detectors - Point heat detectors |
| 6 | EN 54-7:2000 + A1:2002 + A2:2006 Smoke detectors - Point smoke detectors that operate using scattered light, transmitted light or ionisation |
| 7 | EN 54-10/A1:2005 Flame detectors - Point detectors |
| 8 | EN 54-11:2001 + EN-54-11/A1:2005 Manual call points |
| 9 | EN 54-12:2015 Smoke detectors - Line detectors using an optical beam |
| 10 | EN 54-16:2008 Voice alarm control and indicating equipment |
| 11 | EN 54-17:2005 Short-circuit isolators |
| 12 | EN 54-18:2005 + AC:2007 Input/output devices |
| 13 | EN 54-20:2006 + AC:2008 Aspirating smoke detectors |
| 14 | EN 54-21:2006 Alarm transmission and fault warning routing equipment |
| 15 | EN 54-23:2010 Optical signalling devices |
| 16 | EN 54-24:2008 Components of voice alarm systems - Loudspeakers |
| 17 | EN 54-25:2008 + AC 2012 + Components using radio links |

Table 1

| Material characteristic | Product based on harmonised standard |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |
| Performance in case of fire |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General requirements | X |  | X |  |  |  |  |  | X |  |  |  | X |  |  |  |
| General requirements for indications | X |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Fire alarm state | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Functions |  |  | X |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Materials, manufacture and execution |  |  | X |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Sound level |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Frequency and noise form |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Spread between samples |  | X |  | X | X | X |  | X |  | X |  | X |  |  | X |  |
| Functional test |  | X |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Classification |  |  |  | K |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of heat-sensitive elements |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |
| Directionality |  |  |  | X | X | X |  | X |  |  |  |  |  |  |  |  |
| Static response temperature |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |
| Response times at typical application temperature |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |
| Response time at 25 degrees |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |
| Response time at high ambient temperature (in operation with dry heat) |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |
| Response to slowly developing fires |  |  |  |  | X |  |  |  |  |  |  | X |  |  |  |  |
| Repeatability |  |  |  |  | X | X |  | X |  |  |  | X |  |  |  |  |
| Air movement |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |
| Glare |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |
| Fire sensitivity |  |  |  |  | X | X |  | X |  |  |  | X |  |  |  |  |
| Classification |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |
| Glare test (in operation) |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |
| Alarm state |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Indicators for the alarm state |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Safety aspects |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Protection against unintentional triggering |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Testing suitability for use |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Verification of function |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Limit of compensation |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |
| Signalling disturbances |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |
| Slow change in light attenuation |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |
| Dependence on length of the optical measuring section |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |
| Scattered light |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |
| Voice alarm state |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Manual triggering of voice alarm |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Emergency microphone |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Signal-to-noise ratio |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Frequency response of the voice alarm system without microphone |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Frequency response of the voice alarm system with microphone |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Signalling range |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Change in light output |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Smallest and greatest effective light intensity |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Light colour |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Light pattern over time and blinking frequency |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Synchronisation |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Frequency response limits |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Nominal impedance |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Horizontal and vertical beam angle |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Maximum Sound Level |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Response delay |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reception and processing of fire alarms | X |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Output for forwarding the fire alarm state | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dependence of the fire alarm state on more than one alarm signal | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fast changes in light attenuation |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |
| Delay in the transition to the voice alarm state |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Output to alarm systems |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Emergency microphone |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Operational reliability |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General requirements | X |  | X |  |  |  |  |  | X | X |  |  | X |  |  | X |
| General requirements for indications | X |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Operational readiness state | X |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Fire alarm state | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fault alarm state | X |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Shutdown state | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Requirements in terms of design | X |  |  |  |  |  |  |  | X |  |  |  | X |  |  |  |
| Additional requirements for the design of software-controlled fire alarm systems | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Labelling | X |  | X | X | X |  |  |  |  |  |  |  | X | X |  |  |
| Functions |  |  | X |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Materials, manufacture and execution |  |  | X |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Documentation |  |  | X | X | X | X | X |  |  |  |  | X | X |  |  | X |
| Useful life expectancy |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Structure |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Labelling and data |  | X |  |  |  |  |  |  |  |  |  |  | X |  | X | X |
| Life span test |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Individual alarm indicator |  |  |  | X |  | X |  | X |  |  |  | X |  |  |  |  |
| Connection of auxiliary devices |  |  |  | X |  | X |  | X |  |  |  | X |  |  |  |  |
| Monitoring of removable detectors |  |  |  | X |  | X |  | X |  |  |  |  |  |  |  |  |
| Manufacturer calibrations |  |  |  | X |  | X |  | X |  |  |  | X |  | X |  |  |
| Setting the response behaviour on site |  |  |  | X |  | X |  | X |  |  |  | X |  | X |  |  |
| Additional requirements for software-controlled detectors |  |  |  | X | X | X |  | X |  |  |  | X |  |  |  |  |
| Protection against penetration of alien bodies |  |  |  |  | X |  | X | X |  |  |  |  |  |  |  |  |
| Normal state |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reset device |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Testing device |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Shape, dimensions and colours |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Symbols and labelling |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Environmental category |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Additional requirements for software-controlled HFMs |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Inspection of the testing device (in operation) |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Verification of reliability (durability test) |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Voice alarm state |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Manual triggering of voice alarm |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Interface to external controls |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Additional requirements for the design of software-controlled voice alarm systems |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Mechanical strength of the pipeline |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |
| Hardware components and additional sensor units in the suction system |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |
| Air flow monitoring |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |
| Power supply |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |
| Useful life |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Preventive measures for outdoor cables |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Flammability of materials |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Access |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Requirements for software-controlled devices |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Durability |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Construction |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Nominal noise power (durability) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Housing protection |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Immunity to path attenuation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Identification of the RF-connected component |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Performance characteristics of the receiver |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Immunity to interferences |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Loss of communication |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Antenna |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Power supply device |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  | X |
| Requirements for environmental inspections |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing immunity to path attenuation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing to identifying the HF-connected components |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing the performance characteristics of the receiver |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing for compatibility with other users of the frequency band |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing detection of loss of communication on a connection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing the aerial |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Test plan for testing the components |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing the life span of the autonomous energy source |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing fault notification for the weak energy supply condition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing polarity reversal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Testing repeatability |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Permanence of operational reliability, moisture resistance, corrosion resistance, shock and vibration resistance, temperature resistance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold in operation | X | X | X |  | X | X | X | X | X | X | X | X | X | X | X | X |
| Vibration, sinusoidal (in operation) | X |  | X |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Vibration, sinusoidal (durability test) | X |  | X |  |  |  |  |  |  |  |  |  | X |  |  |  |
| EMC interference immunity (in operation) | X | X | X | X | X | X | X | X | X | X | X | X | X |  |  | X |
| Fluctuations in supply voltage (in operation) | X |  |  |  |  |  |  |  | X |  |  |  | X |  |  |  |
| Moist heat, constant (in operation) | X |  | X |  | X |  |  | X | X |  |  | X | X | X |  | X |
| Moist heat, constant (durability test) | X | X | X | X | X | X | X | X | X | X |  | X | X |  | X | X |
| Impact (in operation) |  |  | X | X | X | X | X | X | X | X | X | X | X | X | X | X |
| Dry heat (in operation) |  | X |  |  | X | X | X | X |  | X | X | X |  | X | X | X |
| Dry heat (durability test) |  | X |  |  |  |  | X |  |  |  |  |  |  | X | X | X |
| Moist heat, cyclic (in operation) |  | X |  | X |  | X | X |  |  | X | X |  |  | X | X | X |
| Moist heat, cyclic (durability test) |  | X |  |  |  |  | X |  |  |  | X |  |  | X | X |  |
| Sulfur dioxide corrosion (durability test) |  | X |  | X | X | X | X | X |  | X | X | X |  | X | X | X |
| Shock (in operation) |  | X |  | X | X | X |  |  |  | X | X | X |  | X | X | X |
| Oscillation, sinusoidal (in operation) |  | X |  | X | X | X | X |  | X | X | X | X | X | X | X | X |
| Oscillation, sinusoid (durability test) |  | X |  | X | X | X | X | X | X | X | X | X | X | X | X | X |
| Protection by housing |  | X |  |  |  |  | X |  |  |  |  |  |  | X |  |  |
| Fluctuations in supply parameters |  |  |  | X | X | X | X | X |  | X | X | X |  |  |  |  |
| Shocks (in operation) |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |
| Output |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |
| Transmission power |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General requirements |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Requirements for functions |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |
| X must be fulfilled K Classification required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

If no harmonised standards are available for components of a fire alarm system, it is also permitted to use construction products which are described in DIN 14675-1:2018-04 or DIN VDE 0833-2:2017-10.

The cables and lines necessary for the connection of individual construction products may be used if they are suitable for use, sufficiently dimensioned and suitable for the intended purpose according to technical best practices. In addition, the requirements for fire characteristics and functional integrity under fire impact in accordance with the technical rule included in VV TB SH, paragraph A 2.2.1.8, taking into account Section 2 of the the technical rule included in VV TB SH, Paragraph A 2.2.1.2, must be observed.

2.3	Design, dimensioning and execution of fire alarm systems

Fire alarm systems whose technical design, dimensioning and execution is carried out in accordance with DIN 14675-1:2018-04 in conjunction with DIN VDE 0833-1:2014-10 and -2:2017-10, are deemed to fulfil the building inspection requirements unless more stringent requirements are imposed in the building supervisory procedure.

The rules of design, dimensioning and execution standards on maintenance are not part of this technical rule.

3	Alarm systems

3.1	Purpose of the systems

Alarm systems are hazard alerting systems. They must warn persons in case of hazard by disseminating an emergency signal and/or voice alarm and encourage them to leave the danger zone. An alarm system must consist of at least a control center, a power supply, triggering or control devices, signalling devices and the connecting transmission path.

Voice alarms must be given at least in German language and be sufficiently comprehensible.

Alarm systems include in particular electroacoustic alarm systems for issuing instructions, such as voice alarm systems or emergency warning systems. Fire alarm systems with alarm function may fulfil the functions of an alarm system.

3.2	Construction products of alarm systems

In order to fulfil the building inspection requirements, alarm systems must be permanently reliable in operation and be constructed using construction products that are sufficiently powerful and permanently reliable in case of an alarm and have sufficient response delay, moisture, corrosion and temperature resistance as well as shock and vibration resistance.

Where construction products pursuant to DIN EN 54 Parts 3, 4, 16, 17, 23 and 24 are used for the construction of alarm systems within fire alarm systems, their performance on fundamental characteristics must be determined and reported at least in accordance with Table 1 of Section 2.2 ‘Fire alarm systems’ of this technical rule.

The cables and lines necessary for the connection of individual construction products may be used if they are suitable for use, sufficiently dimensioned and suitable for the intended purpose. In addition, the requirements for fire characteristics and functional integrity under fire impact in accordance with the technical rule included in the VV TB SH in Paragraph A 2.2.1.8, taking into account Section 2 of the technical rule included in the VV TB SH in Paragraph A 2.2.1.2, must be observed.

3.3	Design, dimensioning and execution of alarm systems

Alarm systems whose technical design, dimensioning and execution observes the standards

DIN 14675-1:2018-04 in conjunction with DIN VDE 0833-1:2014-10 and DIN VDE 0833-2:2017-10,

DIN 14675-1:2018-04 in conjunction with DIN VDE 0833-1:2014-10, DIN VDE 0833-2:2017-10 and DIN VDE 0833-4:2014-10 or

DIN EN 50849 (DIN VDE 0828-1):2017-11

, are deemed to be in compliance with the building inspection requirements unless more stringent requirements are imposed in the building supervisory procedure. The rules of design, dimensioning and execution standards on maintenance are not part of this technical rule.

For alarm systems with acoustic sounders, switching off the signals must be possible also in the immediate vicinity of the point of first engagement for the fire brigade.

A fire alarm system with voice alarm requires a voice alarm system. The voice alarm system may be a separate unit or physically integrated with the fire alarm system. The fire alarm system and voice alarm system may be installed in the same location.

4	Emergency lighting systems

4.1	Purpose of the systems

Emergency lighting systems are electrical systems, including associated wiring, with a power supply and more than one light, that illuminate rooms, escape routes or emergency signs even in case of power failure of the general lighting for as long as is needed to enable persons to safely leave the rooms or the building and - if required under building supervisory rules - to reach public traffic areas, as well as to safely complete work operations where appropriate.

4.2	Construction products of emergency lighting systems

In order to fulfil the building inspection requirements, emergency lighting systems must be permanently reliable in operation.

Construction products for emergency lighting systems must comply with the product requirements of European standards or, if only national technical rules such as DIN or DIN VDE standards are in place, with those technical rules.

Emergency lights that comply with the standard DIN EN 60598-2-22:2015-06 (DIN VDE 0711-2-22) are deemed to fulfil the building inspection requirements.

The cables and lines necessary for the connection of individual construction products may be used if they are suitable for use, sufficiently dimensioned and suitable for the intended purpose. In addition, the requirements for fire characteristics and functional integrity under fire impact in accordance with the technical rule included in the VV TB SH in Paragraph A 2.2.1.8, taking into account Section 2 of the technical rule included in the VV TB SH in Paragraph A 2.2.1.2, must be observed.

4.3	Design, dimensioning and execution of emergency lighting systems

Emergency lighting systems whose technical design, dimensioning and execution observes the DIN VDE 0100 series of standards (with the exception of Parts 801 et seq. of each standard), DIN V VDE V 0108-100:2010-08 and DIN EN 1838:2013-10 as well as Section 5 ‘Emergency power supply systems’ of this technical rule, are deemed to comply with the building inspection requirements unless more stringent requirements are imposed in the building supervisory procedure.

5	Emergency power supply systems

5.1	Purpose of the systems

Emergency power supply systems are electrical systems that maintain the operation of the safety equipment for a certain amount of time in case of failure of the general power supply. Emergency power supply systems include the power source (voltage source or energy storage), the required switching and auxiliary equipment, and the associated wiring up to the terminals of the safety equipment to be supplied with power.

Backup systems that are needed for operational reasons, are not considered to be emergency power supply systems in the building supervisory sense.

5.2	Construction products of emergency power supply systems

In order to fulfil the building inspection requirements, emergency power supply systems must be permanently reliable in operation.

Construction products for emergency power supply systems must comply with the product requirements of European standards or, if only national technical rules such as DIN or DIN VDE standards are in place, with those technical rules.

Power generators with reciprocating interior combustion engines that meet the requirements of the DIN 6280 series of standards as well as central power supply systems that meet the requirements of DIN EN 50171:2001-11 (DIN VDE 0558-508) are deemed to be compliant with the building inspection requirements.

The cables and lines necessary for the connection of individual construction products may be used if they are suitable for use, sufficiently dimensioned and suitable for the intended purpose. In addition, the requirements for fire characteristics and functional integrity under fire impact in accordance with the technical rule included in the VV TB SH in Paragraph A 2.2.1.8, taking into account Section 2 of the technical rule included in the VV TB SH in Paragraph A 2.2.1.2, must be observed.

5.3	Design, dimensioning and execution of emergency power supply systems

Emergency power supply systems whose technical design, dimensioning and execution observes the DIN VDE 0100 series of standards (with the exception of Parts 801 ff of each standard), or the DIN VDE 0101 series of standards in the case of systems with a nominal voltage over 1000 V, are deemed to be compliant with the building inspection requirements unless more stringent requirements are imposed in the building supervisory procedure.

Emergency power supply systems shall be constructed such that in case of overload or short circuit, only the affected section switches off and the rest of the system remains operational (selectivity). Proof of selective fault switch-off may be provided with suitable engineering (calculation) methods.

The power source shall be dimensioned such that it can maintain the power supply to the safety equipment for the required period of time. In dimensioning the power source, particular attention shall be given to its performance and startup behaviour as well as the non-linearity of consumers.

A dual system pursuant to DIN VDE 0100-560:2013-10, Section 6.1 ‘Power sources for emergency purposes’, final indent, is not deemed to fulfil the building inspection requirements for emergency power supply systems.

6	Ventilation systems

6.1	Purpose of the systems

Ventilation systems are used for the ventilation of rooms. The systems may be natural or mechanical ventilation systems. Mechanical systems include air-conditioning systems, climate control systems and air heating systems.

Ventilation systems are used to fulfil the building inspection requirements for the adequate and effective ventilation of rooms.

6.2	Design, dimensioning and execution

Ventilation systems shall be designed, dimensioned and executed in such manner that the building inspection requirements are complied with. The technical rules included in the VV TB SH under Paragraphs A 2.2.1.11 and A 3.2.6 must be observed.

For the rules on overflow openings please refer to the VV TB SH, Paragraph A 2.1.3.3.1.

Building inspection requirements may also be elaborated as technical best practices that have not been enacted in building supervisory rules.

Ventilation systems must be designed such that there is no risk of a hygiene burden on the room air.

Adequate ventilation of human occupancy areas requires a mechanical ventilation system if it cannot be ensured with natural ventilation.

6.3	Construction products and designs

6.3.1	General provisions

Construction products and designs for ventilation systems shall be selected and used in accordance with the technical and hygienic requirements. In particular, the place of installation, required temperature resistance, fire resistance time, the tightness requirements, required volume flow, pressure difference, location and ambient temperatures must all be taken into account.

Fire dampers pursuant to EN 15650:2010 with a mechanical switch-off valve may be used in ventilation systems only with the axis position of the mechanical switch-off valve that has passed the fire resistance test according to DIN EN 1366-2:1999-10. The nominal triggering temperature of the thermal actuator of the fire dampers may be no more than 72 °C, or 95 °C for the air supply of air heating systems.

Fire dampers used in atmospheres that may have a damaging or corrosive effect on them due to planned or unplanned chemical reactions are not in the scope of EN 15650:2010. These include atmospheres in exhaust air ducts or ventilation ducts in commercial kitchens.

6.3.2	Performances required to meet the structural requirements

When using construction products with proof of fitness for purpose in accordance with § 18 LBO or when using designs pursuant to § 17a LBO, the minimum classes shall be as given in Tables 1 to 3 and 6.

When using construction products for ventilation systems for which there are harmonised technical specifications pursuant to Regulation (EU) No 305/2011, the performances on fundamental characteristics shall be at least as given in Table 4 in conjunction with Table 5 and Table 7.

Table 1

| Fire dampers in suspended ceilings (not in the scope of EN 15650:2010) |  |  |  |
| --- | --- | --- | --- |
|  | Minimum requirement |  |  |
| Building inspection requirement | Fire resistance class pursuant to DIN 4102-6:1977-09 and additional designation pursuant to proof of fitness for purpose | Building material class pursuant to DIN 4102-1:1998-05 |  |
|  |  | Housing, switch-off element | Other components |
| fire retardant | K 30 U | A2 | B2 |
| highly fire retardant | K 60 U |  |  |
| fire-resistant | K 90 U |  |  |

Table 2

| - Fire dampers in ventilation systems in waste or exhaust air ducts of commercial kitchens not in the scope of EN 15650:2010 |  |  |  |
| --- | --- | --- | --- |
| - Dire damper poppet valves that are not in the scope of EN 15650:2010 |  |  |  |
|  | Minimum requirement |  |  |
| Building inspection requirement | Fire resistance class in accordance with DIN 4102-6:1977-09 | Building material class pursuant to DIN 4102-1:1998-05 |  |
|  |  | Housing, switch-off element | Other components |
| fire retardant | K 30 | A2 | B2 |
| highly fire retardant | K 60 |  |  |
| fire-resistant | K 90 |  |  |

Table 3

| Switch-off devices in ventilation systems in accordance with the technical rule included in the VV TB SH in Paragraph 2.2.1.11, Section 7.2 |  |
| --- | --- |
|  | Minimum requirement |
| Building inspection requirement | Fire resistance class pursuant to DIN 4102-6:1977-09 and additional designation pursuant to proof of fitness for purpose |
| fire retardant | K30-18017 |
| highly fire retardant | K60-18017 |
| fire-resistant | K90-18017 |

Table 4

| Material characteristic | Fire damper in accordance with EN 15650:2010 |
| --- | --- |
| Reference conditions for activation/response sensitivity | X |
| Response delay/response time | X |
| Reliability | L |
| Fire resistance |  |
| - Space barrier | K |
| - Thermal insulation | K |
| - Smoke leakage | K |
| - Mechanical strength (with respect to E) | X |
| - Retention of cross-section (with regard to E) | X |
| Durability |  |
| - of the response delay | X |
| - of operational reliability | L |
| X must be fulfilled K Classification required L Value for performance required see Table 5 |  |

Table 5

| Fire damper in accordance with EN 15650:2010 |  |  |  |
| --- | --- | --- | --- |
|  | Minimum required performance |  |  |
| Building inspection requirement | Fire resistance | Fire-resistant properties |  |
|  |  | Housing, switch-off element | other components |
| fire retardant | EI 30 (veho io)-S | A 2-s1,d0 | E-d2 |
| highly fire retardant | EI 60 (veho io)-S |  |  |
| fire-resistant | EI 90 (veho io)-S |  |  |
| Fire resistance 120 minutes | EI 120 (veho io)-S |  |  |

Table 6

| Fire-resistant ventilation ducts |  |  |
| --- | --- | --- |
|  | Minimum requirement |  |
| Building inspection requirement | Fire-resistance class pursuant to DIN 4102-6:1977-09 and possibly DIN V 4102-21:2002-08 | Building material class pursuant to DIN 4102-1:1998-05 |
| fire retardant | L 30 | A2 differently pursuant to A 2.2.1.11, Section 3.2: B1 |
| highly fire retardant | L 60 | A2 |
| fire-resistant | L 90 |  |
| Fire resistance 120 minutes | L 120 |  |
| For fire-resistant ventilation ducts that require a general building supervisory inspection certificate see also Sections C 3.1 and C 4.4 of the VV TB SH. |  |  |

Table 7

| Assemblies for fire-resistant ventilation ducts pursuant to EAD 350142-00-1106 |  |  |
| --- | --- | --- |
|  | Minimum required performance |  |
| Building inspection requirement | Fire resistance | Fire characteristics1 |
| fire retardant | EI 30 (veho io)S | A2 – s1,d0 differently pursuant to A 2.2.1.11, Section 3.2 C-s3, d2, other |
| highly fire retardant | EI 60 (veho io)S | A2 – s1,d0 |
| fire-resistant | EI 90 (veho io)S | A2 – s1,d0 |
| Fire resistance 120 minutes | EI 120 (veho io)S | A2 – s1,d0 |
| 1 inside and outside |  |  |

6.3.3	Specific provisions on use and execution

Assemblies for fire-resistant ventilation ducts pursuant to: EAD 350142-00-1106

For kits for the construction of fire-resistant ventilation ducts pursuant to ETA and in accordance with EAD 350142-00-1106 consisting of fire protection panels, sealants, connectors and fasteners, the manufacturer is required under Regulation (EU) No 305/2011 to provide an installation manual based on the classification document. It shall contain at least the following information:

Description of permitted four-sided pipe constructions made of pipe fittings (materials, dimensions, stiffening if any, pipe routing (vertical/horizontal/inclined), associated fittings, maximum storey height and load transfer for vertical pipes, suspensions, fasteners),

Permitted operating pressure range,

Type and minimum thickness of components (wall/ceiling) that may be passed through by the pipes,

Principles for the production of pipe fittings from the fire protection plates and the connecting and sealing devices (e.g. glue, clamps, screws, stiffening if any, including fasteners) with information about the joining method,

Principles for the assembly of fittings into ducts and their installation, with information about the construction products to be used (e.g. suspensions, trusses, cladding of suspensions/trusses if any, compensators, permitted fasteners), joining method, necessary spacing and any permitted later coatings

Execution and sealing of component passages as well as inspection opening closures,

Notes on dimensioning and execution of the attachment,

Processing instructions (e.g. with regard to permitted tools, sequence of operations in the production of the fitting, and joining them to make a duct),

If applicable, instructions for transport and storage of fire protection plates,

Instructions for maintenance.

Use is only permitted if the components, adjacent to the construction product, that need to be described in the manufacturer’s installation manual are in compliance with the fire resistance requirements for the building structure.

The user shall install the ventilation duct fittings in the ventilation system in accordance with this installation manual and present the installation manual to the client together with a statement confirming correct installation.

If the conditions of sentence 1 in conjunction with sentence 2 of this Section are not fulfilled, there is no technical best practice for ETA fire-resistant ventilation duct kits based on EAD 350142-00-1106.

7	Smoke extraction systems and smoke extraction devices

7.1	Purpose of the smoke extraction systems and smoke extraction devices

Smoke extraction systems and smoke extraction devices are used to dissipate smoke, thereby simultaneously supporting effective firefighting.

Smoke extraction systems and smoke extraction devices are required in accordance with special building regulations and special building guidelines. Smoke extraction systems and smoke extraction devices are also required if they are mandated in a building supervisory procedure.

If several smoke evacuation devices have to work together in order to comply with the building inspection requirements, then such devices shall be deemed to constitute a system.

Closures of openings for the dissipation of smoke, e.g. in \stairwells, are no considered smoke extraction systems in the sense intended here.

7.2	Design, dimensioning and execution

Smoke extraction systems and smoke extraction devices shall be designed, dimensioned and executed in such manner that the building inspection requirements pursuant to the Model special building orders, special construction guidelines and fire protection documentation are complied with.

Smoke extraction systems that are constructed in accordance with the relevant provisions of the DIN 18232 series of standards as well as according to this technical rule are also deemed to fulfil the building inspection requirements except where deviating individual requirements apply. The dimensioning of smoke extraction systems and smoke extraction devices may be done in accordance with fire protection engineering methods. The input parameters must be documented in the building documents.

For smoke extraction systems and smoke extraction devices, it must be possible to supply there necessary air for smoke extraction. When a mechanical smoke extraction system starts up or opens the required supply air openings, the supply air systems must start up automatically. If manual supply air openings are permitted, they must be easily accessible and easily opened.

At no time shall the door opening forces on doors in escape routes be greater than 100 N as a result of the operation of the smoke extraction system.

Paragraph A 2.1.9 must be observed in respect of position and arrangement for the use of smoke extraction devices as transparent areas in roof covering if the performance requirement under Section 7.5.2 of EN 12101-2:2003-09 is not declared as being at least A2 – s1,d0; otherwise, proof must be provided pursuant to VV TB SH, A 2.1.9 for roof covering resistant to flying sparks and radiating heat (see Section 3, Table 3.2), or the building structure must observe the distances set out in § 33(2) LBO.

7.3	Triggering – manual/automatic

For the automatic triggering of mechanical smoke extraction systems, fire detectors shall be used which detect the expected fire characteristics. Smoke detectors pursuant to the DIN EN 54 series of standards may be used for this purpose.

Naturally operating smoke extraction systems and smoke extraction devices must allow thermal as well as manual triggering as a minimum.

Switches or manual devices for triggering smoke extraction systems shall be installed in a readily accessible position at a height between 1.2 m and 1.6 m above ground. The switches or manual tripping devices must be marked with a clearly legible ‘Smoke exhaust’ sign. The sign may be placed on the switch or housing or in the immediate vicinity thereof, and must be durably attached. The colour of switches or manual tripping devices shall not be red.

7.4	Supply air openings

Openings that serve to supply the additional air necessary for smoke extraction must be marked with a clearly legible sign ‘Supply air opening for smoke extraction system’.

7.5	Construction products and designs

7.5.1	General provisions

Smoke extraction systems consist of at least the operating and triggering devices as well as the respective smoke extraction devices. Mechanical smoke extraction systems may additional comprise the smoke extraction ducts including necessary smoke control dampers.

Construction products for smoke extraction systems and smoke extraction devices shall be selected and used in accordance with the place of installation, required temperature resistance, required volume flow, pressure difference, required aerodynamically effective or geometric opening area, and location in terms of functional integrity and the effects of factors including wind, snow and ambient temperatures.

The detailed installation manual and operating instructions provided by the manufacturer shall be provided by the manufacturer in writing and in German for each installation location. The manufacturer shall provided detailed descriptions in the operating manual of the installation, inspection, repair, maintenance and verification of functionality of the construction product. For construction products according to harmonised technical specifications, the installation manual must comply with the provisions of the classification reports.

The installation and operating manuals provided by the manufacturer for the construction products to be used must be observed and presented to the client.

Mechanical smoke extraction devices must be used in mechanical smoke extraction systems in accordance with EN 12101-3:2015. There is no defined technical best practice for the use of mechanical smoke extraction devices.

Construction products such as windows and doors may be used to ensure the after-flow of supply air if it is ensured that the required free cross-section of smoke extraction systems and smoke extraction devices is maintained throughout the entire period of operation.

Where smoke control dampers in automatic smoke extraction systems can also be controlled manually, they must be suitable for manual triggering. Smoke control dampers with a mechanical switch-off element may be used in mechanical ventilation systems only with the axis position of the mechanical switch-off element that has passed the fire resistance test according to DIN EN 1366-10:2011-07.

Smoke extraction ducts must not themselves contribute to the spread of fire and smoke in the structure. They must be non-combustible, temperature-resistant and tight. Their dimensional stability (cross-section stability) and mechanical strength must be such that the envisaged amount of smoke can be dissipated. Smoke extraction ducts must be placed and designed in such manner that they do not contribute to the spread of fire by increasing the temperature at the outside of the ducts.

7.5.2	Performances required to meet the structural requirements

When using construction products with proof of fitness for purpose in accordance with § 18 LBO or when using designs pursuant to § 17a LBO, the minimum classes shall be as given in Table 1.

Table 1

| Smoke extraction ducts pursuant to DIN V 18232-6:1997-10 in conjunction with DIN 4102-6:1977-09 |  |  |
| --- | --- | --- |
|  | Minimum requirement |  |
| Building inspection requirement | Fire resistance class, category and pressure rating | Fire-resistant properties Building material class pursuant to DIN 4102-1:1998-05 |
| fire retardant | L 30, category 3 and pressure level 1/2/ | A2 |
| highly fire retardant | L 60, category 3 and pressure level 1/2/ |  |
| fire-resistant | L 90, category 3 and pressure level 1/2/ |  |
| * depending on intended use, but at least pressure rating 1 |  |  |

When using construction products for mechanical ventilation systems for which there are harmonised technical specifications pursuant to Regulation (EU) No 305/2011, the performances on fundamental characteristics shall be at least as given in Table 2 in conjunction with Table 3 and Table 4.

Explanation for Table 2

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 12101-2:2003 Smoke and heat control - Part 2: Natural smoke and heat exhaust ventilators |
| 3 | EN 12101-3: 2015 Smoke and heat control - Part 3: Provisions for mechanical smoke and heat extraction devices |
| 4 | EN 12101-7:2011 Smoke and heat control - Part 7: Smoke extraction duct parts |
| 5 | EN 12101-8:2011 Smoke and heat control - Part 8: Smoke extraction dampers |
| 6 | EN 12101-10:2005/AC:2007 Smoke and heat control - Part 10: Energy supply |

Table 2

| Material characteristic | Product based on harmonised standard |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| Nominal trigger conditions/sensitivity | X |  |  |  |  |
| Operational reliability |  |  |  |  |  |
| Cycles | K |  |  |  |  |
| Wind burden | K |  |  |  |  |
| Aerodynamically effective opening area# | L |  |  |  |  |
| Performance under fire conditions | K |  |  |  |  |
| Fire characteristics of building materials | K |  |  |  |  |
| Operational reliability |  |  |  |  |  |
| Application categories |  | K* |  |  |  |
| Motor power |  | K |  |  |  |
| Effectiveness of removal of smoke/hot gas: (similar to effectiveness of smoke and heat dissipation) | X |  |  |  |  |
| Maintaining gas volume and pressure during the smoke and hot gas discharge test |  | L |  |  |  |
| Fire resistance |  | K |  |  |  |
| Ability to open under ambient conditions |  |  |  |  |  |
| Opening under wind load within a specified time |  | K** |  |  |  |
| Opening under snow load within a specified time | K | K** |  |  |  |
| Opening at low ambient temperature within a specified time | K |  |  |  |  |
| Reference conditions for activation/response sensitivity |  |  |  | X |  |
| Reliability |  |  |  | K | X |
| Fire resistance, |  |  |  |  |  |
| Space barrier |  |  | K | K |  |
| Thermal insulation |  |  | K*** | K*** |  |
| Smoke-tightness |  |  | K | K |  |
| Mechanical dimensional stability (under E) |  |  | X | X |  |
| Retention of cross-section (under E) |  |  | X | X |  |
| Response delay/response time | X | X* |  | X, K | X |
| Performance parameters under fire conditions |  |  |  |  | X |
| Durability of operational reliability |  | K |  |  |  |
| Durability |  |  |  |  |  |
| of response delay |  |  |  | X |  |
| of reliability |  |  |  | X |  |
| X must be fulfilled X* must be fulfilled if K** is required L Value for performance required K Classification required; K* Specification of application categories required K** Classification required depending on application K*** Specification only for smoke extraction ducts or smoke control dampers for multiple sections # Not required if used in pressure ventilation systems according to Section 8 - for smoke extraction ducts made of smoke extraction fittings according to EN 12101-7:2011, see Table 3 - for smoke dampers made pursuant to EN 12101-8:2011, see Table 4 |  |  |  |  |  |

Table 3

| - Fire-resistant smoke extraction ducts according to EN 12101-7:2011 |  |  |
| --- | --- | --- |
| - Fire-resistant smoke extraction ducts according to EAD 350142-00-1106 |  |  |
|  | Minimum required performance |  |
| Building inspection requirement | Fire resistance | Fire-resistant properties |
| fire retardant | EI 30 (ve – ho) S xx1 multi | A 2-s1, d0 |
| highly fire retardant | EI 60 (ve – ho) S xx1 multi |  |
| fire-resistant | EI 90 (ve – ho) S xx1 multi |  |
| Fire resistance 120 minutes | EI 120 (ve – ho) S xx1 multi |  |
| 1 depending on intended use, but at least 500 Pa |  |  |

Table 4

| Fire-resistant smoke extraction ducts according to EN 12101-8:2011 |  |  |  |
| --- | --- | --- | --- |
|  | Minimum required performance |  |  |
| Building inspection requirement | Fire resistance | Fire-resistant properties |  |
|  |  | Damper flap, housing | other components |
| fire retardant | EI 30 (ve1 - ho2 - io) S xx3 Cxx4 MA/AA5 multi | A 2-s1, d0, | E-d2 |
| highly fire retardant | EI 60 (ve1 - ho2- io) S xx3 Cxx4 MA/AA5 multi |  |  |
| fire-resistant | EI 90 (ve1 - ho2- io) S xx3 Cxx4 MA/AA5 multi |  |  |
| Fire resistance 120 minutes | EI 120 (ve1 - ho2- io) S xx3 Cxx4 MA/AA5 multi |  |  |
| 1 depending on intended use: vew, vedw, ved 2 depending on intended use: how, hodw, hod 3 depending on intended use, but at least 500 Pa 4 depending on intended use: C300 or C10000 5 depending on application (sh. Section 7.5.1 and/or Section 8.2) |  |  |  |

Where construction products according to Table 2, column 2 are to be used in structures according to the technical rules included in the VV TB SH in Paragraphs A 2.2.2.3, A 2.2.2.4 and A 2.2.1.15, then the minimum required performances for fulfilment of the structural requirements shall be as given in Table 5.

Table 5

| Minimum required performance of smoke extraction services |  |  |
| --- | --- | --- |
| EN 12101-2:2003 | Use in |  |
|  | necessary stairwells of points of sale and meeting places | Smoke extraction systems |
|  | minimum required performances |  |
| 4.1 - Nominal trigger conditions/sensitivity | Thermocouple pursuant to 4.1.1 a) and manual release pursuant to 4.1.1 d) | Thermo-element pursuant to 4.1.1 a) and triggering device as per 4.1.1 b) or c) or d) |
| 6 Aerodynamically effective opening area | Specifications (m²) | Indication (m2) |
| 7.1.1 - Classification of reliability of operation | Re 50 | Re 50 |
| 7.1.3 - Classification of reliability of operation | yes, if additional ventilation function | yes, if additional ventilation function |
| 7.2.1.1 - Snow load classification, except vertical installation | SL 500 | SL 500 |
| 7.3.1 - Low ambient temperature classification | T (-05) | T (-05) |
| 7.4.1 - Wind load classification | WL 1500 | WL 1500 |
| 7.5.1 – Heat resistance classification | B 300 | B 300 |
| 7.5.2 - Heat resistance performance | E – d2 | E – d2 |

7.5.3	Specific provisions on use and execution

Assemblies for fire-resistant ventilation ducts pursuant to EAD 350142-00-1106

For kits for the construction of fire-resistant smoke extraction ducts pursuant to ETA and in accordance with EAD 350142-00-1106 consisting of fire protection panels, sealants, connectors and fasteners, the manufacturer is required under Regulation (EU) No 305/2011 to provide an installation manual based on the classification document. It shall contain at least the following information:

Description of permitted four-sided pipe constructions made of pipe fittings (materials, dimensions, stiffening if any, pipe routing (vertical/horizontal/inclined), associated fittings, maximum storey height and details of load transfer for vertical pipes, revision openings, suspensions, fasteners),

Permitted operating pressure range,

Type and minimum thickness of components (wall/ceiling) that may be passed through by the pipes,

Principles for the production of pipe fittings from the fire protection plates and the connecting and sealing devices (e.g. glue, clamps, screws, stiffening if any, including fasteners) with information about the joining method,

Principles for the assembly of fittings into ducts and their installation, with information about the construction products to be used (e.g. suspensions, trusses, cladding of suspensions/trusses if any, compensators, permitted fasteners), joining method, necessary spacing and any permitted later coatings

Execution and sealing of component passages as well as inspection opening closures,

Notes on dimensioning and execution of the attachment,

Processing instructions (e.g. with regard to permitted tools, sequence of operations in the production of the fitting, and joining them to make a duct),

If applicable, instructions for transport and storage of fire protection plates,

Instructions for maintenance.

If the conditions of sentence 1 in conjunction with sentence 2 of this Section are not fulfilled, there is no technical best practice for ETA fire-resistant smoke extraction duct kits based on EAD 350142-00-1106.

8	Pressure ventilation systems

8.1	Purpose of the systems

Pressure ventilation systems are used to keep rescue routes that require special protection under building supervisory rules as well as elevator shafts of fire-fighting lifts smoke-free so that persons can reach safety and effective firefighting is also supported.

The entry of smoke into interior emergency stairwells in fire-fighting lifts and vestibules shall be prevented by means of pressurised ventilation systems. In addition, pressure ventilation systems may be required in accordance with a fire protection certificate or fire protection concept in certain individual escape routes.

8.2	Design, dimensioning and execution

Pressure ventilation systems must ensure a continuous flow of air via the air path for external air intake, as well as overflow and outflow openings if relevant.

Pressure ventilation systems for emergency stairwells must be dimensioned and designed such that the air

with the doors open from the stairwell to the floor affected by the fire, flows at a speed of at least 2.0 m/s against the direction of escape and

is discharged in a suitable manner on the floor where the fire occurs.

The same applies to predictable adverse weather conditions.

The flow speed of air through the open door of the landing of a fire-fighting lift must be at least 0.75 m/s.

The operation of the pressure ventilation system must not result in doors in escape routes no longer being able to be opened due to high pressure differences. The maximum door opening force is 100 N. It must not be exceeded for vestibule doors when one of the two doors is open. After opening and closing doors to the emergency stairwell or landing, the setpoint must be restored within 3 seconds.

Switching off the pressure ventilation systems by smoke extraction devices is not permitted.

If only an interior emergency stairwell is present, then in case of failure of the equipment necessary to maintain overpressure, ready-to-run replacement units must take over their function.

Switchgear assemblies, control units, regulating units and ventilators of the pressure ventilation system must be installed in such manner that the pressure ventilation system is effective for a sufficiently long time.

Outdoor air intake

The outdoor air intake required for a pressurised ventilation system must be placed such that smoke cannot be drawn in and that it is at least 2.5 m away from windows, other exterior wall openings and exterior walls containing combustible building materials as well as exterior wall cladding.

Outdoor and supply air ducts, exhaust air and smoke extraction ducts

These ducts shall be designed in accordance with the fire protection requirements for ventilation systems in respect of their fire resistance and fire characteristics. Fire dampers and smoke dampers must not be used in these ducts.

When using dampers in the outdoor air or supply air duct, the drives must have a secure power supply.

Overflow openings

Vestibules of emergency stairwells must allow flow-through of air even when with the doors closed. This may be achiebed with overflow openings.

The closure of the overflow opening between the landing and stairwell is not subject to any requirements in terms of fire resistance: it is sufficient to have one flap that closes in case of air flow in the direction of the stairwell.

The closure of the overflow opening between the landing and fire-fighting lift shaft is not subject to any requirements in terms of fire resistance: it is sufficient to have one flap with mechanical or other drive.

In the wall between the landing and necessary corridor or unit of use, the closure of the overflow opening must have the same fire resistance time as the wall.

Closures must not be controlled via a smoke-triggered device. Flaps that are kept open or controlled mechanically or by other devices must have a secure energy supply.

Outflow openings

Outlets and outflow openings shall be placed such that the effectiveness of the pressure ventilation system is ensured even in adverse weather conditions.

Windows in the façade of the fire-affected storey may be used as outflow openings. They shall be situated in opposite façades for each outflow area.

If outflow takes place via a shaft, smoke dampers must be integrated in the shaft wall.

Exhaust air openings (outlets) of ducts from which combustion gases may escape into the ambient air must be situated or designed in accordance with the fire protection requirements for ventilation systems. Fire dampers must not be used.

8.3	Triggering

The pressure ventilation systems must be triggered automatically in case of fire.

Where automatic fire alarm systems are required or available, they must trigger the pressure ventilation systems.

If a fire alarm system is not present, the triggering must at least be done with suitable triggering devices that are controlled by smoke detectors located near the access to the stairwell (not including vestibules) and near the necessary outflow openings. Smoke detectors pursuant to the DIN EN 54 series of standards are suitable for detection.

Where manual triggering of pressure ventilation systems is also envisaged, the switches used for that purpose shall be placed between 1.2 m and 1.6 m above the ground. The switches shall be marked with a clearly legible sign ‘Pressure ventilation system’. The sign may be placed on the switch or housing or in the immediate vicinity thereof, and must be durably attached. The colour of switches shall not be red.

Necessary outflow openings may be controlled only automatically.

The pressure ventilation system must reach its full functionality and effectiveness within 120 seconds after triggering.

If triggered by a programmable system, the programming state must be documented. Changing the programming state or changing the operating and system software constitutes a major modification. If triggering is to be initiated by a programmable system, a risk assessment shall be prepared.

Energy supply

Pressure ventilation systems required under building supervisory rules must remain supplied with power and operational for a sufficient length of time if the general power supply fails; this is deemed fulfilled in case of connection to an emergency power supply system.

8.4	Construction products and designs of pressure ventilation systems

Pressure ventilation systems consist of construction products and components (e.g. fan, outflow elements) that are required for the operation of the pressure ventilation system. Doors and windows may be used for outflow.

Construction products for pressure ventilation systems shall be selected and used in accordance with the place of installation, required temperature resistance, required volume flow, pressure difference and location in terms of functional integrity and the effects of factors including wind, snow and ambient temperatures.

In order to fulfil the building inspection requirements, the construction products to be used are subject to required performance levels for fundamental characteristics in accordance with harmonised technical specifications that are at least equal to those given in Section 6, Tables 4, 5 and 7 and Section 7, Tables 2 to 5. Otherwise, Section 6, Table 6 applies.

Supply air fans may be operated with frequency converters. Repair switches on supply air fans must be monitored or protected against unauthorised operation. The sound pressure level in the stairwell as produced by the pressure ventilation system must not exceed 85 dB(A) at a distance of 5 m from the air outlet. Fire-fighting lifts are subject to the requirements pursuant to DIN EN 81-72:2003-11.

A fire damper without duct connection according to EN 15650 may be used as a closure for the overflow opening between a landing and necessary corridor or unit; a classification EI EI 90 (ve io)-S pursuant to DIN EN 13501-3:2010-02 is sufficient. Fire dampers with a mechanical switch-off element may be used in pressure ventilation systems only with the axis position of the mechanical switch-off element that has passed the fire resistance test according to DIN EN 1366-2:1999-10. The nominal triggering temperature of the thermal actuator of the fire dampers must not exceed 72 °C.

9	CO warning systems

9.1	Purpose of the system

CO warning systems are hazard alarm systems. They serve to warn persons as soon as dangerous amounts of carbon monoxide (CO) are reached in garages.

9.2	Construction products of CO warning systems

The construction products used must be suitable for purposes of measurement, evaluation and warning.

The CO warning system includes all construction products (such as intake points, measuring points, ducts, transmission equipment, backup power supply, control unit, visual and audible signalling devices, etc.) that are needed to maintain the operation of the CO warning system.

9.3	Design, dimensioning and execution of CO warning systems

CO warning systems must be designed, dimensioned and executed so as to reliably determine the CO concentration in all garages and to issue an alert if the CO content in the air exceeds 250 ppm. Technical best practices shall be followed unless stated otherwise below. In systems that fulfil additional functions, the CO warning system component must allow independent operation and testing.

The CO measuring points shall be positioned at a height of approximately 1.50 m above the floor and arranged in such manner that areas where increased CO concentrations are expected to occur are also reliably detected.

In case of failure of the general power supply, CO warning systems must be supplied with power and remain operational for a sufficient length of time (by means of a battery as backup power supply or connection to an emergency power supply). The signalling must remain activated for as long as the CO concentration exceeds the limit.

10	Fire extinguisher systems

10.1	Purpose of the system

Automatic fire extinguishing systems detect a fire event at an early stage and are usually used to contain and/or limit the fire or to directly extinguish the fire. Manual, non-automatic systems such as hydrant systems with wet or dry risers support effective firefighting work. Both types of systems serve primarily to rescue humans and animals but can also be efficient in reducing fire, material and environmental damage.

Fire extinguishing systems include all types of fixed, non-automatic fire extinguishing systems as well as fixed, automatic fire extinguishing systems. The extinguishing agent may be water or any other substance capable of controlling the spread of fire or of extinguishing it.

Non-automatic fire extinguishing systems consist of a network of ducts (including dry and wet risers) as well as withdrawal points, wall hydrants for the fire department (F type), or outdoor hydrants. Automatic fire extinguishing systems are fixed extinguishing systems. The extinguishing agent is water, e.g. in sprinkler, spraying or mist extinguishing systems. Systems using other types of extinguishing agents may also be used. They include e.g. systems using foam, CO2, nitrogen, inert gases, halogenated hydrocarbons or powder-form extinguishing agents as well as water-based extinguishing systems with addition of foaming agents.

10.2	Construction products of fire extinguishing systems

In fire extinguishing systems, only those construction products (products, building materials, components and systems as well as kits pursuant to Article 2(2) of Regulation (EU) No 305/2011) may be installed and operated that are necessary and suitable for the operation of the systems. Other construction products, e.g. safety devices for drinking water, must not impair the effectiveness of the fire extinguishing system. They must also not affect the operation of the fire extinguishing systems.

Construction products that may come into contact with drinking water or that are connected to the drinking water mains must be suitable for such use.

The construction products of the DIN EN 12259 series of standards may be used as construction products for sprinkler and spraying extinguishing systems, and the construction products of the DIN EN 12094 series of standards may be used for extinguishing systems with gaseous extinguishing agents.

For other extinguishing systems, including with other extinguishing agents, e.g. foam-based extinguishing agents, the construction products as specified in the standards for the design and dimensioning of such systems shall be used.

Wall hydrants according to EN 671-1 and EN 671-2, above-ground hydrants according to EN 14384 , and underground hydrants according to EN 14339 may be used for non-automatic fire extinguishing systems.

10.3	Required performance levels of construction products for fire extinguishing systems

Construction products must be sufficiently powerful and permanently reliable, have sufficient response delay, moisture, corrosion and temperature resistance as well as shock and vibration resistance. The construction products must be hydraulically suitable for the particular application and have sufficient pressure resistance as well as permanent ease of operation.

The selection of products based on the envisaged application must be based on the information about the fundamental characteristics and properties.

In order to fulfil the building inspection requirements, the performance of the construction products used in terms of fundamental characteristics must at least satisfy the following Tables 1 to 3.

Explanation for Table 1

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 12259-1:1999 + A1:2001 + A2:2004 + A3:2006 Part 1: Sprinklers |
| 3 | EN 12259-2:1999 + A1:2001 + AC:2002 + A2:2005 Part 2: Wet alarm valve assemblies |
| 4 | EN 12259-3:2000 + A1:2001 + A2:2005: Dry alarm valve assemblies |
| 5 | EN 12259-4: 2000 + A1:2001 Part 4: Water motor alarms |
| 6 | EN 12259-5:2002 Part 5: Water flow detectors |

Table 1

| Material characteristic | Construction products for fixed firefighting systems – Components for sprinkler and spray water systems according to harmonised standard |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| Nominal trigger conditions | X |  |  |  |  |
| Distribution of extinguishing agent | X |  |  |  |  |
| Response delay (response time) | X | X | X | X | X |
| Reliability | X |  |  |  |  |
| Durability - Heat resistance, - Thermal shock resistance | X |  |  |  |  |
| Corrosion resistance | X |  |  |  |  |
| Operational reliability |  | X | X | X | X |
| Performance in case of fire |  | X | X | X |  |
| Response delay - Durability |  | X | X | X |  |
| Operational reliability – Durability - Aging of non-metallic components, and - Fire impact |  | X | X | X |  |
| Nominal response conditions |  |  |  |  | X |
| Stability of operational reliability - Corrosion resistance - Strength of non-metallic components |  |  |  |  | X |
| X must be fulfilled |  |  |  |  |  |

Explanation for Table 2

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 671-1:2012 Fixed firefighting systems - Hose systems – Part 1: Hose reels with semi-rigid hose |
| 3 | EN 671-2:2012 Fixed firefighting systems - Hose systems – Part 2: Hose systems with lay-flat hose |

Table 2

| Material characteristic | Construction products for fixed firefighting systems – Hose systems – pursuant to harmonised standard |  |
| --- | --- | --- |
| 1 | 2 | 3 |
| Distribution of the extinguishing agent with: |  |  |
| Hose inner diameter | X | X |
| Minimum flow rate | X | X |
| Effective casting distance | X | X |
| Spraying jet operation | X | X |
| Reliability of functionality/operation |  |  |
| Reel – construction | X |  |
| Reel – Turning | X |  |
| Reel – Swivelling | X |  |
| Reel – Resistance to shock | X |  |
| Reel – Resistance to loads | X |  |
| Hose – General | X | X |
| Lockable jet pipe – General | X | X |
| Lockable jet pipe – Resistance to impact | X | X |
| Lockable jet pipe – Torque for operation | X | X |
| Switch-off valve on the water connection |  | X |
| Switch-off valve on the water connection – General | X |  |
| Switch-off valve on the water connection – Manually operated switch-off valve | X |  |
| Switch-off valve on the water connection – Automatic switch-off valve | X |  |
| Hydraulic properties – Strength under interior pressure load | X |  |
| Hydraulic properties – Compressive strength | X |  |
| Hydraulic properties – Resistance to interior pressure |  | X |
| Hydraulic properties, safety of couplings |  | X |
| Unrollability of the hose |  |  |
| Reel – Unwinding force | X |  |
| Reel – Dynamic braking | X |  |
| Hose – Maximum length | X |  |
| Hose stop, type 1 |  | X |
| Hose stop, type 1 and type 3 |  | X |
| Permanence of functional/operational reliability |  |  |
| Resistance to corrosion of coated parts | X | X |
| Corrosion resistance of water-impacted parts | X | X |
| Aging test for plastic parts | X | X |
| X must be fulfilled |  |  |

Explanation for Table 3

| Column no | Product based on harmonised standard |
| --- | --- |
| 2 | EN 12094-1:2003 Part 1: Requirements and test methods for electrical automatic control and delay devices |
| 3 | EN 12094-2:2003 Part 2: Requirements and test methods for non-electrical automatic control and delay devices |
| 4 | EN 12094-3:2003 Part 3: Requirements and test methods for manual triggering and stop devices |
| 5 | EN 12094-4:2004 Part 4: Requirements and test methods for container valve assemblies and their actuators |
| 6 | EN 12094-5:2006 Part 5: Requirements and test methods for high and low pressure selector valves and their actuators |
| 7 | EN 12094-6:2006 Part 6: Requirements and test methods for non-electrical disable devices |
| 8 | EN 12094-7:2000 + A1:2005 Part 7: Requirements and test methods for nozzles for CO2 systems |
| 9 | EN 12094-8:2006 Part 8: Requirements and test methods for connectors |
| 11 | EN 12094-9:2003 Part 9: Requirements and test methods for special fire detectors |
| 12 | EN 12094-10:2003 Part 10: Requirements and test methods for pressure gauges and pressure switches |
| 13 | EN 12094-11:2003 Part 11: Requirements and test methods for mechanical weighing devices |
| 14 | EN 12094-12:2003 Part 12: Requirements and test methods for pneumatic alarm devices |
| 15 | EN 12094-13:2001/AC:2002 Part 13: Requirements and test methods for check valves and non-return valves |

Table 3

| Material characteristic | Construction product for gas extinguishing systems according to harmonised standard |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 |
| Response delay (response time) | X | X |  | X |  | X |  |  | X |  |  |  |  |
| Reliability |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Operational reliability | X | X | X | X | X |  |  | X | X |  | X | X |  |
| Stability of reliability of operation against corrosion |  | X |  |  |  |  |  |  | X |  |  |  | X |
| Stability of reliability of operation; oscillation |  |  |  |  |  |  |  |  | X |  |  |  | X |
| Permanence of reliability of operation against corrosion |  |  | X |  |  |  |  |  |  |  | X |  |  |
| Permanence of reliability of operation |  |  |  |  | X | X |  | X |  |  |  | X |  |
| Performance in case of fire | X | X | X | X |  |  |  | X |  |  |  |  |  |
| Durability | X |  |  | X |  |  |  |  |  |  |  |  |  |
| Distribution of extinguishing agent |  |  |  |  | X |  | X |  |  |  |  |  | X |
| Nominal triggering conditions/sensitivity |  |  |  |  |  |  |  |  | X |  |  |  |  |
| Nominal response conditions Response sensitivity – Pressure switches |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Nominal response conditions Response sensitivity – Pressure gauges |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Reliability of operation – Pressure switch |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Reliability of operation – Pressure gauges |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Stability of reliability of operation of pressure measurement devices against corrosion |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Stability of reliability of operation of pressure switches against corrosion |  |  |  |  |  |  |  |  |  | X |  |  |  |
| X must be fulfilled |  |  |  |  |  |  |  |  |  |  |  |  |  |

10.4	Design and dimensioning of automatic and non-automatic fire extinguishing systems

10.4.1	General requirements

Fire extinguishing equipment shall be designed and constructed in accordance with the space-defining structure of the building structure and existing building materials and combustible materials, their distribution and position within the room and their combustion characteristics and – with respect to the fire detection and triggering devices, suitable extinguishing agents, quantities of extinguishing agents, and required operational ranges for the extinguishing agents – in accordance with the rules applicable in each individual case. Where necessary, pump systems shall be constructed to increase the pressure.

Compliance with requirements for qualification (competence, training and certification) designers and installers in standards is not compulsory in order to achieve the building supervisory protection objectives.

The rules of the design and dimensioning standards with regard to maintenance are not part of this technical construction rule. The requirements with regard to maintenance in accordance with § 3 LBO are not affected.

10.4.2	Automatic fire extinguishing systems

The design, installation and dimensioning of sprinkler systems as automatic fire extinguishing systems shall be undertaken in accordance with the provisions of DIN EN 12845:2016-04 (Fixed firefighting systems - Automatic sprinkler systems, planning, installation and maintenance.

Where sprinkler systems are to be designed based on a different technical standard (e.g. CEA 4001, FM Global Data Sheets, VdS CEA 4001), this must be stated in the fire protection certificate. Systems based on CEA 4001 and VdS CEA 4001 rules must be designed according to the rules for Class 1 of the relevant regulation.

Automatic fire extinguishing systems, systems with wall hydrants for the fire department (type F), and systems with dry extinguishing water ducts must be situated on each floors in each part of the structure where they are required under building supervisory rules.

If a sprinkler system cannot or should not be used, the fire protection certificate shall specify the technology to be used and the regulation to be applied to it. With regard to the selected extinguishing agents, reference shall be made to the required protective measures, e.g. for gas extinguishing systems according to the DIN EN 15004 series of standards.

Combining or cross-referencing different or competing regulations or individual provisions thereof is not permitted.

When a required automatic fire extinguishing system is triggered, a fire alarm must automatically sound via a suitable fire alarm device at the local fire service control centre, unless otherwise stipulated by the building inspectorate.

10.4.3	Non-automatic fire extinguishing systems

Non-automatic fire extinguishing systems shall be dimensioned and constructed in accordance with the technical regulations. The building inspection requirements are deemed fulfilled if DIN 14462:2012-09 is observed.

10.5	Water supply

If the extinguishing water supply is to be provided through a direct connection of the extinguishing systems to the general drinking water supply, the relevant requirements of water legislation must be observed. If extinguishing water cannot be supplied from the drinking water mains, the necessary extinguishing water must be stored in suitable containers (tanks, ponds etc.). All parts of the extinguishing system through which the extinguishing water flows must be suitable for the type of water used; this must be verified before the extinguishing system is constructed.

If fixed automatic fire extinguishing systems are to be supplied together with fixed non-automatic systems from a shared water storage, then sufficient water volumes must be stored as required to fulfil both protection objectives. A failure of the water source for one extinguishing system shall not affect the function or operational reliability of the second extinguishing system. This may be assumed to be adequately ensured with a duplicate water supply.

In case of a non-direct connection to the general drinking water supply, at least one storage tank and a technical device for transporting the extinguishing water are required, taking into account and observing the appropriate design criteria.

10.6	Protection of persons

Automatic extinguishing systems that use technical gases for fire-fighting purposes or light foam as an extinguishing agent may only trigger their extinguishing process after detection of a fire when users have been alerted and have had sufficient time to leave the affected area (room/protected area). This does not affect the forwarding of the fire alarm.

10.7	Installation space

The main components of the fire extinguishing system, such as the pump system and its switching cabinet, pressure maintenance systems/devices with fittings, alarm valves, auxiliary generators and main gate valves, controls and alerting devices, must be installed in a separate room (fire extinguishing room). In case of decentrally located alarm valves/sprinkler subcentres, structural separation is not required if unauthorised access is prevented through suitable measures, e.g. wire mesh, and the area concerned is a sprinkler-protected area.

Quick and safe access to the fire-extinguishing room must be possible at all times, i.e. even in case of fire.

10.8	Installation and operation

Simultaneous decommissioning of non-automatic and automatic fire extinguishing systems is not permitted.

# Proof of reference sources

Standards (DIN, DIN V, DIN V ENV, DIN EN, DIN EN ISO, DIN CEN/TS, DIN SPEC, Eurocode), AD datasheets, DIN technical reports

Beuth Verlag GmbH

Burggrafenstraße 6

10787 Berlin

EADs (European Assessment Documents)

Official Journal of the European Union

eur-lex.europa.eu

ETAGs (European Technical Approvals Guidelines)

www.eota.eu

The Adapting Guideline for Steel Construction with amendments and supplements

December 2001 edition

DIBt Mitteilungen (DIBt News), special issue No 11, Nov. 2002

German Institute for Building Technology (DIBt)

Kolonnenstrasse 30 B

10829 Berlin

Application guideline for working scaffolds as per DIN EN 12811-1

November 2005 edition

German Institute for Building Technology (DIBt)

Application guideline for supporting frames in accordance with DIN EN 12812

August 2009 edition

German Institute for Building Technology (DIBt)

Principles for construction and testing Coatings in collecting areas

February 2017 edition

German Institute for Building Technology (DIBt)

Testing principles for cleaning hatches and soot preventers

November 2012 edition

German Institute for Building Technology (DIBt)

Building inspection guidelines for installing ventilation systems in kitchens, bathrooms and toilets without windows in residential homes

April 2009 edition

www.is-argebau.de

DAfStb Guideline for concrete in line with DIN EN 206-1 and DIN 1045-2 with recycled aggregates in line with DIN EN 12620: Part 1 – RBrezG/1

September 2010 edition

Beuth Verlag GmbH

DAfStb Guideline Concrete construction when handling water-endangering substances – BUmwS

March 2011 edition

German Committee for Reinforced Concrete - Deutscher Ausschuss für Stahlbeton e. V. (DAfStb)

Beuth Verlag GmbH

DAfStb Guideline for concrete with extended processing time (slow setting concrete)

November 2006 edition

German Committee for Reinforced Concrete - Deutscher Ausschuss für Stahlbeton e. V. (DAfStb)

Beuth Verlag GmbH

DAfStb Guideline on the manufacture and use of dry concrete and dry mortar (Dry Concrete Guideline) – TrBMR –

June 2005 edition

Beuth Verlag GmbH

DAfStb Guideline on the manufacture and use of cement-bound liquid concrete and grouting mortar – VeBMR –

November 2011 edition

Beuth Verlag GmbH

DAfStb Guideline – Solid concrete components

April 2010 edition

German Committee for Reinforced Concrete - Deutscher Ausschuss für Stahlbeton e. V. (DAfStb)

Beuth Verlag GmbH

DAfStb Guideline on the Protection and repair of concrete building parts (Repair Guideline)

October 2001 edition

Part 1: General rules and planning principles

Part 2: Construction products and application

Part 3: Requirements pertaining to enterprises and the monitoring of execution

Part 4: Test method

Corrigendum 1 (2002-01)

Corrigendum 2 (2005-12)

Corrigendum 3 (2014-09)

Beuth Verlag GmbH

DAfStb Guideline – Self-compacting concrete – SVBR

September 2012 edition

Beuth Verlag GmbH

German Committee for Reinforced Concrete Guideline – Steel fibre concrete

Additions and changes to DIN EN 1992-1-1/NA, DIN EN 206-1 in conjunction with DIN 1045-2 and DIN EN 13670 in conjunction with DIN 1045-3, Parts 1 to 3

November 2012 edition

German Committee for Reinforced Concrete - Deutscher Ausschuss für Stahlbeton e. V. (DAfStb)

Beuth Verlag GmbH

German Committee for Structural Concrete guideline, Precautions against harmful alkali reactions in concrete (Alkali Guideline), October 2013 edition

German Committee for Reinforced Concrete - Deutscher Ausschuss für Stahlbeton e. V. (DAfStb)

Beuth Verlag GmbH

DASt Guideline 021

Bolt assemblies with hot-dip galvanized HV-sets M39 to M72 as per DIN EN 14399-4, DIN EN 14399-6

September 2013 edition

Stahlbau Verlags- und Service GmbH

DASt Guideline 022

Hot galvanizing of supporting steel structures

June 2016 edition

Stahlbau Verlags- und Service GmbH

‘Execution and evaluation of on-site tests for injection anchor systems in masonry with ETA according to ETAG 029 or EAD 330076-00-0604

As at: December 2016

DVS Guideline DVS 1708:2009-09

Beuth Verlag GmbH

Recommendations for the design and calculation of embankments with geosynthetic – EBGEO

Deutsche Gesellschaft für Geotechnik

2010 edition

Ernst & Sohn Verlag für Architektur und technische Wissenschaften GmbH & Co. KG

ETB Guideline 'Components that protect against falls'

June 1985 edition

Mitteilungen IfBt (IfBt News) Volume 2/1987

German Institute for Building Technology (DIBt)

Specialist Regulation [Fachregel] on furnace and air heating construction – TR OL 2006

2010 edition

Zentralverband Sanitär Heizung Klima (Central Association for Sanitation, Heating and Air-Conditioning)

Rathausallee 6

53757 St. Augustin

Notes on the installation of anchors

October 2010 edition

German Institute for Building Technology (DIBt)

Loam construction rules

February 2008 edition

Dachverband Lehm e. V.
www.dachverband-lehm.de

State Ordinance on the construction and operation of garages (Garage Ordinance SH – GarVO)

State Ordinance on the construction of electrical operating areas – EltBauVO255

State Ordinance on firing installations (FeuVO)

(Firing Installation Ordinance – FeuVO)255

State Ordinance of requirements pertaining to manufacturers of construction products and users of designs

(Manufacturer and User Ordinance – HAVO)

Guideline on building inspection requirements for schools (School Building Guideline – SchulBauR)255

Model Guideline for building inspection requirements for residential accommodation for people in need of care or with disabilities – MWR

May 2012 version

www.is-argebau.de

Model Guideline on fire prevention construction requirements for highly fire-retardant components in timber construction – M-HFHHolzR

July 2004 edition

www.is-argebau.de

Model Guideline on fire protection requirements pertaining to conduits – MLAR

February 2015 edition, last revised on: 05.04.2016

www.is-argebau.de

Model Guideline on fire protection requirements pertaining to ventilation systems – M-LüAR

December 2015 edition

www.is-argebau.de

Model Guideline on fire protection requirements pertaining to system floors – MSysBöR

September 2005 edition

www.is-argebau.de

Guideline on the construction and operation of high-rise buildings (High-Rise Guideline – HHR)255

Model Guideline on structural fire protection in industrial buildings – MindBauRL

May 2019 version

www.is-argebau.de

Model Guideline on fire protection during the storage of plastic secondary materials – MKLR

June 1996 edition

www.is-argebau.de

Model Guideline on fire service areas

October 2009 edition

www.is-argebau.de

State Ordinance on the construction and operation of accommodation facilities (Accommodation Facilities Ordinance – BeVO)

State Ordinance on the construction and operation of sales outlets

(Sales Outlet Ordinance – VkVO)257

State Ordinance on the construction and operation of meeting places (Meeting Places Ordinance – VStättVO)257

Testing principles for granting general building inspection test certificates for seals in connection with tiles and slab surfaces

Part 1: Liquid-applied seals – PG AIV-F

May 2014 version

Part 2: Sheet-type seals – PG AIV-B

May 2014 version

Part 3: Slab-type seals – PG AIV-P

Version August 2012

German Institute for Building Technology (DIBt)

Testing principles regarding the issuing of general building inspectorate test certificates for waterproofing structures using fluid synthetic materials – PG-FLK

June 2010 edition

German Institute for Building Technology (DIBt)

Test principles for the conferral of general building supervisory inspection certificates for rigid and flexible mineral slurry seals as well as flexible polymer-modified thick coatings for the waterproofing of structures – PG-MDS/FPD

November 2016 edition

German Institute for Building Technology (DIBt)

Testing principles regarding the issuing of general building inspectorate test certificates for joint sealants in concrete components etc. with a high resistance to water penetration – PG-FBB

Part 1: Waterproofing for construction joints and crack cross-sections, transitions and connections

September 2017 edition

German Institute for Building Technology (DIBt)

Part 2: Waterproofings for expansion joints

September 2017 edition

Test plan for refurbishment of timber components contaminated with pentachlorphenol (PCP)

As at: January 2006

German Institute for Building Technology (DIBt)

Guideline for demonstrating the stability of metal-plastic composite products

Version August 1986

Mitteilungen IfBt (IfBt News) Volume 6/1986

German Institute for Building Technology (DIBt)

Guideline concerned with the appraisal and restoration of building materials and components in structures which are contaminated with PCBs [polychlorinated biphenyls]

September 1994 edition

Mitteilungen IfBt (IfBt News) Volume 2/1995

German Institute for Building Technology (DIBt)

Guideline concerned with the appraisal and restoration of building materials and components in structures which are contaminated with PCP

October 1996 edition

Mitteilungen IfBt (IfBt News) Volume 1/1997

German Institute for Building Technology (DIBt)

Guideline on the appraisal and restoration of building materials and components in structures contaminated with asbestos products

January 1996 edition

Mitteilungen IfBt (IfBt News) Volume 3/1996

German Institute for Building Technology (DIBt)

Guideline on the manufacture and use of dry concrete and dry mortar – TrBMR

June 2005 edition

German Committee for Reinforced Concrete - Deutscher Ausschuss für Stahlbeton e. V. (DAfStb)

Beuth Verlag GmbH

Guideline on the monitoring of wall, ceiling and roof elements for wooden frame houses built using the panel construction method as per DIN 1052 Parts 1 to 3

June 1992 Version

Mitteilungen IfBt (IfBt News) Volume 1/1993

German Institute for Building Technology (DIBt)

Guideline for standardising traffic area surfaces RStO 01

FGSV Verlag GmbH

Wesselinger Str. 17

50999 Cologne

Guideline for Wind Turbines

Effect and proof of stability for tower and foundation

October 2012 version, corrected version, March 2015

German Institute for Building Technology (DIBt)

Guideline on automatic sliding doors in escape routes – AutSchR

December 1997 edition

www.is-argebau.de

Guideline on fire protection requirements for highly fire-retardant components in timber construction – HFHHolzR

July 2004 Version

www.is-argebau.de

Guideline on the requirements for steel collecting trays with a volume of up to 1 000 litres – StawaR –

September 2011 edition

German Institute for Building Technology (DIBt)

Guideline on electrical locking systems for doors in escape routes – EltVTR

December 1997 edition

www.is-argebau.de

Technical specifications/technical test regulations for construction materials for producing bridge decks on concrete with a waterproofing layer made of fluid synthetic materials

(TL/TP BEL – B, Part 3)

1995 edition

Federal Ministry of Transport, Department for Road Construction

Verkehrsblatt-Verlag Borgmann GmbH & Co KG

Schleefstraße 14

44287 Dortmund

Technical specifications and test methods for surface protection systems (TL/TP OS)

1996 edition

Verkehrsblatt-Verlag Borgmann GmbH & Co KG

Technical Rules for Liquid Gas (TRF 2012)

wvgw Wirtschafts- und Verlagsgesellschaft Gas und Wasser mbH

Technical Rules for Flammable Liquids (TRbF)

UWS Umweltmanagement GmbH

Grotendonker Str. 61

47626 Kevelaer

www.umwelt-online.de

Technical Rules for Hazardous Substances (DVGW 600)

September 2018 edition

Beuth Verlag GmbH, Wirtschafts- und Verlagsgesellschaft Gas und Wasser mbH

Technical Rules for Oil Installations (TRÖl 2.0)

IWO-Institut für Wärme und Öltechnik e.V. (Institute for Heat and Oil Technology)

https://www.deutsche-digitale-bibliothek.de/item/SFM3O2ELEWEWP2SVHWRLA3CYWB76AYXM

List of testing laboratories, inspection bodies and certification bodies according to state building regulations (PÜZ list)

German Institute for Building Technology (DIBt)

under ETAG/CUAP/EAD

Application of § 17a LBO

Implemented in Germany by DIN EN 13251:2016-12

Implemented in Germany by DIN EN 12794-1:2007-08 and DIN EN 12794 Corrigendum 1:2009-04.

Application of § 17a LBO

Implemented in Germany by DIN EN 13978-1:2005-07.

Implemented in Germany by DIN EN 15037-3:2011-07.

Application of § 17a LBO

Implemented in Germany by DIN EN 10025-1:2005-02.

Implemented in Germany by DIN EN 13479:2005-03.

Implemented in Germany by DIN EN 1090-1:2012-02.

Implemented in Germany by DIN EN 1090-1:2012-02.

Application of § 17a LBO.

Implemented in Germany by DIN EN 14080:2013-09

Implemented in Germany by DIN EN 15274:2015-06.

Application of § 17a LBO.

Implemented in Germany by DIN EN 13859-2:2010-11.

Implemented in Germany by DIN EN 845-1:2016-12.

Implemented in Germany by DIN EN 845-2:2016-12.

Implemented in Germany by DIN EN 845-3:2016-12.

Application of § 17a LBO

Implemented in Germany by DIN EN 14449:2005-07.

Implemented in Germany by DIN EN 14179-2:2005-08.

DIBt Mitteilungen can be obtained from DIBt

NB: The following are considered experts for inspections and maintenance:
Those named in footnote 2 and experts recognised by the expert forum of Bundesverband WindEnergie e. V. (Federal Association for Wind Energy).

NB: The following are considered experts:- Det Norske Veritas Germanischer Lloyd (DNVGL), Tuborg Parkvej 8, DK-2900 Copenhagen
- TÜV Nord Sys Tec GmbH & Co.KG, Große Bahnstraße 31, D-22525 Hamburg
- TÜV Süd IndustrieAG, Westendstraße 199, D-80686 Munich
- DEWI-OCC, Offshore & Certification Centre GmbH, Am Seedeich 9, D-27472 Cuxhaven

Implemented in Germany by DIN EN 12285-2:2005-05.

Implemented in Germany by DIN EN 13341:2011-04.

For building inspection requirements in this Technical Building Regulation, deviations pursuant to pursuant to § 83a(1)(3) LBO are not permitted; deviations from building inspection requirements are permitted only in accordance with § 71 LBO. § 17a(2) and § 18(1) LBO are not affected.

Rules for the fulfilment of the other fundamental requirements for building structures must be observed.

The Guideline on the dimensioning of containment systems for extinguishing water (LöRüRL 1992-08) will continue to apply as a technical building regulation for the storage of water-polluting substances until the entry into force of the ‘Amendment to the Ordinance on Facilities Handling Substances that are Hazardous to Water’ (AwSV) which will replace it in 2020 / 2021. Deviations are permitted only in accordance with § 71 LBO.

For building inspection requirements in this Technical Building Regulation, deviations pursuant to pursuant to § 83a(1)(3) LBO are not permitted; deviations from building inspection requirements are permitted only in accordance with § 71 LBO. § 17a(2) and § 18(1) LBO are not affected.

Rules for the fulfilment of the other fundamental requirements for building structures must be observed.

For building inspection requirements in this Technical Building Regulation, deviations pursuant to pursuant to § 83a(1)(3) LBO are not permitted; deviations from building inspection requirements are permitted only in accordance with § 71 LBO. § 17a(2) and § 18(1) LBO are not affected.

Rules for the fulfilment of the other fundamental requirements for building structures must be observed.

Verband der Materialprüfungsanstalten [Association of material testing institutions] (VMPA) e. V. Berlin, Littenstraße 10, 10179 Berlin (www.vmpa.de)

under EAD/ETAG/CUAP

under EAD/ETAG/CUAP

Implemented in Germany by DIN EN 14316-1:2004-11

Application of § 17a LBO

Implemented in Germany by DIN EN 14317-1:2004-11

Implemented in Germany by DIN EN 14064-1:2010-06

Implemented in Germany by DIN EN 14315-1:2013-04

Implemented in Germany by DIN EN 14318-1:2013-04

Implemented in Germany by DIN EN 16069:2015-04

under EAD/ETAG/CUAP

Implemented in Germany by DIN EN 13169:2015-04.

under EAD/ETAG/CUAP

under EAD/ETAG/CUAP

under EAD/ETAG/CUAP

Implemented in Germany by DIN EN 14509:2013-12.

Implemented in Germany by DIN EN 14509:2013-12.

under EAD/ETAG/CUAP

Implemented in Germany by DIN EN 520:2009-12.

Implemented in Germany by DIN EN 13964:2014-08.

Implemented in Germany by DIN EN 12467:2012-12.

Application of § 17a LBO

Implemented in Germany by DIN EN 14891:2013-07

The average layer thickness applied may not be below the required minimum layer thickness and no individual value must be more than 5 % below the minimum layer thickness. Where the minimum layer thickness specified in the European technical approval is higher than the minimum layer thickness specified herein, the higher value shall apply.

under EAD/ETAG/CUAP

Implemented in Germany by DIN EN 13564-1:2002-10.

Implemented in Germany by DIN EN 1916:2003-04.

Implemented in Germany by DIN EN 1917:2003-04.

NB: When used in thoroughfares that could be endangered by falling glass parts (overhead glazing), the provisions of Section A 1.2.7 must be observed.

NB: When used in thoroughfares that could be endangered by falling glass parts (overhead glazing), the provisions of Section A 1.2.7 must be observed.

Laterally heating warm water as heat distribution medium

For leak detectors or leak detection systems there is a technical specification under Regulation (EU) No 305/2011 for use in equipment for storing fuels with a flashpoint > 55 °C used to supply heating systems in buildings. The use of construction products already on the market is unaffected.

Implemented in Germany by DIN EN 858-1:2005-02.

Implemented in Germany by DIN EN 858-1:2005-02.

Implemented in Germany by DIN EN 1825-1:2004-12.

Only applies in the federal states of Bremen, Lower Saxony and Saarland (as at 30 August 2010). In the federal states where Orders concerning the requirements pertaining to manufacturers of construction products and users of designs, and those concerning the supervision of activities involving construction products and designs, have been enacted, the certificate of conformity [Übereinstimmungsnachweis (ÜZ)] is replaced by the inspection or monitoring performed by accredited centres in accordance with the Orders mentioned and the relevant standard.

Only applies in the federal states of Bremen, Lower Saxony and Saarland (as at 30 August 2010). In the federal states where Orders concerning the requirements pertaining to manufacturers of construction products and users of designs, and those concerning the supervision of activities involving construction products and designs, have been enacted, the certificate of conformity [Übereinstimmungsnachweis (ÜZ)] is replaced by the inspection or monitoring performed by accredited centres in accordance with the Orders mentioned and the relevant standard.

Excluded from this are leak detectors for equipment for storing fuels used to supply heating systems in buildings.

This chapter does not apply in the Free State of Bavaria

This chapter does not apply in the Free State of Bavaria

Implemented in Germany by DIN EN 197-1:2011-11.

Implemented in Germany by DIN EN 14216:2015-09.

Implemented in Germany by DIN EN 15167-1:2006-12.

Implemented in Germany by DIN EN 12620:2008-07.

Implemented in Germany by DIN EN 197-1:2011-11.

Implemented in Germany by DIN EN 934-4:2009-09.

Implemented in Germany by DIN EN 197-1:2011-11.

Hartz, U.: Neues Normenwerk im Betonbau [new set of standards in concrete construction], published in DIBt Mitteilungen no. 1/2001, p. 2

Implemented in Germany by DIN EN 934-2:2012-08.

Implemented in Germany by DIN EN 10204:2005-01.

Implemented in Germany by DIN EN 10222-4:2017-06.

Implemented in Germany by DIN EN 1090-1:2012-02.

Implemented in Germany by DIN EN 1090-1:2012-02.

Implemented in Germany by DIN EN 1337-8:2008-01.

Implemented in Germany by DIN EN 14680:2006-12.

Implemented in Germany by DIN EN 12620:2008-07.

Implemented in Germany by DIN EN 13160-1:2003-09.

Implemented in Germany by DIN EN 13160-1:2003-09.

Implemented in Germany by DIN EN 12285-2:2005-05.

Implemented in Germany by DIN EN 10204:2005-01.

Published in DIBt Mitteilungen, vol. 2/2006, p. 61 et seq. Available from DIBt.

Implemented in Germany by DIN EN 1090-1:2012-02.

Implemented in Germany by DIN EN 438-7:2005-04.

Implemented in Germany by DIN EN 13162:2015-04.

Implemented in Germany by DIN EN 13168:2015-04.

Implemented in Germany by DIN EN 13170:2015-04.

Implemented in Germany by DIN EN 13171:2015-04.

Implemented in Germany by DIN EN 13950:2014-09.

Implemented in Germany by DIN EN 13964:2014-08.

Implemented in Germany by DIN EN 13986:2015-06.

Implemented in Germany by DIN EN 14064-1:2010-06.

Implemented in Germany by DIN EN 14190:2014-09.

Implemented in Germany by DIN EN 14303:2013-04.

Implemented in Germany by DIN EN 15037-4:2013-08.

Implemented in Germany by DIN EN 15498:2008-08.

Implemented in Germany by DIN EN 50575:2017-02.

Implemented in Germany by DIN EN 494:2015-12.

Implemented in Germany by DIN EN 534:2010-07.

Implemented in Germany by DIN EN 1873:2006-03.

Implemented in Germany by DIN EN 13707:2009-10.

Implemented in Germany by DIN EN 13956:2013-03.

Implemented in Germany by DIN EN 14351:2016-12.

Implemented in Germany by DIN EN 14783:2013-07.

Implemented in Germany by DIN EN 14963:2006-12.

Except for components under B 2.2.1.6 from construction products in accordance with harmonised technical specifications.

Implemented in Germany by DIN EN 16034:2014-12.

Implemented in Germany by DIN EN 13241:2016-12.

Implemented in Germany by DIN EN 16034:2014-12.

Implemented in Germany by DIN EN 13241:2016-12.

Implemented in Germany by DIN EN 16034:2014-12.

Implemented in Germany by DIN EN 14351:2016-12.

Implemented in Germany by DIN EN 13241:2016-12.

Implemented in Germany by DIN EN 14351:2016-12.

Implemented in Germany by DIN EN 12101-2:2003-09.

Implementation in progress

Active use is the targeted use of substances to achieve particular product properties. Not ‘actively used’ substances are those which are present in the product as contaminations and/or minor constituents.

For example, the substance reacts completely to form another compound, is completely encapsulated or bound, or a threshold value for the most sensitive end point could be derived for the substance.

Active use is the targeted use of substances to achieve particular product properties. Not ‘actively used’ substances are those which are present in the product as contaminations and/or minor constituents.

For example elastic flooring, textile flooring, laminate flooring, parquets and wooden floors, synthetic resin screeds, synthetic resin-based synthetic stone, composite flooring, cork flooring, sports flooring, base layers, surface coatings for wooden floors, elastic flooring and cork floors.

Floor covering adhesives and structural adhesive bonds.

Ratio Ci/LCIi, in which Ci is the mass concentration in the air in the reference area and LCIi is the LCI value of the compound i.

Target compounds are the substances listed in the LCI list in Annex 2 hereto.

Requirements for parquets and wooden floors with proportions of smoked wood.

Requirement for products according to Section 2.2.1, with proportions of vulcanised or unvulcanised rubber, containing vulcanisation agents with nitrosamine releasers and/or recycled rubber components.

A European harmonised test procedure for PAHs is currently being elaborated. Until the publication of this test procedure (deadline 31.12.2022), the GC method pursuant to DIN ISO 18287:2006-05 is optionally permitted.

Requirements for products pursuant to Section 2.2.1, without direct contact with the building user, which contain raw materials with recycling proportions of rubber or raw materials with use of PAH-containing extender oils or PAH-containing soot.

Requirement for products according to Section 2.2.1, with proportions of vulcanised or unvulcanised rubber, containing vulcanisation agents with nitrosamine releasers and/or recycled rubber components.

The current draft, DIN EN 16516 is expected in 2017.

The current draft, DIN EN 16516 is expected in 2017.

Implemented in Germany by DIN EN ISO/IEC 17025

Implemented in Germany by DIN CEN/TES 16516

The current draft, DIN EN 16516 is expected in 2017.

The term ‘hazardous substances’ is used in the Construction Products Regulation and refers to substances that are relevant to construction products and that are restricted or prohibited by EU and/or Member State provisions due to the risk of harmful effects.

Active use is the targeted use of substances to achieve particular product properties. Not 'actively used' substances are those which are present in the product as contaminations and/or minor constituents.

For example, the substance reacts completely to form another compound, is completely encapsulated or bound, or a threshold value for the most sensitive end point could be derived for the substance and is adhered to.

Active use is the targeted use of substances to achieve particular product properties. Not 'actively used' substances are those which are present in the product as contaminations and/or minor constituents.

The test values for the release of hazardous substances listed in ABuG are based on the LAWA de-minimis thresholds: LAWA: ‘Derivation of threshold values for groundwater’, December 2004. Available from Kulturbuch-Verlag GmbH, Postfach 47 04 49, 12313 Berlin or downloadable from the LAWA website: www.lawa.de.

For the release of hazardous substances from hardened concrete, see derived transfer functions in Annex II-B to the ‘Principles for assessing the impact of construction products on soil and groundwater – Version 2011’.

Implemented in Germany by DIN EN 13163:2016-08.

Implemented in Germany by DIN EN 13162:2015-04.

Implemented in Germany by DIN EN 13162:2015-04.

Implemented in Germany by DIN EN 13163:2016-08.

Implemented in Germany by DIN EN 15435:2008-10.

Implemented in Germany by DIN EN 15498:2008-08.

Implemented in Germany by DIN EN 15435:2008-10.

Implemented in Germany by DIN EN 15498:2008-08.

Implemented in Germany by DIN EN 13163:2017-02.

When applying TR ‘WDVS with ETA as per ETAG 004’ in respect of the fire characteristics of lost polystyrene formwork kits it should be borne in mind that under state building regulations ‘flame-resistant’ is only required for the surfaces of exterior walls of buildings in building classes 4 and 5. ‘Normally flammable’ is sufficient for building classes 1 to 3.

Implemented in Germany by DIN EN 13240:2005-10 + DIN EN 13240 Corrigendum 1 2008-06

Implemented in Germany by DIN EN 13229:2005-10 + DIN EN 13229 Corrigendum 1:2008-06

Implemented in Germany by DIN EN 12815:2005-09 + DIN EN 12815 Corrigendum 1:2008-06

Implemented in Germany by DIN EN 12809:2005-08 + DIN EN 12809 Corrigendum 1:2008-06

Implemented in Germany by DIN EN 15250:2007-06 + DIN EN 15250 Corrigendum 1:2015-05

Implemented in Germany by DIN EN 14785:2006-09 + DIN EN 14785 Corrigendum 1:2007-10

Implemented in Germany by DIN EN 15821:2011-01

Implemented in Germany by DIN EN 1:2007-12

Implemented in Germany by DIN EN 15821:2011-01

Implemented in Germany by DIN EN 13229:2005-10 + DIN EN 13229 Corrigendum 1:2008-06

Implemented in Germany by DIN EN 1858:2011-09

Implemented in Germany by DIN EN 12446:2011-09

Implemented in Germany by DIN EN 13069:2005-12

Implemented in Germany by DIN EN 1806:2006-10

Implemented in Germany by DIN EN 1856-1:2009-09

Implemented in Germany by DIN EN 1457-1:2012-04

Implemented in Germany by DIN EN 1457-2:2012-04

Implemented in Germany by DIN EN 1806:2006-10

Implemented in Germany by DIN EN 1856-1:2009-09

Implemented in Germany by DIN EN 1856-2:2009-09

Implemented in Germany by DIN EN 1857:2010-08

Implemented in Germany by DIN EN 1858:2011-09

Implemented in Germany by DIN EN 12446:2011-09

Implemented in Germany by DIN EN 13063-1:2007-10

Implemented in Germany by DIN EN 13063-2:2005-12

Implemented in Germany by DIN EN 13063-3:2007-10

Implemented in Germany by DIN EN 13069:2005-12

Implemented in Germany by DIN EN 14471:2015-03

Implemented in Germany by DIN EN 14989-1:2007-05

Implemented in Germany by DIN EN 14989-2:2008-03

Implemented in Germany by DIN EN 54-2:2007-01

Implemented in Germany by DIN EN 54-3:2014-09

Implemented in Germany by DIN EN 54-4:2007-01

Implemented in Germany by DIN EN 54-5:2017-05

Implemented in Germany by DIN EN 54-7:2006-09

Implemented in Germany by DIN EN 54-10/A1:2006-03

Implemented in Germany by DIN EN 54-11:2001-10 + DIN EN-54-11/A1:2006-03

Implemented in Germany by DIN EN 54-12:2015-10

Implemented in Germany by DIN EN 54-16:2008-06

Implemented in Germany by DIN EN 54-17:2006-03

Implemented in Germany by DIN EN 54-18:2006-03 and DIN EN 54-18 Corrigendum 1:2007-05

Implemented in Germany by DIN EN 54-20:2009-02

Implemented in Germany by DIN EN 54-21:2006-08

Implemented in Germany by DIN EN 54-23:2010-06

Implemented in Germany by DIN EN 54-24:2008-06

Implemented in Germany by DIN EN 54-25:2009-02 and DIN EN 54-25 Corrigendum 1:2012-09

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 15650:2010-09

Application of § 17a LBO

Implemented in Germany by DIN EN 12101-3:2015-12

Application of § 17a LBO

Implemented in Germany by DIN EN 12101-2:2003-09

Implemented in Germany by DIN EN 12101-3:2015-12

Implemented in Germany by DIN EN 12101-7:2011-07

Implemented in Germany by DIN EN 12101-8:2011-08

Implemented in Germany by DIN EN 12101-10:2006-01 + DIN EN 12101-10 Corrigendum 1:2009-07

Implemented in Germany by DIN EN 12101-7:2011-08

Implemented in Germany by DIN EN 12101-8:2011-08

Implemented in Germany by DIN EN 12101-2:2003-09

Application of § 17a LBO

Implemented in Germany by DIN EN 15650:2010-09

Implemented in Germany by DIN EN 671-1:2012-07

Implemented in Germany by DIN EN 671-2:2012-07

Implemented in Germany by DIN EN 14384:2005-10 + DIN EN 14384 Corrigendum 1:2007-07

Implemented in Germany by DIN EN 14339:2005-10 + DIN EN 14339 Corrigendum 1:2007-07

Implemented in Germany by DIN EN 12259-1:2006-03 and DIN EN 12259-1/Corrigendum 1:2007-01

Implemented in Germany by DIN EN 12259-2:2001-08 + DIN EN 12259-2/A2:2006-02

Implemented in Germany by DIN EN 12259-3:2001-08 and DIN EN 12259-3/Corrigendum 1:2008-06

Implemented in Germany by DIN EN 12259-4:2001-08

Implemented in Germany by DIN EN 12259-5:2002-12

Implemented in Germany by DIN EN 671-1:2012-07

Implemented in Germany by DIN EN 671-2:2012-07

Implemented in Germany by DIN EN 12094-1: 2003-07 and DIN EN 12094-1 / Corrigendum 1: 2006-09

Implemented in Germany by DIN EN 12094-2:2003-09

Implemented in Germany by DIN EN 12094-3:2003-07

Implemented in Germany by DIN EN 12094-4:2004-10

Implemented in Germany by DIN EN 12094-5:2006-07

Implemented in Germany by DIN EN 12094-6:2006-07

Implemented in Germany by DIN EN 12094-7:2005-04

Implemented in Germany by DIN EN 12094-8:2006-07

Implemented in Germany by DIN EN 12094-9:2003-07

Implemented in Germany by DIN EN 12094-10:2003-09

Implemented in Germany by DIN EN 12094-11:2003-07

Implemented in Germany by DIN EN 12094-12:2003-07

Implemented in Germany by DIN EN 12094-13:2001-06 + Corrigendum 1 to DIN EN 12094-13:2002-06

https://www.schleswig-holstein.de/DE/Fachinhalte/B/bauen/bauordnung.html

https://www.schleswig-holstein.de/DE/Fachinhalte/B/bauen/bautechnik.html

https://www.schleswig-holstein.de/DE/Fachinhalte/B/bauen/bauordnung.html