1. ------IND- 2018 0469 F-- EN- ------ 20180927 --- --- PROJET

| FRENCH REPUBLIC |  |  |
| --- | --- | --- |
| Ministry of the Interior |  |  |

Order of [   ]

amending the Order of 30 December 2011 regulating safety in the construction of high-rise buildings (IGHs) and their protection against the risks of fire and panic

NOR: INTE1824304A

Public concerned: operators and owners of establishments open to the public, business owners, main contractors, architects, members of safety committees, technical inspectors, manufacturers and installers of equipment using refrigerants.

Purpose: amendment of a provision concerning the characteristics of electrical appliances used for cooling in high-rise buildings (IGHs).

Entry into force: 1 January 2019.

Notice: the fire safety and anti-panic regulations in establishments open to the public (ERPs) has been amended, notably Article CH 35 thereof, to authorise the use of flammable refrigerants, hitherto prohibited. Article GH 37(2) of the fire safety regulation for high-rise buildings (IGHs) refers to the provisions of Article CH 35. Pending a specific risk assessment study, it is necessary to continue to restrict the use of flammable fluids in high-rise buildings and to avoid the creation of a loophole through the referral of Article GH 37 to Article CH 35.

References: the wording of the text, as amended by this order, may be consulted on the Légifrance website (http://www.legifrance.gouv.fr).

The Minister of State for the Interior, the Minister of State for the Ecological and Inclusive Transition, the Minister of Justice, the Minister of Territorial Cohesion, the Minister for Solidarity and Health, the Minister for the Economy, the Minister of Culture, the Minister of Labour and the Minister of Higher Education, Research and Innovation,

Having regard to Directive (EU) 2015/1535 of the European Parliament and of the Council of 9 September 2015 laying down a procedure for the provision of information in the field of technical regulations and of rules on Information Society services, in particular Notification No       ;

Having regard to the Construction and Housing Code, and in particular Article R122-4 thereof    ;

Having regard to the Order of 30 December 2011 regulating safety in the construction of high-rise buildings and their protection against the risks of fire and panic,

Hereby order:

Article 1

Title 1, Chapter II, Section VII of the regulations on safety in the construction of high-rise buildings and their protection against the risks of fire and panic, approved by the above-mentioned Order of 30 December 2011, is amended in accordance with Article 2.

Article 2

In Article GH 37, after the words: ‘appareils électriques de production de froid’ (‘Electrical cooling appliances)’, the words: ‘, n’utilisant pas de fluides frigorigènes inflammables,’ (‘, not using flammable refrigerants,’) are inserted.

Article 3

This order shall enter into force on 1 January 2019.

Article 4

This order shall be published in the Official Journal of the French Republic.

Done on [   ].

The Minister of State for the Interior,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister of State for the Ecological and Inclusive Transition,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister of Justice,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister of Territorial Cohesion,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister for Solidarity and Health,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister for the Economy,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister of Culture,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister of Labour,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]

The Minister of Higher Education,

Research and Innovation,

For and on behalf of the Minister:

[function],

[Initial of first name + SURNAME]