
MINISTER FOR ENVIRONMENT OF THE REPUBLIC OF LITHUANIA
21

1. ------IND- 2016 0535 LT- EN- ------ 20161109 --- --- PROJET
ORDER
APPROVING THE LIST OF REGULATED CONSTRUCTION PRODUCTS
No D1-XX of [date] [month] 2016
Vilnius
Pursuant to Resolution No 1482 of the Government of the Republic of Lithuania of 27 December 1999 designating the authorities delegated with the powers of approving the mandatory requirements of product safety, and subparagraph 1.2.40 of Resolution No 280 of the Government of the Republic of Lithuania of 26 February 2002 implementing the Law on Construction of the Republic of Lithuania, and having regard to the provisions of Article 21(17) of the Law on Construction of the Republic of Lithuania (Law No XII-2573 on Construction of the Republic of Lithuania of 30 June 2016), and Article 36 of the Treaty on the Functioning of the European Union (OJ C 115, 2008, p. 60), which allows to introduce restrictions justified on grounds of public policy or public security; the protection of health and life of humans, animals or plants and the protection of property, I hereby:
1. a p p r o v e the List of Regulated Construction Products (hereinafter referred to as the ‘List of Regulated Construction Products’) (annexed).
2. l a y  d o w n that:
2.1. construction products that are placed on the market of the Republic of Lithuania, included in the List of Regulated Construction Products and issued with the harmonised technical specifications, must have the declaration of performance (in Lithuanian) issued by the manufacturer and drawn up as set out in the harmonised technical specifications and in accordance with the procedures laid down by Regulation (EU) No 305/2011 of the European Parliament and of the Council of 9 March 2011 laying down harmonised conditions for the marketing of construction products and repealing Council Directive 89/106/EEC (OJ L 88, 2011, p. 5–43) (hereinafter referred to as ‘Regulation (EU) No 305/2011’);
2.2. construction products that are placed on the market of the Republic of Lithuania and are included in the List of Regulated Construction Products, but without harmonised technical specifications, must have the declaration of performance (in Lithuanian) issued by the manufacturer and drawn up on the basis of the requirements set out in the Technical Regulation for Construction STR 1.01.04:2015 ‘Assessment, verification and declaration of the constancy of performance of construction products without harmonised technical specifications - Designation of testing laboratories and certification bodies - National technical assessments; designation and publication of technical assessment bodies’, as approved by the Order No D1-901 of 10 December 2015 of the Minister for Environment of the Republic of Lithuania on the approval of Technical Regulation for Construction STR 1.01.04:2015 ‘Assessment, verification and declaration of the constancy of performance of construction products without harmonised technical specifications - Designation of testing laboratories and certification bodies - National technical assessments; designation and publication of technical assessment bodies’ (hereinafter referred to as ‘STR 1.01.04:2015’); 
2.3. the constancy of performance of construction products included in the List of Regulated Construction Products and with harmonised technical specifications must be assessed and verified on the basis of the relevant harmonised technical specifications and the systems for assessing and verifying the constancy of performance referred to therein, in accordance with the procedures laid down in Regulation (EU) No 305/2011;
2.4. the constancy of performance of construction products included in the List of Regulated Construction Products and without harmonised technical specifications must be assessed and verified on the basis of the systems for assessing and verifying the constancy of performance and technical specifications referred to in the List of Regulated Construction Products and in accordance with the procedures laid down in STR 1.01.04:2015;
2.5. certificates of constancy of performance of construction products and certificates of conformity of the factory production control as well as test reports shall be issued by notified bodies in accordance with the harmonised technical specifications referred to in the List of Regulated Construction Products after said bodies have performed third-party tasks while assessing and verifying the constancy of performance of construction products;
2.6. certificates of constancy of performance of construction products and certificates of conformity of the factory production control as well as test reports shall be issued by the designated bodies in accordance with other technical specifications referred to in the List of Regulated Construction Products after said bodies have performed third-party tasks while process assessing and verifying the constancy of performance of construction products;
2.7. the List of Lithuanian Designated Bodies shall be approved by a separate Order of the Minister for Environment.
3. l a y  d o w n that:
3.1. this Order shall enter into force on [date] [month] 2016;
3.2. with regard to construction products for which the assessment and verification of constancy of performance is being carried out for the first time and not in accordance with harmonised technical specifications, the List of Regulated Construction Products, as approved by this Order, shall enter into force on [date] [month] 2016.
4. r e p e a l Order No D1-80 of the Minister of Environment of the Republic of Lithuania of 28 January 2015 approving the List of Regulated Construction Products.
	Minister for Environment
	Kęstutis Trečiokas


Drawn up by
Irena Urnikienė
APPROVED
by Order No D1-XX of the Minister for Environment of the Republic of Lithuania of [date] [month] 2016
LIST OF REGULATED CONSTRUCTION PRODUCTS
1. Notes and explanations: 
	1.1. The requirements, which the construction products are subject to and which are included in the List of Regulated Construction Products, have been established in accordance with the requirements set out in Regulation (EU) No 305/2011 and in reference to the requirements set out in the technical regulations for construction. Construction products may be subject to the requirements of other EU directives, regulations or legal instruments not specified herein;
1.2. (D) – harmonised standard. Dates next to harmonised standards indicate the day starting from which the construction product shall be covered exclusively by the specified harmonised standard;
1.3. ETA – European Technical Assessment, prepared on the basis of the European Assessment Document (EAD) adopted by the organisation of Technical Assessment Bodies;
1.4. a technical certificate, technical assessment or company standard may also serve as the technical specification for a construction product; 
1.5. specific requirements laid down in the standard shall apply depending on the manufacturer’s declared area of use of the products;

	1.6. NTA – National Technical Assessment, undertaken on the basis of the requirements in STR 1.01.04:2015, as approved by the Order No D1-901 of 10 December 2015 of the Minister for Environment of the Republic of Lithuania. National Technical Certificates (NTC) issued before 1 July 2013 shall remain valid until the date of expiry shown thereon;
1.7 the systems for assessing and verifying constancy of performance are laid down in Annex V to Regulation (EU) No 305/2011 and in STR 1.01.04: 2015;
1.8. where provided for in the technical specification for a construction product;
1.9. it shall be necessary to perform the testing in order to determine the class of reaction-to-fire performance in such cases when a class of reaction-to-fire performance other than FROOF(t1) or FFL has been declared, or when the class of reaction-to-fire performance is other than those listed in the tables of technical regulations for construction;
1.10. basic requirements for appliances burning gaseous fuels and the placement of such appliances on the market are regulated by legislation transposing Directive 2009/142/EC of the European Parliament and of the Council of 30 November 2009 relating to appliances burning gaseous fuels (OJ L 330, 2009, p. 10–27);
1.11. the List of Regulated Construction Products does not include the requirements applicable to paints, varnishes, primers and coatings which are intended primarily for decorative and aesthetic purposes and which have little or no impact on the essential requirements for construction works.


	Item No
	Description of construction product
	Reference to the technical specification for the construction product
	Basic characteristics in relation to the intended use
	Reference to the standard or other document regulating the testing method
	System for assessing and verifying constancy of performance

	1
	2
	3
	4
	5
	6

	1.
	AGGREGATES
	
	
	
	

	1.1.
	aggregates for concrete
	LST EN 12620:2003+A1:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12620
	2+

	1.2.
	aggregates for mortar
	LST EN 13139:2003(D)
LST EN 13139:2003/AC:2004(D)
LST EN 13139+AC:2004 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13139
	2+

	1.3.
	lightweight aggregates for concrete, mortar and grout 
	LST EN 13055-1:2003(D)
LST EN 13055-1:2003/AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13055-1 
	2+

	1.4.
	lightweight aggregates for bituminous mixtures and surface treatments and for unbound and bound applications
	LST EN 13055-2:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13055-2
	2+, 4

	1.5.
	aggregates for bituminous mixtures and surface treatments for roads, airfields and other trafficked areas
	LST EN 13043:2003(D)
LST EN 13043:2003/AC:2004(D)
LST EN 13043+AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13043+AC 
	2+

	1.6.
	activated mineral filler for asphalt concrete mixtures
	LST 1419:1995
LST 1419:1995/1K:1996
	particle size distribution
	LST 1419.1
	2+

	
	
	
	water repellency
	LST 1419.1
	

	1.7.
	unbound mixtures:
- for crushed stone and gravel base layers
	LST EN 13285:2010
	particle size distribution
	LST EN 933-1
	2+

	
	
	
	mineral dust (fines) content
	LST EN 933-1
	

	
	- for protective frost-resistant layers
- for frost-insensitive material layers, base layers prepared by way of regeneration in situ, and road cover layers without binders
	
	oversize fraction (outsize particles)
	LST EN 933-1
	4

	
	
	
	water permeability (where requirements exist)
	LST CEN ISO/TS 17892-11
	

	1.8.
	aggregates for unbound and hydraulically bound materials:
- for crushed stone and gravel base layers
	LST EN 13242:2003+A1:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13242:2003+A1
	2+

	
	- for protective frost-resistant layers
- for frost-insensitive material layers, base layers prepared by way of regeneration in situ, and road cover layers without binders
	
	
	
	4

	
	
	
	
	
	

	
	
	
	
	
	

	1.9.
	aggregates for railway ballast:
- general network and company access roads
	LST EN 13450:2003(D)
LST EN 13450:2003/AC:2004(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13450
	2+

	
	- internal company roads
	
	
	
	4

	2.
	BINDERS
	
	
	
	

	2.1.
	common cements (all types)
	LST EN 197-1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 196-1,-2,-3,-8,-9
	1+

	
	CEM I, CEM II, CEM IV, CEM V
	
	alkali content (highest value of no more than 0.8%)
	
	

	
	CEM III/A
	
	alkali content (highest value of no more than 1.1%)
	
	

	
	CEM III/B and CEM III/C
	
	alkali content (highest value of no more than 2%)
	
	

	2.2.
	low early strength blast furnace cements
	LST EN 197-1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 196-1, LST EN 196-2, LST EN 196-3
	1+

	2.3.
	sulfate resisting blast furnace cement
	LST EN 197-1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 196-1, LST EN 196-3, LST EN 196-6
	1+

	2.4.
	masonry cement
	LST EN 413-1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 413-2, LST EN 196-1, LST EN 196-2, LST EN 196-3
	1+

	2.5.
	very low heat special cements
	LST EN 14216:2004 (D)
LST EN 14216:2015 (D) (2017-04-08) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 196-1, LST EN 196-2, LST EN 196-3, LST EN 196-5, LST EN 196-9
	1+

	2.6.
	building lime
	LST EN 459-1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 459-2
	2+

	2.7.
	calcium aluminate cement
	LST EN 14647:2006 (D)
LST EN 14647:2006/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14647
	1+

	2.8.
	supersulfated cement
	LST EN 15743:2010 (D)
LST EN 15743:2010+A1:2015 (D) (2016-11-13)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15743
	1+

	2.9.
	hydraulic binder for non-structural applications
	LST EN 15368:2008+A1:2010 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15368
	2+

	2.10.
	hydraulic road binders. Rapid hardening hydraulic road binders
	LST EN 13282-1:2013 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13282-1
	2+

	3.
	CONCRETES AND MORTARS
	
	
	
	

	3.1.
	mortars, except lime-based ones
	LST:2005:2015
	compressive strength 
	LST EN 1015-11
	1+

	
	
	
	frost resistance (where requirements exist)
	LST L 1413.11
	

	3.2.
	rendering and plastering mortars
	LST EN 998-1:2010(D)
LST:2005:2015
	essential characteristics in relation to the intended use
	LST EN 998-1
	4

	
	
	
	frost resistance 
	LST L 1413.11
	

	
	external renders and internal plasters based on organic binders 
	LST EN 15824:2009 (D)
	essential characteristics in relation to the intended use
	LST EN 15824
	1, 3, 4

	3.3.
	masonry mortars
	LST EN 998-2:2010(D)
	essential characteristics in relation to the intended use
	LST EN 998-2
	2+, 4

	
	
	
	frost resistance 
	LST L 1413.11
	

	3.4.
	adhesives for gypsum blocks
	LST EN 12860+AC:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12860+AC 
	3, 4

	3.5.
	screed material for floors
	LST EN 13813:2003 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13813
	1, 3, 4

	
	binders, composite binders and factory made mixtures for floor screeds, based on calcium sulfate
	LST EN 13454-1:2004 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13454-1
	

	3.6.
	grouts
	LST EN 447:2008
	viscosity
water separation
change in volume
compressive strength
	LST EN 445
LST EN 445
LST EN 445
LST EN 445
	1+

	3.7.
	gypsum binders and gypsum plasters 
	LST EN 13279-1:2008 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13279-1
	3, 4

	3.8.
	tile adhesive
	LST EN 12004:2007+A1:2012 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12004
	3

	3.9.
	concrete and concrete mixes
	LST EN 206:2014
LST 1974:2012
	compressive strength of concrete
	LST EN 12390-3
	1+

	
	
	
	concrete density
	LST EN 12390-7
	

	
	
	
	workability of mix (where applicable)
	LST EN 12350-2
	

	
	
	
	compactability of mix (where applicable)
	LST EN 12350-4
	

	
	
	
	flowability of mix (where applicable)
	LST EN 12350-5
	

	
	
	
	flow of mix (where applicable)
	LST EN 12350-8
	

	
	
	
	viscosity of mix (where applicable)
	LST EN 12350-8, LST EN 12350-9
	

	
	
	
	passing ability of mix (where applicable)
	LST EN 12350-10, LST EN 12350-12
	

	
	
	
	segregation resistance of mix (where applicable)
	LST EN 12350-11
	

	
	
	
	ultimate tensile strength of concrete (where requirements exist)
	LST EN 12390-6
	

	
	
	
	frost resistance of concrete (where requirements exist)
	LST L 1428.17, LST L 1428.19
	

	
	
	
	watertightness of concrete (where requirements exist)
	LST 1974
	

	
	
	
	depth of water penetration into concrete under pressure (where requirements exist)
	LST EN 12390-8
	

	
	
	
	abrasion resistance of concrete (where requirements exist)
	LST EN 1338+AC, Böhme method in Annex H
	

	3.10.
	road surface dressing
	LST EN 12271:2007 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12271
	2+

	3.11.
	asphalt concrete
	LST EN 13108-1:2006(D)
LST EN 13108-1:2006 /AC:2008 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-1
	2+

	3.12.
	asphalt concrete for very thin layers
	LST EN 13108-2:2006 (D)
LST EN 13108-2:2006/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-2
	2+

	3.13.
	soft asphalt
	LST EN 13108-3:2006(D)
LST EN 13108-3:2006/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-3
	2+

	3.14.
	hot rolled asphalt
	LST EN 13108-4:2006 (D)
LST EN 13108-4:2006/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-4
	2+

	3.15.
	stone mastic asphalt
	LST EN 13108-5:2006 (D)
LST EN 13108-5:2006/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-5
	2+

	3.16.
	mastic (poured) asphalt
	LST EN 13108-6:2006 (D)
LST EN 13108-6:2006/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-6
	2+

	3.17.
	porous asphalt
	LST EN 13108-7:2006 (D)
LST EN 13108-7:2006/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13108-7
	2+

	3.18.
	slurry surfacing
	LST EN 12273:2008 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12273
	2+

	3.19.
	concrete admixtures
	LST EN 934-2:2009+A1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 934-2
	2+

	3.20.
	admixtures for masonry mortar
	LST EN 934-3:2009+A1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 934-3
	2+

	3.21.
	admixtures for grout for prestressing tendons
	LST EN 934-4:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 934-4
	2+

	3.22.
	admixtures for grout. Admixtures for sprayed concrete
	LST EN 934-5:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 934-5
	2+

	3.23.
	products and systems for protecting and repairing concrete structures. Surface protection systems for concrete
	LST EN 1504-2:2004 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1504-2
	1, 2+, 3, 4

	3.24.
	products and systems for protecting and repairing concrete structures. Structural and non-structural repair
	LST EN 1504-3:2006 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1504-3
	1, 2+, 3, 4

	3.25.
	products and systems for protecting and repairing concrete structures. Structural bonding
	LST EN 1504-4:2005 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1504-4
	1, 2+, 3, 4

	3.26.
	products and systems for protecting and repairing concrete structures. Concrete injection
	LST EN 1504-5:2005 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1504-5
	2+ , 4

	3.27.
	products and systems for protecting and repairing concrete structures. Anchoring of reinforcing steel bar
	LST EN 1504-6:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1504-6
	1, 2+, 3, 4

	3.28.
	products and systems for protecting and repairing concrete structures. Reinforcement corrosion protection
	LST EN 1504-7:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1504-7
	2+, 4

	3.29.
	fly ash for concrete
	LST EN 450-1:2012(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 450
	1+

	3.30.
	silica fume for concrete
	LST EN 13263-1:2005+A1:2009 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13263-1
	1+

	3.31.
	gypsum based adhesives for thermal/acoustic insulation composite panels and plasterboards
	LST EN 14496:2005 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14496
	3, 4

	3.32.
	ground granulated blast furnace slag for use in admixtures for concrete, mortar and grout
	LST EN 15167-1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15166
	1+

	4.
	MASONRY UNITS AND ANCILLARY ELEMENTS
	
	
	
	

	4.1.
	clay masonry units
	LST EN 771-1:2011
LST EN 771-1:2011+A1:2015(D) (2017-06-10)
	essential characteristics in relation to the intended use as specified in the standard and frost resistance
	LST EN 771-1
LST 1985:2006, LST CEN/TS 772-22
	2+ (I kategorija)
4 (II kategorija)

	4.2.
	calcium silicate masonry units
	LST EN 771-2:2011(D)
LST EN 771-2:2011+A1:2015(D) (2017-06-10)
	essential characteristics in relation to the intended use
	LST EN 771-2
	2+ (I kategorija)
4 (II kategorija)

	4.3.
	aggregate concrete masonry units
(dense and lightweight aggregates)
	LST EN 771-3:2011(D)
LST EN 771-3:2011+A1:2015(D) (2017-06-10)
	essential characteristics in relation to the intended use
	LST EN 771-3
	2+ (I kategorija)
4 (II kategorija)

	4.4.
	autoclaved aerated concrete masonry units
	LST EN 771-4:2011(D)
LST EN 771-4:2011+A1:2015(D) (2017-06-10)
	essential characteristics in relation to the intended use as specified in the standard and frost resistance (where requirements exist)
	LST EN 771-4 and LST EN 15304
	2+ (I kategorija)
4 (II kategorija)

	4.5.
	manufactured stone masonry units
	LST EN 771-5:2011(D)
LST EN 771-5:2011+A1:2015(D) (2017-06-10)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 771-5
	2+ (I kategorija)
4 (II kategorija)

	4.6.
	natural stone masonry units
	LST EN 771-6:2011(D)
LST EN 771-6:2011+A1:2015(D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 771-6
	2+, 3, 4

	4.7.
	gypsum blocks
	LST EN 12859:2011 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12859
	3, 4

	4.8.
	ties, tension straps, hangers and brackets
	LST EN 845-1:2013 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 845-1
	3

	4.9.
	ancillary components for masonry, lintels
	LST EN 845-2:2013 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 845-2
	3

	4.10.
	bed joint reinforcement of steel meshwork
	LST EN 845-3:2013 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 845-3 
	3

	5.
	THERMAL INSULATION MATERIALS AND PRODUCTS
	
	
	
	

	5.1.
	thermal insulation products for buildings. Mineral wool thermal insulation products
	LST EN 13162:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13162
	1, 3, 4

	5.2.
	thermal insulation products for buildings. Factory made products of expanded polystyrene (EPS)
	LST EN 13163:2012+A1:2015 (D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13163 
	1, 3, 4

	
	thermal insulation products for buildings. Factory made products of extruded polystyrene foam (XPS)
	LST EN 13164:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13164
	

	
	thermal insulation products for buildings. Factory made rigid polyurethane foam (PUR) products
	LST EN 13165:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13165
	

	
	thermal insulation products for buildings. Factory made products of phenolic foam (PF)
	LST EN 13166:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13166
	

	5.3.
	thermal insulation products for buildings:
	
	
	
	1, 3, 4

	
	factory made cellular glass (CG) products
	LST EN 13167:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13167
	

	
	factory made wood wool (WW) products
	LST EN 13168:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13168
	

	
	factory made products of expanded perlite board (EPB) 
	LST EN 13169:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13169
	

	
	factory made products of expanded cork (ICB)
	LST EN 13170:2012+A1:2015 (D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13170 
	

	
	factory made wood fibre (WF) products
	LST EN 13171:2012+A1:2015 (D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 13171
	

	5.4.
	thermal insulation products for buildings. In-situ thermal insulation formed from expanded perlite (EP) products. Specification for bonded and loose-fill products before installation
	LST EN 14316-1:2004(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14316-1 
	3, 4

	5.5.
	external thermal insulation composite systems with rendering
	ETAG 004, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the ETA
	ETA according to ETAG 004
	1, 2+

	5.6.
	in-situ formed expanded clay lightweight aggregate (LWA) products. Specification for the loose-fill products before installation
	LST EN 14063-1:2004(D)
LST EN 14063-1:2004/AC:2007(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14063-1 
	1, 3, 4

	5.7.
	thermal insulation products for buildings. In-situ thermal insulation formed from exfoliated vermiculite (EV) products. Specification for bonded and loose-fill products before installation
	LST EN 14317-1:2004(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14317-1
	3, 4

	5.8.
	thermal insulation and lightweight fill products for civil engineering applications. Factory made products of expanded polystyrene (EPS)
	LST EN 14933:2007(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14933
	1, 3

	5.9.
	thermal insulation and lightweight fill products for civil engineering applications. Factory made products of extruded polystyrene foam (XPS)
	LST EN 14934:2007(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14934
	1, 3

	5.10.
	self-supporting double skin metal faced insulating panels. Factory made products.
	LST EN 14509:2014(D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14509
	1, 3

	5.11.
	thermal insulation products for building equipment and industrial installations. Factory made mineral wool (MW) products
	LST EN 14303:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14303
	1, 3

	5.12.
	thermal insulation products for building equipment and industrial installations. Factory made flexible elastomeric foam (FEF) thermal insulation products
	LST EN 14304:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14304
	1, 3

	5.13.
	thermal insulation products for building equipment and industrial installations. Factory made cellular glass (CG) products
	LST EN 14305:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14305
	1, 3

	5.14.
	thermal insulation products for building equipment and industrial installations. Factory made calcium silicate (CS) products
	LST EN 14306:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14306
	1, 3

	5.15.
	thermal insulation products for building equipment and industrial installations. Factory made products of extruded polystyrene foam (XPS)
	LST EN 14307:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14307
	1, 3

	5.16.
	thermal insulation products for building equipment and industrial installations. Factory made rigid polyurethane foam (PUR) and polyisocyanurate foam (PIR) products
	LST EN 14308:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14308
	1, 3

	5.17.
	thermal insulation products for building equipment and industrial installations. Factory made products of expanded polystyrene (EPS)
	LST EN 14309:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14309
	1, 3

	5.18.
	thermal insulation products for building equipment and industrial installations. Factory made polyethylene foam (PEF) products
	LST EN 14313:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14313
	1, 3

	5.19.
	thermal insulation products for building equipment and industrial installations. Factory made phenolic foam (PF) products
	LST EN 14314:2009+A1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14314
	1, 3

	5.20.
	thermal insulation products for buildings. In-situ formed sprayed rigid polyurethane (PUR) and polyisocyanurate (PIR) foam products. Specification for the rigid foam spray system before installation 
	LST EN 14315-1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14315
	1, 3, 4

	5.21.
	thermal insulation products for buildings. In-situ formed dispensed rigid polyurethane (PUR) and polyisocyanurate (PIR) foam products. Technical specification for the rigid foam dispensed system before installation
	LST EN 14318-1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14318-1
	1, 3, 4

	5.22.
	thermal insulation products for building equipment and industrial installations. In-situ formed dispensed rigid polyurethane (PUR) and polyisocyanurate (PIR) foam products. Technical specification for the rigid foam dispensed system before installation
	LST EN 14319-1:2013(D))
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14319-1
	1, 3, 4

	5.23.
	thermal insulation products for building equipment and industrial installations. In-situ formed sprayed rigid polyurethane (PUR) and polyisocyanurate (PIR) foam products. Technical specification for the rigid foam spray system before installation 
	LST EN 14320-1:2013(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14320-1
	1, 3, 4

	5.24.
	thermal insulation products for building equipment and industrial installations. In-situ thermal insulation formed from expanded perlite (EP) products.
Specification for bonded and loose-fill products before installation
	LST EN 15599-1:2010(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 15599-1
	3, 4

	5.25.
	thermal insulation products for building equipment and industrial installations. In-situ thermal insulation formed from exfoliated vermiculite (EV) products. Specification for bonded and loose-fill products before installation
	LST EN 15600-1:2010(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 15600-1
	3, 4

	5.26.
	in-situ formed loose-fill mineral wool (MW) products. Specification for the loose-fill products before installation
	LST EN 14064-1:2010(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 14064-1
	1, 3, 4

	5.27.
	lightweight fill and thermal insulation products for civil engineering applications. Expanded clay lightweight aggregate products (LWA)
	LST EN 15732:2012 (D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 15732
	1, 3, 4

	5.28.
	thermal insulation products for buildings. Factory made polyethylene foam (PEF) products
	LST EN 16069:2012+A1:2015(D)
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 16069
	1, 3, 4

	5.29.
	thermal insulation products for building equipment and industrial installations. Factory made expanded perlite (EP) and exfoliated vermiculite (EV) products
	LST EN 15501:2013(D) 
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 15501
	1, 3, 4

	5.30.
	thermal insulation products for buildings. In-situ formed loose-fill cellulose (LFCI) products
	LST EN 15101-1:2013
	essential characteristics in relation to reaction-to-fire performance and the intended use as specified in the standard
	LST EN 15101-1
	1, 3, 4

	
	
	LST EN 15101-2:2013
	
	LST EN 15101-2
	

	5.31.
	other thermal insulation products not listed above
	technical specification which sets out the essential characteristics
	declared heat transfer or heat resistance
	LST EN 12667, LST EN 12939, STR 2.01.03
	3

	
	
	
	product thickness
	LST EN 823
	

	
	
	
	density
	LST EN 1602+AC
	

	
	
	
	long-term or short-term water absorption (where requirements exist)
	LST EN 12087, LST EN 1609+AC
	

	
	
	
	service temperature range (where requirements exist)
	LST EN 14706 or declared methods
	

	
	
	
	reaction to fire1.9
	LST EN 13501-1
	1

	6.
	CONCRETE, REINFORCED CONCRETE AND NATURAL STONE PRODUCTS
	
	
	

	6.1.
	concrete elements for fences
	LST EN 12839:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12839
	4

	6.2.
	concrete paving blocks
	LST EN 1338:2003(D)
LST EN 1338:2003+AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1338
	4

	6.3.
	concrete paving flags
	LST EN 1339:2003(D)
LST EN 1339:2003/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1339
	4

	6.4.
	concrete kerb units
	LST EN 1340:2003(D)
LST EN 1340:2003/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1340
	4

	6.5.
	plain concrete fence details
	LST 1551:1999, LST 1551:1999/1K:2002
	compressive strength of concrete 
	LST EN 12390-3
	3

	
	
	
	water absorption
	LST EN 13369
	

	
	
	
	frost resistance
	LST L 1428.17
	

	6.6.
	slabs of natural stone for external paving
	LST EN 1341:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1341
	4

	6.7.
	setts of natural stone for external paving
	LST EN 1342:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1342 
	4

	6.8.
	kerbs of natural stone for external paving
	LST EN 1343:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1343
	4

	6.9.
	terrazzo tiles for external use
	LST EN 13748-2:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13748-2
	4

	6.10.
	products for foundation installation (basement wall blocks, slabs, pads, etc.)
	LST L 1409:2015
LST EN 13369:2013
technical specification which sets out the essential characteristics
	compressive strength of concrete
	LST EN 12390-3
	2+

	
	
	
	frost resistance of concrete 
	LST L 1428.17
	

	
	
	
	watertightness of concrete (where requirements exist)
	LST 1974
	

	
	precast concrete products. Foundation elements
	LST EN 14991:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14991
	2+

	6.11.
	precast concrete products. Wall elements
	LST EN 14992:2007+A1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14992
	2+, 4

	6.12.
	precast concrete products. Stairs
	LST EN 14843:2007(D) 
	essential characteristics in relation to the intended use
	LST EN 14843
	2+

	6.13.
	other building structures (elements for balconies and loggias, cornice boards, concrete sections for structures, etc.)
	LST EN 13369:2013
technical specification which sets out the essential characteristics
	compressive strength of concrete
	LST EN 12390-3
	2+

	
	
	
	frost resistance of concrete1.8
	LST L 1428.17 
	

	
	
	
	watertightness of concrete1.8
	 LST 1974
	

	
	
	
	product strength1.8
	LST CEN/TR 14862, declared methods
	

	
	
	
	product rigidity1.8
	LST CEN/TR 14862, declared methods
	

	
	
	
	product resistance to cracking1.8
	LST CEN/TR 14862, declared methods
	

	
	precast concrete products. Box culverts
	LST EN 14844:2006+A2:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14844
	2+, 4

	6.14.
	concrete pipes and fittings, unreinforced, steel fibre and reinforced
	LST EN 1916:2003(D)
LST EN 1916:2003/AC:2008 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1916 
	4

	6.15.
	concrete manholes (with nominal sizes not exceeding 1.25 m) and inspection chambers, unreinforced, steel fibre and reinforced
	LST EN 1917+AC:2006(D)
LST EN 1917:2003/AC:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1917
	4

	6.16.
	concrete and reinforced concrete manhole elements with nominal sizes not exceeding 1.25 m
	technical specification which sets out the essential characteristics
LST EN 13369:2013
	mechanical resistance of rings and covers
	LST EN 1917
	2+ 

	
	
	
	load-bearing capacity of installed units (deflection, residual deflection, horizontal)
	LST EN 1917
	

	
	
	
	compressive strength of concrete
	LST EN 12390-3
	

	
	
	
	frost resistance of concrete (where requirements exist)
	LST L 1428.17
	

	
	
	
	watertightness of concrete (where requirements exist)
	LST 1974
	

	
	
	
	depth of water penetration into concrete under pressure (where requirements exist)
	LST EN 12390-8
	

	6.17.
	fibre cement pipes for drains and sewers. Manholes and inspection chambers
	LST EN 588-2:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 588-2 
	4

	6.18.
	prefabricated reinforced products of lightweight aggregate concrete with open structure:
	LST EN 1520:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1520+AC
	

	
	- for load-bearing structures
	
	
	
	2+

	
	- for non-load-bearing structures
	
	
	
	4

	6.19.
	armourstone
	LST EN 13383-1:2003(D)
LST EN 13383-1:2003/AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
including restrictions put in place by Commission Decision (EU) 2016/1610
	LST EN 13383-2
	4

	6.20.
	precast concrete products. Floor plates for floor systems
	LST EN 13747:2005+A2:2010 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13747
	2+

	6.21.
	trusses (for roofing, connective)
	LST EN 13369:2013
Technical specification which sets out the essential characteristics
	compressive strength of concrete
frost resistance of concrete (where requirements exist)
product strength
	LST EN 12390-3
LST L 1428.17
LST CEN/TR 14862, declared methods
	2+

	
	
	
	product rigidity
product resistance to cracking1.8
	LST CEN/TR 14862, declared methods
LST CEN/TR 14862, declared methods
	

	6.22.
	masts and poles
	LST EN 12843:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12843
	2+

	6.23.
	precast concrete products. Ribbed floor elements 
	LST EN 13224:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13224
	2+

	6.24.
	precast concrete products. Linear structural elements (including reinforced columns, beams and girders)
	LST EN 13225:2013 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13225
	2+

	6.25.
	special roof elements
	LST EN 13693:2004+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13693
	2+

	6.26.
	precast concrete products. Floor slats for livestock
	LST EN 12737:2004+A1:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12737 
	2+

	6.27.
	natural stone products. Modular tiles
	LST EN 12057:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12057 
	3, 4

	6.28.
	natural stone products. Slabs for floors and stairs
	LST EN 12058:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12058 
	3, 4

	6.29.
	concrete pavements. Dowels to be used in concrete pavements 
	LST EN 13877-3:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13877-3
	4

	6.30.
	natural stone products. Slabs for cladding 
	LST EN 1469:2005(D)
LST EN 1469:2015(D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1469
	3, 4

	6.31.
	precast concrete products. Hollow core slabs
	NTA
LST EN 1168:2005+A3:2012(D)
	essential characteristics specified in the NTA
	NTĮ
	2+

	
	
	
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1168
	

	6.32.
	precast concrete products. Foundation piles
	LST EN 12794+A1:2007(D)
LST EN 12794+A1:2007/AC:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12794
	2+

	6.33.
	precast concrete products. Requirements for reinforced garages monolithic or consisting of single sections
	LST EN 13978-1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13978-1
	2+

	6.34.
	precast concrete products. Bridge elements
	LST EN 15050:2007+A1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15050
	2+

	6.35.
	agglomerated stone. Modular tiles for flooring and stairs (internal and external)

	LST EN 15285:2008(D)
LST EN 15285:2008/AC:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15285
LST EN 15285+AC
	1, 3, 4

	6.36.
	precast concrete products. Normal weight and lightweight concrete shuttering blocks
	LST EN 15435:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15435
	4

	6.37.
	precast concrete products. Wood-chip concrete shuttering blocks
	LST EN 15498:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15498
	4

	6.38.
	precast concrete products. Beam-and-block floor systems:
	
	essential characteristics in relation to the intended use as specified in the standard
	
	

	
	- beams
	LST EN 15037-1:2008(D)
	
	LST EN 15037-1
	2+

	
	- concrete blocks
	LST EN 15037-2:2009+A1:2011(D)
	
	LST EN 15037-2
	2+

	
	- clay blocks
	LST EN 15037-3:2009+A1:2011(D)
	
	LST EN 15037-3
	2+

	
	- expanded polystyrene blocks
	LST EN 15037-4:2010+A1:2013(D) 
	
	LST EN 15037-4
	2+

	
	- lightweight blocks for simple formwork
	LST EN 15037-5:2013(D) 
	
	LST EN 15037-5
	2+

	6.39.
	precast concrete products. Retaining wall elements
	LST EN 15258:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15258
	2+

	6.40.
	prefabricated reinforced components of autoclaved aerated concrete
	LST EN 12602:2008+A1:2013(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12602
	2+

	7.
	WINDOWS, DOORS AND OTHER BARRIERS
	
	
	
	

	7.1.
	windows (except those resistant to fire and smoke leakage)
	LST EN 14351-1:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14351-1
	3

	7.2.
	external access doors (except those resistant to fire and smoke leakage)
	LST EN 14351-1:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14351-1
	1, 3

	7.3.
	skylights (excluding those resistant to fire)
	LST EN 14351-1:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14351-1
	1, 3, 4

	7.4
	internal doors, where requirements exist for sound insulation, heat insulation or impermeability (except those resistant to fire and smoke leakage)
	technical specification which sets out the essential characteristics
	mechanical durability according to strength and rigidity
	LST EN 947, LST EN 948, LST EN 949, LST EN 950, LST EN 1192
	3

	
	
	
	resistance to repeated opening and closing 
	LST EN 1191, LST EN 12400
	

	
	
	
	heat transfer coefficient
	LST EN ISO 12567-1, LST EN ISO 10077-1
	

	
	
	
	airborne sound insulation
	LST EN ISO 10140-3, LST EN ISO 717-1
	

	
	
	
	air permeability
	LST EN 1026, LST EN 12207
	

	
	
	LST L prEN 14351-2:2010
	essential characteristics in relation to the intended use as specified in the standard
	LST L prEN 14351-2
	

	
	other internal doors (except those resistant to fire and smoke leakage)
	technical specification which sets out the essential characteristics
	mechanical durability according to strength and rigidity
	LST EN 947, LST EN 948, LST EN 949, LST EN 950, LST EN 1192
	4

	
	
	
	
	
	

	
	
	
	resistance to repeated opening and closing
	LST EN 1191, LST EN 12400
	

	
	
	LST L prEN 14351-2:2010
	essential characteristics in relation to the intended use as specified in the standard
	LST L prEN 14351-2
	

	7.5.
	windows, skylights and external pedestrian doors resistant to fire and/or smoke leakage
	LST EN 14600:2006 and the relevant technical specification in relation to the intended use of the products (until 1 November 2019)
	fire resistance (where requirements exist)
	LST EN 1634-1, LST EN 13501-2
	1

	
	
	
	smoke resistance (where requirements exist)
	LST EN 1634-3, LST EN 13501-2
	

	
	
	
	durability of self-closing (where requirements exist)
	LST EN 1191, LST EN 12605
	

	
	
	
	
	LST EN 14600
	

	
	
	
	heat transfer
	LST EN ISO 12567-1, LST EN ISO 10077-1
	3

	
	
	
	airborne sound insulation
	LST EN ISO 10140-3, LST EN ISO 717-1
	

	
	
	
	resistance to wind load
	LST EN 12211, LST EN 12210
	

	
	
	
	watertightness
	LST EN 1027, LST EN 12208
	

	
	
	
	air permeability
	LST EN 1026, LST EN 12207
	

	
	
	
	mechanical strength (for windows)
	LST EN 14608, LST EN 14609
LST EN 13115
	

	
	
	
	
	
	

	
	
	
	mechanical strength (for doors)
	LST EN 947, LST EN 948, LST EN 949, LST EN 950, LST EN 1192
	

	
	
	
	
	
	

	
	
	
	resistance to repeated opening and closing (for hinged windows)
	LST EN 1191, LST EN 12400
	

	
	
	
	burglar resistance (where requirements exist)
	LST EN 1627, LST EN 1628, LST EN 1629
LST EN 1630
	

	
	
	
	
	
	

	
	
	
	impact resistance for windows that function as barriers
	LST EN 13049
	

	
	
	
	other characteristics in relation to the intended use of the products as specified in the standard
	LST EN 14351-1
	

	
	
	
	
	
	

	
	
	LST EN 16034:2014 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 16034
	1,3

	7.6.
	interior doors with resistance to fire and/or smoke leakage
	LST EN 14600:2006 and LST L pr EN 14351-2:2010 (until 1 November 2019)
	fire resistance (where requirements exist)
	LST EN 1634-1, LST EN 13501-2
	1

	
	
	
	smoke resistance (where requirements exist) 
	LST EN 1634-3, LST EN 13501-2
	

	
	
	
	durability of self-closing (where requirements exist)
	LST EN 1191, LST EN 12605
LST EN 14600
	

	
	
	
	
	
	

	
	
	
	mechanical durability according to strength and rigidity
	LST EN 947, LST EN 948, LST EN 949
LST EN 950, LST EN 1192
	3

	
	
	
	
	
	

	
	
	
	resistance to repeated opening and closing
	LST EN 1191, LST EN 12400
	

	
	
	
	heat transfer (where requirements exist)
	LST EN ISO 12567-1, LST EN ISO 10077-1
	

	
	
	
	airborne sound insulation (where requirements exist)
	LST EN ISO 10140-3, LST EN ISO 717-1
	

	
	
	
	air permeability (where requirements exist)
	LST EN 1026, LST EN 12207
	

	
	
	
	other characteristics in relation to the intended use of the products as specified in the standard
	LST L prEN 14351-2
	

	
	
	
	
	
	

	
	
	LST EN 16034:2014 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 16034
	1,3

	7.7.
	industrial, commercial and garage doors and gates with resistance to fire and/or smoke leakage
	LST EN 14600:2006 and the relevant technical specification in relation to the intended use of the products (until 1 September 2019)
	fire resistance (where requirements exist)
	LST EN 1634-1, LST EN 13501-2
	1

	
	
	
	smoke resistance (where requirements exist)
	LST EN 1634-3, LST EN 13501-2
	

	
	
	
	durability of self-closing (where requirements exist)
	LST EN 1191, LST EN 12605
	

	
	
	
	
	LST EN 14600
	

	
	
	
	mechanical aspect characteristics
	LST EN 12605, LST EN 12604
	3

	
	
	
	power operation characteristics 
	LST EN 12453
	

	
	
	LST EN 16034:2014 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 16034
	1,3

	7.8.
	fire-resistant display window, separator and barrier sets 
	technical specification which includes
the requirements of LST EN 13501-2:2008+A1:2010 and requirements in relation to the intended use of the product
	fire resistance 
	LST EN 1364-1, LST EN 1364-3
LST EN 1364-4
	3

	
	
	
	other essential characteristics specified in relation to the intended use of the product
	methods in the relevant technical specification in relation to the intended use of the product
	3

	7.9.
	industrial, commercial and garage doors and gates, except for products resistant to fire and smoke leakage
	LST EN 13241-1:2003+A1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13241-1
	3

	7.10.
	shutters
	LST EN 13659:2004+A1:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13659
	4

	7.11.
	external blinds
	LST EN 13561:2004+A1:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13561
	4

	7.12.
	curtain walling (non-structural-load-bearing façade system) 
	LST EN 13830:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13830
	1, 3

	7.13.
	structural sealant glazing systems
	NTA or ETAG 002, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the ETA
	ETA according to ETAG 002
	2+

	7.14.
	building hardware. Locks and latches. Electromechanically operated locks and strike plates
	LST EN 14846:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14846
	1

	7.15.
	internal partition kits 
	NTA or ETAG 003, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 003
	1, 3, 4

	8.
	WOOD PRODUCTS, STRUCTURES AND THEIR ELEMENTS
	
	
	
	

	8.1.
	timber blanks and semi-finished profiles for non-structural uses
	LST EN 13307-1:2007
	dimensions and geometrical parameters
	LST EN 13307-1
	4

	
	
	
	moisture content
	LST EN 13183-1, LST EN 13183-2
LST EN 13183-3
	

	
	
	
	quality grade
	LST EN 942
	

	
	
	
	finger joints strength when subject to bending
	LST CEN/TS 13307-2
	

	
	
	
	moisture resistance
	LST CEN/TS 13307-2
	

	8.2.
	glued laminated timber for structures
	LST EN 14080:2013(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14080
	1

	8.3.
	timber structures. Prefabricated structural members assembled with punched metal plate fasteners
	LST EN 14250:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14250
	2+

	8.4.
	timber building kits
	NTA or ETAG 007, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 007
	1

	
	log building kits, except for buildings of up to 50 m2
	
	
	
	

	8.5.
	lightweight composite timber beams and columns
	NTA or ETAG 011, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 011
	1

	8.6.
	timber structures. Structural laminated veneer lumber
	LST EN 14374:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14374
	1

	8.7.
	wood-based panels for use in construction: 
	LST EN 13986:2005(D)
LST EN 13986:2005+A1:2015(D) (2016-11-13)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13986
	1, 2+
1, 3, 4

	
	- for load-bearing structural elements
	
	
	
	

	
	- for non-load-bearing structural elements
	
	
	
	

	8.8.
	fastening components for timber structures
	LST EN 14545:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14545
	2+, 3

	8.9.
	strength graded structural timber with rectangular cross section 
	LST EN 14081-1:2005+A1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14081-1
	2+

	8.10.
	dowel-type fasteners for timber structures
	LST EN 14592:2008+A1:2012 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14592
	3

	8.11.
	structural timber. Wood poles for overhead lines
	LST EN 14229:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14229
	2+

	8.12.
	Structural finger jointed solid timber
	LST EN 15497:2014 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15497
	1

	9.
	GLASS AND PRODUCTS
	
	
	
	

	9.1.
	insulating glass units
	LST EN 1279-5:2005+A2:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1279-5
	1, 3, 4

	9.2.
	thermally toughened soda lime silicate safety glass
	LST EN 12150-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12150-2 
	1, 3, 4

	9.3.
	laminated glass and laminated safety glass
	LST EN 14449:2005(D)
LST EN 14449:2005/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14449
	1, 3, 4

	9.4.
	glass in building. Coated glass
	LST EN 1096-4:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1096-4 
	1, 3, 4

	9.5.
	glass in building. Chemically strengthened soda lime silicate glass
	LST EN 12337-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12337-2 
	1, 3, 4

	9.6.
	glass in building. Special basic products. Borosilicate glasses
	LST EN 1748-1-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1748-1-2
	1, 3, 4

	9.7.
	glass in building. Special basic products. Glass ceramics
	LST EN 1748-2-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1748-2-2
	1, 3, 4

	9.8.
	glass in building. Thermally toughened borosilicate safety glass
	LST EN 13024-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13024-2
	1, 3, 4

	9.9.
	glass in building. Basic alkaline earth silicate glass products
	LST EN 14178-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14178-2
	1, 3, 4

	9.10.
	glass in building. Heat soaked thermally toughened alkaline earth silicate safety glass
	LST EN 14179-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14179-2
	1, 3, 4

	9.11.
	glass in building. Heat strengthened soda lime silicate glass
	LST EN 1863-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1863-2
	1, 3, 4

	9.12.
	glass in building. Basic soda-lime silicate glass products
	LST EN 572-9:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 572-9
	1, 3, 4

	9.13.
	glass in building. Thermally toughened alkaline earth silicate safety glass
	LST EN 14321-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14321-2
	1, 3, 4

	9.14.
	glass in building. Mirrors from silver-coated float glass for internal use
	LST EN 1036-2:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1036-2
	1, 3, 4

	9.15.
	glass in building. Glass blocks and glass pavers
	LST EN 1051-2:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1051-2
	1, 3, 4

	9.16.
	glass in building. Heat soaked thermally toughened alkaline earth silicate safety glass
	LST EN 15682-2:2013(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15682-2
	

	9.17.
	glass in building. Thermally toughened soda lime silicate channel shaped safety glass
	LST EN 15683-2:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15683-2
	

	10.
	ROOFING AND PRODUCTS 
	
	
	

	10.1.
	clay roofing tiles and fittings
	LST EN 1304:2006(D)
	essential characteristics in relation to the intended use as specified in the standard and frost resistance
	LST EN 1304
LST EN 1304 Method D
	3, 4

	10.2.
	concrete roofing tiles
	LST EN 490:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 491+AC
	3, 4

	10.3.
	bitumen shingles with mineral and/or synthetic reinforcements
	LST EN 544:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 544
	3, 4

	10.4.
	corrugated bitumen sheets
	LST EN 534:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 534
	3, 4

	10.5.
	fibre-cement slates and fittings
	LST EN 492:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 492 
	3, 4

	
	fibre-cement profiled sheets and fittings
	LST EN 494:2013(D)
LST EN 494:2012+A1:2016 (D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 494
	3, 4

	10.6.
	metal flat sheet and strip
	LST EN 10169:2010+A1:2012
LST EN 10346:20 15
	coating thickness (for polymeric coatings)
	LST EN 13523-1
	4

	
	
	
	coating weight (for metallic hot-dip coatings)
	LST EN ISO 1460, LST EN 10346
	

	
	
	
	coating hardness (for polymeric coatings)
	LST EN 13523-4
	

	
	
	
	coating adhesion (for polymeric coatings)
	LST EN 13523-6
	

	
	
	
	resistance to cracking when subject to bending (for polymeric coatings)
	LST EN 13523-7
	

	
	
	
	resistance to bending, and coating adhesion (for metallic hot-dip coatings)
	LST EN ISO 1519 declared methods
	

	
	
	
	heat resistance (for polymer-coated) (where requirements exist)
	LST EN ISO 3248
	

	
	
	
	coating resistance to deformation in low temperatures (for polymer-coated) (where requirements exist)
	LST EN 13523-6, LST EN 13523-7
	

	
	
	
	resistance to corrosion (for polymeric coatings) 
	LST EN ISO 9227, LST EN 13523-8
	

	
	
	
	resistance to corrosion (for metallic hot-dip coatings)
	LST EN ISO 9227
	

	
	self-supporting metal sheet for roofing, external cladding and internal lining
	LST EN 14782:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14782
	3, 4

	
	fully supported metal sheet and strip for roofing, external cladding and internal lining
	LST EN 14783:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14783
	3, 4

	10.7.
	slate and carbonated slate
	LST EN 12326-1:2014(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12326-2
	3, 4

	10.8.
	liquid-applied roof waterproofing kits
	NTA or ETAG 005, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 005
	1, 3, 4

	10.9.
	systems of mechanically fastened flexible roof waterproofing membranes
	NTA or ETAG 006, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 006
	2+

	10.10.
	prefabricated accessories for roofing. Permanently fixed roof ladders
	LST EN 12951:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12951 
	3

	10.11.
	installations for roof access. Walkways, treads and steps
	LST EN 516:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 516
	3

	10.12.
	roof safety hooks
	LST EN 517:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 517
	3

	10.13.
	prefabricated accessories for roofing. Individual roof lights of plastics
	LST EN 1873:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1873
	1, 3, 4

	10.14.
	roof coverings. Continuous rooflights of plastics 
	LST EN 14963:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14963
	1, 3, 4

	10.15.
	rigid underlays for discontinuous roofing
	LST EN 14964:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14964
	1, 3, 4

	11.
	WALL, CEILING AND FLOOR COVERINGS
	
	
	
	

	11.1.
	ceramic tiles
	LST EN 14411:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14411
	3, 4

	
	liquid-applied water impermeable products for use beneath ceramic tiling bonded with adhesives.
	LST EN 14891:2012(D)
LST EN 14891:2012/AC:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14891
	3

	11.2.
	clay pavers
	LST EN 1344:2013/AC:2015(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1344 
	4

	11.3.
	resilient, textile and laminate floor coverings
	LST EN 14041:2004(D)
LST EN 14041:2004/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14041
	1, 3, 4

	11.4.
	light transmitting single skin profiled plastics sheets for internal and external roofs, walls and ceilings
	LST EN 1013:2012+A1:2015(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1013
	1, 3, 4

	
	light transmitting flat multiwall polycarbonate sheets for internal and external use in roofs, walls and ceilings
	LST EN 16153:2013+A1:2015(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 16153
	1, 3, 4

	
	unplasticized poly(vinyl chloride) (PVC-U) profiles for internal and external wall and ceiling finishes
	LST EN 13245-2:2009(D)
LST EN 13245-2:2009/AC:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13245-2
	1, 3, 4

	11.5.
	gypsum plasterboards
	LST EN 520:2005+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 520
	3, 4

	11.6.
	suspended ceilings
	LST EN 13964:2004(D)
LST EN 13964:2014(D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13964
	1, 3, 4

	11.7.
	binders for magnesite screeds. Caustic magnesia and magnesium chloride
	LST EN 14016-1:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14016-2
	3, 4

	11.8.
	stretched ceilings
	LST EN 14716:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14716
	1, 3, 4

	11.9.
	high-pressure decorative laminates (HPL). Sheets based on thermosetting resins. Compact laminate and HPL composite panels for internal and external wall and ceiling finishes 
	LST EN 438-7:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 438-7
	1, 3, 4

	11.10.
	terrazzo tiles for internal use
	LST EN 13748-1:2004(D)
LST EN 13748-1:2004/A1:2005(D)
LST EN 13748-1:2004/AC:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13748-2
	4

	11.11.
	gypsum plasterboard products from reprocessing
	LST EN 14190:2014(D
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14190
	3, 4

	11.12.
	metal framing components for gypsum plasterboard systems 
	LST EN 14195:2005(D)
LST EN 14195:2005/AC:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14195
	3, 4

	11.13.
	jointing materials for gypsum plasterboards
	LST EN 13963:2005(D)
LST EN 13963:2005/AC:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13963
	3, 4

	11.14.
	gypsum plasterboard thermal/acoustic insulation composite panels
	LST EN 13950:2014(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13950
	3, 4

	11.15.
	preformed plasterboard cornices
	LST EN 14209:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14209
	3, 4

	11.16.
	fibrous gypsum plaster casts
	LST EN 13815:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13815
	1, 3, 4

	11.17.
	gypsum elements for suspended ceilings
	LST EN 14246:2006(D)
LST EN 14246:2006/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14246
	3, 4

	11.18.
	prefabricated gypsum plasterboard panels with a cellular paperboard core
	LST EN 13915:2007(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13915
	3, 4

	11.19.
	metal beads and feature profiles for use with gypsum plasterboards
	LST EN 14353:2007+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14353
	3, 4

	11.20.
	mechanical fasteners for gypsum plasterboard systems
	LST EN 14566:2008+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14566
	4

	11.21.
	gypsum boards with fibrous reinforcement:
gypsum boards with mat reinforcement
- gypsum fibre boards
	
	
	
	3, 4

	
	
	LST EN 15283-1:2008+A1:2010(D)
LST EN 15283-2:2008+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15283-1
	

	
	
	
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15283-2
	

	11.22.
	decorative wall covers. Roll and panel form products
	LST EN 15102:2007+A1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15102
	1, 3, 4

	11.23.
	fibre-cement flat sheets for internal and external wall and ceiling finishes
	LST EN 12467:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12467
	1, 3, 4

	11.24.
	agglomerated stone. Slabs and tiles for wall finishes (internal and external)
	LST EN 15286:2013(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15286
	

	11.25.
	ventilated façade kits
	NTA or ETAG 034, to be used in lieu of the EAD
	essential characteristics in relation to the intended use as specified in the ETA
	NTA or ETA according to ETAG 034
	1,2+,3,4

	11.26.
	wood flooring
	LST EN 14342:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14342
	1,3, 4

	11.27.
	solid wood panelling and cladding
	LST EN 14915:2014(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14915
	1, 3, 4

	12.
	WATERPROOFING AND SEALING MATERIALS AND PRODUCTS
	
	
	

	12.1.
	hot bituminous mastics
	technical specification which sets out the essential characteristics
	softening point
	LST EN 1427
LST EN 1426
	4

	
	
	
	penetration
	
	

	12.2.
	cold bituminous mastics (adhesives) and bituminous primers
	technical specification which sets out the essential characteristics
	non-volatile-matter content
	LST EN ISO 3251
	2+

	
	
	
	residue softening point
	LST EN 1427
	

	12.3.
	bituminous sheets for roof waterproofing 
	LST EN 13707:2005+A2:2010 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13707 
	1, 2+, 3, 4

	12.4.
	flexible sheets for waterproofing. Plastic and rubber sheets for roof waterproofing
	LST EN 13956:2013 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13956
	1, 2+, 3, 4

	12.5.
	flexible sheets for waterproofing. Underlays for discontinuous roofing
	LST EN 13859-1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13859-1
	1, 3, 4

	
	flexible sheets for waterproofing. Underlays for walls
	LST EN 13859-2:2010(D)
	
	LST EN 13859-2
	

	
	flexible sheets for waterproofing. Bitumen water vapour control layers
	LST EN 13970:2005 (D)
LST EN 13970:2005/A1:2007(D)
	
	LST EN 13970
	

	
	
	
	
	
	

	
	flexible sheets for waterproofing. Plastic and rubber vapour control layers
	LST EN 13984:2013 (D)
	
	LST EN 13984
	

	
	flexible sheets for waterproofing. Plastic and rubber damp proof sheets including plastic and rubber basement tanking sheet
	LST EN 13967:2012 (D)
	
	LST EN 13967
	1, 2+, 3, 4

	
	flexible sheets for waterproofing. Bitumen damp proof sheets including bitumen basement tanking sheets
	LST EN 13969:2005 (D)
LST EN 13969:2005/A1:2007(D)
	
	LST EN 13969
	

	12.6.
	bitumen and bituminous binders. Paving grade bitumens
	LST EN 12591:2009 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12591
	2+

	12.7.
	bitumen and bituminous binders. Polymer modified bitumens
	LST EN 14023:2010 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14023
	2+

	12.8.
	bitumen and bituminous binders. Cationic bituminous emulsions
	LST EN 13808:2013 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13808
	2+

	12.9.
	bitumen and bituminous binders. Hard paving grade bitumens
	LST EN 13924:2006 (D)
LST EN 13924:2006/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13924
	2+

	12.10.
	bitumen and bituminous binders. Framework for specifying cut-back and fluxed bituminous binders
	LST EN 15322:2013 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15322
	2+

	12.11.
	sealants
	LST EN ISO 11600:2004
LST EN ISO 11600:2004/A1:2011
	tensile strength
	LST EN ISO 8339
	2+

	
	
	
	relative elongation
	LST EN ISO 8339
	

	
	
	
	elastic recovery
	LST EN ISO 7389
	

	
	
	
	flow resistance
	LST EN ISO 7390
	

	12.12.
	joint fillers and sealants. Hot applied sealants
	LST EN 14188-1:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14188-1 
	4

	12.13.
	joint fillers and sealants. Cold applied sealants
	LST EN 14188-2:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14188-2
	4

	12.14.
	joint fillers and sealants. Preformed joint seals
	LST EN 14188-3:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14188-3
	4

	12.15.
	flexible sheets for waterproofing. Plastic and rubber damp proof courses
	LST EN 14909:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14909
	1, 3, 4

	12.16.
	flexible sheets for waterproofing. Bitumen damp proof courses
	LST EN 14967:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14967
	1, 3, 4

	12.17.
	flexible sheets for waterproofing. Reinforced bitumen sheets for waterproofing of concrete bridge decks and other trafficked areas of concrete
	LST EN 14695:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14695
	2+

	12.18.
	sealants for non-structural use in joints in buildings and pedestrian walkways. 
	LST EN 15651-1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15651-1
	1, 3, 4

	
	sealants for non-structural use in joints in buildings and pedestrian walkways.
	LST EN 15651-2:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15651-2
	1, 3, 4

	
	sealants for non-structural use in joints in buildings and pedestrian walkways.
	LST EN 15651-3:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15651-3
	1, 3, 4

	
	sealants for non-structural use in joints in buildings and pedestrian walkways.
	LST EN 15651-4:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15651-4
	1, 3, 4

	12.19.
	polymer modified bituminous thick coatings for waterproofing
	LST EN 15814:2011+A2:2015(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15814
	1, 3, 4

	13.
	GEOSYNTHETICS 
	
	
	
	

	13.1.
	geotextiles and geotextile-related products for use:
	
	
	
	2+

	
	- in the construction of roads and other trafficked areas
(excluding railways and asphalt inclusion)
	LST EN 13249:2004 (D)
LST EN 13249:2002/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13249 
	

	
	- in the construction of railways
	LST EN 13250:2004 (D)
LST EN 13250:2004/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13250 
	

	
	- in earthworks, foundations and retaining structures
	LST EN 13251:2002 (D) 
LST EN 13251:2002/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13251
	

	
	- in drainage systems
	LST EN 13252:2002 (D)
LST EN 13252:2002/A1:2005(D)
LST EN 13252:2014
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13252
	

	
	- in erosion control works
(coastal protection, bank revetments)
	LST EN 13253:2002 (D)
LST EN 13253:2002/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13253 
	

	
	- in the construction of reservoirs and dams
	LST EN 13254:2002 (D)
LST EN 13254:2002/A1:2005(D)
LST EN 13254:2002/AC:2004(D)
LST EN 13254+AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13254 
	

	
	- in the construction of canals
	LST EN 13255:2004 (D)
LST EN 13255:2002/A1:2005(D)
LST EN 13255:2002/AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13255 
	

	
	- in the construction of tunnels and underground structures
	LST EN 13256:2002 (D)
LST EN 13256:2002/A1:2005(D)
LST EN 13256:2002/AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13256 
	

	
	- in solid waste disposals
	LST EN 13257:2002 (D)
LST EN 13257:2002/A1:2005(D)
LST EN 13257:2002/AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13257 
	

	
	- in liquid waste containment projects
	LST EN 13265:2002 (D)
LST EN 13265:2002/A1:2005(D)
LST EN 13265:2002/AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13265 
	

	
	- in pavements and asphalt overlays
	LST EN 15381:2008 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15381
	

	13.2.
	geosynthetic barriers for use in:
	
	
	
	2+

	
	- in the construction of reservoirs and dams
	LST EN 13361:2004 (D)
LST EN 13361:2004/A1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13361
	

	
	
	
	
	
	

	
	- in the construction of canals
	LST EN 13362:2005 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13362
	

	
	- as a fluid barrier in the construction of tunnels and underground structures
	LST EN 13491:2004 (D)
LST EN 13491:2004/A1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13491
	

	
	
	
	
	
	

	
	- the construction of liquid waste disposal sites, transfer stations or secondary containment
	LST EN 13492:2004 (D)
LST EN 13492:2004/A1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13492 
	

	
	- in solid waste disposals
	LST EN 13493:2005 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13493 
	

	
	- in transportation infrastructure
	LST EN 15382:2013 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15382
	

	14.
	PAINTS, VARNISHES, PRIMERS AND COATINGS
	
	
	
	

	14.1.
	paints, varnishes, primers and coatings for use in buildings with essential characteristics1.11
	technical specification which sets out the essential characteristics
	
	
	2+

	
	mechanical resistance
	
	bond strength with base
	LST EN ISO 4624
	

	
	
	
	film hardness
	LST EN ISO 1522, LST EN ISO 2409
	

	
	
	
	abrasion resistance 
	LST EN ISO 7784
	

	
	
	
	wet-scrub resistance
	LST EN ISO 11998
	

	
	heat resistance
	
	heat resistance (where heat resistant)
	LST EN ISO 3248
	

	
	water resistance
	
	water resistance
	LST EN ISO 2812-2
	

	
	resistance to the elements
	
	resistance to the elements
	LST EN 13687-3
	

	
	moisture vapour transmission
	
	moisture vapour transmission
	LST EN ISO 7783
	

	
	permeability
	
	permeability
	LST EN 1062-3
	

	
	resistance to hostile environments
	
	resistance to liquids 
	LST EN ISO 2812-1
	

	
	corrosion protection
	
	resistance to liquids 
	LST EN ISO 2812-1
	

	
	
	
	water resistance
	LST EN ISO 2812-2
	

	
	
	
	coating damage assessment after neutral salt spray testing 
	LST EN ISO 9227
	

	
	
	
	(where resistant to corrosion) (if required)
	LST EN ISO 4628-2,-3,-4,-5,-6,-7
	

	14.2.
	viscous building putties for interior applications
	LST 1519:2011
	consistency 
	LST EN 1015-4
	3

	
	
	
	fineness of grind 
	LST 1519
	

	
	
	
	shrinkage
	LST 1519
	

	14.3.
	viscous building putties for exterior applications
	LST 1519:2011
	frost resistance
	LST L 1413.11
	3

	
	
	
	shrinkage
	LST 1519
	

	
	
	
	adhesion strength
	LST 1519
	

	14.4.
	grout for tiles
	LST EN 13888:2009
	compressive strength
	LST EN 12808-3
	3

	
	
	
	shrinkage
	LST EN 12808-4
	

	
	
	
	water absorption
	LST EN 12808-5
	

	
	
	
	chemical resistance (where requirements exist)
	LST EN 12808-1
	

	14.5.
	pigments for the colouring of building materials based on cement and/or lime
	LST EN 12878:2005 (D)
LST EN 12878:2005/AC:2006 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12878 
	2+

	15.
	POWER, MANAGEMENT AND COMMUNICATION CABLES
	
	
	
	

	15.1.
	Cables for general applications in construction works subject to reaction to fire requirements
	LST EN 50575:2015/A1:2016 (D) (2017-07-01)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 50575
	1

	16.
	WASTEWATER TREATMENT EQUIPMENT
	
	
	
	

	16.1.
	Wastewater lifting plants for buildings and sites. Lifting plants for wastewater containing faecal matter
	LST EN 12050-1:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12050-1
	3

	16.2.
	Wastewater lifting plants for buildings and sites. Lifting plants for faecal-free wastewater
	LST EN 12050-2:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12050-2
	3

	16.3.
	Wastewater lifting plants for buildings and sites. Lifting plants for wastewater containing faecal matter for limited applications
	LST EN 12050-3:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12050-3
	3

	16.4.
	Wastewater lifting plants for buildings and sites. Non-return valves for faecal-free wastewater and wastewater containing faecal matter
	LST EN 12050-4:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12050-4
	3

	16.5.
	small wastewater treatment systems (for up to 50 PT). Prefabricated septic tanks
	LST EN 12566-1:2000(D)
LST EN 12566-1:2000/A1:2004 (D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12566-1 
	3

	16.6.
	small wastewater treatment systems (for up to 50 PT). Packaged and/or site assembled domestic wastewater treatment plants
	LST EN 12566-3:2005+A2:2013 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12566-3
	3

	16.7.
	small wastewater treatment systems (for up to 50 PT). Septic tanks assembled in situ from prefabricated kits
	LST EN 12566-4:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12566-4
	3

	16.8.
	small wastewater treatment systems (for up to 50 PT). Prefabricated treatment units for septic tank effluent
	LST EN 12566-6:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12566-6
	1, 3, 4

	16.9.
	small wastewater treatment systems for up to 50 PT. Prefabricated tertiary treatment units
	LST EN 12566-7:2013(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12566-7
	1, 3, 4

	16.10.
	wastewater treatment systems (for more than 50 PT)
	NTA
	essential characteristics in relation to the intended use as specified in the NTA
	NTĮ
	1

	16.11.
	grease separators
	LST EN 1825-1:2004(D)
LST EN 1825-1:2004/AC:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1825-1
	3, 4

	16.12.
	air admittance valves for drainage systems
	LST EN 12380:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12380
	4

	16.13.
	separator systems for light liquids
	LST EN 858-1:2002(D)
LST EN 858-1:2002/A1:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 858-1
	3, 4

	17.
	HEATING, WATER SUPPLY AND VENTILATION EQUIPMENT
	
	
	

	17.1.
	heating appliances: radiators and convectors
(except their connection and adjustment components)
	LST EN 442-1:2000(D)
LST EN 442-1:2000/A1:2003(D)
LST EN 442-1:2015(D) (2016-11-13)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 442-2
	1,3,4

	17.2.
	connective parts for internal building water supply and heating systems (flexible hoses for devices or mixers)
	technical specification which sets out the essential characteristics
	essential characteristics in relation to the intended use as specified in the standard
	declared methods 
	4

	17.3.
	ceiling mounted radiant panels supplied with water at temperature below 120 °C
	LST EN 14037-1:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14037-1
	3

	17.4.
	insert appliances including open fires fired by solid fuel
	LST EN 13229:2003(D)
LST EN 13229:2003/A1:2003(D)
LST EN 13229:2003/A2:2004(D)
LST EN 13229:2003/AC:2006(D)
LST EN 13229:2003/A2:2004/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13229
	3

	17.5.
	plastic tubes of outdoor pressure piping, outer diameter of 25 mm and above (other than gas pipelines)
	LST EN ISO 1452-2:2010
LST EN 12201-2:2011+A1:2014
	resistance to hydrostatic pressure
	LST ISO 1167-1, LST ISO 1167-2
	1+

	
	
	
	dimension accuracy
	LST EN ISO 3126
	

	
	
	
	linear shrinkage1.8
	LST EN ISO 2505
	

	
	
	
	impact resistance1.8
	LST EN 744, LST ISO 3127
	

	
	
	
	dichloromethane resistance1.8
	LST EN 580
	

	
	
	
	tensile elongation of material1.8
	LST EN ISO 6259-1
	

	17.6.
	plastic pipes for outside non-pressure piping, outer diameter of 110 mm or more (except those for drainage and electric cabling)
	LST EN 1401-1:2009
LST ISO 4435:2004
LST EN 1852-1:2009
LST EN 12666-1:2005+A1:2011
	shock resistance
	LST EN 744, LST EN 1411
	1+

	
	
	
	dichloromethane resistance1.8
	LST EN 580
	

	
	
	
	dimension accuracy
	LST EN ISO 3126
	

	
	
	
	longitudinal reversion
	LST EN ISO 2505
	

	
	
	
	leaktightness of joints (with ring seals) 
	LST EN 1277
	

	
	
	
	ring rigidity1.8
	LST EN ISO 9969
	

	17.7.
	structural plastic tubes of 110 mm and larger outer diameter for non-pressure conduits for outdoor use (other than drainage pipelines and cabling)
	LST EN 13476-2:2007
LST EN 13476-3:2007+A1:2009
	shock resistance
	LST EN 744, LST EN 1411
	1+

	
	
	
	dichloromethane resistance1.8
	LST EN 580
	

	
	
	
	dimension accuracy
	LST EN ISO 3126
	

	
	
	
	longitudinal reversion (for type A pipes)
	LST EN ISO 2505
	

	
	
	
	leaktightness of joints (with ring seals) 
	LST EN 1277
	

	
	
	
	ring rigidity1.8
	LST EN ISO 9969
	

	
	
	
	heat resistance (oven test, for type B pipes)
	ISO 12091
	

	17.8.
	pipe joint seals and drainage applications:
- vulcanized rubber
	LST EN 681-1+A1:2001(D)
LST EN 681-1+A1:2001/A2:2003(D)
LST EN 681-1+A1:2001/A3:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 681-1+A1
	4

	
	
	
	
	
	

	
	
	
	
	
	

	
	- thermoplastic elastomers
	LST EN 681-2+A1:2003(D)
LST EN 681-2+A1:2003/A2:2005(D)
	
	LST EN 681-2+A1
	

	
	- cellular materials of vulcanized rubber
	LST EN 681-3+A1:2003(D)
LST EN 681-3+A1:2003/A2:2005(D)
	
	LST EN 681-3+A1
	

	
	- cast polyurethane sealing elements
	LST EN 681-4+A1:2003(D)
LST EN 681-4+A1:2003/A2:2005(D)
	
	LST EN 681-4+A1
	

	17.9.
	elastomeric seals used in pipes and fittings carrying gas and hydrocarbon fluids
	LST EN 682:2003(D)
LST EN 682:2003/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 682
	3

	17.10.
	WC pans and WC suites with integral trap
	LST EN 997:2012(D)
LST EN 997:2012/AC:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 997
	4

	17.11.
	kitchen sinks
	LST EN 13310:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13310
	4

	17.12.
	sanitary appliances. Whirlpool baths
	LST EN 12764:2005+A1:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12764
	4

	17.13.
	roomheaters fired by solid fuel
	LST EN 13240:2002(D)
LST EN 13240:2002/A2:2004
LST EN 13240:2002/AC:2006(D)
LST EN 13240:2002/A2:2004/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13240
	3

	17.14.
	residential independent boilers fired by solid fuel. Nominal heat output up to 50 kW
	LST EN 12809:2002(D)
LST EN 12809:2002/A1:2004(D)
LST EN 12809:2002/AC:2006(D)
LST EN 12809:2002/A1:2004/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12809
	3

	17.15.
	residential cookers fired by solid fuel
	LST EN 12815:2002(D)
LST EN 12815:2002/A1:2004(D)
LST EN 12815:2002/AC:2006(D)
LST EN 12815:2002/A1:2004/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12815
	3

	17.16.
	shower enclosures
	LST EN 14428:2005+A1:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14428
	4

	17.17.
	anti-flooding devices for buildings
	LST EN 13564-1:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13564-1
	4

	17.18.
	pipes and fittings of longitudinally welded hot-dip galvanized steel pipes with spigot and socket for waste water systems - Part 1: Requirements, testing, quality control
	LST EN 1123-1:2000(D)
LST EN 1123-1:2000/A1:2004(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1123-1
LST EN 1123-1:2000/A1
	4

	17.19.
	pipes and fittings of longitudinally welded stainless steel pipes with spigot and socket for wastewater systems
	LST EN 1124-1:2000(D)
LST EN 1124-1:2000/A1:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1124-1
LST EN 1124-1:2000/A1
	4

	17.20.
	sanitary appliances. Communal washing troughs
	LST EN 14296:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14296
	4

	17.21.
	vitrified clay pipe systems for drains and sewers. Requirements for pipes, fittings and joints
	LST EN 295-1:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 295-10
LST EN 295-1
	4
1,3,4

	
	vitrified clay pipe systems for drains and sewers. Requirements for adaptors, connectors and flexible couplings
	LST EN 295-4:2013(D))
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 295-10
LST EN 295-4
	4
1,3,4

	
	vitrified clay pipe systems for drains and sewers. Requirements for perforated pipes and fittings
	LST EN 295-5:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 295-10
LST EN 295-5
	4
1,3,4

	
	vitrified clay pipe systems for drains and sewers. Requirements for components of manholes and inspection chambers 
	LST EN 295-6:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 295-10
LST EN 295-6
	4
1,3,4

	
	vitrified clay pipe systems for drains and sewers. Requirements for pipes and joints for pipe jacking 
	LST EN 295-7:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 295-10
LST EN 295-7
	4
1,3,4

	17.22.
	non-alloy steel tubes and fittings for the conveyance of water for human consumption and other liquids 
	LST EN 10224:2003(D)
LST EN 10224:2003/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10224
LST EN 10224:2003/A1 
	4

	17.23.
	joints for connection of steel tubes and fittings for the conveyance of water and other aqueous liquids
	LST EN 10311:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10311 
	4

	17.24.
	welded stainless steel tubes for the conveyance of aqueous liquids including water for human consumption
	LST EN 10312:2003(D)
LST EN 10312:2003/A1:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10312
LST EN 10312:2003/A1 
	4

	17.25.
	bidets
	LST EN 14528:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14528
	4

	17.26.
	seamless, round copper tubes for water and gas in sanitary and heating applications
	LST EN 1057:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1057
	1, 3, 4

	17.27.
	flued oil stoves with vaporising burners
	LST EN 1:1998(D)
LST EN 1:1998/A1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1
	3

	17.28.
	cast iron pipes and fittings, their joints and accessories for the evacuation of water from buildings
	LST EN 877:2000(D)
LST EN 877:2000/A1:2007(D)
LST EN 877:2000/A1:2007/AC:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 877
	4

	17.29.
	wall-hung urinals
	LST EN 13407:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13407
	4

	17.30.
	wash basins
	LST EN 14688:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14688
	4

	17.31.
	adhesives for non-pressure thermoplastic piping systems
	LST EN 14680:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14680
	4

	17.32.
	corrugated safety metal hose assemblies for the connection of domestic appliances using gaseous fuels
	LST EN 14800:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14800
	1, 3

	17.33.
	adhesives for thermoplastic piping systems for fluids under pressure.
	LST EN 14814:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14814
	4

	17.34.
	slow heat release appliances fired by solid fuel
	LST EN 15250:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15250
	3

	17.35.
	gully tops and manhole tops for vehicular and pedestrian areas
	technical specification which sets out the essential characteristics 
	load resistance
	declared method 
	4

	17.36.
	single-burner gas-fired overhead radiant tube heaters for non-domestic use. Safety1.10
	LST EN 416-1:2009(D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 416-1
	2+, 4

	17.37.
	ductile iron pipes, fittings, accessories and their joints for sewerage applications
	LST EN 598:2007+A1:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 598:2007+A1
	4

	17.38.
	multi-burner gas-fired overhead radiant tube heater systems for non-domestic use. System D. Safety1.10
	LST EN 777-1:2009(D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 777-1
	2+, 4

	
	multi-burner gas-fired overhead radiant tube heater systems for non-domestic use. System E. Safety1.10
	LST EN 777-2:2009(D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 777-2
	2+, 4

	
	multi-burner gas-fired overhead radiant tube heater systems for non-domestic use. System F. Safety1.10
	LST EN 777-3:2009(D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 777-3
	2+, 4

	
	multi-burner gas-fired overhead radiant tube heater systems for non-domestic use. System H. Safety1.10
	LST EN 777-4:2009(D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 777-4
	2+, 4

	17.39.
	ductile iron pipes, fittings, accessories and their joints for gas pipelines
	LST EN 969:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 969
	3

	17.40.
	non-alloy steel tubes suitable for welding and threading 
	LST EN 10255+A1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10255+A1
	3, 4

	17.41.
	residential space heating appliances fired by wood pellets
	LST EN 14785:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14785
	3

	17.42.
	non-domestic gas-fired forced convection air heaters for space heating not exceeding a net heat input of 300 kW, without a fan to assist transportation of air and/or combustion products1.10
	LST EN 621:2010(D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 621
	2+, 4

	17.43.
	domestic gas-fired forced convection air heaters for space heating not exceeding a net heat input of 70 kW, without a fan to assist transportation of combustion air and/or combustion products1.10
	LST EN 778:2010 (D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 778
	2+, 4

	17.44.
	non-domestic forced convection gas-fired air heaters for space heating not exceeding a net heat input of 300 kW incorporating a fan to assist the transportation of combustion air or combustion products1.10
	LST EN 1020:2010 (D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 1020
	2+, 4

	17.45.
	domestic gas-fired forced convection air heaters for space heating, with fan-assisted burners not exceeding a net heat input of 70 kW1.10
	LST EN 1319:2010 (D)
	essential characteristics set out in the standard apply to flues intended for use in conjunction with a specific device or system
	LST EN 1319
	2+, 4

	17.46.
	multi-firing sauna stoves fired by natural wood logs
	LST EN 15821:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15821
	3

	17.47.
	baths for domestic purposes
	LST EN 14516:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14516
	4

	17.48.
	shower trays for domestic purposes
	LST EN 14527:2006+A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14527
	4

	17.49.
	WC and urinal flushing cisterns
	LST EN 14055:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14055
	4

	17.50.
	manually operated ball valves and closed bottom taper plug valves for gas installations for buildings
	LST EN 331:1998(D)
LST EN 331:1998/A1:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 331
	3, 4

	17.51.
	safety gas connection valves for metal hose assemblies used for the connection of domestic appliances using gaseous fuel
	LST EN 15069:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15069
	1, 3, 4

	18.
	REINFORCING STEEL, INSERT PARTS AND ELEMENTS
	
	
	

	18.1.
	insert parts for reinforced concrete products
	technical specification which sets out the essential characteristics and LST EN ISO 17660-1:2006
	dimension accuracy
	declared methods 
	2+

	
	
	
	load-bearing capacity of welded joints in relation to the intended use of the product
	LST EN ISO 17660-1
	

	18.2.
	weldable reinforcing steel
	LST EN 10080:2006
	dimension deviations
	LST EN ISO 15630-1
	1+

	
	
	
	yield strength
	LST EN ISO 15630-1
	

	
	
	
	tensile strength
	LST EN ISO 15630-1
	

	
	
	
	relative elongation under maximum load
	LST EN ISO 15630-1
	

	
	
	
	resistance to bending
	LST EN ISO 15630-1, LST EN ISO 7438
	

	18.3.
	welded fabric and cages
for the reinforcement of concrete, machine-made
	LST EN 10080:2006
	dimension deviations
	LST EN ISO 15630-2
	1+

	
	
	
	tensile strength of reinforcements (inside the product)
	LST EN ISO 15630-2
	

	
	welded fabric and cages
for the reinforcement of concrete, non-machine-made
	technical specification which sets out the essential characteristics and LST EN ISO 17660-1:2006
	yield strength of reinforcements (inside the product)
	LST EN ISO 15630-2
	

	
	
	
	relative elongation of reinforcements (inside the product) under maximum load
	LST EN ISO 15630-2
	

	
	
	
	resistance to bending at welding point1.8
	LST EN ISO 15630-1, LST EN ISO 7438
	

	
	
	
	welding shear strength
	LST EN ISO 15630-2
	

	18.4.
	pre-tensioned reinforcing steel
	technical specification which sets out the essential characteristics
	yield strength
	LST EN ISO 15630-3
	1+

	
	
	
	tensile strength
	LST EN ISO 15630-3
	

	
	
	
	modulus of elasticity
	LST EN ISO 15630-3
	

	
	
	
	relative elongation under maximum load
	LST EN ISO 15630-3
	

	
	
	
	tensile relaxation
	LST EN ISO 15630-3
	4

	18.5.
	steel strip sheaths for prestressing tendons
	LST EN 523:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 523
	4

	18.6.
	metal lath and beads (for internal plastering)
	LST EN 13658-1:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13658-1 
	3, 4

	18.7.
	metal lath and beads (for external rendering)
	LST EN 13658-2:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13658-2 
	3, 4

	18.8.
	fibres for concrete. Steel fibres
	LST EN 14889-1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14889-1
	1, 3

	18.9.
	fibres for concrete. Polymer fibres
	LST EN 14889-2:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14889-2
	1, 3

	18.10.
	reinforcement steel couplers for mechanical splices of bars
	LST ISO 15835-1:2010
	tensile strength of coupler
	LST ISO 15835-1, LST EN ISO 15630-1
	1+

	
	
	
	coupler plasticity: relative elongation at maximum load
	LST ISO 15835-1, LST EN ISO 15630-1
	

	
	
	
	slip inside the coupler 
	LST ISO 15835-1
	

	
	
	
	fatigue
	LST ISO 15835-1
	

	18.11.
	kits for the prestressing of structures
	NTA or ETAG 013, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 013
	1+

	19.
	METAL LOAD-BEARING STRUCTURES AND THEIR ELEMENTS
	
	
	

	19.1.
	load-bearing metal structures for construction works
	LST EN 1090-1:2009+A1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1090-1
	2+

	19.2.
	hot rolled products of structural steels
	LST EN 10025-1:2004(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10025-1
	2+

	19.3.
	hot finished structural hollow sections of non-alloy and fine grain steels
	LST EN 10210-1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10210-1
	2+

	19.4.
	cold formed welded structural hollow sections of non-alloy and fine grain steels
	LST EN 10219-1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10219-1
	2+

	19.5.
	steel products with improved deformation properties perpendicular to the surface of the product
	LST EN 10164:2005
	tensile strength in terms of yield point
	LST EN ISO 6892-1
	3

	
	
	
	tensile strength in terms of strength limit
	
	

	
	
	
	relative tensile elongation
	
	

	
	
	
	modulus of elasticity
	
	

	19.6.
	cold-formed metal structural products
	technical specification which sets out the essential characteristics
LST EN 10149-1:2014
LST EN 10149-2: 2014
LST EN 10149-3: 2014
LST EN 10346:2009
LST ISO 4997:2015
	tensile strength in terms of yield point
	LST EN ISO 6892-1
	3

	
	
	
	tensile strength in terms of strength limit
	LST EN ISO 6892-1
	

	
	
	
	modulus of elasticity1.8
	LST EN ISO 6892-1
	

	
	
	
	relative tensile elongation
	LST EN ISO 6892-1
	

	
	
	
	weight of metallic hot-dip coating1.8
	LST EN ISO 1460, LST EN 10326, LST EN 10327
	

	
	
	
	coating thickness1.8
	LST EN ISO 2808
	

	19.7.
	sheets/plates and strips of corrosion-resisting steels for construction purposes
	LST EN 10088-4:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10088-4
	2+

	
	bars, rods, wire, sections and bright surface products of corrosion resisting steels for construction purposes
	LST EN 10088-5:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10088-5
	2+

	19.8.
	welding consumables. Filler metals and fluxes for fusion welding of metallic materials
	LST EN 13479:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13479
	2+

	19.9.
	high-strength structural bolting assemblies for preloading
	LST EN 14399-1:2005(D)
LST EN 14399-1:2015(D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14399-1
	2+

	19.10.
	non-preloaded structural bolting assemblies
	LST EN 15048-1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15048-1
	2+

	19.11.
	aluminium and aluminium alloys. Structural products for construction works
	LST EN 15088:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15088
	2+

	19.12.
	steel castings for structural uses
	LST EN 10340:2008(D)
LST EN 10340:2008/AC:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10340
	2+

	19.13.
	steels for quenching and tempering for construction purposes
	LST EN 10343:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 10343
	2+

	19.14
	structural adhesives. Characterisation of anaerobic adhesives for co-axial metallic assembly in building and civil engineering structures
	LST EN 15275:2008(D)
LST EN 15275:2015 (D) (2016-11-13)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15275
	2+

	20.
	TRAFFIC MANAGEMENT OBJECTS
	
	
	
	

	20.1.
	fixed, vertical road traffic signs. Fixed signs
	LST EN 12899-1:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12899-1
	1

	
	fixed, vertical road traffic signs. Transilluminated traffic bollards
	LST EN 12899-2:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12899-2
	

	
	fixed, vertical road traffic signs. Delineator posts and retroreflectors 
	LST EN 12899-3:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12899-3
	

	20.2.
	road marking materials. Retroreflecting road studs
	LST EN 1463-1:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1463-1
LST EN 1463-2 
	1

	20.3.
	road marking materials. Drop-on materials. Glass beads, antiskid aggregates and mixtures of the two 
	LST EN 1423:2012(D)
LST EN 1423:2012/AC:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1423
	1

	20.4.
	anti-glare screens for roads
	LST EN 12676-1:2001(D)
LST EN 12676-1:2001/A1:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12676-2
	3

	20.5.
	reinforced and prestressed concrete lighting columns
	LST EN 40-4:2006(D)
LST EN 40-4:2006/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 40-4
	1

	
	steel lighting columns
	LST EN 40-5:2002(D)
	
	LST EN 40-5
	1

	
	aluminium lighting columns
	LST EN 40-6:2003(D)
	
	LST EN 40-6
	1

	
	fibre reinforced polymer composite lighting columns
	LST EN 40-7:2003(D)
	
	LST EN 40-7
	1

	20.6.
	road vertical signs. Variable message traffic signs
	LST EN 12966-1:2005+A1:2010(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12966-1
	1

	20.7.
	road traffic noise reducing devices
	LST EN 14388:2005(D)
LST EN 14388:2005/AC:2008(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14388
	3

	20.8.
	warning and safety light devices
	LST EN 12352:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12352
	1

	20.9.
	signal heads
	LST EN 12368:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12368
	1

	20.10.
	road restraint systems
	LST EN 1317-5:2007+A2:2012(D)
LST EN 1317-5:2007+A2:2012/AC:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1317-5
	1

	20.11.
	drainage channels for vehicular and pedestrian areas 
	LST EN 1433:2003(D)
LST EN 1433:2003/A1:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1433
LST EN 1433:2003/A1
	3

	21.
	CHIMNEYS AND ELEMENTS OF THEIR SYSTEMS
	
	
	
	

	21.1.
	clay/ceramic flue liners
	LST EN 1457-1:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1457-1
	2+

	
	
	LST EN 1457-2:2012(D)
	
	LST EN 1457-2
	

	21.2.
	clay/ceramic flue blocks for single wall chimneys
	LST EN 1806:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1806
	2+

	21.3.
	metal system chimney products
	LST EN 1856-1:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1856-1
	2+

	21.4.
	metal flues and connecting flue pipes
	LST EN 1856-2:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1856-2
	2+

	21.5.
	concrete flue liners
	LST EN 1857:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1857
	2+

	21.6.
	concrete flue blocks
	LST EN 1858:2008+A1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1858
	2+

	21.7.
	chimneys. Components. Concrete outer wall elements
	LST EN 12446:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12446
	2+

	21.8.
	system chimneys with clay/ceramic flue liners
	LST EN 13063-1:2006+A1:2007(D)
LST EN 13063-2:2006+A1:2007(D)
LST EN 13063-3:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13063-1
LST EN 13063-2
LST EN 13063-3
	2+

	21.9.
	clay/ceramic outer walls for system chimneys
	LST EN 13069:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13069
	2+

	21.10.
	industrial chimneys. Materials for brick liners
	LST EN 13084-5:2005(D)
LST EN 13084-5:2005/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13084-5
	2+

	21.11.
	free-standing chimneys. Cylindrical steel fabrications for use in single wall steel chimneys and steel liners
	LST EN 13084-7:2013(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13084-7
	2+

	21.12.
	clay/ceramic flue terminals
	LST EN 13502:2003(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13502
	4

	21.13.
	system chimneys with plastic flue liners
	LST EN 14471:2013+A1:2015(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14471
	1, 2+, 3, 4

	21.14.
	metal chimneys and material independent air supply ducts. Vertical air/flue terminals for C6-type appliances
	LST EN 14989-1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14989-1
	2+

	21.15.
	chimneys. Flue and air supply ducts for room sealed appliances
	LST EN 14989-2:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14989-2
	2+

	22.
	FIRE PROTECTION STRUCTURES, FIRE-SAFETY ELEMENTS AND SYSTEMS
	
	
	

	22.1.
	emergency exit devices operated by a lever handle or push pad for fire and escape route doors and gates
	LST EN 179:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 179
	1

	22.2.
	panic exit devices operated by a horizontal bar, for fire and escape route doors and gates
	LST EN 1125:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1125
	1

	22.3.
	building hardware. Controlled fire door closing devices
	LST EN 1154:2002(D)
LST EN 1154:2002/A1:2003(D)
LST EN 1154:2002/A1:2003/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1154
	1

	22.4.
	building hardware. Electrically powered hold-open devices for swing doors
	LST EN 1155:2002(D)
LST EN 1155:2002/A1:2003(D)
LST EN 1155:2002/A1:2003/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1155
	1

	22.5.
	building hardware. Fire door coordinator devices
	LST EN 1158:2002(D)
LST EN 1158:2002/A1:2003(D)
LST EN 1158:2002/A1:2003/AC:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1158
	1

	22.6.
	building hardware. Single-axis fire and evacuation path door hinges
	LST EN 1935+AC:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1935
	1

	22.7.
	building hardware. Mechanically operated fire door locks, latches and locking plates
	LST EN 12209:2005(D)
LST EN 12209:2005/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12209
	1

	22.8.
	fire-resisting ducts
	LST EN 13501-3:2006+A1:2010
	fire resistance
	LST EN 1366-1
	1

	22.9.
	fire-protective panel, flat-sheet and liner products and kits for ducts and service ducts and shafts
	ETAG 018, to be used in lieu of the EAD
or classification according to
LST EN 13501-3:2006+A1:2010 and ETAG 018-4, point 4.7
	fire resistance
identification
	LST EN 1366-1, LST EN 1366-5 and LST EN 13501-3
LST EN 822, LST EN 823, LST EN 824, LST EN 1602, LST EN 12467 points 5.3.2, 5.3.3, 5.3.4, 5.3.5 and 5.4.2, LST EN 13162, LST EN 13467
	1

	22.10.
	fire dampers
	LST EN 15650:2010(D)
	fire resistance
	LST EN 1366-2
	1

	22.11.
	pillar fire hydrants
	LST EN 14384:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14384
	1

	22.12.
	underground fire hydrants
	LST EN 14339:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14339
	1

	22.13.
	fire-protective reactive and render coatings for steel, concrete and timber members
	ETAG 018, to be used in lieu of the EAD
or classification according to
LST EN 13501-2:2008+A1:2010 and ETAG 018-2, point 4.7.3 or classification according to LST EN 13501-2:2008+A1:2010 and ETAG 018-3, point 4.7.3
	fire resistance of coated members
coating identification according to TGA
	LST EN 13381-4 or LST EN 13381-8, LST L ENV 13381-3 or LST L ENV 13381-7 and LST EN 13501-2
LST EN ISO 11358
	1

	22.14.
	fire-protective panel, flat-sheet and liner products and kits for steel, concrete and timber members
	ETAG 018, to be used in lieu of the EAD
or classification according to
LST EN 13501-2:2008+A1:2010 and ETAG 018-4, point 4.7
	fire resistance of coated members
identification
	LST EN 13381-4, LST L ENV 13381-3 or LST L ENV 13381-7 and LST EN 13501-2 LST EN 822, LST EN 823, LST EN 824, LST EN 1602, LST EN 12467 point 5.3.2, 5.3.3, 5.3.4, 5.3.5 and 5.4.2, LST EN 13162, LST EN 13467
	1

	22.15.
	fire-retardant products for timber
	ETAG 028, to be used in lieu of the EAD
or classification according to
LST EN 13501-1:2007+A1:2010
	inflammability of protected timber
	LST EN 13823
LST EN ISO 11925-2 and LST EN 13501-1
LST EN ISO 9239-1 and LST EN 13501-1
	1

	22.16.
	penetration seals
	LST EN 13501-2:2008+A1:2010 
	fire resistance
	LST EN 1366-3
	1

	22.17.
	linear joint seals
	LST EN 13501-2:2008+A1:2010 
	fire resistance
	LST EN 1366-4:2006+A1
	1

	23.
	FIXED FIREFIGHTING SYSTEMS (FFS) AND THEIR COMPONENTS
	
	
	

	23.1.
	sprinklers for water spray systems
	LST EN 12259-1+A1:2002(D)
LST EN 12259-1+A1:2002/A2:2004(D)
LST EN 12259-1+A1:2002/A3:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12259-1+A1
LST EN 12259-1+A1/A2
LST EN 12259-1+A1/A3
	1

	23.2.
	dry alarm valve assemblies for water spray systems
	LST EN 12259-2+A1+AC:2002(D)
LST EN 12259-2+A1+AC:2002/A2:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12259-2+A1+AC
LST EN 12259-2+A1+AC/A2
	1

	23.3.
	dry alarm valve assemblies for water spray systems
	LST EN 12259-3+A1:2002(D)
LST EN 12259-3+A1:2002/A2:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12259-3+A1
LST EN 12259-3+A1/A2
	1

	23.4.
	water motor alarms for water spray systems
	LST EN 12259-4+A1:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12259-4+A1
	1

	23.5.
	water flow detectors for water spray systems 
	LST EN 12259-5:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12259-5
	1

	23.6.
	electrical automatic control and delay devices for gas extinguishing systems
	LST EN 12094-1:2005(D)

	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-1
	1

	23.7.
	non-electrical automatic control and delay devices for gas extinguishing systems
	LST EN 12094-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-2
	1

	23.8.
	manual triggering and stop devices for gas extinguishing systems
	LST EN 12094-3:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-3
	1

	23.9.
	container valve assemblies and their actuators for gas extinguishing systems
	LST EN 12094-4:2004(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-4 
	1

	23.10.
	high and low pressure selector valves and their actuators for gas extinguishing systems
	LST EN 12094-5:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-5
	1

	23.11.
	non-electrical disable devices for gas extinguishing systems
	LST EN 12094-6:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-6
	1

	23.12.
	nozzles for CO2 gas extinguishing systems
	LST EN 12094-7:2002(D)
LST EN 12094-7:2002/A1:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-7/A1
	1

	23.13.
	connectors for gas extinguishing systems
	LST EN 12094-8:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-8
	1

	23.14.
	special fire detectors for gas extinguishing systems
	LST EN 12094-9:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12259-1+A1
	1

	23.15.
	pressure gauges and pressure switches for gas extinguishing systems
	LST EN 12094-10:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-10
	1

	23.16.
	mechanical weighing devices for gas extinguishing systems
	LST EN 12094-11:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-11
	1

	23.17.
	pneumatic alarm devices for gas extinguishing systems
	LST EN 12094-12:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-12
	1

	23.18.
	check valves and non-return valves for gas extinguishing systems
	LST EN 12094-13+AC:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12094-13+AC
	1

	23.19.
	fixed firefighting systems. Hose systems. 
	LST EN 671-1:2012(D)
LST EN 671-2:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 671-1, LST EN 671-2, LST EN 694+A1, LST EN ISO 9227
	1

	23.20.
	water mist systems
	LST CEN/TS 14972:2011
	essential characteristics in relation to the intended use as specified in the standard
	LST CEN/TS 14972
	1

	23.21.
	condensed aerosol extinguishing systems
	LST CEN/TR 15276-1:2011
	essential characteristics in relation to the intended use as specified in the standard
	LST CEN/TR 15276-1
	1

	24.
	FIRE DETECTION AND FIRE ALARM SYSTEM EQUIPMENT
	
	
	
	

	24.1.
	control and indicating equipment 
	LST EN 54-2+AC:2002(D)
LST EN 54-2+AC:2002/A1:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-2+AC, LST EN 54-4+AC
LST EN 54-4+AC:2002/A1
LST EN 54-4+AC:2002/A2
	1

	24.2.
	sounders
	LST EN 54-3+A1:2002(D)
LST EN 54-3+A1:2002/A2:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-3+A1
LST EN 54-3+A1:2002/A2
	1

	24.3.
	electric power supply equipment
	LST EN 54-4+AC:2002(D)
LST EN 54-4+AC:2002/A1:2003(D)
LST EN 54-4+AC:2002/A2:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-4+AC
LST EN 54-4+AC:2002/A1
LST EN 54-4+AC:2002/A2
	1

	24.4.
	point-type heat detectors
	LST EN 54-5+A1:2002(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-5+A1
	1

	
	point-type smoke detectors
multiple (smoke and heat) sensor detectors
	LST EN 54-7+A1:2002(D)
LST EN 54-7+A1:2002/A2:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-7+A1
LST EN 54-7+A1:2002/A2
	1

	24.5.
	point-type flame detectors
	LST EN 54-10:2002(D)
LST EN 54-10:2002/A1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-10
LST EN 54-10:2002/A1
	1

	24.6.
	manual call points
	LST EN 54-11:2002(D)
LST EN 54-11:2002/A1:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-11
LST EN 54-11:2002/A1
	1

	24.7.
	line smoke detectors using an optical light beam
	LST EN 54-12:2003(D)
LST EN 54-12:2015(D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-12
	1

	24.8.
	voice alarm control and indicating equipment
	LST EN 54-16:2008 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-16
	1

	24.9.
	short-circuit isolators
	LST EN 54-17:2006(D)
LST EN 54-17:2006/AC:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-17
	1

	24.10.
	input/output devices
	LST EN 54-18:2006(D)
LST EN 54-18:2006/AC:2007(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-18
	1

	24.11.
	aspirating smoke detectors
	LST EN 54-20:2006(D)
LST EN 54-20:2006/AC:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-20
	1

	24.12.
	alarm transmission and fault warning routing equipment
	LST EN 54-21:2006(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-21
	1

	24.13.
	visual alarm devices
	LST EN 54-23:2010(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-23
	1

	24.14.
	components of voice alarm systems. Loudspeakers
	LST EN 54-24:2008 (D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-24 
	1

	24.15.
	components using radio links
	LST EN 54-25:2008 (D)
LST EN 54-25:2008/AC:2012(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 54-25 
	1

	24.16.
	smoke alarm devices
	LST EN 14604:2005(D)
LST EN 14604:2005/AC:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14604
LST EN 14604:2005/AC
	1

	25.
	SMOKE AND HEAT CONTROL SYSTEM COMPONENTS
	
	
	
	

	25.1.
	smoke barriers
	LST EN 12101-1:2005(D)
LST EN 12101-1:2005/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-1
	1

	25.2.
	natural exhaust ventilators
	LST EN 12101-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-2
	1

	25.3.
	powered exhaust ventilators
	LST EN 12101-3:2002(D)
LST EN 12101-3:2002/AC:2005(D)
LST EN 12101-3:2015(D) (2017-04-08)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-3
	1

	25.4.
	pressure differential system kits
	LST EN 12101-6:2005(D)
LST EN 12101-6:2005/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-6
	1

	25.5.
	smoke duct sections
	LST EN 12101-7:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-7
	1

	25.6.
	smoke control dampers
	LST EN 12101-8:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-8
	1

	25.7.
	power supplies
	LST EN 12101-10:2005(D)
LST EN 12101-10:2005/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12101-10
	1

	26.
	OTHER PRODUCTS
	
	
	
	

	
	structural bearings:
	
	
	
	

	26.1.
	- elastomeric bearings
	LST EN 1337-3:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1337-3
	1, 3

	26.2.
	- roller bearings
	LST EN 1337-4:2004(D)
LST EN 1337-4:2004/AC:2007(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1337-4
	1, 3

	26.3.
	- pot bearings
	LST EN 1337-5:2005(D) 
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1337-5
	1, 3

	26.4.
	- rocker bearings
	LST EN 1337-6:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1337-6 
	1, 3

	26.5.
	- spherical and cylindrical PTFE bearings
	LST EN 1337-7:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1337-7
	1, 3

	
	- guide bearings and restraint bearings
	LST EN 1337-8:2008(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 1337-8
	1, 3

	26.6.
	ladders for manholes
	LST EN 13101:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13101
	4

	26.7.
	fixed ladders for manholes
	LST EN 14396:2004(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14396
	4

	26.8.
	metal anchors for use in concrete
	NTA or ETAG 001, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 001
	1, 2+

	26.9.
	prefabricated stair kits
	NTA or ETAG 008, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 008
	1, 2+, 3, 4

	26.10.
	non-load-bearing shuttering kits – systems from hollow blocks or panels of insulating materials or concrete
	NTA or ETAG 009, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the NTA or ETA
	NTA or ETA according to ETAG 009
	1, 2+

	26.11.
	plastic anchors for fixing of external thermal insulation composite systems with rendering
	ETAG 014, to be used in lieu of the EAD
	essential characteristics in relation to the intended use of the products as specified in the ETA
	ETA according to ETAG 014
	2+

	26.12.
	thermoplastics static tanks for above ground storage of domestic heating oils, kerosene, and diesel fuels. Blow moulded polyethylene, rotationally moulded polyethylene and polyamide 6 by anionic polymerization tanks
	LST EN 13341:2005+A1:2011(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13341:2005+A1
	3

	26.13.
	workshop fabricated steel tanks. Horizontal cylindrical single skin and double skin tanks for the aboveground storage of flammable and non-flammable water polluting liquids
	LST EN 12285-2:2005(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 12285-2
	1, 3, 4

	26.14.
	leak detection systems
	LST EN 13160-1:2003(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13160-1
	3, 4

	26.15.
	overfill prevention devices for static tanks for liquid petroleum fuels
	LST EN 13616:2004(D)
LST EN 13616:2004/AC:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 13616

	3,4

	26.16.
	surfaces for sports areas. Indoor surfaces for multi-sports use
	LST EN 14904:2006(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 14904
	1,3

	26.17.
	anti-seismic devices
	LST EN 15129:2009(D)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15129
	1, 3

	26.18.
	general purpose adhesives for structural assembly
	LST EN 15274:2007(D)
LST EN 15274:2015(D) (2016-11-13)
	essential characteristics in relation to the intended use as specified in the standard
	LST EN 15274
	2+


_______________
