1. ------IND- 2017 0142 F-- EN- ------ 20170418 --- --- PROJET

| FRENCH REPUBLIC |  |  |
| --- | --- | --- |
| The Ministry of the Environment, Energy and Marine Affairs, responsible for International Climate Relations |  |  |
| NOR: | […] |  |

DRAFT ORDER

on the characteristics of the gas oil and low-temperature gas oil referred to as gas oil B10

The Minister for the Environment, Energy and Marine Affairs, responsible for International Climate Relations, and the Minister for the Economy and Finance;

Having regard to Directive (EU) 2015/1535 of the European Parliament and of the Council of 9 September 2015 laying down a procedure for the provision of information in the field of technical regulations and of rules on Information Society services, and in particular Notification No 2016/XXX/F;

Having regard to Directive 2009/30/EC of the European Parliament and of the Council of 23 April 2009 amending Directive 98/70/EC as regards the specification of petrol, diesel and gas-oil and introducing a mechanism to monitor and reduce greenhouse gas emissions and amending Council Directive 1999/32/EC as regards the specification of fuel used by inland waterway vessels and repealing Directive 93/12/EEC;

Having regard to the Energy Code, in particular Articles D641-4 to D641-11 thereof;

Having regard to the Order of 19 January 2016 on the list of fuels authorised under Article 265 ter of the Customs Code, as amended;

Having regard to the Order of 30 June 2010 on the characteristics of fatty acid methyl esters (FAMEs), as amended;

Having regard to the Order of 23 December 1999 on the characteristics of gas oil and low-temperature gas oil, as amended;

Having regard to the opinion of the French Technical Committee on the Use of Petroleum Products, issued on 14 June 2016,

HEREBY ORDER

Article 1

‘Gas oil B10’ is the name given to a blend of gas oil or low-temperature gas oil, as defined in the aforementioned Order of 23 December 1999, as amended, and fatty acid methyl esters, as defined in the aforementioned Order of 30 June 2010, as amended. ‘Gas oil B10’ is intended to power compression ignition combustion engines and shall comply with the specifications laid down in Annex I.

The characteristics of withstanding the cold of ‘gas oil B10’ and ‘low-temperature gas oil B10’ marketed or sold on national territory shall comply with the specifications laid down in Annex II.

The test methods and the interpretation of the measurement results concerning the specifications given in Annexes I and II shall be defined by a decision of the Director of Energy published in the Official Journal of the French Republic.

Article 2

Gas oil B10 may only be sold or held with a view to sale if it complies with the minimum requirements defined in Article 1 above or any other standard or specification in force in a Member State of the European Union or any other Member State of the European Economic Area, or Turkey, guaranteeing an equivalent level of quality for the same climate conditions.

Article 3

The procedures for selling gas oil B10 or for holding gas oil B10 with a view to sale shall be laid down by order.

Article 4

Derogations from the above specifications, duly justified in both technical and economic terms, may be granted for a limited duration by joint decision of the Minister for Energy and the Minister for Customs.

Any such decision shall specify the ways in which users will be informed of said derogations.

Article 5

The vehicles that are compatible with gas oil B10 shall be specified by a decision of the Director of Energy published in the Official Journal of the French Republic.

Article 6

Without prejudice to the provisions of Articles 1 and 2, the term ‘gas oil B10’ and the price of sale per litre shall be displayed on the dispensers in very clear indelible wording, at least 2 centimetres tall.

When delivery is made in containers, the aforementioned term shall feature on them as soon as they are filled with a view to sale.

The following information shall also be clearly displayed to consumers on the dispensing device or as close as possible thereto:

- ‘This fuel contains from 0 to 10 % fatty acid methyl esters.’

- ‘This fuel must only be used in compatible vehicles.

Check the website of the Ministry of Energy or with your dealer.

If unsure, please use gas oil.’

Article 7

The Director-General for Energy and Climate, the Director-General for Customs and Excise and the Director-General for Competition Policy, Consumer Affairs and Fraud Control shall be responsible, each in their own area of competence, for the implementation of this order, which shall be published in the Official Journal of the French Republic.

Done in Paris,

On behalf of the Minister for the Environment, Energy and Marine Affairs,

On behalf of the Minister for the Economy and Finance,

## ANNEX I

Technical characteristics of gas oil B10

| PROPERTIES | UNIT | LIMITS |  |
| --- | --- | --- | --- |
|  |  | Min. | Max. |
| Measured cetane number |  | 51.0 |  |
| Calculated cetane number |  | 46.0 |  |
| Density (at 15 °C) | kg/m³ | 820.0 | 845.0 |
| Polycyclic aromatic hydrocarbons | % (m/m) | - | 8.0 |
| Sulphur content | mg/kg | - | 10.0 |
| Manganese content | mg/l |  | 2.0 |
| Flash point | °C | > 55.0 | - |
| Carbon residue (on the 10 % distillation residue) | % (m/m) | - | 0.30 |
| Ash content | % (m/m) | - | 0.01 |
| Water content | mg/kg | - | 200 |
| Total contamination | mg/kg | - | 24 |
| Copper corrosion (3 hours at 50 °C) | Rating | Class 1 |  |
| Oxidation stability 1 | g/m³ | - | 25 |
|  | h | 20 | - |
| Lubricity, corrected wear scar diameter (wsd 1.4) at 60 °C | µm | - | 460 |
| Viscosity at 40 °C | mm²/s | 2.000 | 4.500 |
| Distillation: - % (v/v) evaporated at 250 °C; | % (v/v) | - | <65 |
| - % (v/v) evaporated at 350 °C; | % (v/v) | 85 | - |
| - point 95% (V/V) condensed at: | °C | - | 360 |
| Fatty acid methyl ester content compliant with the Order of 30 June 2010 on the characteristics of fatty acid methyl esters (FAMEs), as amended | % (v/v) | - | 10.0 |

## ANNEX II

Cold-resistance characteristics

| SEASON | DATE | CLASS | CFPP (C, max) |
| --- | --- | --- | --- |
| Summer | 1 April – 31 October | B | 0°C |
| Winter | 1 November – 31 March | E | -15°C |
| Low-temperature diesel |  | F | - 20 °C |
| CFPP: cold filter plugging point (test method: NF EN 116) |  |  |  |

This is an additional specification for gas oils with a FAME content exceeding 2 % (v/v). It is a provisional specification and is currently being revised at the European Committee for Standardization (CEN).