| Clause (e.g. 4.2.5) | Sub clause/Paragraph (e.g. 4.2.5.2) | Comments | Proposed change | Observations of the secretariat |
| --- | --- | --- | --- | --- |
| Clause 3 |  | Reference to test procedure is missing 4MS materials have been proven to leach less than 5 µg/l of lead into the drinking water | Add test procedure according to NKB4 Add: check if all metal parts comply with 4MS positive list for metals. |  |
| Clause 4 |  | Define test procedure | Add test procedure in this paragraph |  |
| Clause 11 |  | Define test procedure | Add test procedure according EN ISO 3822 |  |
| Clause 13 |  | colour marking for thermostatic mixing valves at both inlets is nor necessary, one inlet marked with colour is sufficient, according to EN 1111:2017 | Delete last sentence. |  |