Regulation

of the Minister for Development, Labour and Technology)

of 4 December 2020

amending the Regulation on the method of drawing up a declaration of performance for construction products and applying a construction mark thereon)

Pursuant to Article 8(8) of the Act of 16 April 2004 on construction products (Journal of Laws 2020, items 215 and 471), the following is hereby decreed:

§ 1. The Regulation of the Minister for Infrastructure and Construction of 17 November 2016 on the method of drawing up a declaration of performance for construction products and applying a construction mark thereon (Journal of Laws, item 1966, 2018, item 1233 and 2019, items 1176 and 2164) in the table in Annex 1 to the Regulation is amended as follows:

1) in lp. 1 the construction product group “Precast normal/lightweight/autoclaved cellular concrete products” is replaced by the following:

| Pre-cast normal/lightweight/autoclaved cellular concrete products | - for construction uses) | - | 2+ |
| --- | --- | --- | --- |
|  | - for other uses in construction works, except for minor architectural works | - | 4 |

.

2)	used in lp. 1, 3, 4-9, 14, 17, 19, 21-23, 25-27, 29, 30, 33-35 and 37 in various numbers and cases “subject to fire reaction requirements” is replaced by “relating to fire reaction requirements” in the relevant number and case;

3) in lp. 10:

a) in the construction product group:

-	“Fire detection and fire alarm systems - components: fire detectors, control devices and signalling devices, alarm transmission devices, short-circuit isolators, alarm devices, power sources, input/output devices, manual fire-warning points, operation panels for fire services, remote signalling and service equipment, linear element mounting sockets, response detectors”:

-	the expression “linear element mounting sockets” has been removed,

-	the expression “response detectors” is replaced by “elevated response detectors”,

-	“Autonomous fire detectors, autonomous carbon monoxide detectors, power supplies”, the expression “power supplies” is deleted,

-	“Fire suppression and extinguishing systems - components: external hydrants, water flow sensors/switches, pressure sensors/switches, hydrant fire valves, connectors for fire services, fire pumps and fire pump sets, nozzles/sprinklers/outlets, water control and emergency valve assemblies, air control and emergency valve assemblies, deluge valve assemblies, boosters, pressure tank valve assemblies and respective triggering devices, directional valves and triggering devices, non-electric locking devices, flexible connectors, pressure gauges and pressure switches, mechanical weighing devices, return and one-way valves, control and signalling devices, power sources, foam-making agent dispensers, foam nozzles, fire-fighting water supply pumps, fasteners, fittings, regulating and cut-off fittings, tube systems, pipe mountings and mounting sets, extinguishing agent tanks, operation panels for fire services”:

-	the expression “fire-fighting water supply pumps” is replaced by “fire-fighting water supply pumps and pumping units”,

-	the expression “tube systems” is replaced by “plastic tube systems and pressed (pressed) metal tube systems”,

-	the expression “pipe mountings and mounting sets” has been deleted,

b) the construction product group is deleted:

-	“Explosion prevention systems - sets”, and

-	“Explosion prevention systems - components: detectors, silencing devices, explosion sensors, explosion relief products, steering and signalling devices, power sources, operation panels for fire services”,

c) in the construction product group:

-	“Smoke and heat control systems - components: smoke curtains, fire valves, ducts, mechanical ventilators, smoke dampers, relief valves, steering and signalling devices, operation panels for fire services, manual smoke removal buttons, power sources, linear actuators, rotary actuators, compensation air intake dampers, pressure sensors
” the expression “mechanical ventilators ” is replaced by “mechanical smoke extraction devices (fans)”,

-	“Fire-fighting equipment integration systems - sets: Visualisation and/or control systems” “/or” is deleted;

4)	in lp. 12 in the construction products group:

a) “Road marking products Road signs, traffic control and traffic guidance devices for road and pedestrian traffic, fixed lighting and traction columns Pedestrian restraint and traffic separation systems Pedestrian restraint and traffic separation systems including footbridges (pre-fabricated) safety barriers”" the expression “Pedestrian restraint systems and traffic separation including footbridges (pre-fabricated) safety barriers” is replaced by “Pedestrian restraint systems including balustrades on bridges, viaducts and flyovers”,

b) “Traffic noise abatement equipment/kits Intrusion barriers Traffic thresholds Traffic separators, shelters for pedestrians, blocking posts, road mirrors and safety guards Steel mesh fencing systems/kits to prevent animals from entering road barriers on bridge structures” the expression “Railings on bridge structures” is replaced by “Railings and handrails on road engineering structures, except railings on bridges, viaducts and flyovers Segmental and chain fences and road barriers”;

5) in lp. 16 the construction product group “Reinforced concrete products: bars, wire rod (coils), fasteners, welded/soldered mesh, reinforcing mats, strips with notches, welded/soldered prefabricated elements” is rephrased as follows:

| Products for reinforcing concrete: rods, wire rod (coils), fasteners, strips with cavities | - for reinforcement | - | 1+ |
| --- | --- | --- | --- |
| Reinforcement products for concrete: welded/soldered mesh, reinforcement mats, pre-welded/soldered prefabricated elements | - for structural element reinforcement applications | - | 1+ |
|  | - for use with reinforcement of non-structured elements | - | 4 |

;

6) in lp. 17 the group of construction products “Protective and repair products: mortars and repair compounds, injection moulding and injection moulding products, curing products for masonry construction” is rephrased as follows:

| Products for protection and repairs: mortars and repair masses, products for stop and merge injection, products for drying wall structures | - for uses with low-performance requirements | - | 4 |
| --- | --- | --- | --- |
|  | - for other uses in construction works | - | 2+ |

;

7) in lp. 19 the construction product group “Rigid flooring products: tiles, mosaics, mesh and panel coverings, floor gratings, parquet, boards, composite and laminated elements, wood-based products Raised and recessed floors marketed as kits” is rephrased as follows:

| Rigid flooring products: plates, mosaics, mesh and plate covering, floor gratings, parquet flooring, planks, composite and laminated elements, wood-based products Raised floors and cavity floors placed on the market as sets | - for internal use, including in protected transport areas - for fire reaction Alfl*, A2fl*, Bfl*, Cfl* |  | 1 |
| --- | --- | --- | --- |
|  |  | Alfl**, A2 fl**, Bfl**, Cfl**, Dfl, Efl | 3 |
|  |  | (Afl – Efl)***, Ffl | 4 |
|  | - for internal use – for requirements concerning hazardous substances | - | 3 |
|  | - for other internal uses | - | 4 |

;

8) in lp. 21 in the construction product group “Siding”, the word “Roof tiles” is replaced by “Roof tiles and mosaics”;

9) in lp. 22 the construction product group “Flexible roof systems mechanically fixed to waterproofing, including fixing, jointing, edge treatment with or without thermal insulation” is rephrased as follows:

| Kits of mechanically fastened, flexible roof waterproofing membranes, together with a system for fastening, connecting, edge-processing with or without thermal insulation | - for use as roof waterproofing protection | - | 2+ |
| --- | --- | --- | --- |
|  | - for uses subject to external fire performance requirements | BROOF(t1)) | 3 |
|  |  | BROOF) | 4 |

;

10) 	in lp. 23:

a) in the construction product group “Asphalt”, the word “Asphalt” is replaced by “Asphalts, including emulsions. Additives and admixtures to mineral-asphalt blends.”,

b) the construction product group “Bridge deck waterproofing products and kits” is rephrased as follows:

| Waterproofing products and kits for waterproofing bridges on civil engineering structures | - for use on engineering road platforms | - | 2+ |
| --- | --- | --- | --- |

;

11) 	lp. 28 is rephrased as follows:

|  | Pipes, tanks and ancillaries not in contact with water intended for human consumption). |
| --- | --- |
|  | Gas and liquid fuel transport/distribution/storage products earmarked for powering heating/cooling systems in buildings, from an external storage tank or from a network end-pressure-reduction station to the inlet leading to devices for heating/cooling in a building: pipe sets, pipes, fittings, tanks, leakage alarm systems and overfilling prevention devices, connector elements, binders, welds, weld sealing, gaskets, safety canals and ducts, pipe/duct supports, regulating and cut-off fittings, safety auxiliary equipment | - for use in installations in places subject to fire safety requirements | - | 1 |
| 28. |  |  |  |  |
|  |  | - for other applications in installations and connections | - | 3 |
|  | Products for the transport/removal/storage of water not intended for human consumption: pipe sets, pipes, fittings, tanks, leakage alarm systems and overfilling prevention devices, connector elements, binders, welds, weld sealing, gaskets, safety canals and ducts, pipe/duct supports, regulating and cut-off fittings, safety auxiliary equipment | - for use in installations in areas subject to fire reaction requirements A1*, A2*, B*, C* |  | 1 |
|  |  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  |  | (A1 - E)***, F | 4 |
|  |  | - in heating installations, connections and networks | - | 3 |
|  |  | - for other applications in installations and connections | - | 4 |

;

12) 	in lp. 32 after the construction product group “Fasteners for fixing steel elements and sheets Fasteners dynamically fixed Fasteners for sandwich panels”, the construction product group “Fasteners/tubes/product supports” is inserted as follows:

| Fixings/supports for pipes/ducts | - for the attachment and support of firefighting and firefighting systems | - | 1 |
| --- | --- | --- | --- |
|  | - for uses subject to reaction-to-fire requirements | A1*, A2*, B*, C* | 1 |
|  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  | (A1-E) ***, F | 4 |
|  | - for other uses | - | 3 |

;

13) 	in lp. 33 in the construction product group “Fall arresters and handrails” is rephrased as follows:

| Railing and handrail sets for protection against falls from a height | - for uses subject to reaction-to-fire requirements | A1*, A2*, B*, C* | 1 |
| --- | --- | --- | --- |
|  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  | (A1 - E)***, F | 4 |
|  | - for other uses | - | 4 |

;

14) 	lp. 36 is rephrased as follows:

|  | Ventilation and air-conditioning products). |
| --- | --- |
|  | Air distribution and air conditioning products: ventilation ducts | - for uses subject to fire reaction requirements for buildings | A1*, A2*, B*, C* | 1 |
| 36. |  |  |  |  |
|  |  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  |  | (A1 - E)***, F | 4 |
|  |  | - for remaining uses in buildings | - | 3 |
|  | Products for air distribution and distribution20a)): dampers, inlets and outlets, inlets and outlets. Air bricks | - for uses subject to fire reaction requirements for buildings | A1*, A2*, B*, C* | 1 |
|  |  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  |  | (A1 - E)***, F | 4 |
|  |  | - for remaining uses in buildings | - | 4 |

;

15) in lp. 37 in the construction product group “Power, control and communication cables”, the expression “subject to fire resistance requirements” is replaced by “subject to fire resistance requirements”.

§ 2. 	For construction products which, before the date of entry into force of this Regulation, were not subject to an obligation to affix a construction mark consisting of pump units for drinking water supply systems, additives and admixtures for mineral-asphalt mixtures, railings and handrail kits for protection against falls, ventilation and air-conditioning products, the manufacturer of the construction product will not be required to draw up a national declaration when placing or making available on the national market such a construction product until 31 December 2021.

§ 3. 	For construction products for which the national system for assessment and verification of constancy of performance has been modified, consisting of precast normal/lightweight/autoclaved cellular concrete products, concrete reinforcing products: welded/soldered mesh, reinforcing mats, precast welded/soldered concrete products, safety and repair products: mortars and repair compounds, melted and injection-moulded products, products for drying masonry structures, rigid flooring products: tiles, mosaics, mesh and panel coverings, floor gratings, parquet, boards, composite and laminated elements, wood-based products, raised and recessed floors placed on the market as kits, roof systems with mechanically fastened flexible waterproofing products, including fixing systems, joints, edge treatment with or without thermal insulation, the manufacturer of the product may, when placing or making a construction product available on the national market, use national declarations of performance already drawn up until 31 December 2021.

§ 4. 	This Regulation enters into force on 30 December 2020.

MINISTER FOR DEVELOPMENT, Labour and Technology

Jarosław Gowin

) 	The Minister for Development, Labour and Technology manages the department of government administration – construction, spatial planning and development and housing, under § 1(2)(1) of the Regulation of the Prime Minister of 6 October 2020 on the detailed scope of activities of the Minister of Development (Journal of Laws [Dziennik Ustaw], item 1718).

) 	The notification of this Regulation was made to the European Commission on 26 August 2020, under No 2020/530/PL, pursuant to § 4 of the Cabinet Regulation of 23 December 2002 concerning the manner in which the national notification system of standards and legal acts functions (Journal of Laws, item 2039 and of 2004, item 597), which implements the provisions of Directive (EU) 2015/1535 of the European Parliament and of the Council of 9 September 2015 laying down a procedure for the provision of information in the field of technical standards and regulations and of rules on Information Society services (O J EU L 241 of 17.09.2015, p. 1).

3)   The structural application concerns elements, products and sets thereof, which impact the fulfilment of basic requirements concerning load capacity and stability in relation to building structures, pursuant to Regulation No 305/2011.

) Does not apply to products earmarked exclusively for application in industrial processes.

) Does not apply to products earmarked exclusively for application in industrial processes.

2	0a) Does not apply to products used for gravitational ventilation.