1. ------IND- 2019 0601 D-- EN- ------ 20191209 --- --- PROJET

State Ordinance amending the State Ordinance on infection prevention in medical facilities

(Medical Infection Prevention Ordinance – MedIpVO [Medizinische Infektionspräventionsverordnung – MedIpVO])

of   /XX/2019

On the basis of § 23(8) of the Protection against Infection Act [Infektionsschutzgesetz] of 20 July 2000 (Federal Law Gazette I p. 1045), last amended pursuant to Article 18a of the Act of 9 August 2019 (Federal Law Gazette I p. 1202), in conjunction with § 13 of the Medical Infection Prevention Ordinance of 13/3/2017 (Official Gazette Schl.-H p. 169) and § 14(5) in conjunction with § 3(3)(1) of the Public Health Services Act [Gesundheitsdienst-Gesetz] of 14 December 2001 (Official Gazette Schl.-H p. 398), last amended pursuant to Article 31 of the Act of 2 May 2018 (Official Gazette Schl.-H p. 162), the Ministry of Social Affairs, Health, Youth, Family and Senior Citizens decrees the following:

1.	§ 2 is amended as follows:

a)	Paragraph 8 is reworded as follows:

‘(8) It shall be possible to clean with a damp cloth and disinfect the inventory in all rooms intended for diagnosis and therapy in which contamination with bodily fluids and other materials containing pathogens is to be expected. All disinfectants used must be suitable for preventing infection at medical facilities and proven to be effective in doing so. The effectiveness for the effective range required in each case must be at least bactericidal, yeasticidal and, to a limited extent, virucidal, and potentially also fungicidal, tuberculocidal, mycobactericidal and effective against bacterial spores. The effectiveness must be proven by at least two independent expert reports with the corresponding test reports. The effectiveness shall be deemed to be confirmed if the tests were carried out by testing laboratories independent of the manufacturer and the test reports are confirmed by independent experts in a scientifically based evaluation. The test laboratories must have the necessary expertise, which can be demonstrated by such means as accreditation as per DIN ISO EN 17025:2018-03 of March 2018. For example, the test method in question shall be validated by interlaboratory tests in order to take into account statistical variability, which includes at least two required repeated tests. Tests performed in accordance with the technical specifications of another Member State of the European Union or of Turkey or of another State party to the Agreement on the European Economic Area shall be recognised as being equivalent if the technical specifications equally achieve the level of protection required under the second sentence on a permanent basis.’

b)	The following paragraph 9 is added:

(9) Critical installations as well as air-conditioning and water installations shall be operated, maintained and must regularly undergo hygienic inspections in accordance with sound engineering practice. The systems may only be operated and maintained by suitably trained personnel.

2.	In § 12, the letter ‘a’ is added after 'Section 73 para. 1’.

3.	This Ordinance shall enter into force on the day of its promulgation.

The above Ordinance is hereby issued and promulgated.

Kiel,… XX 2019

Dr. Heiner Garg

Minister of Social Affairs, Health, Youth, Family and Senior Citizens

Notified in accordance with Directive (EU) 2015/1535 of the European Parliament and of the Council of 9 September 2015 laying down a procedure for the provision of information in the field of technical regulations and of rules on Information Society services (OJ L 241, 17.9.2015, p. 1).