| Clause (e.g. 4.2.5) | Sub clause/Paragraph (e.g. 4.2.5.2) | Comments | Proposed change | Observations of the secretariat |
| --- | --- | --- | --- | --- |
| Clause 3 |  | 4MS listed material should be an alternative to use. There is a proven leaching of no more than 5 µg/l to the drinking water. | Add: A 4MS listed material can be used alternatively. |  |
| Clause 4 |  | Don’t state a maximum dezincification limit of 200 micrometers as this is not required in any other country of Europe. This will be against European trade agreement (AEUV, Art 34). | Delete paragraph 4 |  |
| Clause 11 |  | ISO 3822 should be referenced to follow an international standard. | Add: Testing according to ISO 3822 |  |
| Clause 13 |  | Not necessary to mark the inlets with red and blue as long as there is any identification. | Last sentence should be deleted. |  |