1. ------IND- 2012 0699 SK- EN- ------ 20121228 --- --- PROJET

(Draft)

REGULATION

of the Ministry of Transport, Construction and Regional Development of the Slovak Republic

of .............2012,

establishing a list of groups of construction products and systems for assessing the parameters thereof

The Ministry of Transport, Construction and Regional Development of the Slovak Republic establishes the following in accordance with Section 13(2) of Act No .../2012 Coll. on construction products (hereinafter the ‘Act’):

Section 1

# Subject of the Regulation

This Regulation establishes the following:

- a list of construction products concerning the assessment and verification of the essential characteristic parameters of construction products declared by the manufacturer  (hereinafter ‘parameter assessment’),

- systems for assessing the parameters,

- a template of the declaration on the essential characteristic parameters of construction products in relation to the basic requirements for construction (hereinafter the ‘SK parameter declaration’).

Section 2

List of construction product groups

- Annex 1 specifies the list of construction product groups and the following parameter assessment systems:

- the systems pursuant to Section 3(1), which apply to construction products that Slovak technical standards determined in accordance with Section 13(1)(c) of the Act as being suitable for the assessment of the essential characteristics of the construction product in question (hereinafter the ‘defined standard’) or the technical assessment issued in accordance with Section 3 of the Act (hereinafter the ‘SK technical assessment’),

- the systems pursuant to Section 3(3).

- If the harmonised standards) do not pertain to construction products in the groups in which parameter assessment systems pursuant to Section 3(3) are prescribed, then the analogous systems pursuant to Section 3(1) will apply to the assessment of said product parameters.

- If the construction product may be used for various purposes in terms of its function in construction, it will be allocated to a construction product group based on the purpose which is of decisive importance in construction and which places greater demands on its essential characteristics or production in terms of risks during use in construction.

Section 3

Parameter assessment systems

- The parameter assessment of construction products which the defined standards or SK technical assessments relate to will be conducted by means of a single parameter assessment system or a combination of several parameter assessment systems designated as system I+, system I, system II+, system III and system IV as follows:

- system I+: the manufacturer will issue an SK parameter declaration on the basis of the following activities:

- the manufacturer will conduct:

1a.	production management,

1b.	further tests on samples taken in production in accordance with the prescribed test plan,

- the person authorised for certifying construction products will issue a certificate on the constancy of the essential characteristics of the construction product (hereinafter the ‘SK product certificate’) on the basis of:

2a.	the construction product’s type designation based on type testing of samples taken by the authorised person, type calculation, tabular values or descriptive documentation on the construction product,

2b.	the initial inspection at the production plant and the production management system,

2c.	continuous monitoring of the production management system and assessment and evaluation of the production management system,

2d.	control tests (including sample taking),

- system I: the manufacturer will issue an SK parameter declaration on the basis of the following activities:

1. the manufacturer will conduct:

1a.	production management,

1b.	further tests on samples taken in production in accordance with the prescribed test plan,

2. the person authorised for certifying construction products will issue the SK product certificate on the basis of:

2a.	the construction product’s type designation based on type testing of samples taken by the authorised person, type calculation, tabular values or descriptive documentation on the construction product,

2b.	the initial inspection at the production plant and the production management system,

2c.	continuous monitoring of the production management system and assessment and evaluation of the production management system,

- system II+: the manufacturer will issue an SK parameter declaration on the basis of the following activities:

- the manufacturer will conduct:

1a.	production management,

1b.	the construction product’s type designation based on type testing of samples taken by the manufacturer, type calculation, tabular values or descriptive documentation on the construction product,

1c.	further tests on samples taken in production in accordance with the prescribed test plan,

- the person authorised for certifying construction products will issue a certificate on the conformity of the production management system at the manufacturer (hereinafter the ‘SK management system certificate’) on the basis of the:

2a.	initial inspection at the production plant and the production management system,

2b.	continuous monitoring of the production management system and assessment and evaluation of the production management system,

- system III: the manufacturer will issue an SK parameter declaration on the basis of the following activities:

1.	the manufacturer will conduct product management,

2.	the person authorised as the testing laboratory will conduct the construction product’s type designation based on type testing of samples taken by the manufacturer, type calculation, tabular values or descriptive documentation on the construction product,

- system IV: the manufacturer will issue an SK parameter declaration on the basis of the following activities:

- the manufacturer will conduct:

1a.	production management,

1b.	the construction product’s type designation based on type testing (based on samples taken by the manufacturer), type calculation, tabular values or descriptive documentation on the construction product.

- If more than one parameter assessment system is defined for the construction product in question, then one system will be defined for the basic purpose of use in construction and the other systems which relate to a specific purpose of use in construction will be defined for the parameter assessment of only those characteristics which stipulate a specific purpose of use in construction.

- The parameter assessment systems pursuant to separate legislation) apply to the assessment of construction product parameters which harmonised standards or European technical assessments) relate to. The specific system or systems for assessing the parameters of said construction products prescribed in the harmonised standards or European technical assessments take priority over the systems prescribed in Annex 1.

Section 4

Construction product classification according to reaction to fire

- The construction products which are classified according to reaction to fire without testing are specified in separate legislation.)

- Construction products which Paragraph 1 does not relate to will be classified by means of testing. The ascertained reaction to fire is considered to be:

- subject to changes in production because the declared reaction-to-fire class is achieved by dosing or modifying the input raw materials, or

- not subject to changes in production.

- Roof coverings which are classified according to reaction to external fire without testing are specified in separate legislation.)

Section 5

Parameter declaration templates

- An SK parameter declaration issued based on one parameter assessment system pursuant to Section 3(1) or a combination of several systems will contain in particular information pursuant to Section 6(2) of the Act. A template of the SK parameter declaration is provided in Annex 2.

- A parameter declaration issued based on a single parameter assessment system pursuant to Section 3(3) or a combination of several systems will have the form and content pursuant to the template in separate legislation.

Section 6

Mutual recognition clause on the level of legally protected interests

The requirements pursuant to Section 2 and Section 3(1)(2) do not apply to construction products which were manufactured or placed on the market in any Member State of the European Union, in the Swiss Confederation) or in Turkey or which were placed on the market in accordance with the law of any of the European Free Trade Association States which are simultaneously party to the Agreement on the European Economic Area.

Section 7

Transitional provisions

The assessment of the parameters of construction product group numbers 3601, 3602, 3604 and 4612 from Annex 1 will be conducted by the prescribed means until 1 December 2013.

Section 8

Common provisions

This Regulation has been approved in accordance with the legally binding act of the European Union in the field of technical standards and technical regulations.)

Section 9

Effective date

This Regulation enters into force on 1 July 2013.

Ján Počiatek m. p.

Annex 1 to Regulation No .../2012 Coll.

CONSTRUCTION PRODUCT GROUPS

WITH DEFINED PARAMETER ASSESSMENT SYSTEMS

Product area of use

| No | Product group name | Group classification | PAS) |  |
| --- | --- | --- | --- | --- |
| Products for the foundations of a building and ground and foundation construction |  |  |  |  |
| 0101 | Geotextiles and geotextile-related products for the construction of roads and other trafficked areas, construction of railways, ground structures, foundations and retaining structures, drainage systems, structures to protect against erosion, construction of reservoirs and dams, construction of canals and for solid waste disposal | According to purpose: |  |  |
|  |  | For filtration |  | 2+ |
|  |  | For drainage |  | 2+ |
|  |  | For protection |  | 2+ |
|  |  | For reinforcement |  | 2+ |
|  |  | And for separation |  | 4 |
| 0102 | Geotextiles and geotextile-related products for underground structures and tunnels or for liquid waste retention buildings |  |  | 2+ |
| 0103 | Geosynthetic barriers against fluids during construction of reservoirs, dams, tunnels and underground structures, against fluids and gases in liquid waste storage facilities, during construction of pumping stations or safety reservoirs, construction of facilities for storage and disposal of solid waste, and construction of transport infrastructure |  |  | 2+ |
| 0104 | Stabilising and waterproofing mixtures for the foundations of buildings, including foundations for roadways or railways |  |  | II+ |
| 0105 | Prefabricated pilots and related structural elements) |  |  | 2+ |
| 0106 | Foundation beams and concrete bases |  |  | 2+ |
| Products for anchoring into rock and load-bearing layers of soil |  |  |  |  |
| 0201 | Earth and rock anchors |  |  | III |
| Products for supporting walls and hydraulic structures |  |  |  |  |
| 0301 | Elements of supporting walls made of concrete) |  |  | 2+ |
| 0302 | Stone for gabions |  |  | 2+ |
| 0303 | Meshes for gabions |  |  | III |
| 0304 | Gabion blocks |  |  | II+ |
| 0305 | Stone for hydraulic structures | By category of hydraulic structure:) |  |  |
|  |  | Categories I, II and III |  | 2+ |
|  |  | Category IV |  | 4 |
| Membranes against dampness, water and radon |  |  |  |  |
| 0401 0402 0403 0404 0405 0406 | Waterproofing and anti-radon strips and foils for above-ground floors (without a basement under them) and for underground (basement) areas Waterproofing strips for brick walls Steam-proof and steam-permeable layers for walls and roofs Roof cladding foils and other roof membrane cladding Roof base layers Waterproofing coating agents for above-ground floors, underground areas of buildings and under paving and tiling | For basic purposes) |  | 3 2+ ) |
|  |  | For the purpose which the RFS apply to, classified by RFC or need for REF testing |  |  |
|  |  | (A1, A2, B, C)) |  | 1 |
|  |  | (A1, A2, B, C),) D, E |  | 3 |
|  |  | (A1 to E),) F |  | 4 |
|  |  | Products requiring REF testing) |  | 3 |
|  |  | products not requiring REF testingf) |  | 4 |

Abbreviations used:

RHS  – regulations on hazardous substances;

RFS – regulations on fire safety;

REF – reaction to external fire;

PAS – parameter assessment system;

RFC  – reaction-to-fire classification.

| 0407 | Waterproofing strips for concrete bridge decks |  |  | 2+ |
| --- | --- | --- | --- | --- |
| 0408 | Liquid-applied waterproofing kits for bridge decks |  |  | II+ (2+) |
| Products for roads, walkways and other traffic areas |  |  |  |  |
| 0501 | Natural and modified asphalts and asphalt emulsions for road construction and the surface treatment of roads |  |  | 2+ |
| 0502 | Asphalt mixes for road construction and the surface treatment of traffic areas, and special products for the surface treatment of traffic areas | For basic purposesd) |  | 2+ |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1FL, A2FL, BFL, CFL)10) |  | 1 |
|  |  | (A1FL, A2FL, BFL, CFL),11) DFL, EFL |  | 3 |
|  |  | (A1FL to EFL),12) FFL |  | 4 |
| 0503 | Sliding spikes and surfacing for concretec) roadways |  |  | 4 |
| 0504 | Bridge expansion joints |  |  | I |
| 0505 | Prefabricated bridge parapet sections |  |  | II+ |
| 0506 | Expansion joints for traffic areas except bridges |  |  | III |
| 0507 | Surfacing and putties for pavements other than chemical plants, roads and other traffic areas, airport runways and sewage treatment plants | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 0508 | Plates, paving blocks and curbs made of natural stone for external paving |  |  | 4 |
| 0509 | Concrete paving blocks, tiles and curbs for external paving |  |  | 4 |
| 0510 | Paving stones |  |  | 4 |
| 0511 | Paving elements including paving blocks, paving stones, curb stones (except products of groups 0508 and 0509), glass-concrete skylights, metal plate floors, sheet grill or grate plates, solid tiles, slates, mosaics and Terrazzo tiles |  |  | 4 |
| 0512 | Vegetation sections) |  |  | IV |
| 0513 | Vehicle restraint systems – barriers, crash cushions, moveable barriers, cables and parapets |  |  | 1 |
| 0514 | Restraint systems for protecting pedestrians |  |  | I |
| 0515 | Traffic lights, permanent warning lights and traffic beacons |  |  | 1 |
|  | Vertical road signs, changeable road signs, poles for road signs and light signals, reflective road-side posts, barrier poles and guiding equipment designed for permanent installation |  |  | 1 |
| 0517 | Prefabricated horizontal road markings and retroflecting road studs for horizontal road markings |  |  | 1 |
| 0518 | Coating substances for horizontal road markings, hot applied thermoplastics, cold applied plastics with or without anti-skid aggregates and with or without premixed glass beads, or placed on the market with specification of the type and proportions of glass beads or anti-skid aggregates |  |  | 1 |
| 0519 | Glass beads, anti-skid aggregates and mixtures thereof used as drop-on materials for horizontal road markings |  |  | 1 |
| 0520 | Soundproof walls and equipment |  |  | 3 |
| 0521 | Anti-glare equipment for oncoming vehicles and external light sources |  |  | 3 |
| Masts |  |  |  |  |
| 0601 | Lighting masts made of steel, aluminium and fibre reinforced polymers |  |  | 1 |
| 0602 | Lighting masts made of reinforced concrete and prestressed concrete |  |  | 1 |
| 0603 | Wooden posts for overhead electrical lines |  |  | 2+ |
| 0604 | Other prefabricated masts or prefabricated construction parts thereof for overhead electrical lines, traction lines, telecommunications equipment, wind turbines and similar equipment |  |  | 2+ |
| Products for waste and surface (rain) water |  |  |  |  |
| 0701 | ### Pipes and fittings made of unreinforced concrete, concrete reinforced with steel fibres and reinforced concrete for sewer pipes (with or without sealing) |  |  | 4 |
| 0702 | ### Tubes, other fittings and seals for sewer pipes |  |  | 4 |
| 0703 0704 0705 | ### Tubes and fittings for the waste pipes of buildings Manholes and inspection chambers of sewer pipes, including steps, ladders and railings ### Air admittance valves for the waste pipes of buildings | For basic purposesd) |  | 4 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 0706 0707 | ### Waste water pumping station and check valves for waste water for use inside buildings Systems and elements of residential waste water treatment plants and cesspools | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) | 1 |  |
|  |  | (A1, A2, B, C),11) D, E | 3 |  |
|  |  | (A1 to E),12) F | 4 |  |
| 0708 | ### Traps and separators for waste water from buildings and civil engineering structures including roads | For basic purposesd) | 4 |  |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 0709 | ### Gullies and inlet grills for use on roadways, hard shoulders, car parks and paved surfaces outside buildings | For basic purposesd) |  | IV I) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
| 0710 | Concrete box outletsc) | According to purpose: |  |  |
|  |  | Structuralb) – large culverts |  | 2+ |
|  |  | Non-bearing – small culverts |  | 4 |
| 0711 | ### Drainage canals of roads and areas for vehicles and pedestrians | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 0712 | ### Floor gullies |  |  | IV |
| Bearings for construction |  |  |  |  |
| 0801 | Spherical and cylindrical bearings with PTFE |  |  | 1 |
| 0802 | Other bearings for the construction of buildings and civil engineering, where deformation of the bearings would render the building or part thereof unusable |  |  | 1 |
| 0803 | Bearings for other building construction |  |  | III |
| 0804 | Anti-seismic equipment |  |  | 3 |
| Aggregate |  |  |  |  |
| 0901 | Aggregates for concrete |  |  | 2+ |
| 0902 | Aggregates for mortar | According to purpose: |  |  |
|  |  | For masonry mortar |  | 2+ |
|  |  | For other mortar |  | 4 |
| 0903 | Lightweight aggregates for concrete, mortar and grout | According to purpose: |  |  |
|  |  | For concrete, masonry mortar and grout |  | 2+ |
|  |  | For other mortar |  | 4 |
| 0904 | Aggregates for foundation layers for sleepers and the construction of rail beds | According to line type: |  |  |
|  |  | For high-speed lines |  | 2+ |
|  |  | For other lines |  | 4 |
| 0905 0906 | Aggregates for uncemented materials and for hydraulically cemented materials for road construction Hydraulically cemented mixtures for the construction of roads and other traffic areas | According to purpose: |  |  |
|  |  | For the construction of roads with traffic equipment classes I, II, III and IV) and the construction of airport runways |  | 2+ |
|  |  | For the construction of roads with traffic equipment classes V and VI14) |  | 4 |
| 0907 | Aggregates for asphalt mixtures for the surface treatments for roads, airports and other traffic areas | According to purpose: |  |  |
|  |  | For abraded layers |  | 2+ |
|  |  | For other layers |  | 4 |
| Cements, limes and other binders |  |  |  |  |
| 1001 | Cements and ordinary mixed cements for the preparation of concrete, mortar, grout and other mixes |  |  | 1+ |
| 1002 | Special cements resistant to low temperatures, white cements, cements resistant to sulphur and sea water, low-alkali cements, calcium aluminate cements with a very low hydration heat, blast furnace cements with a low initial strength, masonry cements and road cements for the preparation of concrete, mortar, grout (injection grout) and other mixes |  |  | 1+ |
| 1003 | Building lime, including quicklime, dolomitic lime and hydraulic lime for the preparation of concrete, mortar, grout and other mixes |  |  | 2+ |
| 1004 | Hydraulic binders for the production of mixes for the foundation layers of traffic areas and hydraulic binders for the manufacture of mortars |  |  | 2+ |
| Concretes, mortars, grouting mixtures, additives and admixtures |  |  |  |  |
| ###### 1101 | ###### Concrete produced in fixed or mobile concrete mixing facilities |  |  | II+ |
| ###### 1102 | ###### Sprayed concrete |  |  | II+ |
| ###### 1103 | Mixes for injection mortars and grouts |  |  | II+ |
| ###### 1104 | ###### Factory produced mortar for bricklaying | According to type:) |  |  |
|  |  | Proposed mortar |  | 2+ |
|  |  | Mortar with a prescribed composition |  | 4 |
| ###### 1105 | Factory produced mortar for interior and exterior coatings based on inorganic binders, including thermal insulation mortar |  |  | 4 |
| 1106 | Factory produced mortar for other coatings |  |  | IV |
| 1107 | Admixtures to concrete and mortar, including grout | According to type:) |  |  |
|  |  | Type I |  | 2+ |
|  |  | Type II |  | 1+ |
| 1108 | Additives to concrete, mortar and grout, and additives to grout for prestressing tendons |  |  | 2+ |
| Products for reinforcing and prestressing concrete |  |  |  |  |
| 1201 | Bars, rods, serrated steel strips, welded meshes and spatial (latticed) reinforcement |  |  | I+ |
| 1202 | Fibres for increasing the strength of concrete and mortar, including grout (dispersed reinforcement) | According to purpose: |  |  |
|  |  | For structuralb) concretes and mortars |  | 1 |
|  |  | For other concretes and mortars |  | 3 |
| 1203 | Prestressing products, particularly wires, cables, threaded bars, and ribbed, flat or smooth and prestressing cables |  |  | I+ |
| 1204 | ###### Systems for additional prestressing of structures except pipes and casings |  |  | I+ (1+) |
| 1205 | Pipes and casings for the protection, and cables of prestressing products |  |  | 4 |
| Metal profiles, flat metal products, castings and forgings |  |  |  |  |
| 1301 | Hot-rolled, cold-formed or otherwise manufactured metal cross sections (profiles) of various shapes (T, L, H, U, Z, I), canals, hollow profiles, tubes, flat products (plates, sheets, strips), bars (other than reinforcing and prestressing), castings and forgings, unprotected or protected against corrosion by coating, for use in the construction of metal structures or in building construction with a combination of metal and other materials |  |  | 2+ |
| Masonry elements and additional products |  |  |  |  |
| 1401 | Masonry elements, possibly with integrated thermal insulation materials, internal or external, except cladding fittings, paving elements, interleaving chimney fittings and panels with a height of one floor | According to category:) |  |  |
|  |  | Category I |  | 2+ |
|  |  | Category II |  | 4 |
|  |  | For the purpose which the RFS apply to, classified by RFC:) |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 1402 | Additional construction parts in walls, in particular fasteners, drawing rods, supporting angles, angle brackets, lintels and steel reinforcement of loading joints and connections |  |  | 3 |
| Built-in cladding systems |  |  |  |  |
| 1501 | Cladding systems based on hollow blocks (cladding fittings) or panels interconnected by struts made of insulating materials or of a combination of insulating and other materials, which are filled with concrete or reinforced concrete and used for the construction of load-bearing or non-bearing internal and external walls | For basic purposesd) |  | II+ (2+) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E, (A1 to E),12) F |  | II+ (2+) |
| 1502 | Cladding systems based on concrete cladding fittings or concrete panels interconnected by struts | According to load-bearing or non-bearing: |  |  |
|  |  | Load-bearing |  | 2+ |
|  |  | Non-bearing |  | 4 |
| Structural elements for building construction and civil engineering |  |  |  |  |
| 1601 | ###### Structuralb) prefabricated beams, tie beams, columns and slabs made of concretec) or masonry elements and metal protected or unprotected against corrosion by coating, welded or unwelded |  |  | 2+ |
| 1602 | ###### Structuralb) beams, tie beams, columns and slabs made of glued laminated timber |  |  | 1 |
| 1603 | Structuralb) prefabricated beams, tie beams, columns and slabs made of natural timber | According to RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E, (A1 to E),12) F |  | 2+ |
| 1604 | Lightweight composite beams and columns based on timber with at least one structural component based on timber |  |  | I (1+) |
| 1605 | Prefabricated structuralb) wood-based panels in the form of closed or open cassettes, cased from the inside or from the outside, possibly containing a membrane, insulation, bracing and fastening elements for the construction of walls, floors, roofs, etc. |  |  | I (1) |
| 1606 | Concretec) panels with or without supports for tram lines |  |  | II+ |
| Systems of buildings, rooms and building units |  |  |  |  |
| 1701 | Systems of buildings with wooden frame structures or log structures |  |  | I (1) |
| 1702 | Systems of buildings with metal structures or concretec) frame structures |  |  | I (1) |
| 1703 | Prefabricated building units except prefabricated garages |  |  | I (1) |
| 1704 | Cold storage systems without a cooling system for installation inside a building |  |  | I (1) |
| 1705 | Prefabricated garages |  |  | 2+ |
| Wood-based boards and panels and composite lightweight panels |  |  |  |  |
| 1801 | Wood-based boards in the form of natural wood, laminated veneered lumber (LVL), bonded face-to-face, boards glued together, oriented strand boards (OSB) and chip boards bonded using cement or resin, and fibre boards produced by the wet or dry method, with possible content chemicals to improve response to fire and resistance to biotic attack | According to purpose and reaction to fire: |  |  |
|  |  | Structuralb) elements |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E, (A1 to E),12) F |  | 2+ |
|  |  | Non-bearing elements |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| ###### 1802 | ###### Self-supporting insulation (sandwich) panels with or without double-sided metal sheeting | For basic purposesd) |  | 4 |
|  |  | For the purpose for which the RFS apply, classified by RFC, or need for REF test: |  |  |
|  |  | (A1, A2, B, C)10) (A1FL, A2FL, BFL, CFL)10) | 1 |  |
|  |  | (A1, A2, B, C)11), D, E, (A1FL, A2FL, BFL, CFL),11) DFL, EFL | 3 |  |
|  |  | (A1 to E),12) F, (A1FL to EFL),12) FFL | 4 |  |
|  |  | Products requiring REF testing | 3 |  |
|  |  | To divide fire sections | 3 |  |
|  |  | For use according to RHS | 3 |  |
| ###### 1803 | ###### Self-supporting composite lightweight panels (except for products from group 1802) consisting of a casing (made of different organic, mineral or metallic materials) from the outside or inside and possibly connected to an internal frame or an insulating core that are intended for the construction of internal and external walls, ceilings and roofs and wall tiling | For basic purposesd) | IV (4) |  |
|  |  | For the purpose for which the RFS apply, classified by RFC, or need for REF test: |  |  |
|  |  | (A1, A2, B, C)10) (A1FL, A2FL, BFL, CFL)10) | I (1) |  |
|  |  | (A1, A2, B, C)11), D, E, (A1FL, A2FL, BFL, CFL),11) DFL, EFL | III (3) |  |
|  |  | (A1 to E),12) F, (A1FL to EFL),12) FFL | IV (4) |  |
|  |  | Products requiring REF testing | III (3) |  |
|  |  | To divide fire sections | III (3) |  |
|  |  | For use according to RHS | III (3) |  |
| Thermal insulation products and systems |  |  |  |  |
| 1901 | Thermal insulation systems for external insulation of walls (contact heat cladding systems or ETICS) based on mechanically fastened or glued thermal insulation boards and covered with one or more layers of mortar | For basic purposesd) |  | II+ (2+) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E, (A1 to E),12) F |  | II+ (2+) |
| 1902 | Thermal insulation systems for external thermal insulation of walls (Vetures), consisting of external tile elements, a thermal insulating layer, and fastening elements. Tiles may be supplied already connected to the insulating layer, or these elements may be connected at the construction site. They are attached in such a way that there is no air gap between the insulating layer and the wall. | For basic purposesd) |  | III (3) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E |  | III (3) |
| 1903 1904 1905 1906 | Factory-made thermal insulation products in the form of boards, mats, rolling belts or other form, intended for thermal insulation of buildings Thermal insulation products formed or applied to the place of loose or foam materials, intended for thermal insulation of buildings Thermal insulation products in various forms, intended for the technical equipment of buildings and industrial installations Thermal insulation products for roads, rail tracks and other uses in construction (lightweight filling and antifreeze insulation, reduction in the lateral pressure of soil on supporting walls and bridge abutments, load distribution for pipes buried in ditches, etc.). | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| Lightweight cladding and self-supporting roofing systems |  |  |  |  |
| 2001 | Curtain walls | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E, F |  | 3 |
| 2002 | Structuralb) glued walls with glazed facade or roofs of the same system with a minimum inclination of 70, with mechanical transfer of its own weight and other forces (e.g. wind and snow) to the sealing support frame and subsequently to the structure of the building | According to type:) |  |  |
|  |  | Types I and III |  | II+ (2+) |
|  |  | Types II and IV |  | I (1) |
| 2003 | Self-supporting translucent roof systems other than glass-based systems | For basic purposesd) |  | III (3) |
|  |  | For the purpose for which the RFS apply, classified by RFC, or need for REF test: |  |  |
|  |  | (A1, A2, B, C)10) | I (1) |  |
|  |  | (A1, A2, B, C),11) D, E | III (3) |  |
|  |  | (A1 to E),12) F | IV (4) |  |
|  |  | Products requiring REF testing | III (3) |  |
|  |  | Products not requiring REF testing | IV (4) |  |
| Composite roof coverings, roof windows and skylights |  |  |  |  |
| 2101 2102 2103 2104 | Roofing tiles, panels, cornices, shingles and fittings – ceramic, concrete, fibre cement, slate, stone, plastic, asphalt, etc. Flat and shaped panels made of metal sheets, plastic, etc. Factory-manufactured composite and sandwich roofing panels with or without insulation Roof windows and roof lights | For basic purposesd) |  | 4 3) |
|  |  | For the purpose for which the RFS apply, classified by RFC, or the need for REF testing: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
|  |  | Products requiring REF testing |  | 3 |
|  |  | Products not requiring REF testing |  | 4 |
|  |  | For use in fire sections |  | 3 |
|  |  | For use in contributing to strength of the roof |  | 3 |
|  |  | For use according to RHS |  | 3 |
| Roof membrane and cast products |  |  |  |  |
| 2201 | Steam-proof and steam-permeable layers, roof base layer and roof covering foil and other roof membrane coverings | Note: The products are contained in groups 0403, 0404 and 0405 |  |  |
| 2202 | Roof waterproofing systems applied in liquid state | For basic purposesd) |  | III (3) |
|  |  | For the purpose for which the RFS apply, classified by RFC, or the need for REF testing: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E |  | III (3) |
|  |  | (A1 to E),12) F |  | IV (4) |
|  |  | Products requiring REF testing |  | III (3) |
|  |  | Products not requiring REF testing |  | IV (4) |
|  |  | For use according to RHS |  | III (3) |
| 2203 | Roof waterproofing systems applied on site using molten asphalt or foam spray | For basic purposesd) |  | III |
|  |  | For the purpose for which the RFS apply, classified by RFC, or need for REF test: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
|  |  | Products requiring REF testing |  | III |
|  |  | Products not requiring REF testing |  | IV |
|  |  | For use according to RHS |  | III |
| 2204 | Systems of mechanically fastened, flexible waterproof covering including system for fastening, joining and edging, possibly with thermal insulation |  |  | II+ (2+) |
| Roof accessories and other products for roofs |  |  |  |  |
| 2301 | Roof access systems, especially roof catwalks and steps, access platforms, roof safety hooks and anchor elements intended for the maintenance and repair of roofs |  |  | 3 |
| 2302 | Roofing tiles, ridge tiles, panelling of valleys, roof covering clamps, parapet and soffit roof panels |  |  | IV |
| 2303 | Solid flat or shaped base plate under the folded roof covering | For basic purposesd) |  | 4 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
|  |  | For use according to RHS |  | 3 |
| Doors, gates and fittings |  |  |  |  |
| 2401 | Fire/smoke doors and gates with or without fittings for dividing fire section structures |  |  | I |
| 2402 | Doors and gates to escape routes, with or without fittings |  |  | 1 |
| 2403 | Construction fittings (hinges, locks, closing devices, etc.) for fire/smoke doors and doors to escape routes |  |  | 1 |
| 2404 | Doors and gates with or without fitting with declared use conditional upon compliance with specific requirements, in particular on sound and thermal insulation and on fastness and tightness and safety of use |  |  | 3 |
| 2405 | Doors and gates with or without fittings for internal use between areas with the same environment |  |  | IV |
| Windows |  |  |  |  |
| 2501 | Fire/smoke windows with or without fittings for dividing fire section structures |  |  | I |
| 2502 | Windows to escape routes, with or without fittings |  |  | I |
| 2503 | Other windows with or without fittings |  |  | 3 |
| Shutters and blinds |  |  |  |  |
| 2601 | Shutters and blinds for outside use, with or without fittings |  |  | 4 |
| Specific glass products, materials similar to glass and glazing materials |  |  |  |  |
| 2701 | Flat or curved glass panels, shaped glass with wire inlay or without inlay, insulating glass units, glass fittings and panels of glass from them for glass systems, wall panels from glass blocks | For basic purposesd) |  | 4 |
|  |  | According to specific properties or purposes: |  |  |
|  |  | Fire resistant |  | 1 |
|  |  | Resistant to penetration and/or explosion |  | 1 |
|  |  | Safe (risk of injury) |  | 3 |
|  |  | Thermal and/or sound insulation |  | 3 |
|  |  | For the purpose for which the RFS apply, classified by RFC, or need for REF test: |  |  |
|  |  | A1, A2, B, C, D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
|  |  | Products requiring REF testing |  | 3 |
| 2702 | Flat and curved sheets of materials similar to glass | For basic purposesd) |  | IV |
|  |  | According to specific properties or purposes: |  |  |
|  |  | Fire resistant |  | I |
|  |  | Resistant to penetration and/or explosion |  | I |
|  |  | Safe (risk of injury) |  | III |
|  |  | Thermal and/or sound insulation |  | III |
|  |  | For the purpose for which the RFS apply, classified by RFC, or need for REF test: |  |  |
|  |  | A1, A2, B, C, D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
|  |  | Products requiring REF testing |  | III |
| 2703 | Cements for glazing other than cements for aquaria, structuralb) glazing, cementing of insulating glass, horizontal glazing up to a gradient of < 70 and cementing organic glass made of polycarbonate, polymethyl methacrylate, etc. | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 2704 | Cements for cementing organic glass made of polycarbonate, polymethyl methacrylate, etc. |  |  | III |
| Prefabricated stairs and stairway systems |  |  |  |  |
| 2801 | Complete prefabricated stairway systems (other than attic and loft stairs) | For basic purposesd) |  | II+ (2+) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E |  | III (3) |
|  |  | (A1 to E),12) F |  | IV (4) |
| 2802 | Prefabricated stairs made of concretec) |  |  | 2+ |
| 2803 | Slabs of concrete and terraces, etc. for the stairway steps in the interior and exterior | According to load-bearing or non-bearing: |  |  |
|  |  | Load-bearing |  | III |
|  |  | Non-bearing |  | IV |
| Partitioning systems and cements for partitions and interior walls |  |  |  |  |
| 2901 | Self-supporting partitioning systems for fixed and removable fitting | For basic purposesd) |  | IV (4) |
|  |  | To divide fire sections |  | III (3) |
|  |  | Safe (risk of injury) |  | III (3) |
|  |  | For use according to RHS |  | III (3) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E |  | III (3) |
|  |  | (A1 to E),12) F |  | IV (4) |
| 2902 | Cement for partitions and internal walls | For basic purposesd) |  | 4 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| Gypsum products for walls, partitions and ceilings |  |  |  |  |
| 3001 | Gypsum fittings and adhesives for non-bearing partitions, wall tiles and fire protection (fittings are not intended for ceilings) | For basic purposesd) |  | 4 |
|  |  | For fire protection |  | 3 |
| 3002 | Plasterboard and ceiling elements with a surface finish, fibrous plaster panels and composite panels (laminates) and gypsum plasters, including associated additional products | For basic purposesd) |  | 4 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
|  |  | For fire protection of structural elements and division of fire sections |  | 3 |
|  |  | For reinforcement of wooden frame walls and wooden rafters |  | 3 |
| Products for tiles and flooring |  |  |  |  |
| 3101 3102 | Paving elements, tiles, mosaics, laminate floorboards and parquets, covering meshes and linen, solid laminate floors, wood-based products for internal use, including internal public roads Systems of raised and cavity floors for indoor use, including internal public roads | According to RFC: |  |  |
|  |  | (A1FL, A2FL, BFL, CFL)10) |  | 1 |
|  |  | (A1FL, A2FL, BFL, CFL),11) DFL, EFL |  | 3 |
|  |  | (A1FL to EFL),12) FFL |  | 4 |
|  |  | For use according to RHS |  | 3 |
| 3103 3104 | Coatings under floors, levelling substances, cast floors and loose materials into the floors and coatings on floors including internal public roads # Homogeneous and heterogeneous flexible materials for floors supplied as tiles, sheet or roll form, as textile, plastic, rubber, linoleum, cork, antistatic sheet, flexible laminated floors and resilient and flexible tiles | For internal use according to RFC: |  |  |
|  |  | (A1FL, A2FL, BFL, CFL)10) |  | 1 |
|  |  | (A1FL, A2FL, BFL, CFL),11) DFL, EFL, (A1FL to EFL),12) FFL |  | 3 |
|  |  | For external use |  | 4 |
| 3105 | Coating agents for the surface treatment of floors |  |  | IV |
| Products for facing walls and ceilings, including suspended soffits and accessories |  |  |  |  |
| 3201 3202 | Facings in roll form, tiles, shingles, boards (except for concretec)), panels and shapes for facing walls and ceilings on the interior and exterior Systems of suspended soffits for ceilings on the interior and exterior | For basic purposesd) |  | 4 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
|  |  | For fire protection) |  | 3 |
|  |  | For reinforcement) |  | 3 |
|  |  | Safe (risk of injury)) |  | 3 |
|  |  | For use according to RHS |  | 3 |
| 3203 | Profiles intended for fastening facings and ceilings, and hanging frames for attaching suspended soffits | For basic purposesd) |  | IV |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
| 3204 | Mortars and adhesives for facing elements on the interior and exterior | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 3205 | External wall facing systems to protect them from the effects of weathering and potentially contributing to the thermal insulation of external walls, except for components of said systems delivered separately and except for systems in groups 1901, 1902 and 2002 | For basic purposesd) |  | II+ (2+) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E |  | III (3) |
|  |  | (A1 to E),12) F |  | IV (4) |
| 3206 | Prefabricated metal frames for hanging heavy soffits, with or without corrosion protection coating, welded or unwelded | According to RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E, (A1 to E),12) F |  | II+ |
| Connecting elements, welding materials and adhesives |  |  |  |  |
| 3301 | Connecting elements for metal structuralb) parts of buildings, in particular rivets, bolts, pins and screws with nuts and washers |  |  | 2+ |
| 3302 | Connecting materials for products made of structuralb) wood, in particular clips into the wood, split ring fasteners, connectors, cylindrical steel and wood connectors, wood screws, threaded bolts and nails |  |  | 3 |
| 3303 | Shear plates and truss plates with compressed heads for products made of structuralb) timber |  |  | 2+ |
| 3304 | Three-dimensional pinned connecting plates for products made of structuralb) timber |  |  | II+ (2+) |
| 3305 | Metal anchors for concrete (types intended for lightweight systems) to fasten or brace lightweight suspended ceilings, installations, etc. |  |  | II+ (2+) |
| 3306 | ### Metal anchors for use in concrete (high-load types), intended to fasten or brace concrete structuralb) elements or heavy parts such as facings and suspended ceilings |  |  | I (1) |
| 3307 | ### Metal injection (filled) anchors intended for masonry anchors to fasten or brace structuralb) elements that contribute to the stability of buildings or heavy elements such as cladding and installations |  |  | I (1) |
| 3308 | ### Plastic anchors for concrete and masonry for use in systems such as facade systems, including thermal insulation in order to fasten or to brace elements contributing to the stability of said systems |  |  | II+ (2+) |
| 3309 | Materials for welding metal structuralb) parts of buildings |  |  | 2+ |
| 3310 | Stud and non-stud metal screws and rivets with washers for fastening lightweight facade systems and sloped roof coverings |  |  | III |
| 3311 | Fasteners made up of plastic attachments or plate washers and stud and tapping for waterproofing and thermal insulation of roof system layers |  |  | III |
| 3312 | Expansion pins allowing relative movement between the connected boards or between boards and walls | For basic purposesd) |  | II+ |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
| 3313 | ### Adhesives for use in structuralb) parts of buildings and civil engineering constructions | For basic purposesd) |  | 2+ |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| Pipes, tanks and accessories for drinking water) |  |  |  |  |
| 3401 | ### Piping and storage systems consisting of groups of products 3402 to 3409 |  |  | I+ |
| 3402 | ### Pipes for pressurised and non-pressurised distribution of drinking water inside or outside buildings, installed on or below the surface |  |  | I+ |
| 3403 | ### Connecting hoses |  |  | I+ |
| 3404 | ### Pressurised and non-pressurised tanks including hot water tanks installed on or below the surface |  |  | I+ |
| 3405 | ### Protective and safety devices, such as leakage detectors, protection against tank overfilling, etc. |  |  | I+ |
| 3406 | ### Fittings, couplings, solders, adhesives and sealants for tight bonding of solid, flexible and ductile pipes |  |  | I+ |
| 3407 | ### Armatures |  |  | I+ |
| 3408 | ### Pumps and meters |  |  | I+ |
| 3409 | ### Membranes, resins, coverings, fillers and lubricants |  |  | I+ |
| Pipes, tanks and accessories for utility and feed water15), gas and liquid fuels |  |  |  |  |
| 3501 | ### Products for the transport, distribution and storage of utility water, such as pipes, connecting hoses, tanks, leak detectors, protection against tank overfilling, fittings, couplings, solders, adhesives, sealants, pipe holders (without anchors), pumps, armatures and safety devices, and pipe and tank systems consisting of said products | For basic purposesd) |  | 4 |
|  |  | For heating systems |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC:) |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 3502 | ### Products for the transport, distribution and storage of gas or liquid fuel from an outside tank, the last pressure reduction station or the first separating valve (always outside the building) after the entry into the system for heating water or for heating or cooling the building, such as pipes, connecting hoses, tanks, leak detectors, protection against tank overfilling, fittings, couplings, seals, solders, adhesives, pipe holders (without anchors), armatures and safety devices, and pipe and tank systems consisting of said products | For basic purposesd) |  | 3 |
|  |  | For the purpose to which the RFS apply |  | 1 |
|  |  | For installations in areas where fire resistance is required). |  | 1 |
| Products for the distribution of electrical energy, management and communication |  |  |  |  |
| 3601 | # Cables for the distribution of electrical energy, management and communication | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | Aca, B1ca, B2ca, Cca |  | I+ |
|  |  | Dca, Eca |  | III |
|  |  | Fca |  | IV |
|  |  | For the purpose for which the RFS apply to fire resistance |  | I+ |
|  |  | For use according to RHS |  | III |
| ### 3602 3603 3604 | ### Grates, gutters, ditches, booms, webs and curtains for laying cables and products for fastening cables for the distribution of electricity, management and communication Products for connecting cables (boxes and complete coverings) for the distribution of electricity, management and communication Low-voltage electrical distributors for the distribution of electricity, management and communication | For the purpose for which the RFS apply to fire resistance |  | I |
| ### 3605 | ### Cable accessories (cable installation tubes, sheets, clamps, channels, boxes and similar) | For the purpose which the RFS apply to for the spreading of flames and which the RHS apply to for the content of halogen elements |  | III |
| Chimneys |  |  |  |  |
| ### 3701 | Metal chimney system products (except flue attachments), clay/ceramic or concrete flue inserts, fittings and outer walls, materials for walled inserts and prefabricated steel products, and inserts of separately standing chimneys |  |  | 2+ |
| 3702 | Flue systems with plastic inserts | For basic purposesd) |  | 2+ 4) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| ### 3703 | Chimney attachments other than plastic attachments |  |  | 4 |
| Heating equipment and fireproof elements |  |  |  |  |
| 3801 3802 3803 3804 | # Appliances using solid fuels for heating residential areas such as stoves, furnaces and built-in appliances (fireplaces, etc.). # Appliances using solid fuels for household cooking # Heaters burning liquid or gas fuel ##### Heating appliances without their own source of energy, in particular radiators, convectors, hot-air convectors containing fan units, heating strips and slots, radiating ceiling panels and other stationary heaters, and wall and floor heating systems | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| ##### 3805 | ##### Refractory elements and mortars for the construction of built-in solid fuel appliances for heating residential premises. |  |  | III |
| Sanitary equipment and materials |  |  |  |  |
| ##### 3901 | ##### Sinks, basins, municipal gutters, bidets, bath tubs, whirlpool bathtubs and shower trays |  |  | 4 |
| ##### 3902 | ### Shower and bath curtains and protective covers |  |  | 4 |
| 3903 | Toilet module assemblies |  |  | IV |
| 3904 | Urinals, toilet bowls, earth, chemical and composting toilets, and macerating and squatting toilets |  |  | 4 |
| 3905 | Flushes |  |  | 4 |
| 3906 | Public toilets in buildings and prefabricated toilets | According to RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
| 3907 | Cements for connections to sanitary facilities other than cements in industrial applications, in the distribution of drinking water, in contact with food, and in underwater applications such as swimming pools, waste pipes, etc. | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| Products for protection against fire and explosion suppression |  |  |  |  |
| 4001 4002 | Products to protect against fires or to improve fire resistance, in particular of paints, coverings or facings, other than gypsum products, mineral wool products, and prefabricated reinforced concrete elements Products to prevent or limit the spread of fire, such as cements, sealants, foams, elastomers, etc. applied on site or in prefabricated forms, such as plates, sheets, pillows, bags, coils, sleeves, etc., fire stop seals, sealing linear joints, pipes with fire resistance and fire caps) such as fire dampers, seals and conveyor covers | For basic purposesd) |  | I (1) |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I (1) |
|  |  | (A1, A2, B, C),11) D, E |  | III (3) |
|  |  | (A1 to E),12) F |  | IV (4) |
| ##### 4003 | Ventilation units for the natural or forced removal of burning gases and heat |  |  | 1 |
| ##### 4004 | Ventilation systems and differential-pressure systems to remove burning gases and heat, or their components, such as smoke curtains, dampers, ventilation pipes, detectors, control panels and emergency starting, including the power source |  |  | 1 |
| ##### 4005 | Systems to suppress explosions and their components |  |  | I |
| Fixed fire-fighting equipment |  |  |  |  |
| ##### 4101 | Hydrant and fire-fighting equipment |  |  | 1 |
| ##### 4102 | Components for sprinkler and similar fire-fighting equipment |  |  | 1 |
| ##### 4103 | Components of gas fire-fighting equipment |  |  | ##### 1 |
| ##### 4104 | Components of powder fire-fighting equipment |  |  | ##### I |
| ##### 4105 | Components of foam fire-fighting equipment |  |  | I |
| Fire alarm components and equipment |  |  |  |  |
| 4201 | Electrical fire alarm – sound alarm equipment |  |  | 1 |
| 4202 | Electrical fire alarm – feeder equipment |  |  | 1 |
| 4203 | Electrical fire alarm – spot heat detectors |  |  | 1 |
| 4204 | Electrical fire alarm – spot smoke detectors using scattered light, transmitted light or ionization |  |  | 1 |
| 4205 | Electrical fire alarm – line smoke detectors using an optical beam |  |  | 1 |
| 4206 | Components of fire alarms that are not included in groups 4201 to 4205 – smoke, heat and flame detectors, fire alarm switches, equipment for the transmission of alarm signals including protection against short-circuit pathways, alarms, input/output devices, push-button alarms and associated feeder equipment |  |  | 1 |
| ##### 4207 | Combined fire signalling and alarm signalling equipment and systems for reporting fires |  |  | I |
| Coating and penetration substances and systems |  |  |  |  |
| 4301 4302 4303 | Coating and penetration substances for protecting structural parts of the building from corrosion and degradation, other than protection of concrete structures and fire protection Coating systems for the protection of metal piping systems and tanks from corrosion Coating systems for the protection of thermal insulation from degradation and coating systems from moisture | For basic purposesd) |  | III |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
| Sound insulation and anti-vibration products |  |  |  |  |
| 4401 4402 | Systems in floating floors to absorb vibration and noise Systems for walls to absorb vibration and noise | For basic purposesd) |  | III |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | I |
|  |  | (A1, A2, B, C),11) D, E |  | III |
|  |  | (A1 to E),12) F |  | IV |
| 4403 | ### Anti-vibration elements for fastening installations |  |  | III |
| Products for repairing and protecting concretec) structures |  |  |  |  |
| 4501 4502 4503 | Products for protecting concretec) structures, such as filling cavities, sealing cracks, etc. Products for additional strengthening of concretec) structures, such as metal or composite bars glued to the treated surface of beams, etc. Products for protecting concretec) structures, such as impregnation of concrete surfaces, anti-corrosion protection of reinforcement, etc. | According to purpose: |  |  |
|  |  | For structuralb) parts |  | 2+ |
|  |  | For other parts |  | 4 |
|  |  | According to the RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| Special products |  |  |  |  |
| 4601 | Prefabricated concretec) silos for loose materials and containers for solid waste, stored in the ground |  |  | II+ |
| 4602 | Prefabricated concretec) products for low-stressed and non-load-bearing parts of buildings other than pipes, tanks and fence elements, such as telecommunications boxes, small box inlets, non-bearing wall elements, wall panels, etc. |  |  | IV |
| 4603 | Prefabricated concretec) elements for fences |  |  | 4 |
| 4604 | Prefabricated housing plumbing cores with fire cap |  |  | I |
| 4605 | Systems to protect against falling rocks at civil engineering sites |  |  | I (1) |
| 4606 | Fire lifts |  |  | I |
| 4607 | Damp masonry rescue systems |  |  | IV |
| 4608 | Systems for glazing balconies and loggias |  |  | III |
| 4609 | Products for playground surfaces | For internal use according to RFC: |  |  |
|  |  | (A1FL, A2FL, BFL, CFL)10) |  | I |
|  |  | (A1FL, A2FL, BFL, CFL),11) DFL, EFL, (A1FL to EFL),12) FFL |  | III |
|  |  | For external use |  | IV |
| 4610 | Systems of waterproofing coatings or tiling of the floors and walls of damp rooms, such as bathrooms, washrooms and laundries |  |  | I (1) |
| 4611 | Cements for building exteriors | For basic purposesd) |  | 3 |
|  |  | For the purpose which the RFS apply to, classified by RFC: |  |  |
|  |  | (A1, A2, B, C)10) |  | 1 |
|  |  | (A1, A2, B, C),11) D, E |  | 3 |
|  |  | (A1 to E),12) F |  | 4 |
| 4612 | Protective railings) for buildings |  |  | III |

Explanatory notes:

?) Parameter assessment systems I+, I, II+, III and IV are systems pursuant to Section 3(1) and apply in cases in which defined standards or SK technical assessments apply to the products in question. If the harmonised standards or European technical assessments apply to the products in question, then the parameter assessment systems pursuant to Section 3(3) shall apply. In the case of products in groups to which the European assessment documents pursuant to Article 2(12) of Regulation (EU) No 305/2011 apply, the specific parameter assessment systems pursuant to Section 3(3) which apply if the product is in accordance with a European technical assessment issued in accordance with the European assessment documents are specified in parentheses. If, however, the product in question is in accordance with an SK technical assessment, the specific parameter assessment systems pursuant to Section 3(1) shall apply.

) The term ‘structural’ characterises the purpose of the product in the building as a part of the building construction that ensures stability of the structure (load-bearing component) or as a self-bearing element that also bears external loads (e.g. wind load).

) The terms ‘concrete’ or ‘made of concrete’ characterise a product manufactured from heavy, light or autoclaved aerated concrete, whether reinforced or not.

) ‘Basic purpose’ refers to a building product where a specific purpose or use is not declared for the group or groups of products in buildings or parts of buildings that are subject to specific regulations, requirements or properties that are listed under the basic purpose in the text. If one or more systems of parameter assessment are applied while respecting the specifics, this system or these systems are applied together with the system prescribed for the basic purpose; in the process, the manufacturer only issues a single declaration of conformity.

) Relates to groups 0401 and 0404.

) Relates to groups 0404 and 0405.

) Relates to covers and inlet grills

) The composition of the proposed mortar and method of production is chosen in order to achieve the specified properties (quality concept). Mortar with a prescribed composition is produced by following a prescribed formula (formula concept).

) Type I involves the admixture of inert or nearly inert materials. Type II involves the admixture of active materials.

) Category I masonry elements have a guaranteed compressive strength with a probability of failure of no more than 5 %, as opposed to Category II masonry elements, whose level of reliability is not guaranteed.

) Relates only to elements with integrated thermal insulating materials, in which the parameter assessment system is applied according to the category of element.

) Type I and III systems, in contrast to Type II and IV systems, contain elements that reduce risk in the event that the glued joints fail.

) Relates to group 2104.

) Relates only to panels and suspended soffits.

) Relates only to panels that simultaneously serve as reinforcement elements for walls or ceilings.

) Relates only to tiles and panels made of brittle materials, tiles and panels intended for suspended soffits and products from groups 3202 and 3203.

) Relates only to pipe holders, armatures and safety equipment.

) Relates only to tanks.

) Relates only to chimney extensions.

Annex 2 to Regulation No .../2012 Coll.

SK PARAMETER DECLARATION

No .................................?)

1. Type and commercial name of the product: ..................................................................................................................................................................................... .....................................................................................................................................................................................

2. Type,  production lot number or serial number, or other element or information making it possible to identify the construction product:

...........................................................................................................................................................................................................................

3. Defined Slovak standard relating to the product (designation, year of issue and name):

.....................................................................................................................................................................................

4. SK technical assessment, if issued for the product (designation and name) and name of the authorised person who issued it:

.....................................................................................................................................................................................

5. The product’s intended use in construction in accordance with the defined standard or SK technical assessment:

..................................................................................................................................................................................... .....................................................................................................................................................................................

6. Commercial name, address of the manufacturer’s registered office and company identification number:

..................................................................................................................................................................................... .....................................................................................................................................................................................

7. Name and address of the authorised representative, if appointed:

..........................................................................................................................................................................................................................................................................................................................................................................

8. Applicable system or systems of parameter assessment pursuant to Ministry of Transport, Construction and Regional Development of the Slovak Republic Regulation No .../2012 Coll.:

..........................................................................................................................................................................................................................................................................................................................................................................

9. Designation of the SK certificate(s) and date(s) of issue, if issued, and name of the authorised person who

issued it (them):

..........................................................................................................................................................................................................................................................................................................................................................................

10. Declared parameters

Essential characteristics?)Categories2)Protocol on test, calculation, etc.?)Lab ID no.?)

Lab ID no.4)Name and address of testing laboratory

Name of specific technical documentation  pursuant to Section 5 of the Act and date of its issue, if used:

..........................................................................................................................................................................................................................................................................................................................................................................

11. The manufacturer declares that the product defined in Points 1 and 2 has the parameters of the essential characteristics pursuant to Point 10.

12. This SK parameter declaration is being issued at the sole responsibility of the manufacturer specified in Point 6.

Signed on behalf of the manufacturer:

.....................................................................................................................................................................................

(Name and position)

..................................................................................                     ..............................................................................

(Place and date of issue)                                                                  (Signature)

1) The number shall be entered in the form xxxx/yyyy, in which xxxx is the reference number in year yyyy.

2) The names of the properties and their parameters shall be entered in accordance with the defined standard or SK technical assessment specified in Point 3 or 4.

3) The protocol's designation and date of issue shall be entered.

4) The reference number allocated to the testing laboratory in the table of participating laboratories shall be entered.

) Article 2(11) of Regulation (EU) of the European Parliament and Council No 305/2011 of 9 March 2011 laying down harmonised conditions for the marketing of construction products and repealing Council Directive 89/106/EEC (OJ L 88, 4 April 2011).

)	Annex V of Regulation (EU) No 305/2011.

) Article 2(13) of Regulation (EU) No 305/2011.

)	Such as Commission Decision No 96/603/EC of 4 October 1996 establishing the list of products belonging to Class A ‘No contribution to fire’ provided for in Decision No 94/611/EC, implementing Article 20 of Council Directive 89/106/EEC on construction products (OJ EC L 267, 19 October 1996), as amended by Commission Decision No 2000/605/EC of 26 September 2000 (OJ EC L 258, 12 October 2000) and Commission Decision No 2003/424/EC of 6 June 2003 (OJ EU L 144, 12 June 2003), Commission Decision No 2003/43/EC of 17 January 2003, establishing the classes of reaction-to-fire performance for certain construction products (OJ EC L 13, 18 January 2003), as amended by Commission Decision No 2006/673/EC of 9 October 2006 (OJ EU L 276, 7 October 2006) and Commission Decision No 2007/348/EC of 15 May 2007 (OJ EU L 131, 23 May 2007).

) Such as Commission Decision No 2000/553/EC of 6 September 2000, implementing Council Directive 89/106/EEC as regards the external fire performance of roof coverings (OJ EC L 235, 19 September 2000), Commission Decision No 2005/403/EC of 25 May 2005 establishing the classes of external fire performance of roofs and roof coverings for certain construction products as provided for by Council Directive 89/106/EEC (OJ EC L 135, 28 May 2005) and Commission Decision No 2006/600/EC of 4 September 2006 establishing the classes of external fire performance for certain construction products as regards double-skin metal-faced sandwich panels for roofs (OJ EU L 244, 7 September 2006).

) Annex III to Regulation (EU) No 305/2011.

)	Agreement between the European Community and the Swiss Confederation on mutual recognition in relation to conformity assessment (Special edition of the EC Official Journal, Chap. 11, Vol. 41). Decision No 1/2008 of 12 March 2008 of the Committee established under the agreement between the European Community and the Swiss Confederation on mutual recognition in relation to conformity assessment on the inclusion in Annex 1 of a new Chapter 16 on construction products (OJ EU L 282, 25 October 2008).

)	European Parliament and Council Directive 98/34/EC dated 22 June 1998 on a procedure for the provision of information in the field of technical standards and regulations as amended (special edition of the EU Official Journal, Chapter 13/vol. 20).

) In accordance with Regulation No 458/2005 Coll. of the Ministry of the Environment of the Slovak Republic, laying down details on the execution of professional technical and safety supervision of hydraulic structures and on the execution of professional technical and safety monitoring.

) The product corresponds to Section 4(2)(a) of the Regulation in terms of reaction-to-fire classification.

) The product corresponds to Section 4(2)(b) of the Regulation in terms of reaction-to-fire classification.

) The product corresponds to Section 4(1) of the Regulation in terms of reaction-to-fire classification.

) Vegetation sections on little-used traffic areas pursuant to STN 6131-3 1996:3 Construction of roadways. Paving and parts. Part 3: Coverings made of vegetation sections.

) STN 73 6114:1997 Land route roads. Basic provisions for design.

) In accordance with STN 75 0150:1995 Water management. Waterworks terminology.

) Ministry of the Interior of the Slovak Republic Regulation No 478/2008 Coll. on the properties, specific operating conditions and regular inspections of fire caps.

) STN 74 3305: 1989 Protective railings. Basic provisions.