Milano, 6 aprile 2017

Osservazioni al Decreto di aggiornamento delle "Nuove Norme tecniche per le costruzioni" (procedura 2015/15352 notifica N 2017/43/I del 6 febbriao 2017)

Gentili Signori,

ASSOBETON, Associazione Nazionale Industrie Manufatti Cementizi, che rappresenta fra gli altri i produttori di manufatti in calcestruzzo aerato autoclavato, esprimere la propria preoccupazione riguardo alle pesanti e immotivate limitazioni all’uso di muratura a giunto sottile in zona sismica, introdotte dalla nuova bozza di Norme tecniche per le Costruzioni. Questo Decreto è stato notificato ai sensi della Direttiva 2015/1535 il 6 febbraio 2017, con numero 2017/43/I.

Le norme attualmente in vigore - Norme Tecniche per le Costruzioni di cui al Decreto 14 gennaio 2008 del Ministro per le Infrastrutture e i Trasporti – non prevedono questa limitazione, limitazione non prevista dalla normativa vigente a livello europeo, ovvero gli Eurocodici.

Il motivo dell’introduzione di questa limitazione non è stato fornito dagli estensori della norma. Si segnala che nella relazione illustrativa del Decreto viene fornita esclusivamente la giustificazione della limitazione all’uso di giunti verticali aperti. Non sono forniti invece chiarimenti circa la limitazione dell’uso di giunti sottili alle sole zone a bassa sismicità (edifici con ag·S ≤ 0,15 g allo SLV) e ad edifici con non più di 3 piani fuori terra.

Alla luce dei risultati sperimentali ottenuti per questi sistemi e al vasto impiego di blocchi in calcestruzzo aerato autoclavato, posati con giunto sottile, in altri paesi sismici, riteniamo che il Decreto introduca barriere ingiustificate all’impiego di questi prodotti.

Per questo chiediamo una modifica al testo dei punti 4.5 e 7.8 della norma.

Chiediamo che le prescrizioni delle Norme Tecniche riguardanti la muratura a giunti sottili siano allineate a quelle degli Eurocodici, in modo da evitare che queste prescrizioni costituiscano una barriera alla circolazione in Europa degli elementi in calcestruzzo aerato autoclavato e dei sistemi costruttivi con essi realizzati.

Un secondo aspetto che desideriamo segnalare, è la necessità di un chiarimento della definizione di elementi non strutturali “assemblati in cantiere” o “costruiti in cantiere” (vedere punto 7.2.3).

L’assenza di una spiegazione o definizione di ciò che si intende per “assemblato” e per “costruito” potrebbe penalizzare la muratura rispetto ad altri sistemi.

Dal momento che le responsabilità e i compiti dei tecnici coinvolti (progettista, fornitore, installatore, direttore lavori) sono diverse nei due casi, una mancata chiarezza rischia di portare alla scelta della soluzione che, a torto o a ragione, sembra comportare la minore assunzione di responsabilità.

Distinti saluti.

Il Presidente

Giorgio Ferrarini

English text:

ASSOBETON, representing among other producers, the Italian producers of aerated autoclaved concrete elements, express its concerns regarding the heavy restrictions to the use of "thin layer joints" masonry in seismic areas introduced by the new draft of "Norme Tecniche per le Costruzioni". This Decree, has been notified to the European Commission on 6th February 2017, with reference number 2017/43/I.

These limitations are not in the present text of “Norme Tecniche per le Costruzioni”, published in the Italian Official Journal on 14th January 2008, nor in the European design codes, the Eurocodes.

No explanations were given for these restrictions. The "explanatory notes" drafted by the Ministry to justify the changes in the code do not refer to the limitation of thin layer bed joints to low seismic areas (buildings with ag·S ≤ 0,15 g at the SLV) and to 3 storey buildings. The only explanation refers to the limitation of the use of masonry with unfilled perpendicular joints.

Considering the experimental results on these systems and the wide use of aerated concrete blocks, placed with thin layer joints, in other seismic countries, we believe that the Decree is introducing unjustified barriers to our products.

We therefore ask for changes in Clauses 4.5 and 7.8.

The Eurocodes allow the use of thin layer joints for masonry structures, but the provisions of the Italian Decree "Norme Tecniche per le Costruzioni" prevail in Italy. We consider this limitation as a clear barrier to circulation of products and constructions systems in Europe.

A second point that should be clarified is the confusing definition of non-structural elements either "assembled" or "built” at the construction site".

There is no clear explanation or definition of the "assembled" and "built” at the construction site and this could penalize masonry with respect to precast systems.

Since the responsibilities and the tasks of professionals (designers, suppliers, site engineers) are different for the two solutions, as far as design and installation, are concerned, the professionals could push for the solution with minimum responsibilities.

| Assobeton |  | 4.5.2.3 Masonry | 3rd paragraph | Te | Avoid the unjustified limitation in the use of thin layer joints | Change the sentence as follows: The use of thin mortar joints (0.5–3 mm thick) and/or dry vertical joints should be limited to buildings with a quantity of storeys above the ground not exceeding that specified in § 7.8.1.2, and a maximum storey height of 3.5 m. |
| --- | --- | --- | --- | --- | --- | --- |
| Assobeton |  | 7.2.3 Non structural elements | 4th paragraph - 2nd sentence | te | The definition of "assembled" and "constructed” non-structural elements is missing. | Delete the following text (or add a clear definition): When the non-structural element is constructed at the construction site, it is the structure designer's job to identify the demand and design the capacity in accordance with time proven formulas, and it is the job of the building surveyor to verify the correct execution; when on the other hand the non-structural element is assembled at the construction site, it is the structure designer's job to identify demand, it is the supplier and/or installer's job to provide adequate connection elements and systems, and it is the building surveyor's job to verify correct assembly. |
| Assobeton |  | 7.8.1.2 Materials | 4th paragraph | te | The heavy limitation in the use of masonry with thin layer joints in seismic areas is not justified | Delete the following text (4th paragraph): The use of thin joints (thickness between 0.5 mm and 3 mm) is permitted exclusively for buildings with characteristics of LLS, of agS ≤0.15 g, with the following limitations: – maximum height, measured in axis to the thickness of the masonry: 10.5 m if agS ≤0.075 g; 7 m if 0.075 g<agS ≤0.15 g – number of masonry storeys from ground level: ≤ 3 for agS ≤0.075 g; ≤ 2 for 0.075 g <agS ≤0.15 g |